## Q&A
1 | I would like to ask if you have CAD plans available of the issued drawings.
CAD plans are available on request, however they are messy. It is recommended a drawn detail survey of existing is required by selected contractor.
2 | Has a budget been identified for the project as in past projects with FCC we were given a brackets of figures to achieve?
The budget is between £100k-£200k.
3 | Would we be able to visit site tomorrow instead of the 17th?
No
Electrical:
4 | Existing Small power & Data drawing (needed for power and data relocations and adaptions)?
Yes, dwg small power and data available on request.
5 | Distribution Board schedule if available?
Not available.
6 | Existing Reflected Ceiling Plan (showing lighting and fire alarm existing)?
Yes, dwg available on request.
7 | Electrical O&M’s, specifically floor box type, lighting etc?
Electrical O&Ms available on request.
Mechanical:
8 | O&M specifically equipment schedules and commissioning info?
Mechanical O&Ms available on request.
9 | Existing HVAC drawings?
Mechanical O&Ms available on request.
Architectural:
10 | Health & Safety File if available?
H&S file available on request.
11 | Existing ceiling specification?
Mechanical O&Ms available on request.
12 | Carpet Specification?
None specified. Selected contractor should allow for 20% replacement in Tender. Note that all floor finishes to remain are to be protected.
13 | We deliver value through our design input – you have outline plans but are you looking for input from the successful company in regards to the design of the space?
Yes. At the Tender Interview Stage we will be looking at how the Concept Design could be developed.
14 | In the documentation you mention you see the ceiling as £200K – I am presuming that you are thinking it will be between £100k-£200K?
Yes. See Q2 above.
15 | We are based in Bristol but our projects are all over – would this effect your decision making process?
The decision making process and criteria is laid out in the Tender Documentation and will be a transparent process.
16 | Is there a schedule of works?
No detailed Scope of Works has been included. The selected contractor should outline their proposals from their design interpretation.
17 | Is there a preferred data cable provider?
No preferred supplier.
18 | Is there a preferred supplier for mechanical works?
The Landlord's preferred supplier would be expected to undertake alterations to the FCUs.
19 | Are there any working restriction on site?
No 'noisy works' after 0800hrs and before 1800hrs Mon - Fri
20 | What detail is required in the Cost Summary Return?
Tenderers are required to quantify their design response.
21 | What FFE is required?
The Proposed drawing (available on request) has been colour coded to show: Existing Relocated from Existing New Surplus/not on site
Additionally, the Existing drawing (available on request) has been colour coded to show FFE to be temporarly relocated and protected.
22 | Is there a Principle Designer?
The Principle Designer will be the selected contractor.
23 | Will TSC be employing Cost Management?
TSC have appointed Gleeds to undertake the role of the Contract Administrator to the tendering contractors.