**Clarifications to Bidders Questions**

Question: Could you please clarify the batteries required?

Answer: The ITT calls for an extra 69.6kw of batteries being added to the existing hybrid inverters which will result in a total 92.8kw in total battery storage.