Moss Side Farm

Supply of materials to culvert an existing ditch (materials only)

Specification

Aim:

To provide materials in order to culvert a length of approximately 404 metres of drainage ditch. The ditch is to be culverted at a later date. This quote is for materials only.

Materials required

| 900 mm x 6m SN2 TwinWall Unperforated HDPE pipe, including couplers | 68 |
| --- | --- |
| 900mm Bell and Spigot Seals | 68 |
| Dehris screen 900mm diameter meshed duct cap to aid maintenance | 2 |
| Inspection chambers for maintenance including relevant seals and couples | 3 |
| Manufacturers and/or industry recommendations for installation and maintenance |  |
| Delivery to Moss Side Farm, Rindle Road, Tyldsley, M29 7LT. |  |

Plans and/or Instructions

•            Manufacturers and/or industry recommendations for installation and maintenance of the culvert materials to be included.

It is anticipated that this contract will end no later than 15/03/2024. Prices will remain fixed for the duration of the contract award period. We may at our sole discretion extend this contract to include related or further work. Any extension shall be agreed in advance of any work commencing and may be subject to further competition.

2.0	Contact Information

Project Manager

Stephen Ormerod Stephen.ormerod@naturalengland.org.uk

07553794137

B