## Sheet1
Clarification Number | Clarification Date | Clarification Time | Clarification Message Text | Clarification Response Text | Response Date
1 |  |  | Procurment Notice | The timeline for this tender has been updated: Site Visits by: 05th August 2022 Clarifications close: 21th August 2022 12pm Noon Tender submissions 23rd August 2022 12pm Noon | 2022-07-28
2 |  |  | Is the tender being marked on price alone or is there a quality response required? I can’t see anything clarifying this in the tender documents provided? | This tender is being scored on 100% price.
3 |  |  | Can you provide schematics/ tank sizes for the tanks on the associated sites? | Yes, Legionella RA's to be provided
4 |  |  | Could you please advise if you require for the supplier to hold DWI accreditation? | The DWI accreditation is relevant to the laboratory used for samples taken. This should be in place to ensure samples taken are received and processed accordingly within the laboratory
5 |  |  | Could you also advise if you would be looking for the supplier to take the samples? | Yes, Legionella RA's to be provided
6 |  |  | We have the following Insurance levels, will these be sufficient for the bid? o Employer’s Liability Insurance = £10m o Public Liability Insurance = £10m o Professional Indemnity Insurance = £2m | The corporate required insurance levels are £5m for each of those listed. Anything listed below this requirement will need to be seperately assessed.
7 |  |  | Would you have the Legionella Risk Assessments to forward by any chance, or details of each sites Cold Water Storage tanks? | Yes, Legionella RA's to be provided
8 |  |  | Is there a document starting with 02? | All relevant documentation is attached to the notice uploaded to Contracts Finder
9 |  |  | 1. What is meant by monthly PWTAG Spec Samples? Do you mean monthly chlorine levels in the pools, and spa etc? | PWTAG Spec samples refers to the microbiological samples for TVC's, E-Coli & Pseudonomas Aeruginosa.
10 |  |  | 2. Point of use filters – require number per site, and information on what type they are | Clacton- 1x POU Staffroom Low Storage Volume (no more than 15 Litres). Dovercourt- 1x Electric Water Heater (Mains Fed). Walton- 2x Electric Water Heaters (Mains Fed).
11 |  |  | 3. Is there any information available on the name and type of chlorine dioxide unit? | Clacton- 1x Grundfos Oxiperm Pro Unit/ Walton- 1x Grundfos Oxiperm Pro Unit.
12 |  |  | The specification requests £5 million PI Insurance. Currently our company has a £2 Million policy cover, would this be sufficient in allowing us to tender for the works please ? | The corporate required insurance levels are £5m for each of those listed. Anything listed below this requirement will need to be seperately assessed.
13 |  |  | Clacton site asks for 3 x CWST cleans. Do we ignore the Pool makeup and Pool chemical break tank? We assume so Walton site – we note 2 x CWST that supply acid and pool top up. We assume these are not required for C&D as not identified in tender as required? Do we C&D the tank only? We assume down services are not required. Appendix B calls for “ POU Filters - Service & disinfect as per Manufacturers guidelines. Record service date & lifespan.” Please advise where these are, how many and the manufacturer/model to quote. Also frequency of exchange. Appendix B calls for “Closed system analysis completed every 6 months on closed system heating across all sites.”. Is this one system per site? Do you require UKAS laboratory testing for bacteria and chemistry? Please confirm exact scope. The pricing matrix has duplicated some lines i.e. row 13 and 19/20. Should we fill in every row or just certain rows? The pricing matrix shows each column as a cost per year, but column H will multiply each column by the frequency (if it was a number). Please can you confirm if we should put the annual figure in each column, or do you want the visit cost in so that the frequency number can be used to total up the annual figure? Is there a requirement for works on the calorifiers? There is no mention in the contractual obligations for each site, but is described in Details of Goods, Services or Works to be tendered Some CWST have been identified as having unsafe access – have these been resolved to enable C&D of the tanks? | No requirement to complete cleans on pool plant chlorine or acid tanks.
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99