## Schedule of Works
3 | THE WORKS |  | £
GENERAL DESCRIPTION OF WORKS
3.1 | Scope of the Works
3.1.1 | The works are to comprise the repair, preparation and redecoration of all previously painted surfaces on the north and west elevations at Ivybridge Town Hall, Erme Court, Leonards Road, Ivybridge PL21 0SZ. | Item
3.2 | Site Visit
3.2.1 | The Contractor must, during the tender period, inspect the property and in doing so make all the necessary measurements and allowances to undertake the complete works. No account will be taken at final account stage for the Contractor not being aware of the existing circumstances. Arrangements to visit the site must be made with Simon Buse of Croft Surveyors on 07483 027377. | Item
3.3 | Construction (Design & Management) Regulations 2015
3.3.1 | Principal Contractor - the main Contractor is to undertake the principal contractors role, as required by the regulations, and is to comply with the regulations in respect of this function. This role is to include the work undertaken by any sub-contractors and other specialists. | Item
3.3.2 | Construction Phase Plan - the Contractor is to ensure that the Construction Phase Plan is in place and that welfare facilities, in compliance with schedule 2 of the Regulations are all in place prior to work commencing on site. | Item
3.3.3 | In developing the Construction Phase Plan, the principal contractor is to indicate to the contract administrator his compliance with the regulations by regular reports on the progress of his developments of the plan in a format to allow the latter to assess the formers compliance with the regulations. | Item
3.3.4 | No extensions of time will be granted for work being delayed due to the principal contractor failing to offer the appropriate method statements and/or risk assessments for appraisal prior to the relevant matters being commenced. | Item
3.3.5 | Health and Safety File - the principal contractor is to prepare and maintain accurate as installed drawings and information as this project progresses. The principal contractor is to hand the as installed information to the contract administrator in order that formal as built drawings can be prepared for inclusion within the health and safety file. The principal contractor is to provide the CDM Co-ordinator with all the necessary information in order that the latter can compile the health and safety file. | Item
3.4 | Security and Protection
3.4.1 | The contractor is to maintain security to the working areas of the property at all times. | Item
3.4.2 | The contractor will be given full possession of the site areas in the areas where works are to be undertaken, with access being granted from the scaffolding to be erected. Access to the internal areas is via the communal entrance doors. | Item
3.4.3 | No access into the any Flats will be permitted at any time during the contract works, except on the specific times and dates arranged with lessees for window repair works to be carried out. | Item
3.4.4 | Any damage to the site or areas outside the site caused by the main contractor or his sub-contractors will be the responsibility of the contractor to make good at his own cost and to the satisfaction of the contract administrator. | Item
3.5 | Access Arrangements
3.5.1 | Access to and from the working areas is to be via the driveways at the front and rear of the property. Egress from the building in the event of an emergency can be via the same route. | Item
3.5.2 | In using this means of access and escape, at no time must the egress routes be obstructed by vehicles or materials. | Item
3.5.3 | The contractor will be responsible for ensuring that the access routes are not damaged or made unclean as a result of the construction traffic and/or materials. | Item
3.6 | Welfare Facilities
3.6.1 | The contractor is to make provision in their tender for the provision of welfare facilities to comply with the requirements of the CDM Regulations | Item
3.7 | Parking and Removal of Debris
3.7.1 | The main contractor will be responsible for making their own parking arrangements and removal of debris from the site. One visitor parking bay will be designated for the exclusive use of the contractor for the duration of the works. | Item
3.9 | Access Scaffolding/ Edge Protection
3.9.1 | Supply, install, erect and maintain suitable and adequate independent tied tubular scaffold access and safety equipment including edge protection around the roof on all elevations as required to safely and properly execute the whole of the works to comply with relevant Health and Safety Regulations. Allow to maintain, adapt and alter as required during the contract to suit the works programme and sequencing of work. On completion dismantle, take down and remove off site the scaffolding and make good any damage and disturbed surfaces to match existing to the satisfaction of the CA. | Item
3.9.2 | Scaffolding to be in accordance with BS EN 12811-1 Temporary Works Equipment. Scaffolds. Performance requirements and general design and or TG20:13. | Item
3.9.3 | Scaffold should be carefully positioned, giving full consideration to the scope of work and operation of the building to ensure all access routes are maintained. | Item
3.9.4 | Scaffolding should include all lifts, bridging, handrails, toe boards, gates and ladders as required. | Item
3.9.5 | The scaffold must not bear or be supported on the parapet walls, balustrading at balcony or roof level and the entrance portico. | Item
3.9.6 | Bottom lift of scaffold and over all ingress/egress points to the building must be double boarded with a stout polyethene sheet sandwiched in between the boards. | Item
3.9.7 | Supply and install yellow foam scaffold protection tubes to uprights at ground storey lift secure with plastic ties; | Item
3.9.8 | Supply and install LED battery operated scaffold warning lights and appropriate safety signage on scaffolding where erected over the public pavement. | Item
3.9.9 | The contractor is to ensure that at the end of each working shift, or when the site is not occupied, the access ladder from the ground level to the fist scaffold lift is removed and securely stored to prevent unauthorised access. | Item
3.9.10 | Allow here to apply, obtain and pay all costs for Highway’s licence for appertaining to the scaffold being erected over a public pavement and to comply with obligations and conditions of the licence. | Item
3.9.11 | The contractor is to allow to install and maintain a hardwired 24hours scaffold alarm system, which is connected back to a monitoring station that is maintained 24 hours a day 7 days a week. The system is to include infra-red and heat sensors, system alerts/activation on the alarm panel and to the monitoring station, tamper alarm. | Item
3.9.12 | The contractor is to allow for all making good and reinstatement to areas disturbed by the scaffolding. All making good to match existing. | Item
3.11 | Inspection
3.11.1 | On completion of the scaffolding, arrange for joint inspection with the CA to inspect the building façade in closer detail and agree the extent of all provisional sums and provisional quantities. | Item
ROOF
3.12 | Roof Slopes
3.12.1 | Allow to carefully remove all damaged slates to accessible roof slopes and dispose off site. Supply and install replacement blue/grey natural slates complying with BS EN 12326 secured in place using lead clips or 'tingles'. Allow a provisional quantity of 15 no. slates. | PQ
RENDER
3.14 | Render - Repairs
3.14.1 | Prior to redecoration remove all redundant fixtures and fittings, make good any redundant fixings holes using sand cement mortar mix. | Item
3.14.2 | Allow to hack off all loose, hollow or defective rendering to expose the masonry substrate. Reinforce the wall area using stainless-steel EML, fixed using stainless-steel screws and plugs, and reinstate the wall finish, using a 2 Coat 1:1:6 render system. Allow a provisional quantity of 10m2 in areas not exceeding 0.5m2. | PQ
3.14.3 | Open up all cracks in the render to form 'V' shape and prepare to receive filler. Clean out cracks and fill using Toupret exterior masonry repair filler firmly pressed into the crack, rub down smooth and dust off and leave ready for decoration. | Item
3.14.4 | Carefully cut back render to remove corroding corner bead and dispose off site. Supply and fix new stainless steel corner beads, secured with suitable stainless steel screws. Build up render to match existing levels and leave ready for redecoration. Allow a provisional quantity of 25lm. | PQ
3.15 | Render - Preparation
3.15.1 | To all stucco surfaces carefully scrape back to firm edge all areas of poorly adhering or defective coatings. Wash down and rinse off surfaces with sugar soap solution or suitable solvent to remove dirt, grease and other surface contaminants and leave surfaces clean and free from contaminants. Remove any vegetable, mould or algae growth by thoroughly scraping followed by brushing with a stiff fibre brush. Do no use a wire brush. Treat any residual growth with Dulux' Weathershield Multi-Surface Fungicidal Wash, rinse after 24 hours and allow to dry. | Item
3.15.2 | Bring forward all areas which, during preparation, were either taken back to bare substrate or disfigured/exposed by the removal of the previous coating with: 1 coat of Dulux Trade Weathershield Smooth Masonry Paint. | Item
3.16 | Render - Redecoration
3.16.1 | If surfaces remain powdery and friable after thorough preparation, they must be sealed with: 1 coat of Dulux Trade Weathershield Stabilising Primer to penetrate the surface and avoid leaving a glossy film. | Item
3.16.2 | To all render apply 2 coats of Dulux Trade Weathershield Smooth Masonry Paint of selected shade. | Item
3.18 | Soffits, Fascias and Barge Boards
3.18.1 | Wash down the surfaces to remove all dirt, grease and other surface contaminants with soap and water or detergent solution, finishing with an appropriate cleaner to produce a clean surface free from stains or smearing. Rinse off and, if necessary, leather off to produce a clean, dry surface free from watermarks or smearing. | Item
3.19 | Rainwater Goods
3.19.1 | Clean out the interior of all gutters, rainwater heads, etc. Wash down the surfaces with soap and water, detergent solution, or suitable solvent, to remove all dirt, grease and other surface contaminants. Rinse off and, if necessary, leather off to produce a clean, dry surface free from watermarks or smearing. | Item
3.19.2 | Thoroughly water test all gutters and downpipes and reseal any defective joists as required. | Item
3.2 | Shopfronts (painted grey)
3.20.1 | Allow the provisional sum of £500 for timber repairs to decaying sections of shopfront prior to redecoration as instructed by the CA. | PS | 500
3.20.2 | Thoroughly clean down all surfaces with soap and water, detergent solution or suitable solvent, to remove all dirt, grease and surface contaminants. Remove all blistered, poorly adhering or otherwise defective coatings. Where flaking has occurred or coatings are defective, the entire member or section must be stripped back to the nearest joint. Open-up all joints which are not tight fitting and rake out thoroughly. Rub down to 'feather' broken edges and dust off. Abrade overall in the direction of the grain to remove any grey denatured timber, raised grain and round sharp edges (a radius of 1 mm to 2 mm for timber other than sills and thresholds; 3mm for sills and thresholds). | Item
3.20.3 | Bring forward all primed and/or filled areas to match existing system build with: 1 coat of Dulux Trade Weathershield Exterior Flexible Undercoat of appropriate shade. Apply 1 no. coat of Dulux Trade Weathershield Exterior Flexible Undercoat and 1 no. coat of Dulux Trade Weathershield Exterior High Gloss of selected shade. | Item
3.21 | Timber Cladding to Entrance Soffit
3.21.1 | Thoroughly clean down all surfaces with soap and water, detergent solution or suitable solvent, to remove all dirt, grease and surface contaminants. Remove all blistered, poorly adhering or otherwise defective coatings. Where flaking has occurred or coatings are defective, the entire member or section must be stripped back to the nearest joint. Open-up all joints which are not tight fitting and rake out thoroughly. Rub down to 'feather' broken edges and *dust off. Abrade overall in the direction of the grain to remove any grey denatured timber, raised grain and round sharp edges. Prime all sound bare areas and areas exposed by the removal of coatings with: 2 coats of Dulux Trade Weathershield Preservative Primer. Apply 2 coats of Dulux Trade Ultimate Woodstain of selected shade. | Item
3.21.2 | Isolate, disconnect and remove 3 no. defective bulkhead light fittings. Supply and install 3 no. Denali 15W LED IP65 Ali Bulkhead 840 fittings from NVC Lighting or similar to the approval of the CA. On completion provide NICEIC Electrical Installation Certificate. | Item
3.26 | Completion
3.26.1 | Remove all surplus materials, clean all exterior glass (and internally in the communal areas), generally leave all neat and tidy. | Item
3.27 | Contingency
3.27.1 | Allow a project contingency sum of £2,000. not to be expended unless instructed by the Contract Administrator. |  | 2000
| Sub Total |  | 2500