**Schedule of Site Works & Construction of an All-weather Path, 2 metres wide, around Western Road Recreation Ground, Hailsham.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Section Ref:** | **Length . m** | **Site Works** | **Construction** | **Notes** |
| **A to B** | **136** | Alignment to be agreed with HTC….behind existing seats?**Excavate grassed surface avge. 250mm deep , load & dispose of arisings off site estimated 85 cu.m**  | 150x50mm Pc concrete edgingsNon-woven Geotextile underlay150mm Type 1 sub-base material60mm – AC14 bin40mm - AC10 Surf. | Cross section of standard construction, **Ref: I**  |
| **Gate to B** | *12**Excl. from overall total of perimeter pat*h | Break up pc edgings, both sides & dispose of arisings. Excavate to progressively widen the entrance path (between new edgings) from 1.1 to 2.0 metres over the 12 metre length.  | Install new pc edgings (150 x 50mm,) , allowing for 40mm new oversurfacing .Infill the widening with 100/125mm of 12 :1 leanmix concrete compacted and finished flush with existing path construction Apply tack coat and oversurface with 40mm AC 10 AC Surf, finished flush with tops of new edgings. | Widening the access path from Western Road to join with new 2 metre path towards the Cricket Pavilion |
| **B to C** | **27** | Break up and cart away existing concrete path 1.1 m wide x say 100mm thick with 40mm bitmac surfacing & pc edgings both sides. | Standard Construction, as A-B, on new formation after removal of existing concrete. Depth of excavation say 150 mm &set aside for re-use on site. | Cross section of standard construction, **Ref: I**  |
| **C + 4 metres** | **4** | Splay leading to Pavilion…leave as existing, tying in new surfacing levels  | No new construction needed for this short section..in good condition & alignment  | Leave as existing |
| **C to D** | **19** | Break out & dispose of existing concrete edgings & foundation/backing.Excavate 210mm deep in verge area to widen path adjoining Pavilion 1.5 to 2.0 metres, & set aside soil for re-use on site. | Construction all as shown on cross section III-b, including new 40mm new surfacing & tack coat. Break out & dispose of existing surfacing if needed to control level against building …(damp course?) | **Cross section III-b**refers |
| **D to E** | **4** |  ***Existing concrete Hardstanding to remain as existing, agreed with Cricket Club 24/1*** |
|  E to F |  98 | Break up and cart away existing concrete path (including 32 metres of pc slabs 900x 600mm) & in-situ 900 m wide x say 100mm thick. Excavate average 150m, deep, load and dispose of off site..estimated 40 cu.m | 150x50mm pc concrete edgingsNon-woven Geotextile underlay150mm Type 1 sub-base material60mm – AC14 bin40mm - AC10 Surf. | Cross section of standard construction, **Ref: I** : with 100mm less depth excavation  |
| **F to G**  | **34** | New construction as Standard, 2 metres wide. | 150x50mm pc concrete edgingsNon-woven Geotextile underlay150mm Type 1 sub-base material60mm – AC14 bin40mm - AC10 Surf. | Cross section of standard construction, **Ref: I**  |
| **G to H** | **11** | New construction as No-Dig , 2 metres wide…excavate 200mm deep @ G & reduce to 100mm @H…transition of levels past cricket nets, **raising path surface to** **protect shallow tree roots.** | 150x50mm pc concrete edgingsNon-woven Geotextile underlay150mm Geocells filled with 4-20mm open graded aggregate.50mm AC10 porous Asphalt Surfacing | Cross section of No-Dig construction, **Ref: II**  |
| **H to I** | **90** | New construction as No-Dig , 2 metres wide…excavate 100mm deep (H to I)Store excav. materials for re-use on site |  Construction 200 mm thick, all as above (G-H). Pathway surface generally @ 100mm above existing cricket ground | Cross section of No-Dig construction, **Ref: II**  |
|  **I to J** | **90****(approx.)** | Ditto , all as above (( I to J) Store excavated materials for re-use on site in regrading shallow batters to raised path levels. | Ditto , all as above . Path alignment between the trees and hedge on eastern side…to be agreed with HTC | Cross section of No-Dig construction, **Ref : II**   |
|  **J to K** |  **22**  | New construction as Standard, 2 metres wide. Transition between No-Dig @ J (OGL + 100mm) to meet surface level of entrance path to fenced Playground. | 150x50mm pc concrete edgingsNon-woven Geotextile underlay150mm Type 1 sub-base material60mm – AC14 bin & 40mm - AC10 Surf. | Cross section of standard construction, **Ref: I** |
| **K to A** | **30** | Break out & dispose of existing pc edgings concrete backing & foundations on both sides of existing path..existing width 1.1 metres | Provide and install new 150x50mm pc edgings raised, by 40mm on western side as per existing alignment, and allow for 2.5% crossfall to top of pc edgings on the hedge side. Excavate on eastern (hedge) side average 1.1 metres wide and 210mm deep & set aside clay/soil for re-use on site.Oversurface resulting 2 metre path with AC10 Surf. finished flush with tops of pc edgings | Construct widening to path to standard detail **Ref : III -a**  |
| **Total****Perimeter** | **565** | **Subject to actual alignments and re-measured on site, on completion.** |  |  |

**Refer also to accompanying Check List for pricing, with Site Plan and various sketches, detailing cross sections:**

**Updated version 17 Feb 2020**