## Summary
605b | HISTORIC SHIPS WORKSHOP
NATIONAL MUSEUM OF THE ROYAL NAVY
Schedule of works
Tender
| SUMMARY SHEET | £
1 | WC Block
2 | New painter's bay
3 | Timber laminating cabin
4 | Machine room
5 | First floor new office and mezzanine access corridor
6 | New mezzanine floor hot desk space
7 | New mezzanine floor storage space
8 | 3 storey office block access stairs / fire escape
9 | Refurbishment works to plant room
10 | Refurbishment works to first floor hot desk space
11 | Refurbishment works to second floor hot desk space
12 | General Items / Provisional Sums
Building works total
13 | Other provisional sums from Specification and general
14 | Day Works from specification
15 | Preliminaries
16 | Allow for insurances against each and every liability described in the conditions of contract.
17 | Contingency see 22
Contract costs total
18 | Option for Mezzanine rooms above WC block
Amount to form of tender

## 1 - 11 Alterations,Renovations
HISTORIC SHIPS WORKSHOP
NATIONAL MUSEUM OF THE ROYAL NAVY
Schedule of works
Tender
Number | Description | Drawing /Specification | Qty | Unit | Rate | £
1 | New WC Block G02- G05
1.01 | Strip out urinials and associated partition | 605b-EN-12-000 |  | item
1.02 | Raise existing cubicles to full height
1.03 | New full height cubicle door system to include coat hook and door stop and relevant door furniture. | K32/112 | 2no | item
1.04 | Vepps panels to new WC cubicles | 605b-WD-50 series, K32/160 | 17.94 | item
1.05 | Adapation to cubicle end panel to include opal polycarbonate sheet privacy panel |  |  | item
1.06 | Privacy film to windows | L40/610 | 4 | m2
1.07 | Supply and drainage for new sanitary elements | 605b-WD-50 series |  | item
1.08 | WCs with sensor operated flush | N13/300 | 2no | item
1.09 | Decoration and making good |  |  | PS |  |  | Lab | Plant | Skip | Crash deck
1.1 | Replacement extract fan in existing opening in window (see drawing) | 605b-50-002 (D1) |  | item |  |  | 400 | 125 | 180 | 500 | 1205
1.11 | Install new fermacell board suspended MF ceiling w/ stop beads to edges and plasterboard access panel | K10/225 | 30.7 | m2
1.12 | Items identified on the drawings but not described in the schedule |  |  | item
Optional items:
1.13 | New Electric panel Radiators | S90 | 2 no | item |  |  | Lab | Plant | Skip | Crash deck | Material
[7 empty] | 400 | 200 |  | 500 | 450 | 1550
1.14 | 3x 2unit freestanding Lockers (i.e 6 lockers in total) | 605b-WD-50 series | 3 | item
2 | New Painter's Bay G15 incl laundry unit
2.01 | New timber stud birch ply and polycarbonate panelled wall 3 sided enclosure to painter's bay - P3 | K10/207 605b-BD-71-002 | 34.8 | m2
2.02 | New wall lining WL1 | K10/165 | 11.02 | m2
2.03 | New door D-G15-01 w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 605b-BD-72-001 |  | item
2.04 | New door D-G15-02 w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 605b-BD-72-003 |  | item
2.05 | fermacell board ceiling with acoustic insulation | K10/245 and 605b-70-710 | 24.7 | m2
2.06 | ceiling joists including new timber i beam and timber post. | MNP Structural Comments - Timber Boxes |  | item
2.07 | OSB roof deck K13/535, treated | 605b-BD-70-010 | 25 | m2
2.08 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 24.7 | m2
2.09 | Timber stud wall lining to historic masonry wall, resin anchor fixings to wall WL3 | K10 /205 and 605b-71-001 | 18.48 | m2
2.1 | decorate new plasterboard walls and ceilings | 605b-WD-13 series | 49.18 | m2
2.11 | New skirtings | P10/110 | 10.2 | m
2.12 | birch ply linings to window reveal | 605b-BD-71-003 |  | item
2.13 | Electric panel radiator |  | 2 | item
2.14 | washing machine services connections | 605b-WD-10 series |  | item
2.15 | 18mm birch ply countertop with lip | 605b-BD-71-003 |  | item
2.16 | Birch ply cabinet front, carcass, plinth and associated fittings as per drawing | 605b-BD-71-003 |  | item
2.17 | stainless steel plate countertop and upstand | 605b-BD-71-003 | 1.5 | m2
2.18 | Items identified on the drawings but not described in the schedule - NB extraction as per quote
3 | Timber laminating cabin
3.01 | New timber stud enclosure - 150 x 50 studs, birch ply to 2m and high level polycarbonate panelled wall - P4 | 605b-BD-75-000 | 121.36 | m2
3.02 | ceiling joists | MNP Structural Comments - Timber Boxes |  | item
3.03 | 18mm plywood roof deck, treated M60/180 | 605b-BD-70-010 | 80 | m2
3.04 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 75.2 | m2
3.05 | Armourguard F1 thermal roller shutters - electrical operation | L20/611 | 2 no | item
3.06 | New door D-G13-03 w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 605b-BD-75-000 |  | item
3.07 | Marshall Tufflex Elegance 170 Dado perimeter trunking | 605b-BD-71-003 | 30 | m
3.08 | Galvanised conduit and contaiment for power supply high level from external trays to Laminating cabin interior. Including power provision for motorised roller shutters and heating system |  |  | item
3.09 | Tall oil filled radiators to maintain 20 degrees within space |  | 4 no | item
3.1 | lighting
3.11 | Items identified on the drawings but not described in the schedule |  |  | item
8 | Machine room and workshop G09 and G10
8.01 | Relocate existing DB boards from rear masonry wall to new location bordering stair partition as per drawings | 605b-16-000 |  | item
8.02 | Remove steel mesh enclosure | 605b-EN-12-000 |  | item
8.03 | extend opening D-G10-01 to 2250 height and 3000 width, remove exisiting PVC double doors, form new opening D-G10-02 2250 height x 2210 width |  |  | item
8.04 | New R9 lintels to new and extended openings | MNP Structural Comments - Lintels | 3 | item
8.05 | PVC strip curtains to both openings | 605b-BD-72-020, L20 / 560 | 2 | item
8.06 | fermacell board ceiling with acoustic insulation | K10/245 and 605b-70-710 | 86.4 | m2
8.07 | Items identified on the drawings but not described in the schedule |  |  | item
9 | First floor new office M05 and mezzanine access corridor M03
9.01 | Strip existing services and lighting |  |  | item
9.02 | create new door opening for D-M05-02 and make good | 605b-EN-12-000 |  | item
9.03 | new R6 lintels to S Eng requirements | MNP Structural Comments - Lintels |  | item
9.04 | Remove existing kitchen door. install new fire door D-M03-01 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
9.05 | Replace fire door D-ES1-X3 w/ associated ironmongery, frame, architraves and trims to match existing replaced |  |  | item
9.06 | Skirtings to match existing | P10/110 | 23.7 | m
9.07 | New fire door D-M05-02 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
9.08 | New fire door D-M05-03 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
9.08 | redecorate walls, skirtings and ceiling | M50/115 | 69.37 | m2
9.09 | new vinyl floor finish | M50/150 | 21.3 | m2
9.1 | Remove door M05-X1 and make good
9.11 | Items identified on the drawings but not described in the schedule |  |  | item
12 | New mezzanine floor hot desk space M06
12.01 | Timber stud birch ply and polycarbonate panelled wall - P3 | K10/207 and 605b-BD-71-002 | 30.628 | m2
12.02 | Timber stud side walls - P1 | counted in 13.00 | n/a
12.03 | Timber stud wall lining to historic masonry wall- WL3, resin anchor fixings to wall | K10 /205 and 605b-71-001 | 29.87 | m2
12.04 | New wall lining WL1 | K10/165 | 11.02 | m2
12.05 | New skirtings | P10/110 | 26.1 | m
12.06 | Marshall Tufflex Elegance 170 Dado perimeter trunking on birch ply backing plate and window reveal fixings | 605b-BD-71-003 | 26.1 | m
12.07 | window balustrade to all windows including perforated metal sheet panel | 605b-BD-71-003 | 4 | item
12.08 | birch ply linings to window reveal | 605b-BD-71-003 |  | item
12.09 | New vinyl floor finish M50/150 and plywood underlay | M50/150 | 36.2 | m2
12.1 | New door D-M06-01 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
12.11 | ceiling joists | MNP Structural Comments - Timber Boxes |  | item
12.12 | OSB roof deck K13/535, treated | 605b-BD-70-010 | 39.2 | m2
12.13 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 36.2 | m2
12.14 | decorate internal plasterboard walls and ceiling | 605b-WD-13 series | 20.88 | m2
12.15 | lighting
12.16 | Items identified on the drawings but not described in the schedule |  |  | item
13 | New mezzanine floor storage space M07 and walkway past M06
13.01 | New floor finish and underlay M40/151 | 605b-WD-13-000, M40/151 | 151 | m2
13.02 | Marshall Tufflex Elegance 170 Dado perimeter trunking | 605b-WD-16-000 | 35 | m
13.03 | Items identified on the drawings but not described in the schedule |  |  | item
16 | 3 storey office block access stairs / fire escape
16.01 | strip out / relocate affected services, demolish existing masonry wall and make good | 605b-EN-12-000 |  | item
16.02 | 3 storey metal stud partition to staircase enclosure 30 mins fire resistance - P5 | K10/125 | 71.1 | m2
16.03 | skirtings | 605b-WD-13-001 | 17.5 | m
16.04 | upgrading 3 no windows to fire resisting | L40/250 | 3 | item
16.05 | New fire doors D-G12-01 and D-G12-02 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
16.06 | new floor finish and underlay M50/151 to stairs | 605b-WD-13-000 | 57.3 | m2
16.07 | Ceiling joists | MNP Structural Comments - Timber Boxes |  | item
16.08 | OSB roof deck K13/535, treated | 605b-BD-70-010 | 19.1 | m2
16.09 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 19.1 | m2
16.1 | decorate new plasterboard walls and ceilings | 605b-WD-13 series | 166.753 | m2
16.11 | Items identified on the drawings but not described in the schedule |  | item
17 | Refurbishment works to plant room
17.01 | Strip out redundant compressor. | 605b-EN-12-000 |  | item
17.02 | remove existing doors. Carefully remove architraves and retain for reuse | 605b-EN-12-000 |  | item
17.03 | Replace with new fire doors D-G11-X1 and D-G11-X2 w/ associated ironmongery, frame, architraves and trims to match existing | SCH-01 |  | item
17.04 | redecorate architraves |  |  | item
[7 empty] | Lab | Skip | scaffold
17.05 | Items identified on the drawings but not described in the schedule |  |  | item |  |  | 500 | 175 | 2000 | 2675
18 | New Kitchenette to M11
18.01 | strip out existing power distibution. retain existing lighting and smoke detection systems | 605b-EN-12-000 |  | item
18.02 | clean and re-oil parquet flooring including sample area for approval (see drawing for specification | 605b-WD-13 series | 20 | m2
18.03 | New wall lining WL1 | K10/165 | 9.24 | m2
18.04 | Marshall Tufflex Elegance 170 Dado perimeter trunking | 605b-WD-16-000 | 4 | m
18.05 | Redecorate walls and ceiling | 605b-WD-13 series | 59.98 | m2
18.06 | remove existing doors. carefully remove architraves and retain for reuse. | 605b-EN-12-000 |  | item
18.07 | Replace with new fire door D-M11-X1 w/ associated ironmongery, frame, architraves and trims to match existing | SCH-01 |  | item
18.08 | Kitchen base and wall units as per drawing | 605b-51-000 |  | item
18.09 | Corian Worktop incl 100mm upstand | N11/340 | 1.84 | m2
18.1 | Zip tap and water heater | N11/365 | 1 no | item
18.11 | Microwaves | N11/360 | 1 no | item
18.12 | Kitchen fittings, other appliances and miscellaneous as shown on drawings | 605b-51-000, N10 |  | item
18.13 | Extract fan to kitchen to be installed in window reveal as WC detail |  |  | item
18.14 | galvanised steel tubing containment for new service connections |  | 4 | m
18.15 | Items identified on the drawings but not described in the schedule - nb macerator itemised in 12 General Items |  |  | item
18.16 | Refurbishment works to second floor hot desk space
18.17 | strip out existing power distibution. retain existing lighting and smoke detection systems | 605b-EN-12-000 |  | item
20 | Marshall Tufflex Elegance 170 Dado perimeter trunking | 605b-WD-16-000 | 16.5 | m
20.01 | Redcorate walls and ceiling | 605b-WD-13 series | 59.98 | m2
20.02 | remove existing doors. carefully remove architraves and retain for reuse. | 605b-EN-12-000 |  | item
20.03 | Replace with new fire door D-S03-X1 w/ associated ironmongery, frame, architraves and trims to match existing | SCH-01 |  | item
20.04 | Items identified on the drawings but not described in the schedule |  |  | item
[7 empty] | 1250 | 65 | 400 | 1715
[7 empty] | Boarding | insulation | safty floor
[7 empty] | 25 | 25 | 45 | 95
[7 empty] | 31 | 55 | 27 | 113
[7 empty] | 110 | 100 | 40 | 250

## 12 General Items
605b | HISTORIC SHIPS WORKSHOP
NATIONAL MUSEUM OF THE ROYAL NAVY
Schedule of works
Tender
Number | Description | Drawing /Specification | Qty | Unit | Rate | £
12 | General items
12.01 | Geotechnical Levels survey (all stories)
12.02 | fire detection and alarm | RCPs
12.03 | emergency lighting | RCPs
12.04 | lighting as per schedule including manual and automatic controls | RCPS, lighting schedule
12.05 | Replacement lighting to rooms M11 and S03
12.06 | galvanised steel tray and conduits for power containment
12.07 | Electrical services installation generally: connection / relocation of DB where specified, distribution and sockets / terminals / isolators. | 605b-WD-16-000
12.08 | New floorboxes to include HDMI / VGA link | 605b-WD-16-000
12.09 | Macerator pump and pipework to new ktichen waste towards existing kitchen waste | 605b-WD-10 series, N13/444
12.1 | Replacement macerator pump in existing kitchen, replacement outlet in 32mm pipe and replacement pipework from peak 50mm to existing SVP | 605b-WD-10 series, N13/444
Mezzanine Floors and Stairs
Proposals for mezzanine floor developed with STS Storage Solutions and their quotation is attached. Alternative mezzanine installation companies will be considered subject to equivalent designs and specifications
12.09 | 2 storey stairs, guarding, landings and balustrade to Hot desk offices (Stairs 2 and 3) |  | item | item
12.1 | Steps and guarding between mezzanine floor levels (Steps 4) |  | item | item
12.11 | New freestanding mezzanine floor above open workshop and machine room (scoped as Sections C, D and E) to include lateral restraint to existing blockwork wall |  | item | item
12.12 | guarding / balustrade to both sides Mezzanine floor section E and walkway on sections C and D |  | item | item
12.13 | Mezzanine safety floor access gate for forklift with edge and wear protection. To suit minimum palette size 1200 x 1000 |  | item | item
12.14 | Manufacturer' fire protection system and fascia for proprietary mezzanine floor underside applied to all mezzanine floor sections |  | item | item
12.15 | Fire retardant intumescent coating to all exposed primary steel structure to achieve 30 mins fire protection minimum- M31 item item |  | item | item
Extraction
Proposals for mezzanine floor developed with Woodwork Dust Control and their quotation is attached. Alternative workshop extraction suppliers will be considered subject to equivalent designs and specifications
12.16 | Extraction to machine room |  | item | item
12.17 | Extraction to painters bay |  | item | item
| Note client supply: |  | n/a | n/a | n/a | n/a
| Fridges |  | n/a | n/a | n/a | n/a
| Loose furniture incl. lockers |  | n/a | n/a | n/a | n/a
| washing machines |  | n/a | n/a | n/a | n/a
| IT equipment |  | n/a | n/a | n/a | n/a
| workshop machinery incl. Haki crane |  | n/a | n/a | n/a | n/a
Workbenches

## 13 PS and14 Contract costs
605b | HISTORIC SHIPS WORKSHOP
NATIONAL MUSEUM OF THE ROYAL NAVY
Schedule of works
Tender
Number | Description | Drawing /Specification | Qty | Unit | £
13 | Other provisional sums from Specification and general
13.01 | General building fabric repairs |  | Item | PS | 1500
13.02 | New ironmongery not specified elsewhere |  | item | PS | 500
13.03 | Works to existing external doors |  | item | PS | 1000
13.04 | Additional services installations not covered elsewhere |  | item | PS | 2000
13.05 | Statutory and other signage |  | item | PS | 750
13.06 |  |  | item | PS
13.07 | Additional below ground drainage works |  | item | PS | 1250
13.08 | Contingencies |  | item |  | 8500
14 | Day Works from specification
| Labour before completion |  |  | £ | 1000
| Add percentage adjustment |  |  | %
| Labour after completion |  |  | £ | 750
| Add percentage adjustment |  |  | %
| Materials and goods during contract |  |  | £ | 750
| Add percentage adjustment |  |  | %
| Plant before completion |  |  | £ | 750
| Add percentage adjustment |  |  | %
| Plant after completion |  |  | £ | 750
| Add percentage adjustment |  |  | %
15 | Preliminaries from specification section A31 |  | Item
| Preliminaries from specification section A32 |  | Item
| Preliminaries from specification section A33 |  | Item
| Preliminaries from Specification section A34 |  | Item
| Preliminaries from Specification section A35 |  | Item
| Preliminaries from Specification section A36 |  | Item
| Preliminaries from Specification section A37 |  | Item
| Preliminaries from Specification section A40 |  | Item
| Preliminaries from Specification section A41 |  | Item
| Preliminaries from Specification section A42 |  | Item
| Preliminaries from Specification section A43 |  | Item
| Preliminaries from Specification section A44 |  | Item
| Preliminaries from Specification section A50 |  | Item
| Preliminaries from Specification section A55 |  | Item
| Preliminaries from Specification section A56 |  | Item

## 18-2nd Mezzanine Option
HISTORIC SHIPS WORKSHOP
NATIONAL MUSEUM OF THE ROYAL NAVY
Schedule of works part 18
Option - Additional 2nd Mezzanine above existing WC block
Number | Description | Drawing /Specification | Qty | Unit | Rate | £
18.1 | Ground Floor Main Entrance G01
18.101 | extend window opening into doorway D-G02-01 and reduce width with new brickwork tied and laid to match existing wall. Remove cill and retain lintel. Temporary propping of lintel if required |  |  | item
18.102 | install new fire door D-G02-01 w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 605b-BD-72-001 |  | item
18.103 | timber framing and cabinetry to temporary workers locker store including finishing and decorations | 605b-20-001 |  | item
18.104 | redecorate existing brickwork WC block | M60/115 | 9.9 | m2
18.105 | mirror | L40/550 | 1 no | item
18.106 | frameless white board | 605b-20-001 | 1 no | item
18.107 | Items identified on the drawings but not described in the schedule | 605b-20-001 |  | item
18.2 | Fire escape route to D-G01-X2
18.201 | paint yellow hazard lines on concrete floor |  | 18.5 | m2
18.202 | Decorate plasterboard walls, skirtings and ceiling | WD-13 series | 10.66 | m2
18.203 | Fermacell board ceiling on underside to mezzanine floor above | K10/245 | 6.6 | m2
18.204 | Items identified on the drawings but not described in the schedule |  |  | item
18.3 | Access stair to Mess Room S1
18.301 | Metal stud partition to staircase enclosure 30 mins fire resistance - P5 | K10/125 | 51.57 | m
18.302 | install new steel proprietary stair, balustrade and landings to new first floor mess room | BD-70-001 |  | item
18.303 | New vinyl floor finish and nosings to ground floor, steps and first floor landing including plywood underlay | M50/150 | 28.7 | m2
18.304 | new fire door w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 60b-BD-72-001 | 1 no | item
18.305 | Skirtings (both sides of wall) | P10/110 | 26.8 | m
18.306 | repaint existing masonry walls | 605b-WD-13 series, M60-115 | 44.82 | m2
18.307 | decorations to new walls, ceiling and skirtings | 605b-WD-13 series, M60/110 | 62.7 | m2
18.308 | lighting and power | WD-16-000, WD-15 series
18.309 | Items identified on the drawings but not described in the schedule |  |  | item
18.4 | New Painter's Bay G15
18.401 | New timber stud birch ply and polycarbonate panelled wall 3 sided enclosure to painter's bay - P3 | K10/207 605b-BD-71-002 | 37.439 | m2
18.402 | New door D-G15-01 w/ associated ironmongery, frame, architraves and trims incl. intumescent grille vent | 605b-BD-72-001 |  | item
18.403 | fermacell board ceiling with acoustic insulation | K10/245 and 605b-70-710 | 16.4 | m2
18.404 | Skirtings to P5 | P10/110 | 15.3 | m
18.405 | Fume extractor - as per main tender |  |  | item | PS
18.406 | Decoration to ceiling and interior P5 wall | 605b-WD-13 series M60 /110 | 26.724 | m2
18.407 | Marshall Tufflex Elegance 170 Dado perimeter trunking on birch ply backing plate and window reveal fixings | 605b-BD-71-003 | 15.3 | m
18.408 | power and containment | WD-16-000
18.409 | lighting | WD-15 series
18.41 | Items identified on the drawings but not described in the schedule
18.5 | New Mezzanine floor Mess Room M01
18.501 | Investigative and preparation / repair works to existing concrete slab
18.502 | Marshall Tufflex Elegance 170 Dado perimeter trunking on birch ply backing plate and window reveal fixings | 605b-BD-71-003 | 5.3 | m
18.503 | Metal stud partition to staircase enclosure 30 mins fire resistance - P5 | K10/125 | 14.64 | m2
18.504 | Timber stud wall lining to historic masonry wall, resin anchor fixings to wal -l Wl3 | K10 /205 and 605b-71-001 | 13.368 | m2
18.505 | Timber stud Birch ply and polycarbonate panelled wall - P3 | K10/207 and 605b-BD-71-002 | 14 | m2
18.506 | New door D-M01-01 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
18.507 | New vinyl floor finish and underlay | M50/150 | 31.3 | item
18.508 | Ceiling joists | MNP Structural Comments - Timber Boxes |  | item
18.509 | OSB roof deck K13/535, treated | 605b-BD-70-010 | 36.8 | m2
18.51 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 35 | m2
18.511 | Kitchen base and wall units as per drawing | 605b-51-000 |  | item
18.512 | Corian Worktop incl 100mm upstand | N11/340 | 4.6 | m2
18.513 | Tiles above counter including trims | M50/115 | 1.88 | m2
18.514 | Skirtings | P10/110 | 16.6 | m
18.515 | Decorations to all walls and ceiling | 605b-WD-13 series | 91.88 | m2
18.516 | Zip tap and water heater | N10/365 | 1 no | item
18.517 | Microwaves | N10/360 | 2 no | item
18.518 | Kitchen fittings, appliances and miscellaneous as shown on drawings | 605b-51-000, N10 |  | item
18.519 | Extract fan to kitchen to be installed in window reveal as WC detail |  |  | item
18.52 | lighting | WD-15 series |  | item
18.521 | services connections | WD-16-000 |  | item
18.522 | Items identified on the drawings but not described in the schedule |  |  | item
18.6 | New Mezzanine floor locker room
18.601 | New door D-M12-01 w/ associated ironmongery, frame, architraves and trims | 605b-BD-72-001 |  | item
18.602 | Timber stud side walls - P1 | K10 /206 and 605b-71-001 | 20.232 | m2
18.603 | New vinyl floor finish including plywood underlay | M50/150 | 31.5 | m2
18.604 | redecorate existing masonry wall | M50/115 | 18.96 | m2
18.605 | ceiling joists including new timber i beam and timber post. | MNP Structural Comments - Timber Boxes |  | item
18.606 | OSB roof deck K13/535, treated | 605b-BD-70-010 | 33.5 | m2
18.607 | fermacell board ceiling on 25mm counterbattens | K10/245 and 605b-70-710 | 31.5 | m2
18.608 | Timber stud birch ply and polycarbonate panelled wall - P3 | K10/207 and 605b-BD-71-002 | 30 | m2
18.609 | Decorations to P1 walls and ceiling | 605b-WD-13 series | 20.16 | m2
18.61 | Marshall Tufflex Elegance 170 Dado perimeter trunking | 605b-BD-71-003 | 8 | m
18.611 | lighting | WD-15 series |  | item
18.612 | services connections | WD-16-000 |  | item
18.611 | Items identified on the drawings but not described in the schedule |  |  | item