QUESTIONS/CLARIFICATION TO BIDDERS – STAGE SYSTEMS

Question 1	3.1.5a  Which bars are to be replaced over-stage								 Answer - All over-stage bars

Question 2 	3.1.5j  16amp sockets not compatible with 15amp can we fit PowerCon				Answer  - PowerCon acceptable

Question 3 	3.1.5l  linking a new board from existing not recommended fit new?					Answer – yes acceptable

Question 4 	3.2.2c Speakers should be 47hz to 20khx is this correct							Answer – yes

Question 5 	3.2.2d  VGA cable rarely installed now.  Can we fit SDI cable						Answer  - yes acceptable

Question 6 	3.4.1a & b  track lengths not stated										Allow 7.5 mtr + 1 meter overlap