## Sheet1
CSNPC - HDP - LCSF4 - Clarification Questions
Date | Question | Response
02.08.2023 | 1. For the 20% performance, how will this be scored? 2. Should our price include fees charged by the DNO for any potential applications? It would be good if there was a standard approach for all the bidders e.g. fixed fee all bidders should apply to each site. This will help as SSE does not charge for any application under 250kVA and as we have not audited the site it is unknown if any solution will exceed 250kVA levels. | 1) The performance will be based on: a. Accompanying proposal document – 5% b. Relevant Experience – 5% c. Industry Accreditations & CV’s (i.e. Technical ability) – 5% d. Ability to deliver on time – 5% 2) The DNO application does need to be included within the proposal. CSNPC do not intend to set a fixed price for this. It is down to the respective bidder to base the cost from the set of metrics provided within the pricing documentation.
03.08.2023 | Please can you provide the tender documents for the opportunity below. | Please find the pricing proposal document attached. As per the project description. The scoring is based 80% cost and 20% performance. 1) The performance will be based on: a. Accompanying proposal document – 5% b. Relevant experience – 5% c. Industry Accreditations & CV’s (i.e. Technical ability) – 5% d. Ability to deliver on time – 5% Total – 20%
03.08.2023 | We wish to re-submit our bid. Do we just resend our previous submission to this email? | You are of course welcome to resubmit your proposal as is. For clarity, there has been an amendment to the score weighting as per the project description. The scoring is based 80% cost and 20% performance. 1) The performance will be based on: a. Accompanying proposal document – 5% b. Relevant experience – 5% c. Industry Accreditations & CV’s (i.e. Technical ability) – 5% d. Ability to deliver on time – 5% Total – 20%
03.08.2023 | Is there a new document to answer these questions in or any further detail on what is required for these questions e.g. how many case studies do we need to provide for relevant experience and is the accompanying proposal document the excel that we previously submitted? | There is no pre-set document for the accompanying information. We are content to accept PDF documents. Bidders should provide all relevant supporting information in which they deem to support the application. The proposal document is required as to provide the Council with a overview of the bidder and the intended work. The proposal may incorporate CV’s & case studies in to one document. All clarification questions will be published, as so all bidders are provided with the same information.
03.08.2023 | I have reviewed the details for the published Heat Decarbonisation Plan project. I have been unable to find a detailed specification, just the excel sheet and basic information on Contractsfinder.gov. Is there any more information available on this opportunity? | CSNPC are working in partnership with the Funder Salix Finance. From which the pro-forma document supplied in the tender pack is a prepopulated set of evaluation criterion (set by Salix Finance). This document also provides the bidder with Parish asset information, which should provide the bidder with sufficient metrics as to finalise a cost proposal. There are also supporting links to further Salix information located within the document. There is no pre-set document for the accompanying information. Bidders are requested to provide all relevant supporting information in which they deem to support the application. A proposal document is required as to provide the Council with a overview of the bidder and the intended work. The proposal may incorporate CV’s & case studies in to one document.
07.08.2023 | Please can you confirm exactly what you are expecting when you say some “RIBA stage 3 works”. You mention engagement with the DNO but the projects don’t necessarily need to be at stage 3 stage to enable this. Do you require stage 3 drawings and or design report as these works will not fall within the £71,000 budget. Could you please explain exactly what the output for RIBA stage 3 requirements are. | CSNPC are working in conjunction with Salix Finance. The requirements are based around their specification for completion of the HDP. Below is a screenshot taken from the Salix website. However, the full document can be found here - https://www.salixfinance.co.uk/sites/default/files/2023-04/Heat%20Decarbonisation%20Plans%20and%20Standalone%20Detailed%20Designs.pdf Detailed design expectations • Produce a technical design, including a design specification and schematics for proposed low carbon technologies (At least RIBA stage 3). • Consider facilitating works: infrastructure upgrades, pipe work improvements, emitter replacements … • On completion: Heat loss calcs, technical site surveys, data sheets, sizing calcs, design drawings.