## Annex 1
Enclosure 1 |  |  |  | XXXXX Use Only
Supplier name
Contact
Company Number
VAT Number
Confirm Copy of your company’s Terms and Conditions and Payment Plan as per section 6.3 has been included in our response
Conflict of Interest Statement. Please provide statement as per the options at section 8 in the ITT
Date of response
ITT Ref | REQUIREMENT | COMMENT | RESPONSE
1.1 | 30HP (314kg/hr) 4VT Gas Fired Steam Boiler | Provide the detail of your solution
1.2 | 30HP Natural Gas Burner | Provide the detail of your solution
1.3 | Major Compact Feed and Condensate Tank with Integral Blowdown Tank | Provide the detail of your solution
1.4 | Duplex Water Softener Kennet 25mm | Provide the detail of your solution
1.5 | Combined Auto Bottom Blowdown and TDS System for the 4VT Range of Boilers | Provide the detail of your solution
1.6 | Solenoid Operated Steam Heating System Including Temperature Gauge | Provide the detail of your solution
1.7 | Chemical Dosing Unit - 3/4" Water Meter and 100 Litre Chemical Tank and Bund | Provide the detail of your solution
1.8 | Stainless Steel Sample Cooler | Provide the detail of your solution
1.9 | To include delivery to and full commissioning on site at our warehouse in Indian Queens, Cornwall, TR9 6GX | Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Provide the detail of your solution
Costs
£
£
Total (EX VAT) |  | £

## Compliance (hidden)
Supplier name | A | B | C | D
Contact
Company Number
VAT Number
Confirmation that you the supplier are able to meet the requirements outlined in the brief above.
2.1
2.1.1
2.1.2
2.2
2.2.1
2.2.2
2.2.3
2.2.4
2.2.5
3
Costs
Total (EX VAT)