## Schedule of Works
0
0
0
0
0
0
| 2ND FLOOR, CARE FACILITY REFURBISHMENT PROJECT |  |  |  | 0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
0
| PROJECT: |  |  |  | 0
| REFURBISHMENT WORKS TO 2nd FLOOR CARE FACILITY |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| This specification is to be priced in conjunction with drawings: CCP-GP-T2-01 CCP-GP-T2-02 CCP-GP-T2-03 CCP-GP-T2-04 CCP-GP-T2-05 CCP-GP-T2-06 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| REMEDIAL WORKS | Qty | Item | Rate | £ p
0
1 | Allow to uplift flooring to work area and dispose. |  |  |  | 0
0
2 | New single door SD01 to be installed in existing block work. Allow to install concrete lintel and make good to all finishes to include floor, leaving ready for decoration. Allow to alter twin compartment trunking and maintain existing power and data to both sides of wall accordingly. |  |  |  | 0
3 | New single door SD04 to be installed in existing stud wall. Allow to make good, leaving ready for decoration. Allow to alter twin compartment trunking and maintain existing power and data to both sides of wall accordingly. |  |  |  | 0
4 | New double doors to be installed in existing stud wall. Allow for all making good, leaving ready for decoration. Allow to alter twin compartment trunking and maintain existing power and data to both sides of wall accordingly. |  |  |  | 0
0
5 | Supply and install timber stud wall for new Accessiblity W/C in Room K204. Finish both sides with 12.5mm plasterboard C/W 100mm acoustic insulation infill. Supply and install skirting board (office side only). Allow to leave all newly installed walls ready for decoration. Allow for suitable timber pattress to support DOC M pack, hand rails, shower seat, shower, shower riser rail. |  |  |  | 0
0
6 | In new room supply and install (dry fit) Accessibility DOC M pack. Supply and install (dry fit) Electric shower to include rail and riser. Supply and install suitable shower seat. |  |  |  | 0
0
7 | Allow to Install only. Salvaged stainless steel sink unit in Room K203 Leave space for fridge. Hot, cold water and waste supplies to be taken from existing Accessibility W/C. |  |  |  | 0
8 | AlLow to Install only. Salvaged Stainless steel hand wash sink to be installed for childcare in Room K203. Allow to install at the correct height for child use. Hot, cold water and waste supplies to be taken from existing accessibility W/C. |  |  |  | 0
0
9 | Supply and install 1000mm wide wall unit c/w with doors in Room K203 |  |  |  | 0
0
10 | Allow to install only. Salvaged Stainless steel hand wash sink in Room K204A. Hot, cold water, waste supplies to be taken from service riser. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| DECORATION WORKS |  |  |  | 0
0
| NOTES: |  |  |  | 0
| Allow to remove all pictures, pin boards, wipe boards, notice boards, transfers, stickers and flyers and set aside and allow to refit. |  |  |  | 0
0
| Allow for all preparation works to include filling any holes, sanding, filling, stopping, chalking. |  |  |  | 0
0
| Do not allow for painting of radiators, pipes or doors. |  |  |  | 0
0
| Allow to remove all door furniture from linings prior to painting. |  |  |  | 0
0
0
1 | Paint all walls in Rooms K204A, K204, K203B, K203A, K203 and new Accessiblity W/C with Crown Eggshell, to include 50% mist coat to new timber stud walls that form new Accessibility W/C. Colour to be White. |  |  |  | 0
0
2 | Paint double door linings and architraves DD01, (room side only) with Dark Grey undercoat and top coat of Satinwood RAL 7016. |  |  |  | 0
0
3 | Paint double linings and architraves DD02 (both sides) with Dark Grey undercoat and top coat of Satinwood RAL 7016. |  |  |  | 0
0
4 | Paint single door linings and architraves SD01, SD04 (both sides) Dark Grey undercoat and top coat of Satinwood RAL 7016. |  |  |  | 0
0
5 | Paint single door linings and architraves, roomside only, SD02, SD03, SD05, SD06 (1 1/2 frame) with Dark Grey undercoat and top coat of Satinwood RAL 7016. |  |  |  | 0
0
6 | Paint previously painted and new skirting with Dark Grey undercoat and top coat of Satinwood RAL 7016. Rooms K204A, K204, K203B, K203A, K203. |  |  |  | 0
0
7 | Paint previously painted ceilings with Crown Emulsion, colour to be White. Rooms K204A, K204, K203B, K203A, K203. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| DOOR SCHEDULE |  |  |  | 0
0
1 | SD01 to be Howdens Blyton Oak Flush Veneered pre-finished Door FD30. Product Code DIL1870, to include overhead door closer (DCL0033) and a universal disabled access door lever pack (DFU0922). Fitted to new softwood door lining to include door stops and architraves both sides. |  |  |  | 0
0
2 | SD04 to be Howdens Blyton Oak Flush Veneered pre-finished 20G Glazed Door FD30. Product Code DIF9370. Fitted to new softwood door lining to include door stops and architraves both sides. Door furniture to be Howdens Round Bar Lever on Rose Satin Door Handle Pair - Product Code DFU0260. To be fitted with Euro/Oval Profile Cylinder Sashlock Case - Product Code LAL0221 c/w escutcheon lock covers to both sides of door. Euro locks to be supplied by the College, allow to fit. |  |  |  | 0
3 | DD02 to be 2 No Howdens Blyton Oak Flush Veneered pre-finished 20G Glazed Door FD30. Product Code DIF9340. Fitted to new softwood door lining to include door stops and architraves both sides. Door furniture to each DD02 door to be D Handle Bolt Fixing - Product Code DFU0143. Door Fingerplate - Product Code DFU0094. |  |  |  | 0
4 | All doors to have Stainless Steel kickers fitted to both sides of doors. |  |  |  | 0
0
5 | All doors to have 1.5 pairs of Stainless heavy duty hinges. |  |  |  | 0
0
6 | Allow for all doors to have door stops fitted. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| SUSPENDED CEILINGS |  |  |  | 0
0
| NOTES: Allow for all support wire, fixings and perimeter trim. |  |  |  | 0
0
0
1 | To supply and fit new Armstrong Dune Max suspended ceiling tiles and grid in Accessibility W/C as per Drawing CCP-GP-T2-05. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
NOTES: Allow for all testing and commissioning and electrical and network data systems and provide relevant documention.
| ACCESSIBLE W/C ELECTRICS & LIGHTING |  |  |  | 0
0
1 | To supply and install new LED lights in accessible toilet providing suitable LUX levels. Controlled by localised switch. |  |  |  | 0
0
2 | To supply and install emergency lighting. |  |  |  | 0
0
3 | To supply and install panic alarm. |  |  |  | 0
K204 - ELECTRICS & LIGHTING
0
4 | Allow for twin compartment trunking to include mains power and data cabling to be relocated around new partition wall to Accessibility W/C. Allow for all new fittings and cable as necessary. |  |  |  | 0
5 | Allow to alter existing light fittings following installation of partitioning walls for Accessibility W/C. |  |  |  | 0
K203 - ELECTRICS
6 | Under counter single socket to be installed for fridge. |  |  |  | 0
0
7 | Double socket to be installed above counter top for kettle. |  |  |  | 0
0
8 | Allow to alter existing twin compartment trunking for new kitchen area. |  |  |  | 0
0
| Please allow to alter all trunking, power and data as mentioned in each door installation. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| FLOORING |  |  |  | 0
0
1 | To remove existing flooring and dispose of accordingly. |  |  |  | 0
0
2 | To supply and install vinyl flooring as per Drawing CCP-GP-T2-04. Flooring to be - Altro Aquarius - colour to be confirmed. Allow for flat lay with the exception of Accessibility W/C. Supply and install coved skirting (W/C side only). |  |  |  | 0
0
3 | To supply and install carpet tiles as per Drawing CCP-GP-T2-04. Flooring to be Forbo Tessera - Teviot Neptune. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
£ p
COLLECTION
| REMEDIAL WORKS |  |  |  | 0
| DECORATION WORKS |  |  |  | 0
| DOOR SCHEDULE |  |  |  | 0
| CEILINGS |  |  |  | 0
| LIGHTING |  |  |  | 0
| FLOORING |  |  |  | 0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0