## Sheet1
Measurement | Supplier | Equipment | Software | PC connections
HTE / Automated Lab Capability
Automated materials dispensing and mixing platform | Chemspeed | Formax | Chemspeed Autosuite - API available | Ethernet
Liquid handling robot | Chemspeed | Swing | Chemspeed Autosuite - API available | Ethernet
Liquid handling robot 2 | To be procured
Light transmission / settling | Labman Automation | CPLT | custom - API available | Ethernet
Colour & Appearance Measurement | Labman Automation | CPOC | custom - API available | Ethernet
Coatings Application | To be procured |  | API will be available | Ethernet
Resistivity Testing | To be procured |  | API will be available | Ethernet
Turbidity / colloidal stability with autosampler | AGS | Turbiscan | Turbisoft | NA
Differential Scanning Calorimetry with autosampler | Perkin Elmer | DSC 8500 | Pyris | Ethernet/software key
Automated surface energy measurement | Kruss | LSA Large Surface Analyser | Advance
FTIR/Raman with Plate Reader | To be procured
Automated DMTA | To be procured
UV / Vis spectrometer with plate reader | To be procured
Multipurpose Bondtester | To be procured
Automated Multisample Scratch Testing | To be procured
Standard Characterisation Capability
AFM | To be procured
Autotitrator | To be procured
Gas Chromatography | Perkin Elmer | Clarus GCMS | TurboMass | Ethernet
Thermo-Gravimetric analysis | Perkin Elmer | Pyris 1 TGA | Pyris | RS232
DSC with UV | To be procured
BPLC - Liquid Chromatography | Agilent | HPLC | TotalChrom | Ethernet
Accelerated settling | LUM | Lumisizer | Sepview 6 | USB
Mechanical - Dynamic Mechanical Analysis | Perkin Elmer | DMA | Pyris | USB/software key
Mechanical - Fatigue Testing | To be procured
Mechanical Testing | Instron | Instron |  | specialist USB
Microscopy - Confocal Microscope | To be procured
Microscopy - Electron Microscopy |  | SEM
Microscopy - Optical Microscopy & Image Analysis | Zeiss | Zeiss Microscope
Particle Sizing - Laser diffraction | Horiba | Partica | LA-950 for Windows | USB
Particle Sizing - DLS / Zetasizer | Horiba | Nano partica | SZ-100 for Windows | USB/software key
pH, conductivity, O2 content | Mettler Toledo | M400 Transmitter | NA | NA
Rheology | Malvern | Kinexus | rSpace | USB
Rheology - Melt Rheometer | To be procured
Spectroscopy - UV absorption | Avantes | UV spec | Avantes | USB
Spectroscopy - IR absorption | Perkin Elmer | Frontier IR | Spectrum | Ethernet
Spectroscopy - Mid IR | Bruker | Matrix-MF
Spectroscopy - Raman Spectroscopy | Horiba | iHR320
Spectroscopy - Raman Microscope | To be procured
Surface Energy / Contact Angle | Kruss | Contact angle measurement | u-eye contact | specialist USB
Surface Tension | Kruss | Force tension | Kruss Lab desktop | specialist USB
Surface Zeta streaming Potential | Anton Parr | SurPASS 3 | SP3 | USB
Surface - Moisture Absorption | Surface Measurement Systems | DVS | Eurotherm | separate box
Surface Area Analysis - BET | To be procured
Universal Testing Machine( Tribology) | To be procured
White Light Interferometer | To be procured
Process Capability
Flow reactor | Uniqsis
Process batch reactor | Radleys | Reactor Ready
TFF filtration | KrosFlo
Flow reactor | Custom-built |  | Assume interface via NI Labview
Microfluidics | To be procured |  | Assume interface via NI Labview
General analogue / digital control and sensing | National Instruments | National Instruments PXI | LabView