## Sheet1
Project: Princes Risborough Community Centre
iTS Job Number: 22090
Document: Mechanical Tender Summary
Item | Description | Cost
1 | General clauses and preliminaries | 0
2 | Isolation and removal of existing mechnical services | 0
3 | Utilities (Attendances and liaison) | 0
4 | Electric water heaters | 0
5 | Water heater controls | 0
6 | Pipework | 0
7 | Insulation | 0
8 | Legionella control | 0
9 | GSM alarm system | 0
10 | Booster tank & pumpset | 0
11 | Dosing pot, air seporator & dirt seporator | 0
12 | Sanitary ware | 0
13 | MVHR and heater battery | 0
14 | Ductwork, fittings & fixings | 0
15 | Controls | 0
16 | Duct insulation (inc acoustic insulation) | 0
17 | Above ground drainage | 0
18 | Gas safety system | 0
19 | Natural gas adaptation | 0
20 | Inspection, testing and commissioning | 0
21 | Record drawings and O&M manuals | 0
22
23
24 | Optional costs
25 | Extra cost MVHR solution for meeting room and large office | 0
26 | Grey water harvesting system | 0
27
28
29
30
31 | Provisional Sums
32 | Works associated with Architectural design development | 500
33 | Utilities | 2500
34 | Mechanical Design Development | 1500
35
36
Total value: |  | 4500
Completed by:
Company name:
Date:

## Example
Project: Metro Bank Cardiff
iTS Job Number: 17044
Document: Mechanical Tender Summary
Item | Description | Cost
1 | General clauses and preliminaries | 0
2 | Air Handling Units | 0
3 | Extract Fans | 0
4 | VRF installation refrigeration plant and pipework - Basement | 0
5 | VRF installation refrigeration plant and pipework - Ground | 0
6 | VRF installation refrigeration plant and pipework - First | 0
7 | VRF installation refrigeration plant and pipework - Second | 0
8 | VRF installation refrigeration plant and pipework - Third | 0
9 | VRF installation & AHU refrigeration plant and pipework - Roof | 0
10 | VRF installation to Comms, UPS & Electrical Rooms | 0
11 | Ductwork installation - Basement | 0
12 | Ductwork installation - Ground | 0
13 | Ductwork installation - First | 0
14 | Ductwork installation - Second | 0
15 | Ductwork installation - Third | 0
16 | Ductwork installation - Roof | 0
17 | Roof plant mounting support systems | 0
18 | Diffusers and grilles | 0
19 | Door Curtain | 0
20 | Condensate drainage system for all VRF systems | 0
21 | Perimeter heating | 0
22 | Perimeter heating installation by manufacture | 0
23 | Domestic water services | 0
24 | Leak detection | 0
25 | Above ground foul drainage | 0
26 | Above ground rain water drainage | 0
27 | Sanitaryware (Install only) | 0
28 | Irrigation (If specified) | 0
29 | Melco controls system and field wiring | 0
30 | HVAC installation/manufacturing drawings based on site restrictions | 0
31 | Commissioning and attendance for soft and grand openings | 0
32 | Record drawings and O&M manuals | 0
33 | 6 week return visit to review HVAC | 0
34 | 3 site visits post practical completion within 2 weeks | 0
Any items not specified (please detail)
35 |  | 0
36 |  | 0
37 |  | 0
38 | Day Rates | 0
39 | Night Rates | 0
Provisional Sums
38 | Works associated with Architectural design development | 6000
39 | Works associated interfacing with rainwater harvesting system | 4000
40 | Utilities | 8000
41 |  | 0
42 |  | 0
Total value: |  | 18000
Completed by:
Company name:
Date: