**Specification:**

* 7 months maintenance service contract Repair & PM 1 (Premium care) for 9xBVI9400 Bladder Scanners (s/n no’s B4012822, B4020152, B4019958, B4013406, B4020151, B4020289, B4020279, B4301039 and B4020821)
* and 3 year maintenance service contract for 14x Prime Plus Bladder Scanners (s/n no’s C1500913, C1501693, C1506651, C1510583, C1510580, C1510586, C1510584, C1510582, C1511374, C1507614, C1510469, C1510581, C1516356 and C1517266). Please see below the equipment list

|  |  |  |  |
| --- | --- | --- | --- |
| Dept | Model | s/n | Type of cover & visits |
| Equipment Library - Trust | Prime Plus bladder scanner |  C1508096 | Repair (Premium care) no PM required with Prime model |
| Equipment Library | Prime Plus bladder scanner | C1510585 | Repair (Premium care) no PM required with Prime model |
| Equipment Library | BVI 9400 bladder scanner | B4012822 | Repair & PM 1 (Premium care) |
| Equipment Library | BVI9400 bladder scanner  | B4020152 | Repair & PM 1 (Premium care) |
| Equipment Library ( from the PRUH) | BVI9400 bladder scanner  |  B4019958   | Repair & PM 1 (Premium care) |
| Davidson Ward | Prime Plus bladder scanner |  C1500913 | Repair (Premium care) no PM required with Prime model |
| Waddington Ward | Prime Plus bladder scanner |  C1501693 | Repair (Premium care) no PM required with Prime model |
| Womens Surgical Unit | Prime Plus bladder scanner | C1506651 | Repair (Premium care) no PM required with Prime model |
| Brunel Ward | Prime Plus bladder scanner | C1510583 | Repair (Premium care) no PM required with Prime model |
| Coptcoat Ward | Prime Plus bladder scanner | C1510580 | Repair (Premium care) no PM required with Prime model |
| Lister Ward | Prime Plus bladder scanner | C1510586 | Repair (Premium care) no PM required with Prime model |
| RD Lawrence Ward | Prime Plus bladder scanner | C1510584 | Repair (Premium care) no PM required with Prime model |
| Day Surgery Unit | Prime Plus bladder scanner | C1510582 | Repair (Premium care) no PM required with Prime model |
| Sam Oram Ward | Prime Plus bladder scanner | C1511374 | Repair (Premium care) no PM required with Prime model |
| Murray Falconer Ward | Prime Plus bladder scanner | C1507614 | Repair (Premium care) no PM required with Prime model |
| Suite 7 Surgical Outpatients | Prime Plus bladder scanner | C1510469 | Repair (Premium care) no PM required with Prime model |
| Suite 7 Surgical Outpatients | Prime Plus bladder scanner | C1510581 | Repair (Premium care) no PM required with Prime model |
| Older Persons Assessment Unit | Prime Plus bladder scanner | C1516356 | Repair (Premium care) no PM required with Prime model |
| Charles Polkey | Prime Plus bladder scanner | C1517266 | Repair (Premium care) no PM required with Prime model |
| Marjorie Warren | BVI9400 bladder scanner  | B4013406 | Repair & PM 1 (Premium care) |
| D Marsden | BVI9400 bladder scanner  | B4020151 | Repair & PM 1 (Premium care) |
| M Whiting Wd | BVI9400 bladder scanner  | B4020289 | Repair & PM 1 (Premium care) |
| Mary Ray | BVI9400 bladder scanner  | B4020279 | Repair & PM 1 (Premium care) |
| Neurosciences | BVI9400 bladder scanner  | B4301039 | Repair & PM 1 (Premium care) |
| ED | BVI 9400 bladder scanner | B4020821 | Repair & PM 1 (Premium care) |

* Premium Care - PM1, repair or replace all malfunctions associated with the device, even if caused by an accidental drop and/or user mishandling for BVI’s; annual calibration with certificate; complimentary software updates, yearly scan point access; replacement if faulty or non-functioning battery; complimentary return shipping; payment terms
* Premium care for the Prime Plus – fully comprehensive including user damage: annual calibration with certificate; unlimited damaged probe replacement; all repairs free of charge; loan unit during service or repair – same day delivery; replacement of expired batteries, software updates; coverage days & times: to be confirmed; payment terms: annual in advance