## Main-REV2
APPENDIX 2
|  |  | EQUIPMENT AND PRICE LIST - SPARES PROVISIONING ITEMS |  | REV 2
Line Item | NATO Stock Number |  |  | Description | Part Number | Class Code | Firm Price (VAT ex, GBP) |  |  |  |  | MOQ | Appx DF (Lead Time Days) | Estimated Annual Consumption
| NSC | NC | IIN |  |  |  | 20/21 | 21/22 | 22/23
[9 empty] | Option Year | D of Q | PPQ
1 | 6685 | 12 | 399-0330 | TEMPERATURE SENSOR, BLEED AIR AMBIENT, OIL | 902040/10-387-1003-1-7, 5-29-121-20 | C | THIS INFORMATION HAS BEEN REDACTED |  |  | EA | THIS INFORMATION HAS BEEN REDACTED |  | THIS INFORMATION HAS BEEN REDACTED | 1
2 | 2840 | 1 | 542-5347 | BACV | 1405 13C | P |  |  |  | EA |  |  |  | 1
3 | 5930 | 12 | 121-7993 | BATTERY MAIN SWITCH | 341002003 | C |  |  |  | EA |  |  |  | 1
4 | - | - | - | DISPLAY AND CONTROL PANEL (WITH KEY LOCK E-STOP) | 5100122-063000.000.0 | P |  |  |  | EA |  |  |  | 1
5 | 5930 | 12 | 327-2308 | DOOR SWITCH | ATO-11-1-I | C |  |  |  | EA |  |  |  | 1
6 | 2835 | 12 | 380-5206 | FADEC | 5030007-061010.000.0 | P |  |  |  | EA |  |  |  | 1
7 | 2915 | 12 | 363-4100 | FUEL CONTROL UNIT | 5039000-031200.000.0 | P |  |  |  | EA |  |  |  | 1
8 | 4820 | 12 | 392-0039 | PRESSURING RELIEV VALVE | 5039000-031103.000.0 | L |  |  |  | EA |  |  |  | 2
9 | 2915 | 15 | 176-7475 | FUEL FILTER CARTRIGE | CS-050-A10-A | C |  |  |  | EA |  |  |  | 1
10 | 4810 | 12 | 363-7103 | SOLENOID VALVE, FUEL SHUTT OFF, SCAVENGE AIR | VFG-MAX-Z226-1/ 2-NG-24VDC | C |  |  |  | EA |  |  |  | 1
11 | - | - | - | FUEL LEVEL SENSOR | 7504951 | C |  |  |  | EA |  |  |  | 1
12 | 5330 | 12 | 134-8835 | SEALING RING (DIN7603-A21X28-CU) | EN 837 - G1/2B - SF-CU F20 | C |  |  |  | EA |  |  |  | 1
13 |  |  |  | FILTER SWITCH | VAE5-0,2BAR | C |  |  |  | EA |  |  |  | 1
14 |  |  |  | O- RING | 011(7,65X1,78)-8309(90NBR) | C |  |  |  | EA |  |  |  | 1
15 | 2915 | 12 | 363-5661 | FUEL PUMP | ET5070000-071026.000.0 | L |  |  |  | EA |  |  |  | 1
16 |  |  |  | SEAL | 5030003-031000.005.0 | C |  |  |  | EA |  |  |  | 1
17 | 4820 | 12 | 194-1580 | FUEL SHUT OFF VALVE | 596049-ROT | C |  |  |  | EA |  |  |  | 1
18 | 6115 | 12 | 365-7044 | GENERATOR, Kit | ET5039000-067000.000.0 | L |  |  |  | EA |  |  |  | 1
19 |  |  |  | BRUSH HOLDER | 1194336030 | C |  |  |  | EA |  |  |  | 1
20 | 5330 | 12 | 363-8636 | SHAFT SEALING RING | 00520867 - 75FKM585 | C |  |  |  | EA |  |  |  | 0
21 | 5331 | 1 | 567-3870 | O- RING | 190x4 - Viton | C |  |  |  | EA |  |  |  | 0
22 | 4310 | 1 | 504-4672 | IGNITOR BOX | 9048900-2D | L |  |  |  | EA |  |  |  | 1
23 | 4310 | 1 | 504-4670 | IGNITOR PLUG | 10-630005-1 | C |  |  |  | EA |  |  |  | 2
24 | - | - | - | PRESSURE SENSOR FOR OIL, BLEED AIR | 520.9937 | C |  |  |  | EA |  |  |  | 1
25 | 6685 | 12 | 363-7347 | PRESSURE SENSOR FOR FUEL | 520.9925 | C |  |  |  | EA |  |  |  | 1
26 | 5331 | 17 | 123-2565 | O-RING FOR BLEED PIPE | 102X3 V70 | C |  |  |  | EA |  |  |  | 2
27 | - | - | - | O-RING FOR BLEED AIR HOSE | 90X3 V70 | C |  |  |  | EA |  |  |  | 2
28 | 5330 | 12 | 156-4523 | SEALING RING | DIN7603-A14X20-CU | C |  |  |  | EA |  |  |  | 1
29 | - | - | - | O-RING 88X4 | 88X4FKM | C |  |  |  | EA |  |  |  | 1
30 | - | - | - | O-RING 015(14,0X1,78) | ORAR00015AVCT82 | C |  |  |  | EA |  |  |  | 1
31 | - | - | - | O-RING 014(12,42X1,78) | ORAR00014AVCT82 | C |  |  |  | EA |  |  |  | 1
32 | 5905 | 1 | 519-9021 | SPEED SENSOR | IMRM16D1599 | L |  |  |  | EA |  |  |  | 1
33 | 2910 | 1 | 318-3720 | START FUEL NOZZLE | 169111-2 | L |  |  |  | EA |  |  |  | 1
34 | 5310 | 1 | 560-0111 | WASHER-LOCK-TABBED | 4502312 | C |  |  |  | EA |  |  |  | 1
35 | - | - | - | STARTER, Kit | ET5990000-066000.000.0 | P |  |  |  | EA |  |  |  | 1
36 | 5330 | 12 | 363-8085 | STARTER GASKET | 999814-851000.007.0 | C |  |  |  | EA |  |  |  | 1
37 | - | - | - | STARTER BRUSH KIT | 5030005-851230.021.0 | C |  |  |  | EA |  |  |  | 1
38 |  |  |  | COUPLING ASSEMBLY | 5039000.071010.000.0 | C |  |  |  | EA |  |  |  | 1
39 | 2945 | 12 | 13765021 | OIL FILTER | W719/1 | C |  |  |  | EA |  |  |  | 1
40 |  |  |  | CONNECTOR CABLE | 5030007-061150.000.0 | C |  |  |  | EA |  |  |  | 1
41 |  |  |  | CONNECTOR CABLE | 5030007-061160.000.0 | C |  |  |  | EA |  |  |  | 1
42 |  |  |  | CONNECTOR CABLE | 5030007-062090.000.0 | C |  |  |  | EA |  |  |  | 1
43 | 6685 | 14 | 584-1722 | EGT THERMOCOUPLE | 9480-101-22543 | C |  |  |  | EA |  |  |  | 2
44 | 4720 | 1 | 573-2437 | DUCT/SCUFFER (50ft) | P/N 51180-50 | C |  |  |  | EA |  |  |  | 10
45 |  |  |  | MALE ENDFITTING | 5100000-200001.000.0 | C |  |  |  | EA |  |  |  | 1
46 |  |  |  | FEMALE ENDFITTING | 5100000-200002.000.0 | C |  |  |  | EA |  |  |  | 1
47 |  |  |  | HOSE CLAMP | EXTRA 95-118/16 C8 W4 | C |  |  |  | EA |  |  |  | 5
48 | 4730 | 12 | 390-6042 | HOSE CLAMP | EXTRA 83-105/16 C8 W4 | C |  |  |  | EA |  |  |  | 10
49 | 5340 | 12 | 390-6373 | VEE-CLAMP | T130117205AB3A | C |  |  |  | EA |  |  |  | 4
50 | - | - | - | ADHESIVE TAPE | L036.1 | C |  |  |  | EA |  |  |  | 20
51 |  |  |  | COUPLING HANDLE TYPHOON | 5100182-207001.000.0 | C |  |  |  | EA |  |  |  | 1
52 |  |  |  | LOCK ADJUSTABLE | C2-32-35-3 | C |  |  |  | EA |  |  |  | 2
53 |  |  |  | DOOR LOCK | 507-9003 | C |  |  |  | EA |  |  |  | 2
54 |  |  |  | SCAVENGE HOSE | NG2M MM65/50 50X970 | C |  |  |  | EA |  |  |  | 1
55 |  |  |  | HOSE CLAMP | VG95930-SA50X20-W5 | C |  |  |  | EA |  |  |  | 2
56 |  |  |  | TYRE | 195/50 B10 98B | C |  |  |  | EA |  |  |  | 4
57 | 4210 | 99 | 2165727 | Integrated 9Kg Dry Power Extinguisher | FS9ILPPINT | L |  |  |  | EA |  |  |  | 10
58 | 5930 | 99 | 1480879 | Discharge Pressure Switch | FT0124/1 | C |  |  |  | EA |  |  |  | 2
59 | 5930 | 99 | 2888050 | Monitoring Pressure Switch | FT0124 | C |  |  |  | EA |  |  |  | 2
60 | 6350 | 99 | 5551904 | Detention Tubing 6mm x 20 m | FT0115 | C |  |  |  | EA |  |  |  | 5
61 |  |  |  | Schrader adapter | FT0172 | C |  |  |  | EA |  |  |  | 2
62 | 4720 | 99 | 8415326 | Air Start Hose 40 Ft ABS40 | SAL HOSE 40R | C |  |  |  | EA |  |  |  | 10
63 | 4720 | 99 | 4399477 | Air Start Hose 60 Ft ABS40 | SAL HOSE 60R | C |  |  |  | EA |  |  |  | 10
64 | 4730 | 99 | 2161521 | Air Start Coupling | M7950-93S5 | C |  |  |  | EA |  |  |  | 5
65 | 5935 | 99 | 2233435 | V Clamp | ABS 15 | C |  |  |  | EA |  |  |  | 4
66 | 5935 | 99 | 9243716 | Hose Clamp | ABS1 | C |  |  |  | EA |  |  |  | 20
67 | 1730 | 99 | 6686309 | Cuff Set | 4043-0001-2 | C |  |  |  | EA |  |  |  | 2
68 | 4730 | 99 | 7922965 | End fitting, female | 0002-0009 | C |  |  |  | EA |  |  |  | 4
69 | 4730 | 99 | 2090869 | End fitting, male | 0002-0008 | C |  |  |  | EA |  |  |  | 4
70 | 6140 | 12 | 3426589 | Control Panel Battery | A512/1.2S | C |  |  |  | EA |  |  |  | 10
71 | 6210 | 99 | 6873452 | Beacon Amber 24 VDC | LED401-02-01 | C |  |  |  | EA |  |  |  | 10
72 | 6210 | 99 | 7294679 | Beacon Red 24 VDC | LED401-02-02 | C |  |  |  | EA |  |  |  | 10
73 | 6110 | 99 | 3143379 | Control Panel Refurbishment | D13518 | L |  |  |  | EA |  |  |  | 1
74 | 5998 | 99 | 2163541 | PCB Relay Assembly | 277-5633 | L |  |  |  | EA |  |  |  | 3
75 | 2940 | 0 | 9407928 | Compressor Oil Filter | LF4003 | C |  |  |  | EA |  |  |  | 1
76 | 2940 | 99 | 3514062 | Compressor Air Filter | AF989 | C |  |  |  | EA |  |  |  | 6
77 | 3030 | 1 | 5184352 | Fan Belt 230PPM | 3681, WF0207500, 636 | C |  |  |  | EA |  |  |  | 2
78 | 4330 | 99 | 5804138 | Fuel Filter 165PPM | FS01003 | C |  |  |  | EA |  |  |  | 20
79 | 2910 | 99 | 3867963 | Oil Filter 165PPM | LF14000MXNN | C |  |  |  | EA |  |  |  | 20
80 | 3030 | 99 | 4581818 | Belt Alternator 165PPM | 3290142 | C |  |  |  | EA |  |  |  | 2
81 | 2910 | 1 | 5203411 | Fuel Filter 230PPM | FS01040 | C |  |  |  | EA |  |  |  | 10
82 | 2940 | 1 | 5184351 | Oil Filter 230PPM | LF09070 | C |  |  |  | EA |  |  |  | 10
83 | 3030 | 1 | 5184350 | Belt Alternator 230PPM | 3101314 | C |  |  |  | EA |  |  |  | 2
84 | 2940 | 1 | 5185109 | Coolant Filter 230PPM | WF02126 | C |  |  |  | EA |  |  |  | 10
85 | 2910 | 99 | 9945871 | Coolant Filter 165PPM | WF0207500 | C |  |  |  | EA |  |  |  | 20
86 | 2940 | 99 | 6239239 | Engine Air Filter | AF01867 | C |  |  |  | EA |  |  |  | 20
87 | 6685 | 99 | 3187159 | Transmitter Pressure Fuel 756-9651 | AE 756-9651 (5000BGM7000G3005A002) | C |  |  |  | EA |  |  |  | 2
88 | 6695 | 99 | 6693976 | Transducer Air Pressure 2200 Series 756-7803 | AE 756-7803 (2200BGA4001B3UA001) | C |  |  |  | EA |  |  |  | 2
89 |  |  |  | Transducer Ambient Temperature 756-8794 | ATS 756-8794 | C |  |  |  | EA |  |  |  | 1
90 |  |  |  | Transducer Oil Temperature 756-8817 | ATS 756-8817 | C |  |  |  | EA |  |  |  | 1
91 | 6695 | 99 | 9793694 | Transducer Air Temperature 300°C 756-8809 | ATS 756-8809 | C |  |  |  | EA |  |  |  | 1
92 |  |  |  | Transducer, Air Inlet Depression 756-6205 | AE 756-6205 VACUUM (5000BGM7000G3005A001) | C |  |  |  | EA |  |  |  | 2
93 |  |  |  | Cooling Tower Transducer 776-0368 | ATS 776-0368 | C |  |  |  | EA |  |  |  | 1
94 |  |  |  | Taper Roller Bearing 368A/362A, 50.8mm I.D, 88.9mm O.D | Timkin 368A/362A | C |  |  |  | EA |  |  |  | 4
95 |  |  |  | Taper Roller Bearing 30209 J2/Q, 45mm I.D, 85mm O.D | SKF 30209 J2/Q | C |  |  |  | EA |  |  |  | 4
96 | 5920 | 99 | 1578023 | RS Pro 2A Glass Cartridge Fuse, T, 5 x 20mm | 563-722 | C |  |  |  | EA |  |  |  | 6
97 | 5920 | 99 | 7521892 | RS Pro 5A Glass Cartridge Fuse, T, 5 x 20mm | 563-532 | C |  |  |  | EA |  |  |  | 7
98 |  |  |  | RS Pro 10A Glass Cartridge Fuse, T, 5 x 20mm | 611-0024 | C |  |  |  | EA |  |  |  | 1
99 |  |  |  | SMC Air Hose Blue Polyurethane 10mm x 20m TUS Series | TUS1065BU-20 | C |  |  |  | EA |  |  |  | 1
100 |  |  |  | Wheel nuts (5/8 UNF) | WRAP023 | C |  |  |  | EA |  |  |  | 5
101 |  |  |  | Gas Strut 728 Extended Length 470N | 01-10230300-258 | C |  |  |  | EA |  |  |  | 16
102 |  |  |  | Wheel and tyre assembly (Tyrfil 23x10-12 T900 20pr 8.00-12 5 stud Ind) | W1280112 & P124441 | C |  |  |  | EA |  |  |  | 4
103 |  |  |  | Circuit breaker, ETA magnetic & Hydraulic 10A Single Pole | AER8340T10A | C |  |  |  | EA |  |  |  | 1
104 |  |  |  | Circuit breaker, ETA magnetic & Hydraulic 16A Single Pole | AER8340T16A | C |  |  |  | EA |  |  |  | 1
105 |  |  |  | Circuit breaker, ETA magnetic & Hydraulic 25A Single Pole | AER8340T25A | C |  |  |  | EA |  |  |  | 1
106 | 5930 | 99 | 7023607 | Pushbutton, Emergency Stop | LP2T B6644 | C |  |  |  | EA |  |  |  | 4
107 |  |  |  | Fuse holder, type BF1 | 757-1452 | C |  |  |  | EA |  |  |  | 4
108 |  |  |  | Fuse link, 100 A, type BF1 | 757-1460 | C |  |  |  | EA |  |  |  | 4
109 | 6620 | 99 | 8347826 | Work lamp, 24 V DC, 70 W | 1G4003470-001 | C |  |  |  | EA |  |  |  | 2
110 | 6685 | 15 | 1209041 | Bulb, 24 V DC, 70 W | 777-0921 | C |  |  |  | EA |  |  |  | 2