|  |
| --- |
| **Tenant Services, Wokingham BC STP, Septic tank and pumping stations** |
| **Type** | **Sewage Treatment Plant** |  |  |
|  |  |  |  |
| **Site No** | 3 | **Approx grid ref.** | SU 800 810 |
| **Address** | 5 The CrescentCrazies HillReadingRG10 8LW | **No of properties connected** | 1 |
|  |  |  |  |
| **Consent** |  | **Plant** | P6 Titan/ ENTEC Biotec package sewage treatment plant with an Et60 air pump |
| EA Ref No | CASM.1491 |  |
| Bio Oxygen Demand (BOD) | Not specified |  |
| Suspended Solids (SS) | Not specified |  |  |
| Nitrogen (N) | Not specified |  |  |
| Other | Copper & zinc limited |  |  |
| Volume | 1M3 per day | **Site description** |  |
| **Plant details** |  |  |  |
| Make |  |  |  |
| Model |  |  |  |
|  |  |  |  |
|  |  |  |  |
| **Other comments:** Situated under patio with limited access. Desludging: 2Nr visits per annum with 6800 litres total pa |
|  |