| # Tenant Services, Wokingham BC STP, Septic tank and pumping stations |  |  |  |
| --- | --- | --- | --- |
| Type | Sewage Treatment Plant |  |  |
| Site No | 3 | Approx grid ref. | SU 800 810 |
| Address | 5 The Crescent Crazies Hill Reading RG10 8LW | No of properties connected | 1 |
| Consent |  | Plant | P6 Titan/ ENTEC Biotec package sewage treatment plant with an Et60 air pump |
| EA Ref No | CASM.1491 |  |  |
| Bio Oxygen Demand (BOD) | Not specified |  |  |
| Suspended Solids (SS) | Not specified |  |  |
| Nitrogen (N) | Not specified |  |  |
| Other | Copper & zinc limited |  |  |
| Volume | 1M3 per day | Site description |  |
| Plant details |  |  |  |
| Make |  |  |  |
| Model |  |  |  |
| Other comments: Situated under patio with limited access. Desludging: 2Nr visits per annum with 6800 litres total pa |  |  |  |