## Sheet1
Price Schedule
| Property: | 3 Ennor House Refurbishment
[5 empty] | Labour |  |  | Parts/Materials
|  |  | Additional Detail | Est Quantity | Hours | Rate | £ (Total) | No | £ (Total) | Description | Total
PART 1 | Location/Works Area | Electrical & Plumbing Works
| EP1 | Contractor to liase with pre-appointed electrician who will complete first and second fix.
| EP2 | Plumbing to meet all current legislation.
| EP3 | Re-wire property to current regualtions/codes including the supply of all new sockets and fittings | This is already factored in with electrical contractor.
Sub-Totals
| Location/Works Area | Kitchen
| K1 | Continue to fill voids in walls with insulation
| K2 | Construct ceiling where missing. De-nail and prepare underside of joists to receive new ceiling boards. Provide and fix plasterboard cut to fit with staggered joints, fill and scrim joints and set whole with suitable finish plaster.
| K2 | Skim walls throughout.
| K3 | Supply and fit new white kitchen As per specification attached.
| K4 | Supply a worktop of smooth and impervious material of minimum size 600 x 350mm.
| K5 | Supply and provide a metal sink and drainer in good condition and of minimum cut out dimensions of 575x 450mm set on a stable base with a constant supply of hot and (potable) cold water. Where practicable, a two course tiled splashback shall be provided. The sink shall be connected to the drainage system via a suitable trap.
| K6 | Install correct cooker hood extraction. | Install cooker hood with extraction out of property (electrician to install) , contractor to liase with electrician to include core drilling hole to outsdide to vent. Make good internally and external wall. .
| K7 | Supply and fit new lino to the kitchen | Lino size at largest point to be length 370cm x 130cm wide.
| K6 | Re-tile wall area | Around kitchen cabinets and behind cooker area. To a minimum height of 300mm.
| K7 | Repaint walls and ceiling in white | Include Mist Coat and 2 further coats.
| K8 | Supply and install smoke detector. | Covered by Electrical Contractor.
Sub-Totals
| Location/Works Area | Bathroom
Continue to fill voids in walls with insulation
| B1 | Construct ceiling where missing. Prepare underside of joists to receive new ceiling boards. Provide and fix plasterboard cut to fit with staggered joints, fill and scrim joints and set whole with suitable finish plaster. Ensure a minimum of 60 minutes fireproofing between ceiling and neigbouring property.
| B2 | Supply and fit showerwall/boarding or similar to walls adjacent to shower.
| B3 | Skim walls and ceiling where there is no showerwall/boarding.
| B4 | Provide and install an impervious shower quadrant enclosure and tray (maximum size 900mm x 900mm) to the corner of the bathroom where the copper pipe is located. Ensure it is properly connected to the waste. Supplied with hot and cold water controlled by a thermostatic control within the enclosure.
| B5 | Supply and fit new wash hand basin and pedestal with chrome taps. Water supply should be mains fed with accessible isolator valve, lever or ballowfix type. Shower to be connected to consumer unit with cabling. All warrantees and gurantees to be forwarded to CIOS Housing Dept. Supply and fit new close coupled WC with push button flush system and white seat.
| B6 | Core Drill ventilation hole for bathroom fan to specified size of electrical contractor.
| B7 | Supply and fit vinyl flooring
| B8 | Supply skirting board
| B9 | Redecorate all wallsand ceiling without shower wall boarding on in white. | Include Mist Coat and 2 further coats.
| B10 | Supply cupboard door and door furniture to airing cupboard area with door frame.
| B11 | Electrician to fit heated towel rail.
Sub-Totals
| Location/Works Area | Lounge /Diner
| L1 | Continue to fill voids in walls with insulation
| L2 | Construct ceiling where missing. Prepare underside of joists to receive new ceiling boards. Provide and fix plasterboard cut to fit with staggered joints, fill and scrim joints and set whole with suitable finish plaster. Ensure a minimum of 60 minutes fireproofing between ceiling and neigbouring property.
| L3 | Skim walls and ceiling.
| L4 | Redecorate walls and ceiling in white | Include Mist Coat and 2 further coats.
| L5 | Apply skirting board to room.
| L6 | Supply and Fit Door, Door frame and door furniture to lounge door
Sub-Totals
| Location/Works Area | Entrance Porchway
| EP1 | Continue to fill voids in walls with insulation
| EP2 | Construct ceiling where missing. Prepare underside of joists to receive new ceiling boards. Provide and fix plasterboard cut to fit with staggered joints, fill and scrim joints and set whole with suitable finish plaster. Ensure a minimum of 60 minutes fireproofing between ceiling and neigbouring property.
| EP3 | Skim walls and ceiling.
| EP4 | Redecorate walls and ceiling in white | Include Mist Coat and 2 further coats.
| EP5 | Apply skirting board to room.
| EP6 | Supply and Fit Doors, Door Furniture and Door frames to bathroom, lounge and bedroom doors.
Sub-totals
| Location/Works Area | Bedroom 1
| B1 | Continue to fill voids in walls with insulation
| B2 | Construct ceiling where missing. Prepare underside of joists to receive new ceiling boards. Provide and fix plasterboard cut to fit with staggered joints, fill and scrim joints and set whole with suitable finish plaster. Ensure a minimum of 60 minutes fireproofing between ceiling and neigbouring property.
| B3 | Skim walls and ceiling.
| B4 | Redecorate walls and ceiling in white | Include Mist Coat and 2 further coats.
| B5 | Apply skirting board to room.
| B6 | Supply and Fit Door, Door Frame and Door Furniture.
Sub-Totals
| Location/Works Area | General
| G1 | Whilst works are in progress, due care and attention is to be paid towards the provisions of the Health and Safety at Work etc Act 1974 and Control of Pollution Act 1974. In particular, scaffolding is to be erected in a proper and secure manner, work is to be carried out in such a way to ensure maximum safety to all persons and materials to be stored and handled in a safe and proper manner.
| G2 | While works are in progress, the common hallways, landings and stairways should be kept free from accumulations of rubbish, debris and materials etc.
| G3 | When carrying out the foregoing works, ensure all surfaces disturbed or damaged are made good, decorated and left to match existing.
| G4 | On completion of the works, the site should be left in a clean tidy condition and free from builders' debris.
All works shall be carried out in a proper manner to the satisfaction of the Local Authority. Where British Standards or Codes of Practice are applicable, they should be adhered to.
Part - 2 | Other Costs Not Covered Above - please describe type, number of, rate and total cost for each and every item
|  | Description |  | Unit Type e.g. Number, m2, hours | Number | Rate | Total Cost
O1
O2
O3
O4
O5
O6
O7
O8
O9
O10
| Sub-Totals | [5 empty] | 0
|  | Grand Total (Part 1 + Part 2) |  |  |  |  | 0
General Notes On Pricing
1 | Contract will be based on a fixed price basis with any variations during its term subject to written confirmation by the Council prior to the works being undertaken.
2 | Works outside of those identified in this submission and which are not agreed as variations prior to the works being undertaken shall be subject to the Council's discretion as to A) whether these were required, and B) the associated costs (which will need to be evidenced by the contractor as fair and reasonable)
3 | Notation 2 is without prejudice to any works that the contractor is required to undertake immediately in the interests of health and safety or where delay may lead to property damage
4 | The section "Other Costs…" will be subject to confirmation by the Council and may require clarification during the evaluation phase of the tender/quotation process
4 | All the above costs should include all contractor prelims, overheads and profit
5 | Tenders prices shall be held for the duration stated in the tender/quotation and the count shall commence immediately following the deadline date and time for the reciept of tenders or where no deadline exists the date and time at which your submission was received by the Council
6 | All prices shall be in GBP (£) and exclude VAT
7 | All price submissions should be issued to the Council without caveats or conditions attached. Where bids are received with caveats these will be rejected