Amesbury Town Council

The Bowman Centre, Shears Drive, Amesbury, Wiltshire, SP4 7XT
Telephone 01980 622999

Email: townclerk@amesburytowncouncil.gov.uk
AD 979





AD 979
TOILET BLOCK GROUND WORKS

CONTRACT BRIEF DESCRIPTION OF WORKS

The Supplier shall:

1. All Areas - Additional and General Works

· Legionella safety test and allow for flush-through as necessary

· Full electrical test and allow for re-wire and replacement consumer unit

· Refurbishment of all first-fix pipework, connections, gullies etc.

· Refurbishment of windows including making good and decoration
2. Disabled Toilet

· Deep clean all surfaces including steam cleaning of ceramic floor and wall tiles

· Make good loose or damaged tiles as required

· Ceiling - remove all loose paint/Artex; redecorate with suitable paint for high humidity

· Wooden surfaces - make good, prepare and seal, prime and gloss

· Ply trunking - clad with PVC

· Light fittings - remove and install new tamper-proof LED fittings

· Hand dryer - refurbish, or allow for replacement

· Hot water unit - refurbish, or allow for replacement

· Toilet roll holder - install new tamper-proof

· Entrance Door - refurbish to ensure correct function and replace ironmongery, subject to inspection

3. Ladies Toilet

· Remove all existing wall tiles and replace with new ceramic; colour and type determined by client.

· Painted and stained surfaces - make good, prepare and seal, prime and gloss/stain to match existing

· Deep clean all other surfaces including steam cleaning of ceramic floor

· Ceiling - remove all loose paint/Artex; redecorate with suitable paint for high humidity

· Light fittings - remove and install new tamper-proof LED fittings

· Entrance Door - refurbish to ensure correct function, re-stain, and replace ironmongery

· Cubicles - install stainless steel between wall and free-standing

· WCs and cisterns - provide and install stainless steel, back-to-wall, pre-plumbed type determined by client

· Toilet roll holders - install new tamper-proof

4. Gents Toilet

· Remove all existing wall tiles and replace with new ceramic; colour and type determined by client.

· Painted and stained surfaces - make good, prepare and seal, prime and gloss/stain to match existing

· Deep clean all other surfaces including steam cleaning of ceramic floor

· Ceiling - remove all loose paint/Artex; redecorate with suitable paint for high humidity

· Light fittings - remove and install new tamper-proof LED fittings

· Entrance Door - refurbish to ensure correct function, re-stain, and replace ironmongery

· Cubicle - install stainless steel between walls 

· Urinal - provide and install stainless steel with concealed trap

· Toilet roll holders - install new tamper-proof

5. Utilities Room

· Deep clean all surfaces

· Check and service all incoming services

· External Door - refurbish to ensure correct function, re-stain, and replace ironmongery

6. External Areas

· Deep clean all external surfaces

· Remove signage and set aside for reuse, or replace as necessary

· Rain Water Goods - provide and install metal guttering and downpipes

· Facias and barge boards - make good timber and over-board with UPVC, colour to be determined by client

· Wire grilles - remove, refurbish including painting, set aside for refix

· Exterior Light Fittings - replace all with tamperproof LED, type determined by client

· Roof - adjust lifted roof sheets to fit correctly

7. Provisionals 

· Allow for undefined works

· Allow for Wallgate or similarly approved wash/dry units (hire may be an alternative)

· Allow for refurbishment of existing ceiling ventilation 

· Allow for steel facing for entrance door

· Allow for a vandal-proof enclosure for sanitary bins in the ladies toilet and disabled toilet
8. Electrics

· Ladies toilet
7x Supply and replace low voltage lamps with LED mains powered down lights
· Gents toilet

5 x Supply and replace low voltage lamps with LED mains powered down lights
· Additional

· 2 x Supply and fit replacement lamp to external WC lobby 18w pl lamp

· 1 x Supply and fit replacement clark 30@ 3 prop fan 230v

· Supply and fit motion sensors and timers for all interior lighting

· Supply and fit timer for all exterior lighting

Supply and fit a separate meter to the electric car charging point.
AMESBURY





AD 979





AMESBURY





AD 979








Page 3 of 3

