## Sheet1
APRIL 2015
SOR | DESCRIPTION | QUANTITY | UNIT | VALUE
90# * 010 | Emergency call out - within normal working hours. | 1 | Occ | 26.83
90# * 020 | Emergency call out | 1 | Occ | 53.65
90# * 030 | Emergency call out | 1 | Occ | 69.11
90$ * 040 | Out Of Hours Appointment | 1 | Occ | 33.45
90* * 111 | U ticket - Code for time only | 1 | Occ | 0.01
90* * 666 | Dayworks - Labour only. | 1 | HOUR | 39.69
90* * 888 | ADDITIONAL COST - Non SOR Items | 1 | £ | 1
90A * 015 | Renew shower pull switch (complete) | 1 | Occ | 28.87
90A * 055 | Renew back box and accessory | 1 | Occ | 28.33
90A * 065 | Renew pendant,batten lampholder or pull switch | 1 | Occ | 17.61
90A * 145 | Renew Enclosed Light Fitting Bathroom | 1 | Occ | 68.37
90A * 150 | Renew Dusk to Dawn Light Fitting | 1 | Occ | 68.28
90A * 185 | Convert to pendant or batten lampholder | 1 | Occ | 38.14
90A * 195 | Check and Repair/Refit accessory. | 1 | Occ | 7.73
90A * 215 | Inspect Lighting/Power fault to Circuit | 1 | Occ | 11.59
90A * 220 | Disconnect/Remove Obsolete Wiring (per circuit ) | 1 | Occ | 25.46
90A * 225 | Remove all internal Careline Equipment | 1 | Occ | 40.8
90B * 020 | Renew Any Accessory | 1 | Occ | 20.17
90B * 160 | Complete Electrical MINI test and appropriate | 1 | Occ | 7.73
90B * 165 | Complete Electrical MINOR WORKS Test | 1 | Occ | 13.91
90B * 170 | Complete Electrical DOMESTIC Test | 1 | Occ | 12.15
90B * 175 | Each Additional Circuit | 1 | Occ | 13.09
90C * 005 | Service Electric Cooker And Smoke Detector | 1 | Occ | 25.51
90C * 010 | Service Fridge | 1 | Occ | 8.98
90C * 011 | Service Built-in Oven/Hob and Fridge | 1 | Occ | 30.91
90C * 020 | Renew Cooker unit flush fixed or surface fixed | 1 | Occ | 57.54
90C * 050 | Fit cooker connecting unit(possible multi skill) | 1 | Occ | 60.03
90C * 060 | Reconnect cooker | 1 | Occ | 12.64
90C * 065 | Disconnect cooker | 1 | Occ | 9.68
90C * 075 | Load/Unload cooker | 1 | Occ | 39.26
90C * 085 | Renew cooker circuit/shower circuit - (possible | 1 | Occ | 150.88
90C * 105 | cyclical maintenance of smoke alarm | 1 | Occ | 69.87
90C * 125 | Renew cooker accessory | 1 | Occ | 59.11
90C * 135 | Adjust cooker door and refit loose grill handle | 1 | Occ | 10.74
90C * 150 | Test cooker on site/workshop for faults | 1 | Occ | 13.84
90D * 001 | Repair fault or Connect/Disconnect immersion | 1 | Occ | 15.48
90D * 005 | Rewire immersion heater | 1 | Occ | 25.4
90D * 015 | Renew any immersion heater thermostat | 1 | Occ | 57.83
90D * 030 | Renew C/H programmer/Time switch | 1 | Occ | 148.27
90D * 050 | Renew any Room thermostat | 1 | Occ | 43.15
90D * 055 | Refit Stat/Programmer | 1 | Occ | 17.14
90D * 070 | Wire central heating unit. | 1 | Occ | 64.55
90D * 120 | Fit Vent-Axia solo HP Extractor Fan | 1 | Occ | 418.28
90D * 145 | Renew air filter to positive air pressure unit | 1 | Occ | 54.15
90D * 150 | Repair fault to fan/Drimaster | 1 | Occ | 31.16
90D * 155 | Replace Enviroment Ventilation Unit | 1 | Occ | 329.99
90D * 160 | Renew Shower Unit Complete | 1 | Occ | 314.61
90D * 170 | Repair Shower Unit | 1 | Occ | 28.82
90E * 035 | Renew M.C.B./Any fuse | 1 | Occ | 25.49
90E * 040 | Renew any RCBO | 1 | Occ | 49.32
90E * 045 | Renew Supply Conductors at Consumer Unit | 1 | Occ | 99.77
90E * 050 | Refix Consumer Unit | 1 | Occ | 26.68
90E * 059 | Remove and refit consumer unit | 1 | Occ | 103.37
90E * 065 | Renew R.C.D. 30 MA | 1 | Occ | 126.83
90E * 105 | Install Consumer Unit | 1 | Occ | 473.75
90G * 006 | Install 1 additional socket | 1 | Occ | 118.85
90G * 011 | Install 2 additional sockets | 1 | Occ | 194.14
90G * 016 | Install 3 additional sockets | 1 | Occ | 248.05
90G * 025 | Install additional light. | 1 | Occ | 110.68
90G * 030 | Install 1 additional socket/fused spur for washer | 1 | Occ | 167.87
90J * 240 | Inspect central heating time clock | 1 | Occ | 13.36
90J * 250 | Disconnect and reconnect central heating pump | 1 | Occ | 10.52
90J * 300 | Service Electric Heating and Water. | 1 | Occ | 169.84
90J * 380 | Repair Electric Fire or Storage Heater | 1 | Occ | 23.75
90J * 390 | Renew charge control/cut-out or thermostat | 1 | Occ | 44.69
90J * 399 | Renew Be-Modern Fire | 1 | Occ | 221.49
90K * 220 | Install earth rod and inspection box | 1 | Occ | 43.42
90K * 245 | Install supplementary bonding to bathroom | 1 | Occ | 64.88
90K * 250 | Run Earth Wire N.E 5 mtrs | 1 | Occ | 5.75
90K * 260 | Fit Earth Clip / Strap | 1 | Occ | 7
90K * 265 | Install Earthing/Main Equipotential Bonding Conductor | 1 | Occ | 89.77
90K * 270 | Install Main Earth to TN-C-S/TN-S Supply Block | 1 | Occ | 31.66
90K * 350 | Run and secure cable up to 10mm T & E | 1 | LM | 10.09
90K * 370 | Run and secure cable up to 10mm T & E | 1 | LM | 24.45
90K * 375 | Install/renew plastic trunking | 1 | LM | 9.28
90K * 435 | Change 16 watt 'D' tube or Electric Fire Bulbs | 1 | Occ | 16.83
90K * 645 | Replace mains operated smoke alarm | 1 | Occ | 77.6
90K * 650 | Fit ONLY new mains operated smoke alarm | 1 | Occ | 34.89
90K * 651 | ELECTRICIAN - Supply and fit new mains operated smoke alarm | 1 | Occ | 140.45
90K * 660 | Install battery operated Smoke or CO alarm | 1 | Occ | 37.62
90K * 710 | Renew junction box | 1 | Occ | 24.67
90K * 800 | Remove floor covering to gain access to floors | 1 | Occ | 10.85
90K * 810 | Install tetra access equipment, drill wall & use | 1 | Occ | 21.14
90K * 820 | Install tetra access equip, dril wall & use tetra | 1 | Occ | 10.46
90N * 010 | Electrician-Fix alarm with self-adhesive pad | 1 | Occ | 11.07
90Z * 010 | ADDITIONAL WORKS-Enter details in text. | 1 | Occ | 1.16
91* * 333 | USE SOR FOR ANY PBH JOB OUTSIDE DISTRICT | 1 | Occ | 39.26
91* * 888 | ADDITIONAL COST - Non SOR items | 1 | £ | 1
91A * 225 | Remove all internal Careline Equipment | 1 | Occ | 40.8
91B * 186 | Complete Electrical Installation Condition Report | 1 | Occ | 100.36
91N * 050 | Fit/ Remove Key Safe | 1 | Occ | 9.27