## Cost Breakdown
CONTRACT SUM ANALYSIS - Halls of Residence SALIX Works |  |  |  | V3 | 2023-12-13
Name of the Contractor
| Operating Address |  | SALIX Works - Halls of Residence
| Tender including VE [Excluding VAT] |  | 36304.1775
36304.1775
| 1 |  | SUBSTRUCTURE - Existing Internal Floors | Qty | Unit | Rate | Total
|  | 1.01 | Plane up exisitng floor screed & remove from site. Assume screed thickness of 60mm [all halls] | 76.5 | m3 | 1 | 76.5
[6 empty] | Sub Total | 76.5
| 2 |  | SUPERSTRUCTURE
|  | 2.05 | Remove external windows [Hall of Residence/Common Room Only] | 315 | m² | 0 | 0
|  | 2.05 | Install new windows | 315 | m² | 0 | 0
|  | 2.07 | Install new Cills | 141 | m2 | 0 | 0
|  | 2.07 | Install new insultated plasterboard & stud wall [One hour fire rated] - please state the area allowed for in the tender] | 802 | m² | 0 | 0
|  | 2.07 | 100 mm MDF primed bullnosed skirting. Insultated Wall Areas Only | 240 | m | 0 | 0
|  | 2.07 | Install Perimter metal upstand to Roofs with timber support | 110 | m²
|  | 2.07 | Install new insulated cladding to common room [External] | 153 | m² | 0
|  | 2.07 | Miscellaneous - sundries from Estimate | 0 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 3 |  | INTERNAL FINISHES
|  | 3.01 | Latex [in accordance with Devonshire Architect Specification] | 44 | m3 | 0 | 0
|  | 3.01 | Vinyl Flooring [please state area allowed for in the tender] - including staircase and landing areas | 390 | m² | 0 | 0
|  | 3.01 | Extra over for cap and cove - vinyl tiles | 30 | m | 0 | 0
|  | 3.01 | Extra over for flooring thresholds [all areas] | 160 | Nr | 0 | 0
|  | 3.01 | Carpet Tile Flooring [please state area allowed for in the tender] | 930 | m² | 0 | 0
|  | 3.01 | Stair nosings [5 staircases] | 225 | nr | 0 | 0
|  | 3.01 | Allow for taking up vinyl in staircases and circulation areas. | 390 | m²
|  | 3.01 | Skimming to new insultated walls | 802 | m² | 0 | 0
|  | 3.01 | Allowance for repariing Whiterock Walls [all areas]. Take off and replace. | 72.45 | m2
|  | 3.01 | Vinyl Paint finish - Insultated walls areas only | 802 | m² | 0 | 0
[6 empty] | Sub Total | 0
| 5 |  | SERVICES
|  | 5.01 | Mechanical CSA | 1 | Item | 0 | 0
|  | 5.02 | Electrical CSA | 1 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 8 |  | EXTERNAL WORKS
|  | 8.07 | Work to install district heating into the Halls of Residence | 1 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 9 |  | FACILITATING WORKS
|  | 9.07 | BWIC | 1 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 10 |  | MISCELLANEOUS
|  | 10.1 | Allowance for scribing and modifying the fixed furniture in Clayton & Edmunds Halls | 0 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 11 |  | MAIN CONTRACTOR’S PRELIMINARIES
|  | 11.1 | Site Staff | Qty | Unit | Rate | Total
|  |  | Site Manager[s] | 0 | weeks | 0 | 0
|  |  | Assistant Site Manager[s] | 0 | weeks | 0 | 0
|  |  | Cost surveyor | 0 | days | 0 | 0
|  |  | Site planner | 0 | days | 0 | 0
|  |  | Site Office Administrator | 0 | days | 0 | 0
|  |  | Labourer[s] | 0 | weeks | 0 | 0
|  |  | Gate person | 0 | weeks | 0 | 0
|  |  | Site security | 0 | weeks | 0 | 0
|  |  | Forklift Driver | 0 | weeks | 0 | 0
|  |  | Site Accommodation Cleaner | 0 | weeks | 0 | 0
|  |  | Health & Safety [independent/company] inspectors | 0 | Item | 0 | 0
|  |  | Other - weekend working allowance | 0 | Item | 0 | 0
|  | 11.2 | Non Site Based Staff
|  |  | Director in charge [direct costs allocated to the project] | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Planner | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Marketing | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Health & Safety | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Quality Control | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Design Manager | 0 | weeks/hrs [or part there of] | 0 | 0
|  |  | Other [please state] | 0 | weeks/hrs [or part there of] | 0 | 0
|  | 11.3 | Accommodation [fire rated]
|  |  | Site Offices[s] | 0 | weeks | 0 | 0
|  |  | Meeting Room s] | 0 | weeks | 0 | 0
|  |  | Mess Room [s] | 0 | weeks | 0 | 0
|  |  | Drying Room[s] | 0 | weeks | 0 | 0
|  |  | 3+1 Toilet | 0 | weeks | 0 | 0
|  |  | Container[s] | 0 | weeks | 0 | 0
|  |  | Stairs | 0 | weeks | 0 | 0
|  |  | Delivery/collection | 0 | Item | 0 | 0
|  |  | Allowance for site furniture | 0 | weeks | 0 | 0
|  |  | Services connections - Electrical | 0 | item | 0 | 0
|  |  | allowance for 3 phase power | 0 | item | 0 | 0
|  |  | Services connections - Water | 0 | Item | 0 | 0
|  |  | Services connections - Waste [or tank empty] | 0 | Item | 0 | 0
|  |  | Services connections - Wi-Fi/Data | 0 | weeks | 0 | 0
|  |  | Allowance for safe disconnections and making good | 0 | Item | 0 | 0
|  |  | Allowance for metering and recording site utilities | 0 | Item | 0 | 0
|  |  | Allowances for utilities costs | 0 | weeks | 0 | 0
|  | 11.4 | Hoarding/Security Works/Access Works
|  |  | Solid Timber Hoarding | 0 | m | 0 | 0
|  |  | Herras + gates | 0 | Item | 0 | 0
|  |  | Other - Remove compound; repir fencing and make good grassed/hard court areas | 0 | m2 | 0 | 0
|  | 11.5 | Insurance
|  |  | Contractors All Risk | 0 | Item | 0 | 0
|  |  | Other [please state] | 0 | Item | 0 | 0
|  | 11.6 | Waste
|  |  | Skips | 0 | nr | 0 | 0
|  |  | Waste management | 0 | Item | 0 | 0
|  |  | Other [please state] | 0 | Item | 0 | 0
|  | 11.7 | Works Access
|  |  | Scaffold for window removal/replacement | 0 | Item | 0 | 0
|  |  | Scaffold inspections | 0 | weekly | 0 | 0
|  |  | Crash decks and over door ways | 0 | item | 0 | 0
|  |  | Load out areas | 0 | nr | 0 | 0
|  |  | Mobile Towers | 0 | weeks | 0 | 0
|  |  | Other - Craneage | 0 | Item | 0 | 0
|  | 11.8 | Site Plant
|  |  | Forklift | 0 | weeks | 0 | 0
|  |  | Small plant/tools allowance | 0 | weeks | 0 | 0
|  |  | Fuel plus bund | 0 | Item | 0 | 0
|  |  | Generators | 0 | Nr or weeks | 0 | 0
|  |  | Site lighting | 0 | Nr or weeks | 0 | 0
|  |  | Transformers + temporary site power | 0 | Nr or weeks | 0 | 0
|  |  | Platforms | 0 | Nr or weeks | 0 | 0
|  |  | Other [please state] | 0 | Nr or weeks | 0 | 0
|  | 11.9 | Cleaning + Protection
|  |  | Deep clean | 0 | m2 | 0 | 0
|  |  | Site accommodation cleaning | 0 | weeks | 0 | 0
|  |  | Protection of the partially completed works | 0 | m2 | 0 | 0
|  |  | Site sweeper | 0 | nr | 0 | 0
|  |  | Other [please state] | 0 | Item | 0 | 0
|  | 11.1 | Miscellaneous
|  |  | Repair/reinstate temporary | 0 | Item | 0 | 0
|  |  | CCS Registration + site administration of the scheme. | 0 | Item | 0 | 0
|  |  | Main site board + graphic [2.4 x 2.4 m] | 0 | Item | 0 | 0
|  |  | Lockable site information notice boards. | 0 | Item | 0 | 0
|  |  | Health & safety signage | 0 | Item | 0 | 0
|  |  | Weekly site progress photographs | 0 | weeks | 0 | 0
|  |  | Site radio[s] | 0 | item | 0 | 0
|  |  | Site phone[s] | 0 | weeks | 0 | 0
|  |  | Allowance for site office consumables | 0 | weeks | 0 | 0
|  |  | IT Equipment [please state] | 0 | Item[s] | 0 | 0
|  |  | Business conferencing equipment [please state] | 0 | Item | 0 | 0
|  |  | On site training for college staff [Allow for groups] Allow for preparing an AV record of the training | 0 | Item | 0 | 0
|  |  | Visitor PPE [allow for 10 sets] | 0 | sets | 0 | 0
|  |  | Provide the Principal Contractor role and attendances for the roofing works contractor | 1 | Item | 0 | 0
|  |  | Provide the Principal Contractor role and attendances for the external SALIX works contractor | 1 | Item | 0 | 0
|  |  | Other [please state] O&M's | 0 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 12 |  | PC SUMS
|  | 12.01 | Client Contingency | 1 | Item | 50000 | 20000
|  | 12.02 | Allowance to discharge planning conditions | 1 | Item | 15000 | 15000
|  | 12.03 |  | 1 | Item | 0 | 0
|  | 12.04 |  | 1 | Item | 0 | 0
[6 empty] | Sub Total | 35000
| 13 |  | MAIN CONTRACTOR’S OVERHEAD & PROFIT
|  | 13.1 | Percentage Addition | 3.5% | Insert % |  | 1227.6775
| TOTAL CONSTRUCTION ESTIMATE [excluding VAT] | [5 empty] | 36304.1775

## Mechanical CSA
Project: | Halls of Residence FIT OUT | Reference: | 02-15 | DATA - NOT PRINTED
Site | Shuttleworth College | Revision: | T00
Client: | Bedford College | Date: | 2023-12-01
ITEM | SPECIFICATION SECTION & DESCRIPTION | COST | NOTES
MECHANICAL
NOTE: The costs detailed below relate to the Mechanical Services drawings and specifications contained in the Mechanical SALIX folder only. It is essential they are priced seperately.
C10 & C14 - Surveys, Isolation, Demolition & Strip Out
| N13 - Sanitaryware |  | Refer to taps on mechanical schedules and architects sanitaryware specification.
P30 & P31 BWIC with Mechanical Services
R10 - Rainwater Drainage Systems
| R11 - Foul Drainage Systems |  | Local connections to existing stack
S10 - Incoming Water
S12 - Leak Detection
S12 - Domestic Services
S12 - External Taps
S15 - Drinking Fountains
S20 - Treated Water Systems
S30 - Compressed Air Systems
S32 - Natural Gas
S34 - Specialist Gas Systems
S61 - Dry Riser Systems
S63 - Sprinkler Systems
S65 - Fire Hydrants
T15 - Solar Thermal Systems
T31 - Low Temperature Heating Systems
T42 - Local Heating Units
T69 - Chilled Water Systems
| U10 - Ventilation Systems |  | Including Ductwork, MVHRs, Fans, Silencers, Air Terminals, Louvers and Cowls.
| U11 Toilet Extract Systems |  | Including Ductwork, MVHRs, Fans, Silencers, Air Terminals, Louvers and Cowls.
U12 - Kitchen Ventilation Systems
U14 - Smoke and Heat Control Systems
U15 - Safety Cabinet/Fume Cupboard Systems
U20 - Dust Extract Systems
| U39 - Air Conditioning Systems |  | Including VRV, Piping, Wiring, Controls, Condensate and AC pipework Insulation
U70 - Air Curtains
W60 - Genius Control System
| Y50 - Insulation |  | Including Ductwork, Air Intake plenums, LTHW pipework, Domestic Services Pipework and cladding.
Y25 - Waterside Cleaning & Flushing
Y25 - Plumbing Chlorination
Y51 - Air Side Balancing
Y51 - Water Side Balancing
A31 - Mechanical Design & Co-Ordination
A32 - Prelims (Site/Project/Contract Management)
A37 - Record Drawings & O&Ms
Planned Preventative Maintenance within the first 12 months.
| SUB-TOTAL OF WORKS | 0
ITEM | DESCRIPTION | COST | NOTES
ADDITIONAL COSTS/SAVINGS IDENTIFIED/RECOMMENDED BUT NOT SHOWN ON DRAWINGS OR SPECIFICATION
NOTE: These works will not be included in your tender sum but will demonstrate due diligence.
1
2
3
3
4
5
6
7
| SUB-TOTAL OF WORKS | 0
ADDITIONAL INFORMATION
INSERT NAME OF CONTRACTOR |  | DATE:
a) | Declared OHP | 0% | Will be used for variations.
b) | Daywork Rate:
Contracts Manager
Plumber
Pipe Fitter
Air Conditioning Engineer
Ductwork Fitter
Insulation Fitter
Commissioning Engineer
Controls Engineer
Apprentice/Non-Skilled Tradesmen

## Electrical CSA
Project: | Halls of Residence SALIX | Reference: | 02-15 | DATA - NOT PRINTED
Site | Shuttleworth College | Revision: | T00
Client: | Bedford College | Date: | 2023-12-01
ITEM | SPECIFICATION SECTION & DESCRIPTION | COST | NOTES
ELECTRICAL
NOTE: The costs detailed below relate to the Electrical Services drawings 02-15-E-01 through 05, 02-15-E-SP-99 Electrical Spec and 02-15-E-CS-91 Electrical Details only. It is essential they are priced seperately.
C10 & C14 - Surveys, Isolation, Demolition & Strip Out
P30 & P31 BWIC with Electrical Services
U14 - Smoke Extract/AOV Systems
V12 - LV Utilities Supply
V13 - PV Electrical Generation
V20 - LV Distribution
V21 - Lighting
V22 - Small Power
V22 - Power for Mechanical Services
V32 - UPS Systems
V34 - Electric Vehicle Charging
V41 - External Lighting
V51 - Electric Heating
V90 - Electrical Installation/Containment
| V92 - Audio Visual Systems |  | Supply, 2nd Fix & Commission
| V92 - Audio Visual Systems |  | Containment provision.
W10 - Telecommunications
W12 - Public Address System
| W15 - Facilities for the Disabled |  | Toilet Alarms and Refuge Systems.
| W15 - Facilities for the Disabled |  | Induction Loop Systems.
W23 - Clocks
W30 - Data
W40 - Access Control
W41 - Security Detection
W42 - CCTV
W50 - Fire Alarm
W51 - Earthing & Bonding
W52 - Lightning & Surge Protection
W54 - Liquid Leak Detection
Y81 - Testing & Commissioning
A31 - Electrical Design & Co-Ordination
A32 - Prelims (Site/Project/Contract Management)
A37 - Record Drawings & O&Ms
Planned Preventative Maintenance within the first 12 months.
| SUB-TOTAL OF WORKS | 0
ITEM | DESCRIPTION | COST | NOTES
ADDITIONAL COSTS/SAVINGS IDENTIFIED/RECOMMENDED BUT NOT SHOWN ON DRAWINGS OR SPECIFICATION
NOTE: These works will not be included in your tender sum but will demonstrate due diligence.
1
2
3
4
5
| SUB-TOTAL OF WORKS | 0
ADDITIONAL INFORMATION
INSERT NAME OF CONTRACTOR |  | DATE:
a) | Declared OHP | 0% | Will be used for variations.
b) | Daywork Rate:
Contracts Manager
Electrician
Fire Alarm Engineer
Security Engineer