Core

06-04 Communications

Date: 05 Sep 2017

Version: 2

Uncontrolled Copy - Printed: 31/03/2020 | Science & Technology Facilities Council | 06-04: Communications | giles.digby@stfc.ac.uk

Uncontrolled Copy - Printed: 31/03/2020 | Science & Technology Facilities Council | 06-04: Communications | giles.digby@stfc.ac.uk

Unit of Measure: Nr

| Summary |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Frequencies |  |  | Tasks |  |  |
| 1D (Day) 1 mins |  |  | 1 2 3 |  |  |
| 1M (Month) 10 mins |  |  | 4 |  |  |
| Annual Timing |  |  | 485 mins |  |  |
| Introduction |  |  |  |  |  |
| The technologies used in building management systems have changed significantly resulting in a wide range of maintenance tools. Systems that use data communications networks may enable remote monitoring and diagnostics, thus reducing the number of site visits required. Systems that are automated or remotely managed may also reduce maintenance and energy costs. The maintenance regime for a particular BMS should therefore be defined by the type of hardware and software employed, the specialist tools available and the scope of the installation. The risk profile of the organisation and the nature of its building services must also be assessed to ensure that safety related systems are appropriately maintained. The service timings in this schedule are provided for guidance only. Timings may vary, depending on the system installed and the level of remote management available from the maintenance service provider. For example, the daily tasks are only possible if remote support is enabled by the system and performed as part of a maintenance contract by the BMS provider. Please refer to the overarching introduction (SFG 00-01) to make sure you are of the correct skill level as indicated within the task schedule to carry out the described works. Ensure you have read and understood the manufacturer’s recommendations, carried out risk assessment(s) on each item of plant to identify the correct frequency of maintenance, identified all safety procedures that need to be applied and recorded in order to carry out the work in a safe and reliable manner. |  |  |  |  |  |
| Display Order | Tasks |  |  |
| 1 | Data communications Criticality: Amber Frequency: 1D Skill Set: Controls Engineer Action: Check integrity of data communications between central operator station and all networked outstations. Notes: This check may be an automated or remotely managed process. |  |  |
| 2 | Remote connection Criticality: Amber Frequency: 1D Skill Set: Action: Perform testing to ensure the remote connection is still valid (if installed). Notes: This check may be an automated or remotely managed process. |  | Controls Engineer |
| 3 | Alarms and faults Criticality: Amber Frequency: 1D Skill Set: Action: Check that any alarms received are being routed correctly. Check spurious alarms and report any faults. Notes: These checks may be an automated or remotely managed process. The criticality of alarms should be defined by the customer, based on the risk profile of the organisation and the nature of its building services. |  | Controls Engineer |

© 2020 BESA All rights reserved	Page 1 of 2

| 4 | Software interlocks Criticality: Amber Frequency: 1M Skill Set: Controls Engineer Action: Check that any software interlocks which have safety implications are operating correctly. Check alarm priorities, routings and reactions. Notes: Checking of software interlocks may have an impact on building services and must be carefully coordinated with building occupants and relevant engineering personnel. |
| --- | --- |

Uncontrolled Copy - Printed: 31/03/2020 | Science & Technology Facilities Council | 06-04: Communications | giles.digby@stfc.ac.uk

Uncontrolled Copy - Printed: 31/03/2020 | Science & Technology Facilities Council | 06-04: Communications | giles.digby@stfc.ac.uk

© 2020 BESA All rights reserved	Page 2 of 2