## Sheet1
Clarification Questions & Responses - Hall For Cornwall - Measured Laser Survey
Number | Date | Document | Section | Subject | Page | Clarification Question | Response | Date Responded | Provided To
1 | 2015-06-01 | ITT |  | PI |  | There have been a number of enquiries regarding the level of Professional Indemnity insurance required. This has been reviewed and the level that we require has been reduced from £10m to £2m. | There have been a number of enquiries regarding the level of Professional Indemnity insurance required. This has been reviewed and the level that we require has been reduced from £10m to £2m. | 2015-06-01 | All
2 | 2015-06-01 | ITT |  | Terminology |  | Q - in the GOV.UK contracts finder listing the first paragraph, second sentence describes a “3D LADAR scan” being required. The terms we know are either “LiDAR” or “Laser” so it would be useful to know if this is a typo or a new term we need to understand. | This is a typing error and should read LiDAR | 2015-06-01 | All
3 | 2015-06-03 | ITT |  | Visit date and time |  | There is an opportunity to have an accompanied tour of the working building on 9th June as stated in the Invitation to Quote. The start time on site has been moved to the earlier time of 09:00 to ensure that there is access to the function rooms prior to a function taking place. | There is an opportunity to have an accompanied tour of the working building on 9th June as stated in the Invitation to Quote. The start time on site has been moved to the earlier time of 09:00 to ensure that there is access to the function rooms prior to a function taking place. | 2015-06-03 | All
4 | 2015-06-03 | ITT |  | Scope of work |  | Do the decorative mouldings need to be in the 3D model? | Scans of the decorative mouldings are not required however section 3.5 of the Invitation to Quote specifies that extent and positions need to be indentifiable. | 2015-06-03 | All
5 | 2015-06-10 | ITT |  | Scope of work |  | The extent of the underground service routes you require surveying – do we need to trace these under the building/under the street or just catchpit/cover locations ? | The underground service routes need to be traced under the building and into the street. | 2015-06-12 | All
6 | 2015-06-10 | ITT |  | Scope of work |  | . Do we need to trace all the electric cable routes as most will be hidden in roof voids and walls etc | Not all cables are required to be surveyed but there is a requirement to trace mains services above and below ground. It is expected that areas above suspended ceilings will be surveyed and be included within the 3D model produced. (paragraph 3.3 states "Routes of above/below-ground mains services and location of gullies, gratings, manholes, and any other services cover plates, with cover and invert levels and notes describing services. Services to include soil and surface water drains, water mains, local and CEGB electricity cables, BT or other telecommunications cables, gas mains.") Paragraph 3.4 reiterates that all visible main conduit runs are to be included on the 3D model. | 2015-06-12 | All
7 | 2015-06-10 | ITT |  | Scope of work |  | Do we need to show all pipework or just the visible pipework | Routes of below ground services do need to be surveyed and the detail is to be included in the drawings as indicated in paragraph 3.3. The 3D model in 3.4 requires less detail "visible main conduit runs, visible mechanical duct work, pipe work and plant equipment". | 2015-06-12 | All
8 | 2015-06-10 | ITT |  | Timings |  | We note the work is due to start on 8th July and completion date is 7th August. Can you confirm that you require completion of field work and delivery of all data by that date ? Having seen the complexity of the site, we feel that this is a tight timetable especially for the 3D modelling work of the building and services. | In order to keep the project on time the work must been completed within the published timescales. | 2015-06-12 | All
9 | 2015-06-10 | ITT |  | Scope of work |  | Relating to services. Paragraph 4.3 of the specification requires "routes of below and above ground mains services" and then lists service types, which include 'CEGB electricity cables' and 'BT or other telecom cables' etc. However paragraph 4.4 only requires us to model 'visible' ducts, pipe work etc. To map routes of services, much of it will not be ''visible' as they may be under false ceilings, behind false walls etc. Which paragraph should take priority - the 'visible' or the requirement to define routes of services. | See response to question 6 | 2015-06-12 | All
10 | 2015-06-10 | ITT |  | Scope of work |  | Can we assume that 'mains' services refers to the point of entry into the building(s), plus any obvious large distribution service (eg gas pipe to the kitchens / heating plant), but not the minor power cables, phone cables, water pipes, fire hose supplies that then form the 'distribution' network around the buildings. | Yes | 2015-06-12
11 | 2015-06-10 | ITT |  | Scope of work |  | Paragraph 4.4 lists that we should model 'main conduit runs and electrical services'. 4.5 states that we don't model 'sockets and surface conduits'. Can we assume that 4.4 refers to surveying and modelling the 'cable trays' that we have seen on site ? And that we do not model other cables or small conduits that are not in cable tray ? | Yes | 2015-06-12
12 | 2015-06-10 | ITT |  | Timings |  | Is there a possibility of issuing the data in phases to keep the design team working, or increase the total time allowed working on the project from start to finish to 8 weeks? | No - in order to keep the project on time the work must been completed within the published timescales. | 2015-06-12
13 |  |  |  | Scope of work |  | Suspended Ceilings | For clarity it is expected that voids above accessible suspended ceilings and accessible roof voids will be surveyed. | 2015-06-12
14
15
16
17
18
19
20
21
22