Where we have been asked questions regarding this procurement, the answers to which may be relevant to all bidders, these questions have been reproduced below along with the associated answers.

Question 1

The macadam on the footpaths is shown on the Highway Construction Details 25264_02_080_02.1 as 20mm of AC 6mm and 100mm of AC20 but the bill states 25mm of AC 6mm and 55mm of AC 20 in a number of places.

Are the distribution roads to be the same specification as the carpark section on the specification (80mm of AC 20mm and 30mm of AC 6mm) or as the carriageway cross section (150mm road base, 60mm binder, 40mm surface) – the carriageway specification seems very high for a distribution road that will be used by light vehicles.

Answer 1

There are three (3) surface treatments proposed:

- Highway - (150mm road base, 60mm binder, 40mm surface)

- Footpath (adjacent to Carriageway) - 20mm of AC 6mm and 100mm of AC20

- Cemetery Paths (around the cemetery and proposed to be coloured gravel to look aesthetically better) - 25mm of AC 6mm and 55mm of AC 20

Question 2

As part of this scheme, the car park to the East of the site has been omitted, as the car park is not shown on the new Rev B Hard Landscaping drawing 6 of 7 (embedded below).

Answer 2

The car park is to be delivered as per 4938-006F Localised Site Entrance Plan

Question 3

Is the soft landscaping and planting price to the cemetery area to be included in the “Optional Extras” under Open Space Corridor Soft Landscaping after substantial completion, as there is no item in the pricing schedule for soft landscaping in cemetery?

Answer 3

Correct. Please cost all soft landscaping under items 1 & 2 of the “Optional Extras” under Open Space Corridor Soft Landscaping.

Question 3

Could we be provided with an unlocked version of the pricing document (for use with estimating software)

Answer 3

Yes, please find below, which has now also been uploaded to Contracts Finder.