Clarification to Bidders Questions for ITT for Solar & Battery

Q: Please can you send details across

A: Details are on the ITT  on contract finder website

Q: Can we arrange a site visit

A: Yes – let me know what day and time you wish to visit or phone me.

Q: Do you have a DNO

A: No

Q: What rate are you paying for electricity

A: Day rate – 34.7180 p/kWh, Night rate 22.1710 p/kWh

Q: Do you currently have solar and battery storage or will this be new technology for the business?

A: We currently have 20kw Solar (approx) We do not currently have any battery storage

Q:  In 3.4.4 the opening statement is ‘Preferred system but suppliers can provide alternatives providing they meet or exceed the specification and warranties’ does this also apply to 3.4.5?

A: Yes

Q: We would like to know If the clarifications will be published before or after the 1st of May, as stated in the ITT document.

A: Yes

Q: would it useful to you if we were able to provide 2-3 quotes from locally based contractors within our supply chain?

A: No

Q: Has approval for the new system been confirmed with National Grid for the project?

A: No

Q:  As indicated in the bidding documents, section 6: Tender Submission Requirements,  point 6.2 Method statement to include the following (j): we kindly ask for clarify if the MCS and RECC certifications could be provided by a subcontractor company.

A:  6.2 j. Method statement to include evidence that you are a registered member of both MCS and RECC

Q: Regarding the site visit that will be arranged the 23 of April, we would like to know if it is a mandatory site visit.

A: Site visit is not mandatory