INVITATION TO TENDER REF CR2020/021/067

Design, supply and erection of a glasshouse at Forest Research NRS, nr Edinburgh

- What is the required minimum and maximum temperature for each of the 5 grow compartments?

For all: 5 deg min frost free running for winter, heating up to 30 degC max, cooling to ambient or slightly below.

- What is the required humidity range for each of the grow compartments?

For all: 0 to 99% RH

- Please confirm that no hand wash facilities are required within the block?

Confirmed: None required

- Is there foul water drainage adjacent to the site or where is this located?

There is no foul drainage adjacent to the site

- Please confirm that rainwater drainage is located adjacent to the site.

Confirmed: Yes

- What floor construction is required (assumption is concrete without floor drainage)?

Yes: assumption is correct

- Please confirm that there is no requirement for containment control.

Correct: none required.

- Please confirm any planning restrictions with regards to height of the proposed glasshouse.

None known

- Has planning been granted and are there any building aesthetic considerations or restrictions?

No. No specific aesthetic requirements

- What method of irrigation / watering is required in each compartment (we assume hand watering with hose and wand)?

The standpipe should have a solenoid on a tee connected to the controls so that bench or overhead systems can be added.

- What lights levels at bench height are required in each compartment from the grow lights (measurement in µmol/m²/s)?

200 – 250

- What is the capacity of the existing electric and gas supply at the new glasshouse location and does it meet current regulations?

Gas: to the best of our knowledge it meets the current regulations

- Is the completion date of 30th September firm and fixed?

It isn’t ‘fixed’, but the work is part of a larger project with very tight timelines.  There is very little flexibility for slippage.