## Pricing Schedule
Appendix 7 - Pricing Schedule
SOURCING REFERENCE: | STSC-FB-0024 | Notes: 1. Bidders are to complete all YELLOW sections. Failure to comply may result in a non-compliant bid. 2. Bidders must not make any further changes to the document. Failure to comply may result in a non-compliant bid. 3. All costs are to be inclusive of materials, equipment hire, labour, and any other associated costs to complete the tasks. 4. For the avoidance of doubt, the total compiled within cell F64 and the information provided against lines 69-74will be used for the evaluation of this procurement.
SOURCING DOCUMENT TITLE: | Maintenance Service for Automatic Fire Sprinkler and Deluge Systems
BIDDER NAME: | [Bidder to add name]
Service and Maintenance
Blast Furnace Fire Fighting |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies and exercise stop valves, Plant Induction and Strainers) |  | 1 | 0
Major service on fire pumps (1no Diesel & 1no Electric) |  | 1 | 0
Hazard Review |  | 1 | 0
Flow Alarm Testing (8no Flow Switches) |  | 1 | 0
Sub-Total |  |  | 0
Redcar Coke Ovens |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies and exercise stop valves and sub deluge valves, Plant Induction) |  | 1 | 0
Major service on fire pumps (1no Diesel) |  | 1 | 0
Hazard Review |  | 1 | 0
Sub-Total |  |  | 0
Steelmaking |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies and exercise stop valves, Plant Induction and Strainers) |  | 1 | 0
Major service on fire pumps (1no Diesel & 1no Electric) |  | 1 | 0
Hazard Review |  | 1 | 0
Flow Alarm Testing (15no Flow Switches) |  | 1 | 0
Sub-Total |  |  | 0
Redcar Power Station |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies and exercise stop valves, Plant Induction and Strainers) |  | 1 | 0
Major service on fire pumps (1no Diesel & 1no Electric) |  | 1 | 0
Hazard Review |  | 1 | 0
Flow Alarm Testing (2no Flow Switches) |  | 1 | 0
Sub-Total |  |  | 0
Kinkerdale Sub Station |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies Pressure Tank valves & accessories, Service and exercise stop valves, Plant Induction) |  | 1 | 0
Hazard Review |  | 1 | 0
Flow Alarm Testing (1no Flow Switches) |  | 1 | 0
Sub-Total |  |  | 0
Dock Road Sub Station |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual Valve Service (including 1No. test of water supplies Pressure Tank valves & accessories, Service and exercise stop valves, Plant Induction) |  | 1 | 0
Hazard Review |  | 1 | 0
Flow Alarm Testing (1no Flow Switches) |  | 1 | 0
Sub-Total |  |  | 0
Redcar Bulk Terminal (RBT) Material Handling C1 |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual System Hazard Review (including town’s main water supply flow test) |  | 1 | 0
Flow Switch Testing |  | 1 | 0
Annual Installation Control Valves, Pump House Valves and Tank Valve Maintenance Routines & Strainers (including flow testing) Plant Induction |  | 1 | 0
Electric Engine Driven Fire Pump Major Service and Maintenance Routine (including flow testing) |  | 1 | 0
Sub-Total |  |  | 0
Redcar Bulk Terminal (RBT) Material Handling CH1 |  | No. of visits per annum | Unit Cost | Notes & Comments
Annual System Hazard Review (including town’s main water supply flow test) |  | 1 | 0
Flow Switch Testing |  | 1 | 0
Annual Installation Control Valves, Pump House Valves and Tank Valve Maintenance Routines & Strainers (including flow testing) Plant Induction |  | 1 | 0
Electric Engine Driven Fire Pump Major Service and Maintenance Routine (including flow testing) |  | 1 | 0
Sub-Total |  |  | 0
TOTAL COST |  |  | 0
All prices are firm and fixed. All prices are exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived.
Emergency Call Out Charges
Rate | Description | Call Out Charge (to include first hour on site) | Rate/hr (for subsequent hours on site) | Notes & Comments
Rate 1: |  | 0 | 0
Rate 2: |  | 0 | 0
Rate 3: |  | 0 | 0
Rate 4: |  | 0 | 0
Rate 5: |  | 0 | 0
Rate 6: |  | 0 | 0