Ware Town Council

Ware Priory, High Street, Ware, SG12 9AL

www.waretowncouncil.gov.uk

01920 460316

WARE TOWN COUNCIL TENDER SPECIFICATION

On behalf of Ware Town Council, I have the pleasure of inviting you to submit a fixed price tender for the following project.

Yours faithfully,

Terry Philpott

Town Clerk

| Project name | Commercial Kitchen Refurbishment |
| --- | --- |
| Project objective | To refurbish the commercial kitchen in the Priory building to bring it up to current standards. To include flooring, wall covers, resighting of equipment and installation of new kit. |
| Project location | Ware Priory Conference and Event Venue High Street Ware SG12 9AL |
| Contract value | £80k- £100k (ex VAT) |
| Timescales | Start date 2nd January 2023 and competition no later than 28th February 2023. To run in conjunction with the renovation of the Conservatory kitchen. To Start in January 2023 to run for a maximum of 6 weeks. |
| Contact details for further information and site visits | Kat Harter Email : kat@warepriory.co.uk Phone : 01920 888542 Mobile : 07708675762 |
| Contact details for invoice queries | Sean Higgins, Finance Manager sean@waretowncouncil.gov.uk Phone 01920 460316 |
| Primary contact details during the project period. | Kat Harter, Operations Manager Email: kat@warepriory.co.uk Phone: 01920 888542 |
| Contractor requirements essential | A site visit will be required to assess the work needed. |
| Contractor requirements desirable | Previous experience of similar work |
| Return date for tender submissions | Tender return date 9am 26th September 2022 Preferred method by email to tenders@waretowncouncil.gov.uk . If large documents such as maps or visuals are submitted, please provide a paper copy to Ware Town Council The Priory High Street Ware SG12 9AL Postal tenders or additional information should be submitted in an envelope marked, Commercial Kitchen Refurbishment Please do not submit enquiries of a general nature to tenders@waretowncouncil.gov.uk as the inbox is only monitored at the time a tender is due to close. |
| Detailed specification | The kitchen is primarily used as a function/finishing kitchen for our external catering partners to use and needs to be set up to service up to 100 covers. Some existing equipment will need to be removed, and some will need to be replaced. There will be a need for some modifications to existing utilities to facilitate new equipment and new layout. Please see attached document for full specification. Whilst this is largely what we are looking for, we are not tied to specific brands and will accept alternatives of the same dimensions, capacities and performance. Overview: To supply and fit appropriate vinyl safety flooring to all areas of the kitchen, estimated at 62sqm. To supply and fit Whiterock wall covering in all areas – approximately 28 linear meters in main kitchen area, and 9.6 linear meters in adjoining storeroom. To reconfigure/replace the extraction canopy to suit the new required layout. To supply and fit 2 new refrigerators within the kitchen with adjustable internal racking. To remove existing undercounter fridges and replace with stainless steel worktops. To supply and fit a new electric stainless steel ‘Pass’ with gantry lighting and disconnect and remove the existing gas-powered Pass. To replace the existing gas hob with an electric alternative. |
| Access and possible restrictions in the delivery phase of the project. | Access to the site will be 8am-5pm Monday-Friday as standard. Hours outside of this can potentially be arranged with the Operations Manager. The building will still be in operation – with office workers and tenants onsite various times. Coordination with the Operations Manager will be required to ensure there is limited disruption to areas outside of the kitchen itself. We are also refurbishing the function room adjacent to the kitchen within the same time period, so there may be a need to work alongside the contractors appointed for these works. There is parking on site for site vehicles. |
| Progress reporting | The council will require reporting as required and in particular any impact on the project timescale, plus anything that may cause reputational damage to the council. |
| Payment terms | Please specify in the pricing schedule the requirement for any phased payments. WTC seek to pay all correct invoices within 30days. |
| Retention value / period | WTC will retain 10% of the contract value for a period of 3 months. |
| Penalty clauses | Clause to be inserted as required. |
| Conditions of contract | The Council require assurances from all potential contractors through the provision of appropriate documentation that: - All operatives are suitably trained and qualified to use any machinery involved in the work. - Operatives will at all times wear suitable protective clothing and high viz jackets. - Safety and advisory signage will be required as necessary - Contractors will be required to supply details of public liability insurance with the tender papers. - Contractors will be required to undertake a COSHH assessment for all chemicals used during the delivery of the contract. - Contractors will be expected to provide a method statement detailing how the various elements of the work will be undertaken. - Project timescales will be provided where applicable. |

Pricing schedule

| Contractor name |  |
| --- | --- |

| Project name . | Commercial Kitchen Refurbishment |
| --- | --- |
|  | Pricing (excluding VAT) for all works as included on the specification, in the component parts as requested. |
| A |  |
| B |  |
| C |  |
| Total |  |
|  | The council seek to pay invoices within 30days of the receipt of a correct invoice after completion or delivery of the project. If there is a requirement for phased payments, please detail below. |

I / We hereby offer to carry out the works as scheduled and contained in the attached specification.

Signed

Dated

| Contractor name |  |
| --- | --- |
| Address |  |
| Name of primary contact |  |
| Email |  |
| Office phone number |  |
| Mobile phone number |  |

| Contractor name |  |
| --- | --- |

Contract Evaluation

The contacts will be evaluated based on a combination of price and other factors as indicated below.

Please supply information related to each of the headings to allow us to evaluate your tender submission. Please use continuation sheet where necessary.

Based on the information provided shortlisted contractors may be invited to an interview

|  | Max score | score |  |
| --- | --- | --- | --- |
| Price | 50 |  |  |
| Quality of work Training / Qualifications / Experience Please provide names of referees related to existing contracts of a similar nature | 30 |  |  |
| Reliability (Equipment strategy / contingency plans/ method statement / project plan) | 10 |  |  |
| Proximity to Ware (Location of equipment / contractors) | 5 |  |  |
| Environmental factors (Please attach environmental policy) | 5 |  |  |
| Total | 100 |  |  |

The Council reserve the right to not accept any or the lowest tender.

| Contractor name |  |
| --- | --- |

References:

Please provide two References below....

|  | Reference 1 | Reference 2 |
| --- | --- | --- |
| Organisation |  |  |
| Contact name |  |  |
| Contact phone |  |  |
| Contact email |  |  |
| Address |  |  |
| Type of contract |  |  |

Tender submission checklist

| Contractor name |  |
| --- | --- |

|  |  | Office use |
| --- | --- | --- |
| Cost breakdown (excluding VAT) |  |  |
| References |  |  |
| Environmental policy |  |  |
| Public liability insurance |  |  |
| Method statement detailing how the various elements of the work will be undertaken. |  |  |
| Project timescales. |  |  |
| Further information to support the tender evaluation as required |  |  |