www.gov.uk/naturalengland

Request for Quotation

Coopers Mill, Button Oak, Wyre Forest NNR, Bewdley, DY12 3AG

Estimate required for works to the roof, there are missing and broken tiles.

There is water ingress in the building and through the roof and the walls and the external render is, in places, in poor condition.  This is allowing water into the building causing damp patches.

The building is occupied by a tenant, Continu Plus Academy and there may be children present. Please do not attend the site without a prior appointment.

Due to the current restrictions, I personally will not be able to meet you on site, as I would normally intend to do, but can have a representative from Natural England to accompany you when you come to inspect the building.

If you contact me on 07786 336116 I will give you the directions and details you need to unlock the gate, or my email is Claire.bullock@naturalengland.org.uk

I look forward to hearing from you.

Claire Bullock

Land Agent

NNR Estates and Procurement Team