# ALLOTMENT FENCING CONTRACT

# SPECIFICATION

# Queries Contact

Mike P Hall

Recreation & Amenities Manager

mike.hall@banbury.gov.uk

Telephone 01295 250340

Mobile 07825 308548

# INSTRUCTIONS TO CONTRACTORS

- Contractors should ensure that any explanatory or descriptive matter included with their Tender does not constitute a qualification to the requirements and Terms and Conditions as stated in the enquiry documents.

- Contractors must submit offers for the whole of the works.  Tenders submitted for separate sections only or Tenders, which are incomplete, will not be considered.

- The Contractor's particular attention is drawn to the fact that the Tender price must include for all costs associated with labour, including the cost of any incentives necessary to attract and retain sufficient labour on site to meet the requirements of the programme.  	The submission of a Tender shall be deemed to be an undertaking that the Tender price includes for the above.

- Contractors are required to keep Tenders Valid for acceptance for a period of 60 days from the closing date for receipt of tenders.

- All tenders should be sent to

Mark Recchia MA FCIS FILCM

Town Clerk

Banbury Town Council

Bridge St

Banbury OX16 5QB

so as to arrive no later than: -  NOON on Friday 30th October.

- Tenders must be accompanied by:

A Certificate that the Tenderer has not engaged in Collusive Tendering;

A Certificate that the Tenderer has not canvassed any Member or Officer of the Council;

- Should there be any clarification required by the Contractors as to the meaning of any possible ambiguity or discrepancies in any of the Tender documents, the Contractor must set forth his request in writing.

- Contractor must make arrangements with the Client Officer to visit the site to ascertain all relevant conditions and means of access and to thoroughly acquaint themselves with the extent and nature of the proposed works and will be deemed to have done so prior to submitting the Tender, failure to do so may render the Tender unacceptable.

- The Contractor shall be deemed to have satisfied himself before submitting his Tender as to the correctness and sufficiency of the rates and prices stated by him in the Bills Of Quantity which shall (insofar as is otherwise provided in the Contract) cover all his obligations under the Contract.

- No claim by the Contractor for additional payment shall be allowed on the grounds of any misunderstanding or misrepresentation due to lack of knowledge of the conditions regulations or requirements for performing the Services.

- All prices for materials and labour and any other charges whatsoever shall be quoted in pounds or decimal parts of a pound to two decimal places.

- Plans of the Authority accompany the Tender documents for the assistance of Contractors and show the site and extent of the Contract works, where necessary do so.

- Contractors are advised that the submission has the appropriate equipment specified.  These items of equipment may be substituted for alternative items that meet or exceed the criteria of the specified items.  If the Contractor is to change any equipment, he must qualify for which item of equipment such a change shall take place and provide full specifications, installation and maintenance instructions.

- Contractors are advised that the contract must be completed as soon as possible within a programme agreed with the Client Officer.

# CONTRACT FOR GREEN WASTE BUNKER REFURBISHMENT

# FORM OF TENDER

To:	Banbury Town Council

LADIES AND GENTLEMEN,

I/We the undersigned hereby offer to execute and complete all works to be carried out in accordance with the attached Specification and in compliance with the attached Conditions of Contract for the TENDER SUM specified below, or such other sums as may be ascertained in accordance with the said

Conditions of Agreement and the attached Tender documents.

Grand Total = £……………………………………………………………………… (Excluding VAT).

Unless and until a formal agreement is prepared and executed, the tender, together with your written acceptance thereof, shall constitute a binding Agreement between us.

We understand you are not bound to accept any tender you may receive, and you will not pay any expenses incurred by us in connection with the preparation and submission of this tender.

Signature:

Full Name of Company:

Name (in full):

Designation:

Address:

Telephone No:

Fax No:

Date:

NOTE:

THIS FORM OF TENDER DULY COMPLETED AND SIGNED BY THE AUTHORISED PERSON TOGETHER WITH THE OTHER INFORMATION SPECIFIED MUST BE RETURNED TO BANBURY TOWN COUNCIL, NO LATER THAN THE TIME AND DATE STATED IN THE INVITATION TO TENDER IN AN UNMARKED ENVELOPE/ PARCEL USING THE ‘ENVELOPE’ PROVIDED.

# ANTI-COLLUSION CERTIFICATE

In recognition of the principle that the essence of selective tendering is that the Council shall receive bona fide competitive tenders from all those tendering WE CERTIFY THAT:-

1.	The tender submitted herewith is a bona fide tender intended to be competitive.

2.	We have not fixed or adjusted the amount of the tender under or in accordance with any agreement or arrangement with any other person.

3.	We have not done and we undertake that we will not do at any time before the time specified for the return of the tenders any of the following acts:-

i)	communicating to a person other than the person calling for these tenders the amount or approximate amount of the proposed tender (except where the disclosure, in confidence, of the approximate amount of the tender was essential to obtain insurance premium quotations required for the preparation of the tender):

ii)	entering into any agreement with any other person that he shall refrain from tendering or as to the amount of any tender to be submitted; and

iii)	offering or paying or giving or agreeing to give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other tender or proposed tender any act or thing of the sort described above.

In this certificate

- "Person" includes any person and anybody or association corporate or unincorporated.

- "Any agreement or arrangement" includes any transaction of the sort described above, formal or informal and whether legally binding or not.

DATED this 	            		      	   day of   		                  2015.

SIGNED (as tenderer)

duly authorised to sign

for and on behalf of ………………………………………………………………………..

For completeness a copy of a relevant extract from the Financial Regulations is included below –

‘If a supplier/tenderer of any goods/services is to his/her knowledge related to any member of or the holder of any office under the Council, he/she and the person to whom he/she is related shall disclose the relationship in writing to the Town Clerk.  A person who fails so to do shall be disqualified for such contract and, if engaged, the contract may be withdrawn without further notice.  The Town Clerk shall report to the Council or to the appropriate Committee any such disclosure.

Canvassing of members or of any Committee, directly or indirectly, for any work/service under the Council shall disqualify the supplier/tenderer.  The Town Clerk shall make known the purport of this sub-paragraph to every supplier/tenderer.

A member of the Council shall not solicit for any person any work under the Council or recommend any person for such work; but, nevertheless, a member may give a written testimonial of a supplier’s ability, experience or character for submission to the Council.’

TENDER FOR THE PROVISION AND INSTALLATION OF NEW FENCING

Table of Contents

Queries Contact	1

INSTRUCTIONS TO CONTRACTORS	2

CONTRACT FOR GREEN WASTE BUNKER REFURBISHMENT	4

FORM OF TENDER	4

ANTI-COLLUSION CERTIFICATE	5

CONDITIONS OF CONTRACT	8

1.	DEFINITIONS & INTERPRETATIONS	8

2.	HEALTH, SAFETY AND WELFARE	8

3.	VARIATION OF CONTRACT	9

4.	THE CLIENT OFFICER	9

5.	CONTRACT PERIOD	9

6.	PERFORMANCE OF SERVICES	10

7.	CERTIFICATE OF PRACTICAL COMPLETION AND DEFECTS LIABILITY	10

8.	VALUE ADDED TAX	10

9.	ASSIGNMENT AND SUB-LETTING	10

10.	AGENCY	11

11.	LIABILITY OF CONTRACTORS	11

12.	INSURANCE	12

13.	BRIBERY AND CORRUPTION	13

14.	GRATUITIES	13

15.	LIABILITY OF COUNCIL	13

16.	UNSATISFACTORY EMPLOYEES	13

17.	TERMINATION	14

18.	FAILURE & DEFAULT IN PERFORMANCE - LIQUIDATED DAMAGES	15

19.	ARBITRATION	15

20.	BRITISH OR EU STANDARDS	15

21.	OBSERVANCE OF STATUTORY REQUIREMENTS	16

22.	STAMP DUTY AND LEGAL FEES	16

23.	DEFAULT BY CONTRACTOR	16

24.	INSPECTION OF SITE, EXTENT AND NATURE OF SERVICES	16

25.	INSPECTION & ACCESS	16

26.	OPERATIONS	17

27.	ADVERTISING	17

28.	NUISANCE	17

29.	TIMING	17

30.	CLAIMS	17

31.	POST INSTALLATION	17

SPECIFICATION PRELIMINARIES	18

1.	GENERAL	18

2.	WORKING HOURS	18

3.	RISK ASSESSMENTS	18

4.	CONTRACTOR'S REPRESENTATIVE	18

5.	CUSTOMER CARE	18

GENERAL DESCRIPTION OF WORKS	19

1.	GENERAL WORKS	19

Sinclair Avenue Allotments	23

Wood Green Allotments	24

Spital Farm Allotments	26

Dover Avenue Allotments	28

Easington Allotments	30

Grange Road Allotments	31

FENCING SPECIFICATION	33

Notes	33

1.0 	INTRODUCTION	33

2.0	GENERAL (Section 1 BS 1722 Part 12 2006)	33

3.0	DIMENSIONS (Section 3 BS 1722 Part 12 2006)	33

4.0	MATERIALS (Section 4 BS 1722 Part 12 2006)	34

5.0 	CONSTRUCTION (Section 5 BS 1722 Part 12 2006)	34

6.0 	FOUNDATIONS AND SILLS (Section 8 BS 1722 Part 12 2006)	36

7.0 	ADDITIONAL SECURITY (Section 8 BS 1722 Part 12 2006)	36

8.0 	CONSTRUCTION OF GATES (Section 7 BS 1722 Part 12 2006)	36

9.0 	INSTALATION (Section 8 BS 1722 Part 12 2006)	37

10.0 	FENCE AND WALL SECURITY ENHANCEMENT	37

11.0	LITTER PICKING AND DEBRIS REMOVAL	38

12.0	AFTER CARE & MAINTENANCE	38

BILL OF QUANTITIES	39

APPENDIX A	40

------------------------------------------------------------------------------

# CONDITIONS OF CONTRACT

## 1.	DEFINITIONS & INTERPRETATIONS

In this Contract, save where the context otherwise requires, the following expressions shall have the meanings hereby assigned to them:

| Commencement Date | means | the date from which the Contractor will be required to commence to provide the services, as notified by the Client Officer or such other date as may be agreed. |
| --- | --- | --- |
| Conditions | means | these conditions, any supplementary conditions and any modification thereof. |
| Contract | means | any formal Contract document entered into between the Contractor and the Council and includes the documents incorporated therein and forming part thereof |
| Contractor | means the | person, persons or company whose tender is accepted by the Council and includes the Contractor's personal representative and successors. |
| Client Officer | means | Town Clerk for the time being of the Council or any person duly authorised by him in writing to act on his behalf. |
| Council | means | the Council of the Banbury Town or any successor Authority |
| Materials | means | any goods. |
| Programmes | means the | programmes of work submitted by the Contractor in accordance with the requirements of the Tender documents. |
| Services | means the | services to be undertaken by the Contractor as described in the Tender documents or any of them. |
| Tender Documents | means the | tender and accompanying documents relating thereto. |

## 2.	HEALTH, SAFETY AND WELFARE

The Contractor in performing the services covered by the contract, so as to ensure the Health, Safety and Welfare of the contractors staff, employees of the Council and all other persons including members of the public shall comply with: -

All duties and responsibilities placed upon him by the Health and Safety at Work Act 1974 and all   subsidiary legislation especially with regard to the use of unqualified operatives, facilities for workmen, and the protection of motorists and pedestrians. The Contractor must allow for this in his rates.

All other relevant Acts of Parliament, Statutory Instruments, regulations etc.

All revisions, modifications, and amendments to Acts of Parliament, Statutory Instruments, regulations etc.

All relevant Codes of Practice, British or EEC equivalent standards, EU Directives etc. and 	modifications, amendments and revisions thereto.

If in the opinion of the Client Officer the Contractor's method of working is such as to present a risk of serious personal injury to the employees of the Contractor, employees of the Council or any other person the Client Officer shall issue a notice that the unsafe method working practice is to be remedied within a period of time that he considers reasonable having regard to all the circumstances.  If the Contractor fails to remedy the unsafe working practice within the time stated in the notice the Client Officer will have the power to suspend the performance of all or part of the Services until the time as he considers the Contractor will adopt safe working practices.  Any such suspension will be entirely at the Contractors own expense.

## 3.	VARIATION OF CONTRACT

(a)	Without prejudice to any other of the conditions hereof no omission from, addition to or variation of the Contract shall be valid or of any effect unless it is issued in writing and signed by the Client Officer.

(b)	Save for an omission, addition or variation issued pursuant to paragraph (a) any provision inconsistent with the Conditions contained in any other document or in any oral agreement is to be void and of no effect.

(c)	If any variation to the contract is issued and where the work has been previously quoted for in the Bill of Quantities, that rate shall then be used.

## 4.	THE CLIENT OFFICER

The functions, rights and powers conferred by this Contract upon the Council shall be exercised by the Client Officer.  The Contractor shall in no circumstances question the existence or extent of the Authority of any person authorised by the Client Officer to act on his behalf.

## 5.	CONTRACT PERIOD

- This initial contract shall extend for a period of 6 weeks (or that period specified in the Schedule/Appendix to the Form of Tender) and shall not be terminated by either party within that period save in accordance with these conditions. The contractor shall be expected to undertake this contract within the timescale following commitment by the contractor in writing that they can meet the deadline as specified, unless otherwise agreed in writing by the Client Officer.

(b)	The contractor is advised that they will be paid for the installation work with an interim payment of 10% being held over to cover the maintenance period.

(c)	All work shall be completed on site to ensure that all invoices are submitted to this authority by the agreed date.

## 6.	PERFORMANCE OF SERVICES

(a)	During the Contract Period the Contractor shall perform the Services (and any modification thereof authorised under the Conditions) in a manner totally consistent with the tender and the terms and conditions of the Contract and to the entire satisfaction of the Client Officer.

(b)	The Contractor shall at all times perform such Services in accordance with a written daily Programme of Work which shall be submitted to the Client Officer prior to commencement of any work (and any modifications thereof authorised under the Conditions).

(c)	The Contractor is to be aware that the maintenance period for the contract is 12 months, starting from the completion/adoption date of the site by Banbury Town Council.

## 7.	CERTIFICATE OF PRACTICAL COMPLETION AND DEFECTS LIABILITY

(a)	The Client Officer shall issue to the Contractor, a Certificate of Practical Completion to identify that all works have been undertaken.  The Client Officer will then arrange for a Post Installation inspection to be carried out before hand over of the site to the Council.

(b)	On the production of a successfully completed Post Installation Report identifying that all works have been undertaken in accordance with all relevant standards and specification, the Contractor shall be invited to submit his invoice for payment.

(c)	Should the Contractor be required to rectify any defects then he should be aware that no payment will be made until the Client Officer is satisfied that all works have been completed to the contract specification.

(d)	The Contractor shall make any payment due to this Authority as a result of his failure to undertake the works within the given time period unless previously agreed in writing with the Client Officer.

## 8.	VALUE ADDED TAX

(a)	On receipt of the Certificates of Practical Completion the Client Officer shall inspect the site and if the work has been undertaken satisfactorily and approved by the Post Installation Report, the Contractor shall be advised that he may issue a V.A.T. invoice for those works, which shall be paid within 28 days of the date of receipt of the invoice

## 9.	ASSIGNMENT AND SUB-LETTING

The Contractors shall not: -

(a)	Assign any part of the work or undertakings, or any part thereof or any benefit in or under the contract without the written consent of the Client Officer, such consent not to be unreasonably withheld.

(b)	The Authority shall be entitled to assign the benefit of the contract or any part thereof and shall give written notice of any assignment to the Contractor.

(c)	The Contractor shall not sublet the whole of the Contract or any part thereof except where such subletting may be customary to the trade concerned.  Any subletting will be notified to the Client Officer within five (5) working days.

(d)	Where the Authority has consented to the placing of sub-contracts, copies of each sub-contract shall be sent by the Contractor to the Authority within five (5) working days.

(e)	The Contractor acknowledges and agrees that by way of illustration only and without restricting or fettering the Authority’s right to withhold its consent on reasonable grounds it shall be reasonable for the Authority to withhold its consent where the sub-contracting of any element of the provision of the Services would be contrary to law or contrary to public or government policy or contrary to public morality and decency or which it is not in the national interest.  If with the Authority’s consent the Contractor sub-contracts the provision of any element of the Services, every act or omission of the sub-contractor shall for the purposes of the Contract deemed to be the act or omission of the Contractor and the Contractor shall be liable to the Authority thereafter as if such act or omission had been committed or omitted by the Contractor itself.

(f)	Where the contractor enters into a sub-contract with a supplier or contractor for the purpose of performing the Agreement, it shall cause a term to be included in such a sub-contract which requires payment to be made of undisputed sums by the Contractor to the sub-contractor within a specified period not exceeding 30 days from the receipt of a valid invoice, as defined by the sub-contract requirements.

## 10.	AGENCY

In carrying out the Services the Contractor shall be acting as Principal and not as the Agent of the Council.

Accordingly:

- The Contractor shall not (and shall not procure that its employees, servants or agents do not) say or do anything that might lead any other person to believe that the Contractor is acting as the Agent of the Authority; and

- Nothing in this Contract shall impose any liability on the Authority in respect of any liability incurred by the Contractor to any other person but this shall not be taken to exclude or limit any liability of the Authority to the Contractor that may arise by virtue of either a breach of the Contract or by negligence on the part of the Authority, the Authority’s employees, servants or agents.

- The Contractor has not and shall not hold himself out as having the power to make, vary, discharge or waive any Byelaw or regulation of any kind.

- The Contractor shall not hold itself out as being authorised to enter into any contract on behalf of the Council to the performance, variation, release or discharge of any obligation to a third party.  The employees of the Contractor shall not hold themselves to be and shall not be held out by the Contractor as being servants or agents of the Council.

## 11.	LIABILITY OF CONTRACTORS

- The Contractor shall fully and promptly indemnify the Council against any liability to any person or property whatsoever arising out of or connected with the performance of the Services or any act or omission of any employee of the Contractor howsoever such liability may arise.

- The Contractor shall fully and promptly indemnify the Council in respect of any damage caused to any land, building or chattel in the ownership, occupation or possession of the Council by any employee or agent of the Contractor (whether such damage is caused by negligence or in any other way whatsoever).

- The Contractor shall fully and promptly indemnify the Council and all persons concerned in respect of any personal injury caused to any employee of the Council by any employee or agent of the Contractor (whether such injury be caused by negligence or in any other way whatsoever).

- The Contractor shall be responsible at all times during the contract period for the security of the boundaries to all residential and commercial property that abut the site and is affected by the nature of these works and in doing so shall therefore ensure that all boundaries remain intact either through the use of appropriate temporary security fencing or through the completion of each section of new boundary fencing at any given time.

- The Contractor shall be solely responsible for liaising with residents and neighbouring properties over the works and working with them to minimise the risk of damage to property, vegetation and ensuring the security of the individual premises.

- The Contractor shall at all times notify residents affected by the work of their progress and especially inform individual properties in writing, with a copy of each notification to be given to the Client Officer, identifying:-

- the Contractor’s contact details

- when their boundary fence will be removed

- how long they will be without a permanent boundary

- how long it will take to install the new fence

- The Contractor shall be solely responsible for ensuring that any waste material deposited on the public highway is removed immediately leaving no residue that could cause a hazard or risk.

## 12.	INSURANCE

- The Contractor’s attention is draw to the insurance details set out below:-

| Minimum Amount of Public Liability Insurance | £5,000,000 for any one incident, (total unlimited) |
| --- | --- |
| Minimum Amount of Employers Liability Insurance | £10,000,000 |
| Time of Completion (Unless otherwise agreed in writing) | 6 weeks |
| Liquidated Damages for Delay | £50.00 per day |
| Period of Maintenance | 12 months |
| Minimum amount of Interim Certificates | £5,000.00 |
| Time within which payment to be made after receipt of Statement | 28 days |

- The Contractor shall at all times maintain in force such policies of insurance with reputable insurers or underwriters as shall fully insure and indemnify the Contractor against liability;

- to the Council and to any employee of the Council;

- to the employees of the Contractor;

- to any other persons

for the sum of at least £5 million for each occurrence.  Total number of occurrences unlimited.

- The Contractor shall prior to the commencement of the Contract, and at such other times as the Client Officer may require, supply the Client Officer with copies of all insurance policies, cover notes, premium receipt and other documents necessary to comply with sub clause (a) of this Clause.

- The Client Officer shall be entitled to notify the Contractor in writing that in the opinion of the Client Officer any such policy of insurance does not effect sufficient cover to comply with the Conditions and to require the Contractor to effect such insurance as will so comply.  Upon receipt of such notice, the Contractor shall forthwith procure and effect such insurance as the Client Officer shall require.

- The Contractor will ensure that where it receives notification of any potential insurance claim, it shall deal with the matter directly and/or refer the matter to the contractor's insurers within a period of 28 days from the receipt of notification of the potential claim and ensure that each claim is progressed and resolved with due diligence.

## 13.	BRIBERY AND CORRUPTION

The Council shall be entitled to terminate the Contract forthwith and to recover from the Contractor the amount of any loss resulting from such termination, if:

(a)	the Contractor shall have offered or given or agreed to give to any person any gift or consideration of any kind as inducement or reward for doing or forbearing to do or for having done or forborne to do any action in relation to the Contract or any other Contract with the Council; or

(b)	the like acts shall have been done by any person employed by him or acting on his behalf (whether with or without the knowledge of the Contractor); or

(c)	in relation to any Contract with the Council the Contractor or person employed by him or acting on his behalf shall:-

(i)	have committed any offence under the Prevention of Corruption Acts 1989 to 1916; or

(ii)	have given any fee or reward the receipt of which is an offence under Section 117(2) of the Local Government Act 1972.

## 14.	GRATUITIES

(a)	The Contractor shall not, whether by himself or by any person employed by him to perform the Services, solicit any gratuity or tip or any other form of moneymaking or reward, collection or charge for any of the Services other than bona fide charges approved by the Council.

## 15.	LIABILITY OF COUNCIL

(a)	To the extent permitted by the Unfair Contracts Terms Act 1977 the Council shall not be liable for any loss or damage whether caused by the negligence of the Council, its servants or agent in any way whatsoever and the Council shall in no circumstances be liable to the Contractor for any loss of profit, business or production or any similar loss or damage whether direct, indirect or consequential however caused.  The Council in no way warrants the truth or accuracy of any representations which may have been made to the Contractor and the Contractor acknowledges that he did not rely upon any representation made by or on behalf of the Council when entering into this Contract.

## 16.	UNSATISFACTORY EMPLOYEES

(a)	If, with reasonable justification, the Authority gives the Contractor notice that any person is not to become involved in or is to be removed from involvement with the performance of the Contract, the Contractor shall take all reasonable steps to comply with such notice and if required by the Authority the Contractor shall replace any such person removed under this condition with another suitably qualified person and procure that any pass issued to the person removed is surrendered.

## 17.	TERMINATION

(a)	If the Contractor shall have offered, or given, or agreed to give to any person any gift, or consideration of any kind as an inducement or reward for doing, or forbearing to do, or having done or forborne to do any action in relation to the obtaining of the Contract, or any other Contract with the Authority, or for showing or forbearing to show favour, or disfavour, to any person in relation to the Contract, or any other Contract with the Authority, or if the like acts shall have been done by any person employed by the Contractor, or acting on the Contractor's behalf (whether with or without the knowledge of the Contractor), or if in relation to the Contract, or any other contract with the Authority, the Contractor or any person employed by the Contractor, or acting on the Contractor's behalf, shall have committed any offence under the Prevention of Corruption Acts 1889 to 1916 or shall have given any fee or reward to any officer of the Authority, which shall have been exacted or accepted by such officer by virtue of his office or employment and is otherwise than such officer's proper remuneration, the Authority shall be entitled to terminate the Contract and to recover from the Contractor the amount of any loss resulting from such termination.

(b)	If the Contractor: -

(i)	Commits a breach of any of his obligations under the Contract;

(ii)	becomes bankrupt, or makes a composition or arrangement with his creditors, or has a proposal in respect of his company for the voluntary arrangements for a composition of debts, or scheme or arrangement approved in accordance with the Insolvency Act 1986;

(iii)	has a winding-up order made, or (except for the purposes of amalgamation or reconstruction) a resolution for voluntary winding-up passed;

(iv)	has a provisional liquidator, receiver, or manager of his business or undertaking duly appointed;

(v)	has an administrative receiver, as defined in the Insolvency Act 1986, appointed;

(vi)	has possession taken, by or on behalf of the holders of any debentures secured by a floating charge, of any property comprised in, or subject to, the floating charge;

(vii)	is in circumstances which entitle the court or a creditor to appoint, or have appointed, a receiver, a manager, or administrative receiver, or which entitle the court to make a winding-up order;

then in any such circumstances the Authority may, without prejudice to any accrued rights or remedies under the Contract, terminate the Contractor's employment under the Contract by notice in writing having immediate affect.

(c)	If the Contractor's employment is terminated as provided in Condition 17(b), the Authority shall:-

(i)	cease to be under any obligation to make further payment until the costs, loss and/or damage resulting from or arising out of the termination of the Contractor's employment shall have been calculated and provided such calculation shows a sum or sums due to the Contractor;

(ii)	be entitled to repossess any of its materials, clothing, equipment, vehicles or other goods loaned or hired to the Contractor and to exercise a lien over any of the materials, clothing, equipment, vehicles or other goods belonging to the Contractor for any sum due hereunder or otherwise from the Contractor to the Authority;

(iii)	be entitled to employ and pay other persons to provide and complete provision of the works or any part thereof and to use all such Contractor's materials, clothing, equipment, vehicles or other goods for the purposes thereof;

(iv)	be entitled to deduct from any sum or sums which would but for Condition 17(c)(i) have been due from the Authority to the Contractor under this Contract or any other contract or be entitled to recover the same from the Contractor as a debt, any loss or damage to the Authority resulting from or arising out of the termination of the Contractor's employment.  Such loss or damage shall include the reasonable cost to the Authority of the time spent by its officers in terminating the Contractor's employment and in making alternative arrangements for the provision of the works or any part thereof;

(v)	when the total costs, loss and/or damage resulting from or arising out of the termination of the Contractor's employment has been calculated and deducted so far as practicable from any sums which would but for Condition 17(c) (i) have been due to the Contractor, any balance shown as due to the Authority shall be recoverable as a debt, or alternatively, the Authority shall pay to the Contractor any balance shown as due to the Contractor.

(d)	The rights of the Authority under Condition 17 are in addition to and without prejudice to any other rights the Authority may have whether against the Contractor directly or pursuant to any guarantee, indemnity or bond.

## 18.	FAILURE & DEFAULT IN PERFORMANCE - LIQUIDATED DAMAGES

(a)	If the Contractor shall fail to perform any of the works in accordance with the Conditions Specifications or any of the schedules then the Authority shall be entitled to take such action as the Client Officer may consider necessary to ensure that the works are completed or Items are available for use by the Authority, including the hire of a substitute Item or return of the Item to the Contractor for remedial works at Contractor’s own expense.

(b)	In such circumstances all the costs incurred by the Authority shall be recovered by the Authority from the Contractor in accordance with Condition 17(c) (iv).

(c)	All deductions payable by the Contractor to the Authority pursuant to this Condition shall be paid as Liquidated Damages and not as a penalty.

(d)	Contractors must adhere to the details of Liquidated Damages as identified in the Appendix to the Form of Tender.

## 19.	ARBITRATION

(a)	All unresolved disputes between the parties arising out of or connected with this Contract or the performance of the Services by the Contractor shall be referred to an Arbitrator to be agreed upon by the parties or in default of such agreement to be nominated by the President of the Institute of Arbitrators or a person appointed by him.

(b)	Any award or decision of such Arbitrator shall be final and binding on the parties hereto.

## 20.	BRITISH OR EU STANDARDS

(a)	Where an appropriate British or EU Standard Specification, British or EU Standard Code of Practice issued by the British Standards Institution or its European equivalent is current all goods used or supplied and all workmanship shall be in accordance with that Standard, unless otherwise stated.

## 21.	OBSERVANCE OF STATUTORY REQUIREMENTS

(a)	The Contractor shall comply with all statutory and other provisions to be observed and performed in connection with the Services provided under the Contract and shall indemnify the Authority accordingly.

## 22.	STAMP DUTY AND LEGAL FEES

(a)	Each party shall bear their own legal and other fees in relation to the preparation and submission of the Tender documents and any formal Contract documents arising there from.

## 23.	DEFAULT BY CONTRACTOR

(a)	If the Contractor, for whatever reason, fails to provide or perform the Services in whole or in part completely in accordance with the terms of the Contract, then without prejudice to any other remedy contained herein the Authority may by its own or other workmen provide and perform such Services or part thereof in which the Contractor has made default. The costs and charges incurred by the Authority in so doing shall be paid by the Contractor to the Authority on demand or may be deducted by the Authority from any monies due or which may become due to the Contractor.

## 24.	INSPECTION OF SITE, EXTENT AND NATURE OF SERVICES

(a)	The Contractor shall be deemed to have fully acquainted himself with all conditions likely to affect the execution of the Works and have visited the site to satisfy himself with the nature and extent of services to be undertaken as detailed in the Contract Documents and as to the nature of access and all matters likely to affect the execution of the Service.

(b)	In the event of adverse weather conditions preventing the performance of the Services the Contractor with the prior consent of the Client Officer may modify his method of working.

(c)	In submitting his Tender the Contractor will have been deemed to understand the nature of the Works and included within his tender sum for performing the Works in adverse weather conditions or such other conditions for periods within the Contract Period.

(d)	The Contractor shall not be entitled to make any claims in any respect regarding the contract through lack of knowledge or understanding of the specified works. Any costs or losses incurred during the preliminary investigations and Tender preparation shall be borne by the Contractor alone.

## 25.	INSPECTION & ACCESS

(a)	The Contractor shall at all times during the Contract Period allow the Client Officer and his staff, the Authority's Internal Auditor or such person as may be nominated from time to time by the Client Officer access to all locations for the purpose of inspecting: -

(i)	Work being performed pursuant to the contract.

(ii)	Records or documents in the possession of the Contractor in connection with the performance of such work.

## 26.	OPERATIONS

- The contract shall be priced on a unit base, this shall be either price per item of equipment or area as indicated in the schedules dependent upon the site in question.

- The Client Officer shall identify in the case of a default situation arising, which of the above units shall apply this is not negotiable.

## 27.	ADVERTISING

- Advertising in any form on or about the works is prohibited. The Council reserves the right to remove any advertising material erected, distributed or employed on or around the works by the Contractor.  This condition does not extend to normal sign painting on the Contractor's vehicles.

## 28.	NUISANCE

- The Contractor shall take all necessary measures to minimise nuisance to occupiers of property adjoining the works and shall comply with any reasonable instructions given by the Council in this respect.

## 29.	TIMING

(a)	The Contractor shall undertake all operations in a timely manner to ensure the completion of the works by the deadline stated in the Contract documentation or at the earliest practical date thereafter.

## 30.	CLAIMS

(a)	No claims will be accepted on the grounds of failure to identify all the requirements of the contract. The Contractor shall be deemed to be fully aware of all aspects of the work required, areas to be treated and timescale involved. This Authority will not accept any claims over and above the agreed estimates unless made with the written approval of the Client Officer.

(b)	The Council is unable to provide storage facilities for the Contractor during the contract period; it is therefore the Contractors responsibility to take such measures as to the provision of any materials or equipment on site. The Council will take no responsibility for any vandalism or theft, which might occur as a result of materials or equipment being stored therein. The Contractor shall be held responsible for any damage, which might occur as a result of any such storage of materials or equipment.

## POST INSTALLATION

(a)	The Contractor shall on submission of his invoice, provide Guarantee Certificates covering the life of the guarantee periods identified in the Tender Documents.

(b)	Final payment of the Contractor's invoice shall be made on the provision of a Post Installation Inspection Certificate. This certificate will identify that all works have been completed to the current British and European Standards and our specification.

# SPECIFICATION PRELIMINARIES

## GENERAL

- All works when finished must comply with the current British and European Standards and recommendations and any relevant legislation especially BS 1722:2006 and BS EN ISO 1461:2009.

- Method Statements showing how the Contractor proposes to undertake the works in question, for Client Officer approval, shall accompany the priced up Bills of Quantity.

## 2.	WORKING HOURS

- The working day shall be between the hours of 08.30 a.m. to 4.00 p.m. Monday to Friday.

- The Contractor shall identify in the Method Statements his normal weekly and daily work times on which his tender is based.

- No weekend or overtime working shall be permitted without the previous written authorisation from the Client Officer.

## RISK ASSESSMENTS

- The Contractor shall provide copies of his risk assessment forms relating to his working practices of his employees operating on and covering the nature of this contract.

- The Contractor shall fully acquaint themselves of the nature of this contract and provide a full risk assessment of how they will maintain the integrity of property boundaries around the site.

## CONTRACTOR'S REPRESENTATIVE

  - During the contract period the Contractor shall have a representative who can be contacted at all times by the Client Officer to answer any queries that might arise.

  - The Contractors representative shall have delegated administrative powers from the Contractor in relation to the effective running and management of this contract and as such will be supplied by the Contractor with a mobile telephone which must be switched on during the working day, the telephone number to be supplied to the Client Officer.

  - Should the Contractor employ more than one gang on the contracts he shall be expected to provide a working mobile telephone for each gang when working on site within the district, and provide the Client Officer with their numbers.

## 5.	CUSTOMER CARE

(a)	During the contract period the Contractor shall be expected to adhere to the Council's Customer Care Policy, copies of which shall be provided upon award of the contract.

# GENERAL DESCRIPTION OF WORKS

## GENERAL WORKS

- The Council requires that the identified areas are to have new fencing.  Site plans are provided with this tender showing locations.

- The Contractors attention is drawn to the Liability of the Contractors, Clause 11 in the Conditions of Contract.

- Where the work is in areas to which the general public has access the Contractor shall take every precaution necessary to ensure their safety e.g. by providing staff to restrict and/or redirect them and by erecting barriers and displaying signs as necessary.  The Contractor must as far as is reasonably practical ensures that the public is excluded from the area of operations.  The means by which the Contractor achieves this must be at his/her discretion, and he/she will be held responsible should they not be effective.

- On completion of the Works the Contractor shall remove all wood, equipment and other materials and is to leave the site clean and tidy to the satisfaction of the Client Officer.

- The Contractor shall take care to avoid damaging any structures or fittings; other trees, shrubs and plants; grass or other surfaces at the site of the Works and on neighbouring property. If any damage occurs the Contractor shall carry out full reinstatement to the satisfaction of the Client Officer or alternatively satisfy the Client Officer that adequate compensation has been paid to the owner concerned, in accordance with the Conditions of Contract and at the Contractor's expense.

- The Contractor shall ensure that no spillage or dumping of any fuel, oil or other material takes place on or near the site.

- If the Contractor encounters any points of doubt or difficulty during the course of the Works especially with regard to damage or points not covered by the Contract, the Contractor shall clear the matter with the Client Officer before proceeding with the works. The Contractor shall not make any agreements or arrangements with unauthorised persons.

- The Contractor shall be deemed to have taken into account any surrounding hazards when submitting his tender. The Contractor shall be responsible for any costs incurred in the disconnection and reconnection of overland power lines and telephone cables or underground services, and also for arranging with the Authorities concerned for the working and safety of such apparatus.

- If any of the work necessitates entry onto any adjoining land, the Contractor shall make the necessary arrangements for access. The Contractor shall not leave any wood, materials or equipment on adjoining land without permission from the landowner to do so. Any damage to adjoining property must be properly repaired, at the Contractor's expense. The Contractor is not to allow any of his workmen to wander about the area of the Works or to trespass on any adjoining property.

- The Contractor may use such tools and equipment as he/she deems to be suitable provided it complies with all Health and Safety requirements.

- Maintaining security to property and sites is sacrosanct and must be ensured at all times.

- Any damage to the galvanised and powder coated finish prior to and during the installation may result in the affected sections being refused and may require replacement at the Contractor’s own expense.

- Close off individual areas during construction works using approved security fencing to be agreed with the Client Officer.

- Post signs in suitable positions on outer perimeter fence warning members of public that the area is closed due to construction works.  Signs must display all relevant Health & Safety information (emergency telephone no. as a minimum requirement).

- Leave areas/sites safe and clean and remove any temporary fencing from site on completion of all works.   All arisings shall be collected and taken to the Contractor's tip.

- The sites requiring fencing work to be undertaken are:

  - Sinclair Avenue Allotments

Sinclair Avenue, Banbury

Postcode OX16 1DW

  - Wood Green Allotments

Tithe Court, Banbury

Postcode OX16 OEH

  - Spital Farm Allotments

Thorpe Way, Banbury

Postcode OX16 4XS

  - Dover Avenue Allotments

Dover Avenue, Banbury

Postcode OX16 0JE

  - Easington Allotments

Springfield Avenue, Banbury

Postcode OX16 9HS

  - Grange Road Allotments

Oxford Road, Banbury

Postcode OX16 9BA

- 2 sites require the fencing to be erected on school sites Sinclair Avenue and Wood Green via Hill View Primary School, Hill View Crescent, Banbury OX16 1DN and Frank Wise School, Hornbeam Close, Banbury, Oxfordshire OX16 9RL, respectively.  On the Hill View site construction work is about to start to extend the school but the request that work is undertaken during a school break (this may change once contractors are on site).  At Frank Wise construction work has begun and therefore access to the site has to be arranged through the site manager but the work can be undertaken at any time.

- The remaining 4 sites can be accessed through the allotment sites however access to Dover Avenue, Easington and Grange Road sites is restricted to 2.4 m width at Easington & Grange Road sites, with 2.9 m at Dover Avenue.  Parking is also restricted at most of the sites.  Grange Road allotments is located on a bridle path with the main access off Oxford Road.

- Some vegetation may require cutting back but it is intended that access will be cleared for the erection of the new fences, contractors should be prepared for minimal vegetation clearance.  However, where trees are located the contractors will be required to bridge any major roots and hand dig any post foundations under the tree canopies the cutting of major roots will not be permitted or any work that may harm the trees.  Work to be undertaken to the current British Standards 3998:2010 & BS 5837:2012.

- On Sinclair Avenue, Dover Avenue and Grange Road sites, any existing boundary fencing (not garden fences) is to be removed by the successful contractor to an Environment Agency or local authority approved disposal site to facilitate the erection of the new fencing.   Easington allotment fencing will abut garden fencing with Spital Farm works installed to allow maintenance access to the close-boarded fencing owned by the housing estate management company.

- The work will consist of the erection of 2.0m high steel palisade fencing with contractors providing quotes for this to be either just hot-dip galvanised or powder-coated RAL 6005 Moss green on top of the galvanising.

- All work shall comply with BS 1722-12:2006 Fences. Specification for steel palisade fences.

- Any figures given in this contract are guides only and the contractor must undertake site visits to satisfy themselves that the fencing locations/routes identified are fully enclosed between the identified areas, any shortfall/gaps will be made up by the contractor at his own cost.  Site visits can be arranged by appointment to gain access, as these sites are secured.

- The Contractor will be responsible for ensuring that no utilities are damaged during the installation of the fencing on any site, should this occur then the contractor will be totally responsible for any claims made.  Likewise the Contractor shall be responsible for maintaining the security of each individual site during the removal of the old and installation of the new fencing.

# Sinclair Avenue Allotments

- The fencing is to be installed as close to the hedging as practicably possible leaving no or minimal gap between the vegetation and the fence to allow ongoing hedge/vegetation maintenance).  The length of fence required as shown above (by the red line) is approximately 159.5 lin m (please note that the fence is required up to the gate on to the park.

- As the fencing is being erected on the school grounds the pales will need to be rounded tops with the galvanised steelwork pwder coated green.

- There is approximately 20 lin m of old fencing to remove consisting of various different fabricated sections that include some heras fencing.

# Wood Green Allotments

- The main length of fence is required between Frank Wise School and the allotment site (approximately 96 lin m).

- Additional fencing is required along the Tithe Court boundary (approximately 19.25 lin m) to replace the existing steel bowtop fencing and gate.  This requires replacing with both a vehicle (approximately 3.6 m wide) and a pedestrian access (approximately 0.9 metre wide) gates and associated appropriate supporting RHS posts and furniture.

- The existing double gate is 4 lin m wide with the total length of fencing for the 2 locations being approximately 116 lin m.

- The main fencing erected on the school grounds requires the pales to have rounded tops with the galvanised steelwork powder coated green, the additional fencing on Tithe Court is to continue the security fencing already installed with the same Trident - Triple Pointed Pales on the top.

- On the Frank Wise section of fencing there are several mature trees which must not be damaged as they are covered by Tree Preservation Orders.  The fencing is to be erected between these trees and the existing fence and then along the boundary line where no current fencing is erected.  Contractors will submit with their quote a Method Statement to Banbury Town Council identifying how they intend to erect the fence for the majority of this boundary as this ground is substantially higher than the allotment site.

- There is approximately 65 lin m of steel fencing on both sections to remove including any post foundations with the land requiring reinstatement on completion.  This fencing consists of the bow top and also includes post and rail – all steel fabricated.

- Access to this site is subject to the development site manager in addition to the school site manager.

- The allotment site is leased to an allotment association therefore all works will be subject to their final agreement.

# Spital Farm Allotments

- The fencing for this site is required to supplement the existing close boarded fencing that is in the ownership of the neighbouring housing estate management company.  The erection of the new fence will allow their access to maintain their fencing but should be erected giving minimum space for this purpose.  The approximate length of fencing for this site is 148 lin m.  As this fencing has minimal amenity value the fencing finish is standard hot dip galvanised as specified.

- There is no fencing to remove on this site.

- The allotment site is leased to an allotment association therefore all works will be subject to their final agreement.

# Dover Avenue Allotments

- 2 lengths of fencing (on the west and east sides) are required for this site; the main section is to replace an existing concrete post and chicken wire fence (approximately 76.9 lin m) with the second section along the access road to the garages (approximately 21.4 lin m), which also contains 2 access gates with this opening being 3.68 lin m approximately.

- The existing gates will require removal as access can be obtained beneath them as the site is slightly sloped (south to north) with the new gates taking this into consideration.

- The existing fencing on the west and east sides of the site, is to be removed to an Environment Agency or local authority approved disposal site

- The allotment site is leased to an allotment association therefore all works will be subject to their agreement.

# Easington Allotments

- Unlike other sites this site only requires partial fencing along one side only at the rear of garden fences and will constitute the extension of existing security fencing as shown. This should be of a hot dip galvanised finish with the security Trident - Triple Pointed Pale top finish and is for approximately 104 lin m.  The fencing shall be erected as close as practicably possible to the existing garden boundaries to avoid disturbing allotment holders and their plots.

- The site is managed by an allotment association therefore all works will be subject to their agreement.

# Grange Road Allotments

- Fencing is required for this site along the rear of the site adjacent to the boundary fences of properties on St Anne’s Road.  The length of fencing required is approximately 184 lin m and should be of a hot dip galvanised finish with the security Trident - Triple Pointed Pale  top finish and is for the 3 sides of the site leaving the bridle path section open.

- The site because of its size is tight and the erection of the fencing will have to take this into account as access will be difficult.

- Any existing chanlink fencing (including posts) shall be removed by the contractor to an Environment Agency or local authority approved disposal site.

# FENCING SPECIFICATION

## Notes

A	Contractor to visit site, undertake, measure and ascertain all ground conditions.

B	Contractor to allow for clearing the fenceline of existing fencing, retain as directed existing hedging and other vegetation (trim back as necessary).  Contractor to allow for use of temporary hazard mesh fencing secured to prevent access to each site.  This shall be maintained at all times up to the point that the final fence is in position.

C	The Contractor shall provide method statements outlining his method of working.

## 1.0 	INTRODUCTION

  - This Standard Technique sets out the specification and installation requirements to be used for allotment palisade fences.

  - The detailed specification of the fencing shall conform to British Standard 1722 Part 12 2006 Specification for steel palisade fences.

  - The security fence shall be not less than 2.0 metres high to prevent, so far as is reasonably practicable, danger or unauthorised access.

  - The specification set out below is based on the British Standard 1722 Part 12 2006 showing the options required. The paragraph numbering and table references shown in brackets match those in BS 1722 Part 12 2006.

## 2.0	GENERAL (Section 1 BS 1722 Part 12 2006)

2.1	Scope

- Steel palisade fences and gates for security purposes in corrugated pales at 2.0 m height, with posts at 2.75m centres.

## 3.0	DIMENSIONS (Section 3 BS 1722 Part 12 2006)

3.1	The minimum dimensions of components for a Security palisade fence given in tables 1,2,3,4,5,6 and 7 of BS 1722 Part 12 2006.

3.2		Spacing and Face to View

The maximum spacing of pales centre to centre shall be:

- 146mm (18 pales per 2.75m bay) for corrugated pales The minimum face to view (width) shall be:

- 70mm for corrugated pales for security fences

3.3		Thickness

Pale thickness for security fences shall be:

- Corrugated D - 3.9mm minimum nominal thickness exclusive of finish as given in table 6 of BS 1722 Part 12 2006

- Corrugated W section - 3.0mm minimum nominal thickness exclusive of finish as given in table 6 of BS 1722 Part 12 2006

- Corrugated W section pales shall be used as the standard pales unless otherwise specified.

3.4 	Strength

Tests to be in accordance with Appendix A of BS 1722 Part 12 2006.

- For security palisade fencing the maximum deflection at the middle of the span under a test load of 3.5kN shall not exceed 10mm.

## 4.0	MATERIALS (Section 4 BS 1722 Part 12 2006)

4.1	Steel

As detailed in paragraph 4.1 of the British Standard, or the equivalent in a European Standard.

4.2	Bolts, Nuts and Washers

As detailed in paragraph 4.2 of BS 1722 Part 12 2006

- Post to Rail fixing: - M12 Cup Square headed Bolts to BS 4933 strength Grade 8.8 and Shear headed “Permacone” nuts.

- Pale to Rail fixing: - Corrugated pales require a M8 saddle headed bolt, W section pales a M8 "T" headed bolt to strength Grade 8.8 both to be used with Shear headed cone nuts.

- There is NO British Standard for Shear headed Cone Nuts. Cone nuts to be steel strength grade 8 as detailed in BS 4190 and threaded in accordance with BS 3643

## 5.0 	CONSTRUCTION (Section 5 BS 1722 Part 12 2006)

5.1	Pales

- Pales shall be secured to the rails at every intersection by galvanised M8 mild steel "T" headed bolts to BS 4933 strength grade 8.8 and permacone nuts strength grade 8. Pale tops shall be triple pointed and splayed or round topped as identified in General Description of Works.

- Pales - Trident (Triple Pointed) or Rounded Head 2.5mm “w” profile.

5.2	Fence Posts

- Posts shall be hot rolled to the minimum sections shown in table 1 and 2 of BS 1722 Part 12 2006 and they shall be provided at 2.75m centres. Posts shall fabricated with pointed tops and be embedded in concrete foundations to minimum depths given in table 1 and 2 of BS 1722 Part 12 2006.

- Posts shall receive the following works treatment, hot dip galvanising in accordance with BS EN ISO 1461:2009.

5.3	Stays

Not normally required but may be considered at Frank Wise/ Wood Green due to the ground issues.

5.4	Rails

Fences shall have two horizontal rails of the section given in table 1 and 2 of BS 1722 Part 12 2006 fitted as shown in SFGA 20 (Appendix A). They shall be fixed to the posts using cone nuts as specified in Section 4.2.

The oversail from the centre of the upper rail fixing to the top of the pales and the oversail from the centre of the lower rail fixing to the bottom of the pales shall be as given in table 1 and 2 of BS 1722 Part 12 2006.

5.5	Post to Rail Connection

Rails shall be secured to posts with connector plates. Connector plates shall be connected to the post by Welding.

Plates shall be a minimum of 40mm depth and 8min thick and of sufficient length to give a minimum distance of 9mm to the edge of the hole. Post to Rail fixings cone nuts as specified in Section 4.2.

5.6	Intermediate Supports

Intermediate supports as specified in BS table 2 shall be provided to the lower structural rail. Each support shall be 40mm x 40mm x 5mm angle bolted to the rail by "T" bolts and cone nuts as specified in Section 4.2, 2 supports are required per 2.75m bay.

5.7	Protective Treatment

After the fabrication of gates and fencing components, including the punching or drilling of any holes and all welding, the fencing and gates shall receive the following works treatment.

- Hot clip galvanising in accordance with BS EN ISO 1461:2009.

- Where fencing is powder coated on top of the galvanised steel in accordance with BS EN 13438:2013 using the colour RAL 6005 Moss green

5.8	Renovation of Coatings

Small areas of hot clip galvanised and/or powder coating damaged by welding, cutting or by excessively rough treatment during transit and erection shall be renovated by the use of low inciting point zinc alloy repair rods or powders made specifically for the purpose, or other means in accordance with BS 5493 such as zinc rich paint. Sufficient material shall be applied to provide a zinc coating at least equal in thickness to the original layer.  Likewise with any damage to the powder coating shall be treated similarly to BS EN 13438:2013.

5.9	The general arrangement and construction of the palisade fence will be as detailed on BTC drawing numbers as listed below:-SFGA 20 Standard 2.0m palisade fence. SFGA 21 Standard wing fence details.

5.10 	Palisade fence bays of width less than 2.75 metres - care must be taken to ensure that the pale to pale and pale to post clear space is 76mm max. Where rails are to be re-drilled or cut they must receive renovation of the coating as detailed in 5.8 above.

5.11	Rail fixing - where it is impossible to use cone nuts to fix to the connector plates, bolts as detailed in table 2 of BS 1722 Part 12 2006 and complying with Section 4.2 may be used.

5.12 	Nut and bolt fixings - where used threads are to be burred over after the nut has been tightened, the finish must receive a renovation to the coating as detailed in 5.8 above. No threads shall be exposed beyond 2.5 mm any excess must be trimmed off and treated as detailed above and in 5.8.

## 6.0 	FOUNDATIONS AND SILLS (Section 8 BS 1722 Part 12 2006)

6.1	General - As detailed in BS 1722 Part 12 2006.

6.2	Holes for Fence Post Foundations - As detailed in BS 1722 Part 12 2006.

6.3	Concrete Sills - As detailed in BS 1722 Part 12 1990, but 200mm wide. A concrete sill is required on all BTC installations, the sides are to be shuttered and the top weathered.

6.4	Concrete for Post Foundations and Sills - As detailed in BS 1722 Part 12 2006.

## 7.0 	ADDITIONAL SECURITY (Section 8 BS 1722 Part 12 2006)

7.1	Burrowing - Provide a concrete sill in accordance with BS Section 8.1.3.

## 8.0 	CONSTRUCTION OF GATES (Section 7 BS 1722 Part 12 2006)

8.1	General

The general arrangement and construction of the gates will be constructed to match fencing. The distance from the bottom edge of the gates pales to the surface of the road/paths shall not exceed 50mm when the gate is in the closed position.

8.2	Where pales are not welded they shall be attached, by the same method as the fence pales, to a 40mm x 6mm flat (set 40mm to view) stitch welded to the gate frame by 50mm welds at pale centres on alternate sides.

If pales are not welded, vertical members of the same section as the frame shall be welded and located behind the pales at intervals not greater than 2m and not more than 1m from the hinge end of the frame.

8.3 	Hinges

Hinges shall be arranged in accordance with BS 1722 Part 12 (7.2) to prevent gates being lifted off.

8.4	Drop Bolts and Slam Plates

The construction of the drop bolts and slain plates will be as detailed on BTC drawing numbers listed below (see Appendix A):-

- Drop bolt and slam plate arrangement on inward opening palisade double gates.

- Drop bolt and slam plate arrangement on outward opening palisade double gates.

The gate locking bolt shall be sufficiently long to prevent gates being "sprung" open by pulling/pushing. Gate drop bolts shall be arranged so that they cannot be lifted without the other gate of the pair being opened.

8.5	Locking Devices

The construction of the locking devices shall be slide bolts with a means by which padlocks can be attached to prevent the draw bolts from being force opened.

8.6	Gate Posts

- Posts shall be RSJ or universal column sections of the dimensions given in table 4 of BS 1722 Part 12 2006.

- Posts shall receive the following works treatment, hot dip galvanising in accordance with BS EN ISO 1461.

## 9.0 	INSTALATION (Section 8 BS 1722 Part 12 2006)

9.1	Line and Level - As detailed in BS 1722 Part 12 2006.

9.2	Posts - As detailed in BS 1722 Part 12 2006.

9.3	Intermediate Supports - As detailed in BS 1722 Part 12 2006.

9.4	Bolts and Fastenings - As detailed in BS 1722 Part 12 2006.

9.5	Erection of Palisade Fences - As detailed in BS 1722 Part 12 2006.

## 10.0 	FENCE AND WALL SECURITY ENHANCEMENT

10.1 	All external features outside BTC's control which could affect the statutory height requirement or afford access to the site e.g. banks, gates, fences, walls, trees, storage of material etc. must be given full consideration.

10.2 	Specification for Wing Panels

- Wing fences are to be used at the junction of the palisade with all abutting fences to maintain the required statutory 2.0m fence height in order to prevent unauthorised access. The wing fence gives full height protection and does not afford a high level walkway.

- All wing fences must be the same height as the security fence (min 2.0m) and of minimum length of 2 metres, fitted with insulated fixings at both top and bottom arris rail (4 in total).

- A low height boundary fence could also be overcome by the use of increased height fence/transition panels, provided 2.0m clearance can be obtained all as specified in 10.4.

All materials used shall comply in all aspects with the requirements of BS 1722 Part 12 2006 for security palisade.

- Rails - two horizontal rails shall be steel flat bar 65mm x 10mm, fixed to the posts using cone nuts as specified in Section 4.2.

- Pales - shall be fixed on alternative sides of the flat bar, with galvanised M8 mild steel "T" headed bolts and permacone nuts as 5.1. Pale spacing on each side of the bar to be at 150mm centres.

- Intermediate supports - None required.

- Bay height - 2.0m. Bay width - 2.75m.

- Wing panels to be attached to corner posts using 75 mm x 50 mm x 6 mm angle cleats 65 mm long.

10.3 	Increased Height Fence/Transition Panel

The fence height can be increased at the junction of the palisade with a low height boundary fence or any other third party structure to maintain the required statutory 2.0m fence height in order to prevent unauthorised access.

A full bay transition panel to be provided between the 2.0m and the increased height fence section.

Construction of transition panels:-

All materials used shall comply in all aspects with the requirements of BS 1722 Part 12 2006 for security palisade.

- Rails - as specified in Section 5.4, but with top rail raked to maintain the top oversail to pales distance and comply with the higher fence requirements.

- Pales - as specified in Section 3.3 and 3.4 and secured to the rails as specified in Section 5.1. Pale heights to increase proportionately from lower to higher height across bay width.

- Posts - all as detailed in Section 5.2.

- Intermediate supports - as specified in Section 5.6.

Bay height - 2.0m to required height.

Bay width - 2.75m.

## 11.0	LITTER PICKING AND DEBRIS REMOVAL

11.1	Prior to any maintenance operation on the site, the Contractor shall be responsible for the collection of all litter, debris and other deleterious matter from the area and along the line of the new fences during the contract period, removing all arisings to the Contractor's tip.   The price for such clearance must be included within the Contractor's submitted rates for each billed maintenance operation.

## 12.0	AFTER CARE & MAINTENANCE

12.1	The Contractor shall be responsible for any aftercare and maintenance on the site for 12 months entirely at his own expense.  This work shall consist of:

- ensuring the stability/security of the new fences.

- any land settlement is made up to surrounding levels and reseeded if necessary.

# BILL OF QUANTITIES

|  | Description | Rate per lin m | Quantity | Total |
| --- | --- | --- | --- | --- |
| (i) | Supply and construction of temporary safety fencing. |  | Sum |  |
| (ii) | Temporary signage. |  | Sum |  |
| (iii) | Removal and disposal of old fencing and foundations |  | Sum |  |
| (iv) | Litter Clearance |  | Sum |  |
| (v) | Reinstatement Work and grass seeding |  | Sum |  |
| (vi) | Supply and Installation of round top palisade fencing powder coated green |  | 270 lin m |  |
| (viii) | Supply and Installation of security prong top palisade fencing hot dip galvanised |  | 520 lin m |  |
| (viii) | Supply and Installation of gates |  | 2 |  |
| (ix) | Supply and Installation of palisade fencing |  | 123 lin m |  |
| (x) | Leave area safe and clean. |  | Sum |  |
| (xi) | Aftercare and Maintenance |  | Sum |  |
|  | Project Total |  | £ |  |

## APPENDIX A