## Work Schedules
BURGESS HILL BURIAL GROUND EXTENSION
Item | Description | Unit | Number | £/unit | Cost (£)
P1-P5 | Transport and Preliminaries. | Item | 1 |  | 0
1 | Setting out
1.1 | Setting out working area. | Item | 1 |  | 0
2 | Site clearance and enabling works
2.1 | Total herbicide application. | m2 | 7333 |  | 0
2.2 | Flail mow. | m2 | 7333 |  | 0
2.3 | Removal of bird's mouth fencing (disposal off-site). | Lin. m | 5 |  | 0
2.4 | Removal of hedge (disposal off-site) | Lin. m | 10 |  | 0
2.5 | Removal of close board fencing (to be retained on-site). | Lin. m | 16 |  | 0
2.6 | Removal of double 5-bar gates (to be retained on-site). | Item | 1 |  | 0
2.7 | Creation of a gap in the wire stock fencing. | Item | 1 |  | 0
2.8 | Supply and install a culvert. | Item | 1 |  | 0
3 | Water supply and stand pipes
3.1 | Supply and install 63 mm diameter MDPE water pipe and fittings. | Lin. m | 150 |  | 0
3.2 | Supply and install Edwards Standpipe ED2012. | Nr. | 2 |  | 0
4 | Concrete slab for a storage shed
4.1 | Excavation of formation surface. | m2 | 382 |  | 0
4.2 | Supply and install tanalised timber wooden edgings. | Lin. m | 81 |  | 0
4.3 | Supply and install damp proof membrane. | m2 | 382 |  | 0
4.4 | Supply, place and grade 150 mm DOT Type 1 stone sub-base. | m2 | 382 |  | 0
4.5 | Supply and place A252 steel reiforcement mesh. | m2 | 382 |  | 0
4.6 | Supply, place and grade 100 mm concrete slab. | m2 | 382 |  | 0
5 | Installation of drainage infrastructure
5.1-5.5 | Supply and install 160 mm dia collector drains including backfill below the car park. | Lin. m | 30 |  | 0
5.1-5.5 | Supply and install 160 mm dia collector drains including backfill below the pedestrian paths. | Lin. m | 103 |  | 0
5.1-5.5 | Supply and install 150 mm dia carrier drains. | Lin. m | 58 |  | 0
5.6 | Supply and install specified inspection chambers. | Nr. | 3 |  | 0
5.7 | Supply and install headwalls. | Nr. | 3 |  | 0
6 | Self-binding stone car park and pedestrian paths
6.1-6.3 | Excavation of formation surface (car park). | m2 | 153 |  | 0
6.1-6.3 | Excavation of formation surface (paths). | m2 | 186 |  | 0
6.1 | Move excess subsoil and topsoil from the car park to the surrounding area. | m3 | 58.14 |  | 0
6.1 | Move excess topsoil from the paths to the surrounding area. | m3 | 42.78 |  | 0
6.1 | Place and grade excess subsoil. | m3 | 33.12 |  | 0
6.1 | Place and grade excess topsoil. | m3 | 67.8 |  | 0
6.4 | Rolling to compact the formation surface. | m2 | 339 |  | 0
6.5 | Application of residual herbicide. | m2 | 339 |  | 0
6.6 | Supply and install concrete pin kerbs (car park). | Lin. m | 71 |  | 0
6.7 | Supply and install tanalised timber edgings. | Lin. m | 214 |  | 0
6.8 | Supply and lay geotextile membrane. | m2 | 339 |  | 0
6.9 | Supply, place and grade 300 mm Suds Aggregate 20/4 stone sub-base (car park). | m2 | 153 |  | 0
6.9 | Supply, place and grade 150 mm Suds Aggregate 20/4 stone sub-base (paths). | m2 | 186 |  | 0
6.1 | Rolling to compact the stone sub-base. | m2 | 339 |  | 0
6.13 | Supply and lay 80 mm consolidated thickness layer of self-binding Cotswold stone chippings . | m2 | 339 |  | 0
6.14 | Rolling to compact the surface. | m2 | 339 |  | 0
7 | Dense macadam roads
7.1-7.3 | Excavation of formation surface. | m2 | 1436 |  | 0
7.4 | Rolling to compact the formation surface. | m2 | 1436 |  | 0
7.5 | Application of residual herbicide. | m2 | 1436 |  | 0
7.6 | Conduct California Bearing Capacity plate tests. | Nr | 6 |  | 0
7.7 | Supply and lay concrete pin kerbs. | Lin. m | 592 |  | 0
7.8 | Supply and lay geotextile membrane. | m2 | 1436 |  | 0
7.9 | Supply, place and grade 300 mm DOT Type 1 stone sub-base. | m2 | 1436 |  | 0
7.10-7.11 | Rolling to compact the stone sub-base. | m2 | 1436 |  | 0
7.12 | Conduct lightweight deflectometer stiffness tests. | Nr. | 6 |  | 0
7.13 | Supply and lay 60 mm dense macadam base course. | m2 | 1436 |  | 0
7.14-7.15 | Supply and lay 30 mm dense macadam wearing course. | m2 | 1436 |  | 0
8 | Topsoil cultivation (grave plot areas)
8.1 | Plough to a depth of 200 mm. | m2 | 5156 |  | 0
8.2 | Power harrow. | m2 | 5156 |  | 0
9 | Disposal of arisings (roads)
9.1 | Place and grade excess subsoil and topsoil arisings from excavations. | m3 | 545.68 |  | 0
10 | Re-grading
10.1-10.2 | Surface re-grading. | m2 | 5156 |  | 0
11 | Final grading, seedbed preparations, fertilisation & seeding
11.1 | Final surface grading to specified tolerances . | m2 | 5156 |  | 0
11.2 | Supply and spread specified fertiliser. | m2 | 5156 |  | 0
11.3 | Stone picking / burial. | m2 | 5156 |  | 0
11.4 | Final seedbed preparation. | m2 | 5156 |  | 0
11.5-11.6 | Supply and drill specified seed. | m2 | 5156 |  | 0
11.7 | Roll seeded areas as necessary. | m2 | 5156 |  | 0
11.8 | Mowing 5,156 m2. | Nr. | 3 |  | 0
12 | Hedgerow planting
12.1 | Supply and plant Common Hawthorn perimeter hedges. | Lin m | 81 |  | 0
13 | Fencing
13.1 | Supply and erect specified post and rail fence. | Lin m | 88 |  | 0
13.2 | Supply and install a double gate. | Nr. | 1 |  | 0
13.3 | Supply and install bird's mouth fence. | Lin m | 37 |  | 0
14 | Telescopic fold-down bollards
14.1 | Supply and install telescopic fold-down bollards. | Nr. | 7 |  | 0
15 | Reinstatement of damage
15.1-15.7 | Reinstatement of damage. | Item | 1 |  | 0
16 | As-built survey, O&M Manual and H&S File
16.1 | Conduct and publish an as-built survey of constructed site. | Item | 1 |  | 0
16.2 | Prepare an Operations & Maintenance Manual and a Health & Safety File. | Item | 1 |  | 0
|  |  |  | SUB-TOTAL (EXCL. VAT) | 0
|  |  |  | PROJECT CONTINGENCY (10%) | 0
|  |  |  | TOTAL COST OF WORKS TO FORM OF TENDER (EXCL. VAT) | 0