APPENDIX B

SERVICE DESCRIPTION

CONTENTS

1.	INTRODUCTION	2

2.	PURPOSE	2

3.	background to the authority	2

4.	Background to requirement/OVERVIEW of requirement	2

5.	Scope of Requirements	2

6.	service levels and performance	6

7.	Additional Requirements	6

8.	Location	7

9.	Security requirements	7

10.	BUDGET	7

# INTRODUCTION

## The Home Office Centre for Applied Science and Technology (CAST) carry out their own portable appliance testing and inspection in between the contracted suppliers formal regime, and require a supplier to provide a series of training courses for those individuals who will be performing the inspections.

# PURPOSE

# 2.1	To enable staff to work effectively and safely, using the correct equipment, and having the appropriate knowledge when carrying our tests and inspections both theoretically and practically.

# background to the authority

## We are a unique team of scientists and engineers at the heart of the Home Office providing expert advice, innovation and frontline support. We are the primary science and technology interface between Home Office ministers and policy makers, frontline delivery partners, and the suppliers of science and technology. Understanding the policy and operational context of Home Office business allows us to operate where others cannot for reasons of impartiality, national security or market failure.

## We support the full range of Home Office interests in policing and tackling crime, counterterrorism, border security and controlling immigration. Our extensive in-house skills and expertise, coupled with access to industrial, academic and international networks, ensures that we are able to provide the right advice and support, irrespective of the problem.

## We have a diverse work environment including offices, and a variety of technical facilities and laboratories.

# Background to requirement/OVERVIEW of requirement

## CAST have a number of staff who are trained in portable appliance, and the testing internally has been done on an ad hoc basis.  The intention is to re-train these individuals and setup an on-going arrangement for refresher training.

## It is anticipated that up to 5 persons will be trained every year but not guaranteed.

# Scope of Requirements

## The successful supplier(s) will be expected to provide all elements of the requirement as per section (5.2 to 5.9.4.3).

## It is anticipated that a successful supplier will provide the requirements at 5.10.3 and 5.10.4, requirements at 5.10.1 and 5.10.2 may be provided for separately.

## Accreditations and Approvals

## The supplier must be authorised to carry out training services of Seaward products.

## The supplier must be accredited to the National Inspection Council for Electrical Installation Contracting (NICEIC) and optionally one of the following:

### CHAS

### Constructionline

### Supply Hertfordshire

## Training requirements

## The service should be provided for a three year period from date of award with the option to extend for one year.

## The service provider should adhere to the appropriate health and safety related legislation and best practice but not limited to including subject specific legislation The Electricity at Work Regulations 1989 and Provision and Use of Work Equipment Regulations 1998.

## Individuals will receive the majority of the training at the supplier’s facility, however on the annual refresher training should be provided at the St Albans and/or Horsham CAST sites, exact locations noted in section 8.

## The requirement is for four courses that cover theory and practical aspects: a formal qualification, on-line refresher plus equipment with compatible software training:

### City & Guilds 2377-22 Portable Appliance Testing: A Basic Introduction & Practical Guide

#### Objectives

##### Unit 1: Legislation and responsibility

###### Health & Safety at Work Act & Regulations

###### Electricity at Work Regulations

###### Housing Act

###### Who Has Responsibility

##### Unit 2: Competence, training and experience

###### The User

###### The Duty Holder

###### The Test Operative

##### Unit 3: Types of equipment and equipment construction

###### Types of Equipment

###### Classes of Equipment

##### Unit 4: The Inspection process and testing procedure

###### Performing Product Inspections

###### Safety Considerations

###### Testing After Repair

##### Unit 5: Risk assessment and record keeping

###### Assessing the Risk

###### Maintenance Intervals

###### Record Keeping

#### The course should be classroom based and this part should last for no more than 3 days.

#### The course should be assessed by an on-line multiple choice examination (1hr 45mins in duration, with 50 questions) and a practical assessment.

#### Successful candidates will receive a City & Guilds certificate.

### Portable Appliance Testing - A Practical Guide

#### Objectives

##### Unit 1: Legislation

##### Unit 2: Responsibilities

##### Unit 3: Competence, training and experience

##### Unit 4: Types of equipment

##### Unit 5: Classed of equipment construction

##### Unit 6: Inspection process

##### Unit 7: Combined inspection and testing procedure

##### Unit 8: Electrical tests

##### Unit 9: Frequency of inspection and testing based on risk assessment

##### Unit 10: Record keeping

#### Online course based on industry guidance, and should be no more than 4 hours.

#### All candidates will undertake an online assessment, and once successful will receive a certificate to confirm their completion of the course.

### Apollo 500 Training Course

#### Objectives

##### Unit 1: An introduction to PAT Testing

###### Brief overview of the requirements for electrical safety testing in the workplace

##### Unit 2: Identifying the appliance

###### Skills to identify appliances by type as defined by the Code of Practice and defines which tests that are necessary to ensure safe and comprehensive testing

##### Unit 3: Commonly used tests

###### Commonly used tests required to comply with PAT testing best practice

###### All aspects of testing from visual inspection through to functional checks and polarity testing

###### How to comply with the IET Code of Practice 4th Edition

##### Unit 4: Understanding & setting up Apollo 500

###### Identifying and utilising the features of Apollo 500

###### How to configure Apollo 500 to meet your specific requirements

##### Unit 5: Using Apollo 500

###### Manual and automatic testing demonstration, followed by a supervised practical session

###### Managing test results, with label downloads & results storage

#### The course should be classroom based and this part should last for no more than 1 day.

#### All candidates will receive a certificate to confirm their attendance and completion of the course.

### PATGuard 3 Software Training Course

#### Objectives

##### Unit 1: An introduction to PATGuard 3

###### A brief overview of the requirements as to why electrical safety testing is required

##### Unit 2: Understanding the database structure

###### How test results are stored in the database and how recording additional information will help you become more efficient and make the most of the reports

##### Unit 3: Importing legacy databases

###### How to transfer other supported existing record based systems into PATGuard

##### Unit 4: Personalising your database

###### How to use the test record options to record additional asset information

##### Unit 5: Uploading and downloading

###### How to download results from the tester into the database, and then when required upload the data back to the tester for re-testing

##### Unit 6: Re-tests and e-mail alerts

###### How to set and manage the re-test period

###### How to schedule, configure and trigger email alerts to their clients when re-tests are due

##### Unit 7: Managing the PA resource

###### How to monitor the PAT tester's usage from minute to minute

#### The course should be classroom based and this part should last for no more than 1 day.

#### All candidates will receive a certificate to confirm their attendance and completion of the course.

# service levels and performance

## The Authority will measure the quality of the Supplier’s delivery by

### Receiving positive feedback greater than 50% from the delegates.

### Acting on any feedback given by the Authority for the purpose of Continuous Improvement.

# Additional Requirements

## In order to achieve complete automation of the Procure to Pay process, payment can only be made for services rendered, interim payments will not be considered unless previously agreed prior to contract award.  Suppliers should take this into consideration when outlining their costs and payment terms.

Each invoice MUST state a valid purchase order number as issued by the Home Office.

Each invoice should list an elemental breakdown of services supplied.

Payment will be made 30 days following receipt of a correctly submitted invoice.

All invoices should be submitted for the attention of Accounts Payable at the following address(s):

Home Office Shared Service Centre

PO Box 5015

Newport

Gwent

NP20 9BB

Tel:      01633 581644

E:         post-room-rescan@homeoffice.gsi.gov.uk

# Location

## Individuals will receive the majority of the training at the supplier’s facility, however on an annual basis a refresher training is required to be delivered at CAST sites,

## The full addresses are

### St Albans – Woodcock Hill, Sandridge, St Albans, Herts AL4 9HQ.

### Horsham – Langhurst House, Langhurstwood Road, Horsham, West Sussex RH12 4WX.

# Security requirements

## The successful organisation is required to inform CAST at least 24 hours in advance of the individuals who will be visiting site to ensure they have appropriate access and escort.