[image: image2.jpg]Foreign &
Commonwealth
Office



[image: image3.jpg]


[image: image4.jpg]





Pre-Qualification Questionnaire/Tender Invitation 
AIR CONDITIONING REPLACEMENT AT
THE BRITISH EMBASSY RANGOON,BURMA
Contract Ref.No. CPG/758/2015
Commercial Procurement Group

1.0
BACKGROUND INFORMATION
The Foreign & Commonwealth Office (FCO) are seeking tenders from experienced contractors for the replacement of individual air conditioning systems, design and installation of a new whole building VRV/VRF system.
1.1
THE REQUIREMENT
“The Contractor and his operatives will hold a UK Government issued security clearance to undertake the work. SC Clearance will be required and any local contractors used will require police checks by the Post Security Manager.”

· Contractor to undertake full site survey, carry out cooling load calculations using recognized software approved by the proposed manufacturer of the VRV installation

· Submit design calculations and proposal drawings for review

· The contractor shall allow for attendance at design review meetings at Hanslope park

· De-gas and remove all single and multiple air conditioning units including all associated ancillaries, pipe work, interconnecting control cable, wall and/or remote mounted controllers

· The chancery area is out of scope of this project

· All existing units that contain R410 refrigerant are to be de-gassed, removed and set aside for future use

· Make good, repair and weatherproof all building fabric penetrations following pipework removal

· Make good and decorate as necessary all ceilings, walls affected by the removal of the existing system

· Carry out works to agreed programme which will include night working in the majority of the Embassy to enable a safe working environment during normal operating hours 

· Remove asbestos from 4th floor ceiling void
· There are numerous fresh air supply fans throughout the building. These fans are out of scope of this project other than the disconnection and re-connection of ductwork affected by the VRV installation
Provide spares and consumables required for service for the first 12 months.

This project will be contracted using the NEC Option A Contract
1.2 TIMETABLE

Set out below is the proposed procurement timetable. This is intended as a guide and, whilst the Authority does not intend to depart from the timetable, it reserves the right to do so at any time.

	Date or Target Date
	Activity

	26th November 2015
	Tender and PQQ issued


	21ST December 2015
	Tender final response time and date

	Early January 2016
	Bid Evaluations and internal Assurance

	Late January 2016
	Contract Award 


1.3
AUTHORITY NAMED CONTACT

The Authority’s named contact point for the procurement is:

Ms Katherine Joslin
Commercial Procurement Group
Foreign and Commonwealth Office
King Charles Street

London SW1A 2AH


Telephone No.+44 (0) 020 7008 1417

Email: Katherine.Joslin@fco.gov.uk

www.fco.gov.uk
The Authority will not enter into detailed discussion of the Service requirements at this stage.  If the Authority considers any question or request for clarification to be of material significance, both the query and the response will be communicated, in a suitably anonymous form, to all Potential Providers who have expressed an interest.

1.4
 INSTRUCTIONS FOR COMPLETION

Recipients are invited to complete the PQQ and to submit it together with your tender and any requested supporting information, to the Authority by the due date for return (12:00hrs (GMT) Monday 21st December 2015). Potential Providers are required to submit their completed PQQ/Tender via the Authority’s eProcurement portal.  There may be restrictions regarding the length of answers or attachments and anything in excess of this may be disregarded. 
“Project 722 ITT 947: British Embassy, Rangoon, Burma- Air Conditioning Replacement
How to Express Interest in this PQQ: 1. Register your company on the eSourcing portal (this is only required once) - Browse to the eSourcing Portal:https://fco.bravosolution.co.uk and click the link to register. - Accept the terms and conditions and click "continue" - Enter your correct business and user details - Note the username you chose and click "Save" when complete - you will shortly receive an e-mail with your unique password (please keep this secure); 2. Express an Interest in the Tender - Login to the portal with the username/password - Click the "PQQs/ITTs Open to All Suppliers" link. (These are Pre-Qualification Questionnaires or Invitations to Tender open to any registered supplier) - Click on the relevant PQQ/ITT to access the content - Click the "Express Interest" button in the "Actions" box on the left hand side of the page - This will move the PQQ/ITT into your "My PQQs/My ITTs" page (This is a secure area reserved for your projects only) - You can now access any attachments by clicking the "Settings and Buyer Attachments" in the "Actions" box; 3. Responding to the tender - You can choose to "Reply" or "Reject" (please give a reason if rejecting) - You can now use the 'Messages' function to communicate with the buyer and seek clarification - Note the deadline for completion, then follow the onscreen instructions to complete the PQQ/ITT - There may be a mixture of online & offline actions for you to perform (there is detailed online help available), You must then publish your reply using the publish button in the "Actions" box on the left-hand side of the page. If you require any further assistance please consult the the online help or contact the eTendering help desk.
Potential Providers should answer all questions as accurately and concisely as possible in the same order as the questions are presented. Where a question is not relevant to the Potential Provider’s organisation, this should be indicated, with an explanation.  Where attachments are requested to be submitted within the electronic PQQ, these shall be submitted in a PDF format (Adobe or similar).
Bids not submitted via the FCO’s eProcurement portal will not be considered.

1.5
SUBMISSION OF COMPLETED PRE-QUALIFICATION QUESTIONNAIRE & TENDER DOCUMENTATION
If you would like to formally express an interest in this requirement, please submit your completed PQQ/Tender via the Authority’s eSourcing portal at https://fco.bravosolution.co.uk no later than 12:00hrs (GMT) 21st December 2015. The reference for these requirements on the BRAVO eProcurement Portal is “Project 722, ITT 947: British Embassy Rangoon, Burma, Air Conditioning Replacement.
Completed PQQ/Tender may be submitted at any time before the closing date. Please note that completed PQQ/tender received after the closing date may be rejected.  PQQ/Tender not submitted via the eProcurement portal will not be considered. [image: image1.png]




2
2

