# **Specification**

# **Background**

The Police and Crime Commissioner for Dyfed Powys wishes to make additions to its current stock of fridges and freezers throughout the Force’s Evidential Stores.

We will commence a programme of adding the storage capacity to provide continued resilience, reliable storage capability, improved functionality, increase overall storage capacity, and mitigate organisational risk.

# **Upright Freezer Specification**

* Minimum Capacity 330L (Upright Freezer)
* Digital temperature display with controller
* Variable temperature range to -28oC
* Visual and audible fault warning alarm triggered by temperature deviations
* Minimum 24 hour safe time after power outage
* Door lock
* Automatic defrost or Frost Free
* Solid drawers or storage bins
* 240v standard mains supply
* Easily manoeuvrable - castors

# **Upright Fridge Specification**

* Minimum Capacity 330L (Upright Fridge)
* Digital temperature display with controller
* Variable temperature range down to +3oC
* Visual and audible fault warning alarm triggered by temperature deviations
* Door lock
* 240v standard mains supply
* Easily manoeuvrable - castors

**Warranty, Maintenance and Support**

A minimum warranty period of 12 months is required on all equipment. Details of extended warranties can be provided for consideration.

Maintenance and support is a requirement of the contract, details should be provided of services that can be provided in line with the locations of equipment.

**Minimum Requirements**

|  |  |
| --- | --- |
|  | **Minimum Capacity Requirements** |
| **Locations:** | **Qty** | **Fridges** | **Qty** | **Freezers** |
| Aberystwyth | 1 | 330 L | 1 |  330 L |
| Ammanford | 1 | 330 L | 1 | 330 L |
| Brecon | 1 | 330 L | 1 | 330 L |
| Cardigan | 1 | 330 L | 1 | 330 L |
| Carmarthen | 1 | 330 L | 1 | 330 L |
| Dafen | 1 | 330 L | 1 | 330 L |
| Haverfordwest | 1 | 330 L |  |  |
| Llandrindod Wells | 1 | 330 L | 1 | 330 L |
| Llanelli | 1 | 330 L | 1 | 330 L |
| Lampeter | 1 | 330 L | 1 | 330 L |
| Newtown | 1 | 330 L | 1 | 330 L |
| Pembroke Dock | 1 | 330 L | 1 | 330 L |

**Locations for Delivery**

Delivery required to station; siting of equipment will be undertaken by customer.

|  |  |  |
| --- | --- | --- |
| Aberystwyth Police StationBoulevard De Saint Brieuc Aberystwyth SY23 1PH | Ammanford Police StationFoundry RoadAmmanfordSA18 2LS | Brecon Police StationPlas Y Ffynnon Cambrian WayBrecon. LD3 7HP |
| Cardigan Police StationParc TeifiCardigan.SA43 1EW | Carmarthen Police StationLlangunnor RoadCarmarthenSA31 2PD | Dafen Police StationHeol AurDafenLlanelliSA14 8QN |
| Haverfordwest Police StationMilford RoadHaverfordwestSA61 1PF | Llandrindod Wells Police StationNoyadd ParkLlandrindod WellsLD1 5DF | Llanelli Police StationWaunlanyrafon LlanelliSA15 3AA |
| Lampeter Police StationHigh StreetLampeterSA48 7BH | Newtown Police StationPark LaneNewtownSY16 1EN | Pembroke Dock Police StationWater StreetPembroke DockSA72 6DW |