## Schedule of Work
| Ref | Item |  | Unit | Total
Woodford cum Membris Parish Council - August 2024
Dryden Hall
Project :- External repairs and redecoration
1 |  | Prelims
| a | Insurances | 1 | Item | 0 | 0
| b | Site Welfare | 1 | Item | 0 | 0
| c | Storage of Materials | 1 | Item | 0 | 0
| d | Power & water - provided FOC | 1 | Item | 0 | 0
| e | Rubbish disposal - by contractor | 1 | Item | 0 | 0
| f | Parking - contractors vehicles to use car park | 1 | Item | 0 | 0
| g | Contractor will be allowed to use WC facilities in the Library | 1 | Item | 0 | 0
| h | Cleaning - area to be left clean after working day, site to be cleared and cleaned on completion | 1 | Item | 0 | 0
| i | All access equipment, scaffold and necessary licences to be provided by the contractor | 1 | Item | 0 | 0
| j | Contractors phase H&S plan to be submitted/approved prior to works starting | 1 | Item | 0 | 0
| k | Contractor to note that access will be needed to the car park at all times, the café and library will remain open whilst the works underway | 1 | Item | 0 | 0
| l | Contractor to check all quantites and dimensions | 1 | Item | 0 | 0
Works Comprise
2 |  | General Repairs
All Elevations
Roof Areas
| m | Replace all missing, loose and broken tiles | 5 | no | 0 | 0
Eaves Gutters, Downpipes and SVP's
| n | Clean out all eaves gutters. | 1 | Item | 0 | 0
| o | Thoroughly clean down all rwp's / svp's and waste pipes | 1 | Item | 0 | 0
3 |  | General Repairs To
Road Elevation
| p | Splice repair to window frame jambs | 3 | no | 0 | 0
Rear Elevation
| q | Board up rear shed window | 1 | Item | 0 | 0
Windows and Doors
| r | All windows to be left as is ready for decoration:- | 1 | Item | 0 | 0
| s | All doors and frames to be checked for rot/damaged timber, missing or damaged ironmongery and repaired as neccassary. Any works costing more than £50 to be agreed before commencement | 1 | Item | 0 | 0
| t | All door frames and windows to have the existing silicone sealant raked out and removed and resealed with a flexible frame sealant | 1 | Item | 0 | 0
|  | c/f |  |  | £ | 0
Cont
|  | b/f |  |  | £ | 0
4 |  | Decorations
New and previously unpainted surfaces to be thoroughly degreased with a degreasing solvent. Ensure surface is sound, clean, dry and free from all contaminants and any other loose or flaking paint. Carefully remove and replace all loose and cracked window pitty and re-apply new putty. Wash down all timbers, scape off all loose, cracked and blown paint. Prime all bare and new timbers and decorate 1no. undercoat (2no. to new timber) and 2no. top coats oil based gloss paint :-
5 |  | Timber Windows
Café/Library Park Elevation
| a | 2000 x 600 o/a sq single (over glass roof) | 1 | no | 0 | 0
| b | 1200 x 1100 o/a sq single | 1 | no | 0 | 0
| c | 850 x 2200 o/a sq single | 1 | no | 0 | 0
| d | 1300 x 500 o/a sq single | 2 | no | 0 | 0
| e | 750 x 1100 o/a sq single | 1 | no | 0 | 0
GS to Doors/frames, boarding and the like
Café/Library Park Elevation
| f | 2000 x 900 o/a sq single door and frame | 2 | no | 0 | 0
6 |  | Timber Surfaces
Spot prime, fill and repair all nail holes and any other board imperfections. Ensure surfaces are clean and free of any contamination eg, dust, grease and mildew etc. Lightly sand surface where necessary to an even flat finish and apply a minimum of two full coats of sadolin woodstain (or similar)
Rear Elevation
| g | Timber boarding (Shed Only) | 18 | sm | 0 | 0
7 |  | Metal Work
Lightly wire brush to remove all loose and flaking paint and wash down, metal prime all bare surfaces. Apply 2 no coats of black alkyd based oil paint
General Areas
| h | Metal only gutters and downpipes including metal support brackets (excluding snow guards) | 1 | Item | 0 | 0
| i | Metal only waste pipes | 1 | Item | 0 | 0
Metal Windows
Road Elevation
| j | 450 x 2500 o/a single (EXCLUDING LEADED BEADING) | 3 | no | 0 | 0
Church Elevation
| k | 450 x 1200 o/a single (EXCLUDING LEADED BEADING) | 16 | no | 0 | 0
| l | 450 x 700 o/a single (EXCLUDING LEADED BEADING) | 16 | no | 0 | 0
Rear Elevation
| m | 450 x 2000 o/a single | 1 | no | 0 | 0
| n | 450 x 2000 o/a single (Direct Glazed) | 2 | no | 0 | 0
| o | 1200 x 1050 o/a single Timber frame (POOR CONDITION) | 2 | no | 0 | 0
|  | c/f |  |  | £ | 0
Cont
|  | b/f |  |  | £ | 0
GS to Doors/frames, boarding and the like
Rear Elevation
| a | 2000 x 900 o/a sq single door and frame | 1 | no | 0 | 0
|  | Total |  |  | £ | 0
Schedule: 20240326 wcmpc Dryden Hall Sch of Work