Specification:

- 1 year silver cover (annual preventative service only) on 2x Pressure display box’s and on the rest equipment - comprehensive platinum cover with one annual preventative maintenance, repairs, parts, labour, travel. Includes emergency call-outs/ repairs

- Equipment: 3x 560 bioconsoles cardiac bypass (please see below the equipment list with serial numbers and contract types + visits)

| Location | Equipment | S/N | Contract type + visit |
| --- | --- | --- | --- |
| Liver Transplant Theatres | 560 bioconsole Cardiac bypass | 560B100542 | Platinum comprehensive with 1 PM |
|  | 540T External drive motor | T4721 |  |
|  | TX50 flow Transducer | E6295 |  |
|  | BD38 Bubble detector | 12034554 |  |
|  | 560 bioconsole Cardiac bypass | 560B101610 | Platinum comprehensive with 1 PM |
|  | 540T External drive motor | T5720 or T3376 |  |
|  | TX50 flow Transducer | E7094 |  |
|  | BD38 Bubble detector | 12342238 |  |
|  | 560 bioconsole Cardiac bypass | 560B101663 | Platinum comprehensive with 1 PM |
|  | 540T External drive motor | T5721 |  |
|  | TX50 flow Transducer | E7095 |  |
|  | BD38 Bubble detector | 12501920 |  |
|  | Biopump Emergency handcrank | H3581 |  |
|  | Pressure display box | 302048 | Silver |
|  | Pressure display box | 301431 | Silver |
| Cardiothoracic | Autolog cell saver | 10004 | Platinum comprehensive with 1 PM |
|  | Autolog cell saver | 10005 |  |
|  | Autolog cell saver | 01280 |  |
|  | Autolog cell saver | 01339 |  |

- Location: Liver Transplant Theatres and Cardiothoracic,

- Loan unit provision

- Response times: please advice

- Coverage days and times: please advice

- Cancellation period – please confirm

- Payment term – please confirm