| Shipley Dialysis Unit |  |  |  |  |
| --- | --- | --- | --- | --- |
| AVSU No.11 at Ward Entrance Alarm Panel at Nurses Station |  |  |  |  |
| Outlets |  |  |  |  |
| Location | Room No. | O2 | Vacuum | Air -4Bar |
| Treatment Room 1 | 218 | 1 | 1 | - |
| Waiting Room | 245 | 4 | 4 | - |
| Cubicle 1 | 219 | 1 | 1 | - |
| Cubicle 2 | 223 | 1 | 1 | - |
| Cubicle 3 | 225 | 1 | 1 | - |
| Cubicle 4 | 228 | 2 | 2 | 2 |
| Bay 2 | 241 | 4 | 4 | - |
| Bay 3 | 239 | 4 | 4 | - |
| Female Changing Room | 232 | 1 | 1 | - |
| Male Changing Room | 229 | 2 | 2 | 2 |

ICH Medical Gas Audit		April 2015

| Heanor Ward |  |  |  |  |
| --- | --- | --- | --- | --- |
| AVSU No.5 on Main corridor to Ward Alarm Panel(s) at Nurses Station (Area and Plant) |  |  |  |  |
| Outlets |  |  |  |  |
| Location | Room No. | O2 | Vacuum | Air -4Bar |
| Bay 1 | 287 | 1 | 1 | - |
| Bay 2 | 288 | 3 | 3 | - |
| Bay 3 | 290 | 3 | 3 | - |
| Bay 4 | 292 | 1 | 1 | - |
| Suite 20 | 301 | 1 | 1 | - |
| Suite 21 | 302 | 1 | 1 | - |
| Suite 22 | 313 | 1 | 1 | - |

| Hopewell Ward |  |  |  |  |
| --- | --- | --- | --- | --- |
| AVSU No.7 on Main corridor to Ward Alarm Panel(s) at Nurses Station (Area and Plant) |  |  |  |  |
| Outlets |  |  |  |  |
| Location | Room No. | O2 | Vacuum | Air -4Bar |
| Bay 1 | 275 | 1 | 1 | - |
| Bay 2 | 276 | 3 | 3 | - |
| Bay 3 | 278 | 3 | 3 | - |
| Bay 4 | 280 | 1 | 1 | - |
| Suite 20 | 266 | 1 | 1 | - |
| Suite 21 | 267 | 1 | 1 | - |
| Suite 22 | 269/271 | 2 | 2 | - |
| Bedroom | 322 | 1 | 1 | - |

| MIU |  |  |  |  |
| --- | --- | --- | --- | --- |
| AVSU No.9 in Central Area Alarm Panel in Central Area |  |  |  |  |
| Outlets |  |  |  |  |
| Location | Room No. | O2 | Vacuum | Air -4Bar |
| Treatment Area |  | 4 | 4 | - |
| Treatment Room | 089 | 2 | 2 | - |
| Treatment Room | 093 | 1 | 1 | - |

| DTC |  |  |  |  |
| --- | --- | --- | --- | --- |
| AVSU No.1 at Ward Entrance Alarm Panel at Nurses Station |  |  |  |  |
| Outlets |  |  |  |  |
| Location | Room No. | O2 | Vacuum | Air -4Bar |
| Bay | 191 | 4 | 4 | - |
| Bay | 192 | 6 | 6 | - |
| Bay | 193 | 6 | 6 | - |
| Treatment Room | 189 | 1 | 1 | - |
| Decontamination Room | 164 | - | 1 | - |
| Endoscopy Room 1 | 165 | 1 | 1 | - |
| Endoscopy Room 2 | 163 | 1 | 1 | - |

| Theatres |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AVSU’s outside Main Theatres and Recovery Room Alarm Panel outside Main Theatres and Recovery Room |  |  |  |  |  |  |  |
| Outlets |  |  |  |  |  |  |  |
| Location | Room No. | O2 | Vacuum | NO2 | Air- 4B | Air -7B | AGS |
| Anesthetic Room 1 | 147 | 1 | 1 | 1 | 1 | - | 1 |
| Theatre 1 | 148 | 1 | 2 | 1 | 1 | 1 | 1 |
| Anesthetic Room 2 | 161 | 1 | 1 | 1 | 1 | - | 1 |
| Theatre 2 | 156 | 1 | 2 | 1 | 1 | 1 | 1 |
| Recovery Room | 154 | 5 | 5 | - | - | - | - |