## Pricing Schedule
PRICING SCHEDULE
Core Requirements | Detailed Minimum Requirements | Resource allowance (Hours by Consultant/Grade) | Hourly Rate (by Consultant/Grade) | Total Annual Price (£ excl VAT) | Total Price - 4.5 year contract (£ excl VAT)
Data receipt and collation service, alongside data verification. | The supplier will provide and maintain a robust database, interrogation software and reporting tools that will support good asset and data management including holdings, ePIMS numbers (unique property reference codes), meter numbers, utility supplier information, Half Hourly & Non Half Hourly electricity, gas, water, oils, bio-fuels and other utility data.
The supplier shall collect data from a range of sources from multiple providers (including FM providers, energy and water suppliers or individual contacts) on multiple different subjects (energy, water, waste, paper, travel, finance, plastics etc.) and in various formats (excel, email, PDF, templates) to complete the quarterly GGC returns and the sustainability sections of the Annual Report and Accounts for both the Ministry of Justice and Home Office.
The data shall be collected and reported monthly where possible (subject to individual FM contract requirements).
The ability to receive, check and report Automatic Meter Reading (AMR) electricity, gas and water data and incorporate this information into mandated reporting (provider to be given direct access to half hourly data where available).
The supplier shall have in place procedures to identify, estimate and correct missing and erroneous data and track missing and poor data and estimations – including the facility to highlight missing or erroneous data to the Authority to escalate/resolve as appropriate. These methodologies and processes will need to be described in the tender response.
Provide a web-based sustainability repository or portal showing performance and with the ability to drill down and identify anomalous results to permit corrective action to be taken by the authority.
To allow reporting of data which can be accessed by the Authority or others (including contractors). To show monthly building level data and bespoke downloadable/automated reports including reports on agencies (HMPPS, HMCTS, ALBs etc).
The Authority to have access to raw data sent by data providers. All data, including source data, will be owned by the MoJ.
Upload building and utility asset data such as MPAN and other meter reference numbers and ePIMS numbers.
Develop and maintain a repository for storing and managing building compliance data such as DECs, EPCs, TM44s etc. This system should have the ability provide reminders of renewal dates and produce reports on building performance as agreed with the Authority.
Establish and keep up to date a record of the following:
- Gas: ePIMS reference, site name and location/address, all meters, meter and supply references (MSN and MSR), utility supplier
- HH electricity: ePIMS reference, site name and location/address, all meters, meter and supply references, utility supplier
- NHH electricity: ePIMS reference, site name and location/address, all meters, meter and supply references, profile class, utility supplier
- Water: ePIMS reference, site name and location/address, all meters, meter and supply references, utility supplier
- AMR provider (MAM) and status of AMR, that is installed, capable of communications, not capable of communications, MoJ receiving data
- MOPS provider and status
- Sub metered data to be included where relevant.
Data analysis,and supply of Regular management information on sustainability performance. | Provide monthly and quarterly year-to-date (YTD) dashboards to include performance and trend analysis against each GGC area including:
· breakdowns by scope, fuel type and trends overtime,
· breakdowns of travel types and trends over time, including all modes of transport (rail/flights/car hire/fleet etc.)
· breakdowns by different waste streams (recycling, landfill, food waste, incineration with and without energy recover as a minimum).
· breakdowns by different parts of our organisations e.g. MoJ overall, Home Office overall, custodial, National Probation Service, HMPPS, HMCTS, MoJ HQ, ALBs etc.
· breakdown of the type of paper being purchased needs to be monitored with the ability to highlight non-compliance with Government Buying Standards.
Respond to ad hoc data requests to support the ST to answer Parliamentary Questions (PQs), Freedom of Information requests (FOIs) or other urgent information requests. The supplier should allow for 25 days annually within the contract price with a clear indication of hourly rates for any time beyond this limit .
Maintain the Authority’s forecasting tools/trajectories updating on a quarterly basis to include latest outturn and other information.
Provide benchmarking (by area, employee or prisoner or other metrics as relevant) and analysis of data, including identifying the best and worst performing sites (in the form of a league table) and identifying trends and anomalies.
All GHG reporting to use agreed Defra GHG factors.
Audit and assurance of the data. | The supplier will be required to carry out an initial data cleansing exercise (property list and baselines) during the set-up phase and this will be reviewed quarterly.
All data must be assured at least annually (including assurance certification) and be auditable to Carbon Trust Standards, ISAE 3000 (limited level of assurance) or similar.
Details of the assurance approach to be chosen should be detailed in the tender response.
Compile a regular monthly report for the Authority to monitor progress against GGC targets on a rolling 12-month basis. Ideally this would be live data or automated/accessible by the Sustainability Team each month.
Sustainability performance monthly reporting, quarterly GGC returns and annually towards Annual Reports and Accounts. | Completion (and if necessary resubmissions) of GGC quarterly return for submission to Defra within the deadlines set by Defra for two departments. Both MoJ and HO provide two returns each (MoJ total and custodial only and Home Office total and Immigration Removal Centres only) giving a total of four returns.
Investigating (with help from the authority if needed) and answering any GGC queries by Defra’s data quality assurers (currently BRE) each quarter.
Completion of any GGC (re-) baseline calculations and applications.
Provision of data, including financial data, for inclusion in the Annual Report and Accounts (ARA) and Annual Sustainability Statements of at least the two departments plus HMPPS, HMCTS, CICA, LAA, OPG and DBS for their annual reports, by the deadlines set by the Authority.
Reporting at least annually on KPIs monitoring Net Gain and other KPIs yet to be agreed.
TOTAL PRICE

## Ad-Hoc Rates
Please set out below the hourly rates that would apply for any ad-hoc work commissioned by the Authority (in excess of that already included in your pricing for the core requirements.) And pricing to provide Biodiversity reporting and OffSetting reporting should this become a requirement. Please note this section is not evaluated
Requirement |  | Consultant grade | Hourly Rates (£ excl VAT)
Ad-Hoc | Respond to ad hoc data requests to support the ST to answer Parliamentary Questions (PQs), Freedom of Information requests (FOIs) or other urgent information requests.
Biodiversity | Reporting at least annually on KPIs monitoring Net Gain and other KPIs yet to be agreed.
Offsetting | Ability to produce data to facilitate buying offsetting allowances for air travel or other activity should this be required.