DOCUMENT NO. 2

CROYDON COLLEGE

CATERING PROJECT: REFECTORY DEVELOPMENT

PREAMBLE

26/04/24

CLIENT:		CROYDON COLLEGE

ADDRESS:	CROYDON COLLEGE, COLLEGE ROAD, CROYDON, CR9 1DX

PROJECT:	REFECTORY REFURBISHMENT

      - PACKAGE 1 – EQUIPMENT, KIOSKS, COUNTERS & ASSOCIATED AREAS

      - PACKAGE 2 – DINING HALL WALLS, FLOORS, FIXTURES &  FITTINGS

      - PACKAGE 3 – FURNITURE

PROJECT NO.:	LH13197 rev.E

- SCOPE OF CONTRACT WORKS:

This document should be read in conjunction with the current equipment specification and drawings LH13197 DRAWING PACKAGE.

This project comprises of the supply, installation, testing and commissioning of commercial catering equipment, bespoke fabrication and building works detailed in the current specification and drawings in three packages stated above.

- WORKS TO BE CARRIED OUT BY THE CLIENT:

No works are to be completed by the client. All aspects of the refurbishment are to be successful tenderer.

- GENERAL STANDARDS:

All works are to be carried out ensuring adherence to all current legislation (local, national and European), local authority regulations and food hygiene regulations.  It will be the responsibility of the tenderer to obtain all necessary approvals prior to commencement on site.  Relevant BS and EN standards are to be adopted where appropriate.  All catering equipment supplied is to be CE approved.  All staff employed on site are to be fully qualified for the task required and are to attend a site specific induction, should the client require, prior to commencement of any work on site.

- PROGRAMME:

The bidder is to appraise and update themselves with the programme. All dates and programme duration to be confirmed by client upon the appointment of the successful tenderer.

Provisional Programme (TBC):

| PACKAGE 1 – EQUIPMENT, KIOSKS, COUNTERS & ASSOCIATED AREAS | School summer break period 2024 Expected 10 June 2024 Start Expected 05 August 2024 Finish (TBC by Croydon College) |
| --- | --- |
| PACKAGE 2 – DINING HALL WALLS, FLOORING, FIXTURES & FITTINGS | Summer 2025 (TBC by Croydon College) |
| PACKAGE 3 - FURNITURE | Summer 2025 (TBC by Croydon College) |

- ACCEPTANCE OF TENDER:

The right is reserved for acceptance in part of whole of this tender without revision to the individual tender prices.

- ALTERNATIVES:

The tender shall be completed as specified to comply in all respects with the contract documents.  No alternatives will be considered.

- CLIENTS REPRESENTATIVE:

The tenderer is to liaise with the Clients Representative where there is considered to be ambiguity or conflicting information immediately, and in all circumstances.  The Clients Representative will provide written clarification to all tenderers as to the project requirement.

- SUPERVISION:

The tenderer shall provide the services of a competent full time site supervisor, fully conversant with all details of the installation of equipment.  The supervisor shall supervise installation during the entire duration of the programme and should allow for co-ordinating with other trades working within the same area.

- SITE SAFETY:

Site safety is the responsibility of all management and staff involved in the project and should be considered paramount.  Method statements, risk assessments and COSSH data to be provided prior to any works taking place on site.  The Client anticipates that the tenderer within his tendered price submission will cover all costs (both direct and indirect) involved in this.  All accidents and safety related incidents are to be reported to the client immediately.

- SERVICE DRAWINGS:

The services drawing LH13197 rev.E (LH13197-IFS-01-00-DR-Y-0002) will be issued and is to be used as the base site issue drawing. They must be checked by the tenderer on receipt of order.  Any proposed amendments must be notified to the Clients Representative for approval.  The drawing is then to be issued with the tenderer logo.  Any modifications from that point will be the responsibility of the tenderer.

- INSTALLATION:

The price quoted for installation shall allow for the supply of all materials and labour necessary for the connection of water, waste and electrical supplies.

- All M&E and service connections are to be made by suitably qualified staff

- The plumbing connection shall be carried out by operatives who are certified competent

- The electrical connections shall be carried out by operatives who are NICEIC approved

- Material specification for all works to be confirmed by client

- TESTING AND COMMISSIONING:

All equipment to be tested and commissioned according to the manufacturers’ instructions.  This is to be undertaken prior to handover at an agreed time and date and witnessed by client/clients representative.

TEST CERTIFICATES TO BE AVAILABLE AT HANDOVER.

- CLEANING OF WORKS:

During the course of the contract removal of all delivery packaging and related waste materials is to be removed from the site by the contractor.  Prior to handover all plastic protection to be removed, the area cleaned and equipment to be cleaned ready for the client hygienic clean.

- O&M MANUAL:

The contractor to provide three (3) copies of the operation and maintenance manuals and 1 no. disc.  To comprise:

- Index

- Warranty periods

- Extended warranty periods

- Details of call out procedure giving daytime and out of hours contact numbers and names and contacts

- Product operating and maintenance manuals with a section for client supply items including details on cleaning and maintenance of stainless steel equipment

- Record drawings of the installation

- Test certificates.

- TRAINING:

The tenderer is to allow within their costs full training by competent trainers to catering staff to demonstrate the safe and efficient operation, cleaning and daily maintenance of all catering equipment supplied, including briefing of the client maintenance staff on all aspects of maintaining the equipment.

- PUBLICITY:

Any publicity giving reference to this project by name, location or any other means is forbidden without the express written permission of The Client.  Photographic and recording equipment of any type may not be used on the site for any purpose whatsoever without the express written permission of The Client.

- CONFIDENTIALITY:

All documents relating to this project are the property of The Client and may not be copied or distributed in part or full by any means, or for any purpose whatsoever without the express written permission of The Client.

- TENDERER RESPONSIBILITY:

It is the bidder's responsibility to confirm all aspects are included in the above tender BOQ to deliver this project. The client will not accept any additional costs for ancillary items such as mastics, fixing or items not included in the above list.  Should any conflicts exist between the drawings provided by any of the design team and this specification, the Tenderer should qualify the query.

- CONTACT DETAILS:

| Client Contact |  |
| --- | --- |
| Contact | Paul Marsden Director of IT & Estates |
| Company | Croydon College |
| Email | paul.marsden@croydon.ac.uk |

| Design Development Contact |  |
| --- | --- |
| Contact | Laurence Hookway Design Lead |
| Company | ifse |
| Email | Laurence.hookway@ifse.co.uk |
| Number | 0208 667 1167 07771 618 104 |