|  |  |
| --- | --- |
| **Item Number** | **Clarification** |
| **0001** | The design is currently for Whitecroft product. Whitecroft were chosen as they were able to align with the DFE spec for educational sector, so they are our preferred supplier. The design was developed to ensure Classrooms hit the metrics in terms of horizontal, cylindrical and wall/ceiling illuminance and all other areas are in line with DFE spec. This is essential for the project. |
| **0002** | The Terms Times for Washington Academy is 20/02/2023 - 24/02/2023 February Half Term & 3/04/2023 - 14/04/2023 Easter Half Term |
| **0003** | The school can provide internal storage for the light fittings. External Storage is not required. |
| **0004** | The contractor is able to use the school welfare facilities. |
| **0006** | The contractor will be principal contractor on site. |
| **0007** | Please assume the existing installation if fault free, suitable for continued use, and complies to current regulations. Unfortunately, we do not have an up-to-date lighting place. Following the bid we will approach a preferred contractor and arrange a site visit to firm up the costs. If any faults are determined this can be reflected in the bid. |
| **0008** | When replacing light fittings contractor can re-use the existing flex |
| **0009** | Existing lighting controls are staying as is. |
| **0010** | No existing lighting controls within the building. |
| **0011** | The light fittings should be purchased through the contractor, but specifically through our contact Shaun Musgrave - Shaun.Musgrave@whitecroftlight.com. |
| **0012** | The school is responsible for moving furniture and school items this should be properly programmed in once a contractor has been appointed. The contractor should provide a schedule and advise what furniture they require moving. If the contractor has issue with this, we are happy to discuss however, we just found it easier the past to give the responsibility to school in case of an item being lost or damaged. |
| **0013** | As per the above, we can work with the contractor to determine how best to protect the existing furniture depending on risks - i.e. nature of the works around the area. |
| **0014** | There is a Main Summary within the Tender Package the contractors should complete as a Tender Summary. |
| **0015** | The type of contract for the works will be a JCT Intermediate Contract. |
| **0016** | Please can all contractors provide costing for the standard fitting as well as a Dali Option. This has been reflected in the Main Summary Sheet. |
| **0017** | A Construction Programme should be provided in bidders own headed paper. There is not a document included within the tender for bidders to input their programme of works. |