## Sheet1
Option | Cost
RE - OPTION 1 | 0
RE - OPTION 2 | 0
RE - OPTION 3 | 0
HY - OPTION 1 | 0
HY - OPTION 2 | 0
HY - OPTION 3 | 0

## RE- OPTION 1
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor. | 1 | item | 0 | 0
3 | Site establishment and preliminaries. | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove existing chainlink fencing panels only, enclosing courts 1-12 and the mini-courts; remove from site any panels not required by TRP. Posts are to be retained. | 618 | m | 0 | 0
5 | Excavate existing courts and remove surface layer only as necessary . Remove arisings from site. Excavate carefully by hand within tree root zones. | 6728 | m2 | 0 | 0
6 | Carefully excavate by hand only around tree roots within courts 1-12. Trim roots over 25mm AFTER AGREEMENT WITH TRP ARBORICULTURAL OFFICER. | 50 | m2 | 0 | 0
7 | Carefully remove existing pcc edging around courts 1-12 and mini-courts, including sand cement haunching and remove off site. Excavate carefully within tree root zones. | 618 | m | 0 | 0
Edging & Surfacing
8 | Supply and install straight sections of 150x50mm pcc edging in concrete haunching, separating the tennis courts and fence boundary line as shown on Drawings RGT03038-011 G, around entire courts 1-12 and the mini courts. Take care not to damage tree roots. | 618 | m | 0 | 0
9 | Supply and install two layers of porous macadam. 40mm thick base layer of 14-20mm aggregate and 25mm thick wearing layer of 6mm aggregate. (refer to drawings RGT03038-011 G). Take particular care not to damage tree roots. | 6760 | m2 | 0 | 0
10 | Supply and install slip-resistant polyurethane colour coating to 12 tennis courts and 2no mini-courts. | 6760 | m2 | 0 | 0
Fencing & Gates
11 | Supply and install straight 3m high black chainlink fencing around all 12 courts, including new divider fencing between signe courts 6 and 7 as shown on drawing RGT03038-101 C. Angle iron fence posts to be retained and repainted black on courts 1-10. | 547 | m | 0 | 0
12 | Supply and install 1m high black chainlink fence along the southern side of the mini-courts. Angle iron fence posts to be retained and repainted black. | 31.2 | m | 0 | 0
13 | Supply and install 3m high black chainlink fence on the three sides of the mini-courts, as shown on Drawing RGT03038-101 C. Angle iron fence posts to be retained and repainted black. | 41 | ln.m. | 0 | 0
14 | Supply and install 9no single gates (2m x 1m) around courts 1-10 as shown on General Arrangement (refer to drawing RGT03-038-101-C). | 9 | no | 0 | 0
15 | Supply and install 1no single gate (1m x 1m ) around mini-courts as shown on General Arrangement (refer to drawing RGT03-500 011-B). | 2 | no | 0 | 0
Tennis Equipment
16 | Supply and install tennis sockets, inlcuding tennis posts and nets for all tennis courts 1-12. | 12 | no | 0 | 0
17 | Supply and install tennis sockets, inlcuding tennis posts and nests for mini-tennis court. | 2 | no | 0 | 0
18 | Supply 5no sets of free-standing adjustable netball goals with padded uprights. Contractor to name product with reference. | 5 | no | 0 | 0
Line Markings
19 | Apply sports line markings to 12no tennis courts, 2no mini-tennis courts; colour: white. | 1 | item | 0 | 0
20 | Apply sports line markings to 5no netball courts; colour: yellow. | 1 | item | 0 | 0
Other
21 | Adjustment of access path outside COURT 3, 7.5m x 1.8m wide withblack metal handrail to 3 sides as plan – RGT-038-011-H. | 1 | item | 0 | 0
22 | Supply and install 5no runs of plastic ducting with drawstrings across courts 1 to 10 for future floodlight installation & under mini courts to the northern side. | 205 | m | 0 | 0
23 | Supply and install 0.6m deep root barrier along northern side of courts 11, 12 and 3. | 78 | m | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
24 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
25 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
26 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
27 | Additional price for installing one extra fence post where posts on site need replacing | 1 | no | 0 | 0
28 | Additional price for suppply and installation of geotextile membrane over tree roots | 1 | m² | 0 | 0
29 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided

## RE- OPTION 2
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor. | 1 | item | 0 | 0
3 | Site establishment and preliminaries. | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove existing chainlink fencing panels and posts on mini tennis-courts and remove from site any panels not required by TRP. | 81 | m | 0 | 0
5 | Carefully remove existing pcc edging around courts 11 & 12 and mini-courts, including sand cement haunching and remove off site. Excavate carefully within tree root zones. | 288 | m | 0 | 0
6 | Planing and regrading the surface of the 2 No single courts 11 and 12 and the two mini tennis courts. | 1506 | m2 | 0 | 0
Edging & Surfacing
7 | Supply and increase height of brick wall by two brick course on edge around singles courts; brick colour and bond to match existing; facing brick to cover the new concrete edging at the access gates. | 102 | m | 0 | 0
8 | Excavate new ground to a depth of 300mm to form area for new padel and singles courts. Include for cart away, trim and grade, 300mm of stone. | 41 | m2 | 0 | 0
9 | Supply and Install 150mm depth of modified MOT Type 1X stone sub-base over the 2 No. singles courts 11 and 12 and the Padel and mini tennis court. | 1547 | m2 | 0 | 0
10 | Supply and Install 150mm x 50mm pcc edgings around 2 singles courts, mini -court and paddle court including sand cement haunching to the outside. | 315 | m | 0 | 0
11 | Suply and Install 500mm wide by 350mm deep concrete ring beam around Padel court 20M X 10 M to spec in Appendix 5 of the Lot-specific Works Information - Regent's. | 60 | m | 0 | 0
12 | Installation of posts and glass walls around Padel courts by Verde Padel. | 1 | item | 0 | 0
13 | Contractor's mark up to manage Verde Padel on site. | 1 | item | 0 | 0
14 | Installation of two layer macadam surfacing above 2 courts, mini tennis and padel court. | 1547 | m2 | 0 | 0
15 | Supply and install slip-resistant polyurethane colour coating to two singles courts and padel court and mini court. | 1547 | m2 | 0 | 0
Fencing & Gates
16 | Supply and install 3m high black chainlink fence on the three sides of the mini-courts, as shown on Drawing, on new tubular posts with top and bottom rails. | 48 | m | 0 | 0
17 | Supply and install 1m high black chainlink fence along the southern side of the mini-courts. Angle iron fence posts to be retained and repainted black. | 48 | m | 0 | 0
18 | Supply and install 2no single gates (1m x 1m) around mini-courts as shown on General Arrangement (refer to drawings RGT03 038 101). | 2 | no | 0 | 0
Tennis Equipment
19 | Supply and install tennis sockets, inlcuding tennis posts and nets for tennis courts 11-12. | 1 | item | 0 | 0
20 | Supply and install tennis sockets, inlcuding tennis posts and nests for mini-tennis court. | 1 | item | 0 | 0
21 | Supply and install Padel court net sockets, including tennis posts and net | 1 | no | 0 | 0
Line Markings
22 | Apply sports line markings to 2no tennis couirts, 1no mini-tennis court and 1no padel court; colour: white. | 1 | item | 0 | 0
23 | Apply sports line markings to 2no netball courts; colour: yellow. | 1 | item | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
24 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
25 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
26 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
27 | Additional price for installing one extra fence post where posts on site need replacing | 1 | no | 0 | 0
28 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided

## RE- OPTION 3
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor. | 1 | item | 0 | 0
3 | Site establishment and preliminaries. | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove existing chainlink fencing panels only enclosing courts 1 to 12 and the mini-courts and remove from site any panels not required by TRP. Posts are to be retained. | 665 | m | 0 | 0
5 | Carefully remove existing pcc edging around courts 1 to 12 and mini-courts, including sand cement haunching and remove off site. Excavate carefully within tree root zones. | 665 | m | 0 | 0
6 | Piercing and cleaning courts 1-10 as per section 5.1 of the Lot-specific Works Information - Regent's. | 5524 | m2 | 0 | 0
7 | Root excavation works on courts 1-12 - break out macadam, trim roots, pin roots down, cover with sand and or half drainage pipe to allow free lateral movement of root. | 50 | m2 | 0 | 0
8 | Planing and regrading the surface of the 2 No single courts 11 and 12 and the two mini tennis courts. | 1506 | m2 | 0 | 0
Edging & Surfacing
9 | Increasing height of brick wall by two brick course on edge around singles courts; brick colour to match existing; and facing brick to cover the new concrete edging at the access gates. | 85 | m | 0 | 0
10 | Excavation of new ground to a depth of 300mm to form area for new padel and singles courts. Include for cart away, trim and grade, 300mm of stone. | 41 | m2 | 0 | 0
11 | Installation of 150mm depth of modified MOT Type 1X stone sub-base over the 2 No. singles courts 11 and 12 and the Padel and mini tennis court. | 1547 | m2 | 0 | 0
12 | Supply and install of straight sections of 150x50mm pcc edging in concrete haunching, separating the tennis courts and fence boundary line as shown on Drawings RGT03 038 101 around entire courts 1-12 and the mini courts. Take care not to damage tree roots. | 673 | m | 0 | 0
13 | Supply and install 5no runs of plastic ducting across courts 1-10 for future floodlight installation. | 185 | m | 0 | 0
14 | Suply and Install 500mm wide by 350mm deep concrete ring beam around Padel court - spec in Appendix 5 of the Lot-specific Works Information - Regent's. | 60 | m | 0 | 0
15 | Supply and installation of padel court kit, including posts & glass walls around Padel courts by Verde Padel. |  | item | 0 | 0
16 | Contractor's mark-up to manage Verde Padel on site. |  | item | 0 | 0
17 | Installation of two layer macadam surfacing above courts 1-12 and mini tennis and padel court. | 6801 | m2 | 0 | 0
18 | Supply and install slip-resistant polyurethane colour coating to 12no tennis courts, 1no padel court and 1no mini tennis court. | 6801 | m2 | 0 | 0
Fencing & Gates
20 | Supply and install 3m high black chainlink fence on the two sides of the mini-courts, as shown on Drawing RGT03-038-101 Angle iron fence posts to be retained and repainted black. | 547 | m | 0 | 0
21 | Supply and install 9no single gates (2m x 1m) around courts 1-10 as shown on drawing RGT03-038-101. | 9 | no | 0 | 0
22 | Supply and install 1m high black chainlink fence along the southern side of the mini-courts. Angle iron fence posts to be retained and repainted black. | 48 | m | 0 | 0
23 | Supply and install 3m high black chainlink fence on the three sides of the mini-courts, as shown on Drawing RGT03-038-101 Angle iron fence posts to be retained and repainted black. | 42 | m | 0 | 0
24 | Supply and install 1 no single gate (1m x 1m) around mini-courts as shown on drawing RGT03 038 101 | 1 | no | 0 | 0
Tennis Equipment
25 | Supply and install tennis sockets, inlcuding tennis posts and nets for all tennis courts 1-12. | 12 | no | 0 | 0
26 | Supply and install tennis sockets, inlcuding tennis posts and nests for mini-tennis court. | 1 | Item | 0 | 0
27 | Supply and install tennis sockets, inlcuding tennis posts and nests for padel court. | 1 | Item | 0 | 0
28 | Supply 5no sets of free-standing adjustable netball goals with padded uprights. Contractor to name product with reference. | 1 | item | 0 | 0
Line Markings
29 | Apply sports line markings to 12no tennis couirts, 1no mini-tennis courts & 1no padel court; colour: white | 1 | item | 0 | 0
30 | Apply sports line markings to 5no netball courts; colour: yellow | 1 | item | 0 | 0
Other
31 | Adjustment of access path outside COURT 3, 7.5m x 1.8m wide withblack metal handrail to 3 sides as plan – RGT-038-011-H. | 1 | item | 0 | 0
33 | New root barrier along northern side on courts 11 and 12 & 3. | 78 | m | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
34 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
35 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
36 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
37 | Additional price for installing one extra fence post where posts on site need replacing | 1 | no | 0 | 0
38 | Additional price for suppply and installation of geotextile membrane over tree roots | 1 | m | 0 | 0
39 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided

## HY OPTION 1
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor. | 1 | item | 0 | 0
3 | Site establishment and preliminaries. | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove existing chainlink fencing panels only enclosing courts 1 to 6 and the mini-courts and remove from site any panels not required by TRP. Posts are to be retained. | 325 | m | 0 | 0
5 | Carefully remove existing edging around courts 1 to 6 and mini-courts, including sand cement haunching and remove off site. | 325 | m | 0 | 0
6 | Excavate existing courts and remove surface layer only as necessary to a depth of 365mm (area: 3,713m2 x 0.365m). | 1355 | m3 | 0 | 0
Edging & Surfacing
7 | Supply and install perimeter drainage to all courts; 100mm diameter perforated plastic pipe at 350mm depth. | 310 | m | 0 | 0
8 | Supply and install new soakaway, 1.5m diameter x 3.5m deep; location as shown on drawing HYD12-037-011. | 1 | item | 0 | 0
9 | Trim and grade formations as per section 3 of the Lot-specific Works Information - Hyde. | 3713 | m2 | 0 | 0
10 | Install geotextile membrane above formation of all courts as per section 3 of the Lot-specific Works Information - Hyde. | 3713 | m2 | 0 | 0
11 | Installation of 300mm depth of modified MOT Type 1X stone sub-base over block of six courts and mini courts. (area: 3,713m2 x 0.3m). | 1114 | m3 | 0 | 0
12 | Supply and install of straight sections of 150x50mm pcc edging in concrete haunching, separating the tennis courts and fence boundary line around entire block of six courts and mini courts court, as shown on drawing HYD12-035-011. | 325 | m | 0 | 0
13 | Installation of two layer porous macadam over block of six courts and mini courts. 40mm thick base layer of 20mm or 14mm aggregate and 25mm thick wearing layer of 6mm aggregate. 6mm/3m surface regularity tolerance. | 3713 | m2 | 0 | 0
14 | Application of slip-resistant polyurethane colour coating to six court block and mini tennis courts. | 3713 | m2 | 0 | 0
Fencing & Gates
15 | Supply and install straight 3m high black chainlink fencing around all courts, including mini courts as shown on drawing HYD12-035-101. Fence posts to be retained and repainted black. | 325 | m | 0 | 0
16 | Supply and install 2no single gates (1m x 1m) around mini-courts as shown on drawing HYD12-035-101. | 2 | no | 0 | 0
17 | Supply and install 3no single gates (1m x 1m) around block of six courts as shown on drawing HYD12-035-101. | 3 | no | 0 | 0
Line Markings
18 | Apply sports line markings to 6no tennis couirts, 2no mini-tennis courts; colour: white 4" BASELINES ON COURTS 1-6. | 8 | no | 0 | 0
Tennis Equipment
19 | Supply and install 6no sets of tennis post sockets and centre band anchors and 2no sets of mini tennis post sockets and centre band anchors. | 1 | item | 0 | 0
20 | Supply and install 6no new tennis nets and posts and 2no sets of mini tennis nets and posts. | 1 | item | 0 | 0
Other
21 | Supply and install 6no runs of plastic ducting with drawstrings across the courts, including mini court for future floodlight installation. | 194 | m | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
22 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
23 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
24 | Extra over rate for 0.6m deep root barrier supply and install - please state root barrier type | 1 | m | 0 | 0
25 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
26 | Extra over price to replace single fence post | 1 | no | 0 | 0
27 | Extra over cost or saving on main tender price for using on courts and mini courts area; 250mm of 28-40mm stone (not rounded) 50mm -14mm clean stone for regulating Instead on MOT Type 1X stone | 1 | item | 0 | 0
28 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided

## HY OPTION 2
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor. | 1 | item | 0 | 0
3 | Site establishment and preliminaries. | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove existing chainlink fencing panels and posts around court 1 and the eastern end of court 6 and remove from site. | 104 | m | 0 | 0
5 | Removal and cart away of existing fencing (mesh and posts) around mini courts. | 47 | m | 0 | 0
6 | Break out and remove existing kerbs at eastern end of facility. | 36.6 | m | 0 | 0
Edging & Surfacing
7 | Construct 11.838m x 36.6m extension to the courts to the east including excavation to 365mm, cart away arisings, trim and grade formation, add geotextile membrane above cut and trimmed formation, drainage, 300mm of stone, 65mm depth of porous macadam. Extension to have American Corners as shown on drawing HYD12-037-011. | 436 | m2 | 0 | 0
8 | Supply and install of straight sections of 150x50mm pcc edging in concrete haunching around court extension. | 61 | m | 0 | 0
9 | Install geotextile membrane above formation of both facilities as per section 5.2 of the Lot-specific Works Information - Hyde. | 3713 | m2 | 0 | 0
10 | Supply and apply slip resistant polyurethane colour coating to court extension. | 438 | m2 | 0 | 0
11 | Supply and Install Matchplay 2 carpet to MUGA with permanent D’s for football and basketball keys. | 573 | m2 | 0 | 0
12 | Construction of the 10m x 20m Padel Court and macadam surround. This includes an additional 192m2 of additional macadam surrounds plus a concrete ring beam. Price to include for 192m2 of excavation to 365mm depth and cart away, 300mm of stone, 65mm of macadam and kerbs, concrete ring beam and colour coating and net and posts and sockets). The macadam wearing course is to cover the entire area which includes the padel court and not just the surrounds. Location of ring beam spec in Appendix 5 of of the Lot-specific Works Information - Hyde. | 608 | m2 | 0 | 0
13 | Construct the 7m x 5m concrete shed base to the north of the Padel court including excavation, cart away, stone, 150mm thick concrete, ducting and cable for a power socket in the proposed new wooden shed. | 35 | m2 | 0 | 0
Fencing & Gates
14 | Supply and install 3m high black chainlink fencing on posts to match existing fencing and posts around extension (with American corners). Include on single gate. | 60.3 | m | 0 | 0
15 | Supply and install 4m high black ‘twin wire’ fencing around the MUGA. 1 No single gate. Roof net to be included in the price. | 105 | m | 0 | 0
16 | Supply and install 1 x single gate (2m x 1m) to MUGA. | 1 | no | 0 | 0
17 | Supply and install two runs of low-level ball retaining black chainlink divider fences between court blocks 2-3 and 4-5 on each side. Fences to have top and bottom tubular rails 1.5m length; as shown on drawing HYD12-037-011. | 6 | m | 0 | 0
18 | Supply and installation of padel court kit, including posts & glass walls around Padel courts by Verde Padel. | 1 | item | 0 | 0
19 | Contractors mark up on Verde’s price to manage them on site. | 1 | item | 0 | 0
Tennis & MUGA Equipment
20 | Supply tennis net sockets, centre band anchor, tennis posts and net x 1 for singles tennis court. | 1 | item | 0 | 0
21 | Supply and install equipment for MUGA: 2 x (3.6m wide x 1.2m high x 1.2m deep) rear roller weighted five-a-side football goals with nets. Please show catalogue reference. 2 x fence-mounted basketball hoops and backboards with chain nets (show catalogue reference). | 1 | item | 0 | 0
Flood Lighting
22 | Supply and installation of the LED lighting system (required layout shown in Appendix 6 plus a column for the Padel court). All trenching, connections and switchgear to be included. | 1 | item | 0 | 0
Other
23 | Supply and install 6 x runs of plastic ducting with drawstrings across the courts, including padel court for future floodlight installation. | 194 | m | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
24 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
25 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
26 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
27 | Extra over price to replace single fence post | 1 | no | 0 | 0
28 | Extra over cost or saving on main tender price for using on courts and mini courts area; 250mm of 28-40mm stone (not rounded) 50mm -14mm clean stone for regulating Instead on MOT Type 1X stone | 1 | item | 0 | 0
29 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided

## HY OPTION 3
Item No | Works item | Quantity | Unit | Unit cost | Sub total
1 | Services as a Principal Contractor | 1 | item | 0 | 0
3 | Site establishment and preliminaries | 1 | item | 0 | 0
Site Preparation & Clearance
4 | Remove and cart away of existing chainlink mesh fencing around block of six courts. | 262 | m | 0 | 0
5 | Remove fence posts at each end of the block of six courts and 15.5m along each side. | 104 | m | 0 | 0
6 | Remove and cart away of existing chainlink mesh and post fencing around mini courts. | 47 | m | 0 | 0
7 | Remove and cart away of existing kerbs around block of six courts and mini courts. | 325 | m | 0 | 0
8 | Excavate and cart away of existing court construction of block of six courts (3,458m2) and mini courts and required surrounds to Padel court (336m2) to a depth of 365mm (area: 3794m2 x 0.365m = 1,385m³). | 1385 | m3 | 0 | 0
9 | Excavate 11.838 x 37.00 extension as per section 4 of the Lot-specific Works Information - Hyde. | 436 | m2 | 0 | 0
10 | Trim and grade formations as per as per section 4 of the Lot-specific Works Information - Hyde. | 4066 | m2 | 0 | 0
Edging & Surfacing
11 | Supply and install geotextile membrane above formation of all tennis courts. | 4066 | m2 | 0 | 0
12 | Supply and installation 300mm depth of modified MOT Type 1X stone sub-base over block of six courts and mini courts and surrounds. (Area: 4,066m2 x 0.3m = 1,220m³). | 1220 | m3 | 0 | 0
13 | Supply and install perimeter drainage to all courts; 100mm diameter perforated plastic pipe at 350mm depth. | 310 | m | 0 | 0
14 | Supply and install new soakaway, 1.5m diameter x 3.5m deep; location as shown on drawing HYD12-037-011. | 1 | item | 0 | 0
15 | Supply and install 150mm x 50mm pcc edgings in concrete haunching around entire block of six courts and padel court and surround. | 363.5 | m | 0 | 0
16 | Supply and install two layer porous macadam over block of six courts plus Padel court and surrounds. 40mm thick base layer of 20mm or 14mm aggregate and 25mm thick wearing layer of 6mm aggregate. 6mm/3m surface regularity tolerance. | 4066 | m2 | 0 | 0
17 | Supply and install geotextile membrane above formation of both facilities as per section 5.2 of the Lot-specific Works Information - Hyde. | 3713 | m2 | 0 | 0
18 | Supply and install 150mm x 50mm pcc edgings around court extension in concrete haunching. | 61 | m | 0 | 0
19 | 11.838m x 36.6m extension to the courts to the east including excavation to 365mm, cart away arisings, trim and grade formation, geotextile membrane, drainage, 300mm of stone, 65mm depth of porous macadam. Extension to have American Corners. | 438 | m2 | 0 | 0
20 | Application of slip resistant polyurethane colour coating to six courts and Padel Court. | 3524 | m2 | 0 | 0
21 | Supply and install of Matchplay 2 carpet to MUGA with permanent D’s for football and basketball keys and two mini tennis red courts. | 573 | m2 | 0 | 0
22 | Construction of 500mm wide concrete ring beam around tennis courts (see details in Appendix 5). | 60 | m | 0 | 0
23 | Supply and installation of padel court kit, including posts & glass walls around Padel courts by Verde Padel. | 1 | item | 0 | 0
24 | Contractors mark up on Verde’s price to manage them on site. | 1 | item | 0 | 0
25 | Construction of the 7m x 5m concrete shed base to the north of the Padel court including excavation, cart away, stone, 150mm thick concrete and ducting and cable for a power socket in the proposed new wooden shed. | 35 | m2 | 0 | 0
Fencing & Gates
26 | Supply and install of 3m high black chainlink fencing on two sides of the block of six courts on the existing fence posts. | 152 | m | 0 | 0
27 | Supply and install 4 no single gates (2m x 1m) around block of six courts as shown on drawing HYD12-035-101. | 4 | no | 0 | 0
29 | Supply and install 2no runs of black chainlink divider fences across the courts between blocks 2-3 and 4-5. Fences to have top and bottom tubular rails. | 73.2 | m | 0 | 0
30 | Supply and Install 3m high black chainlink fencing on posts to match existing fencing and posts around extension (with American corners) . Include one single gate. | 60.3 | m | 0 | 0
31 | Supply and install 1no single gate (2m x 1m) around courts extension as shown on drawing HYD 012 037 011. | 1 | no | 0 | 0
32 | Supply and install 4m high black ‘twin wire’ fencing around the MUGA. | 104.2 | m | 0 | 0
33 | Supply and install 1x single gate (2m x 1m) to MUGA. | 1 | no | 0 | 0
Tennis Equipment
34 | Supply and install 6no sets of tennis post sockets and centre band anchors and 1no set of tennis post sockets and centre band anchors for Padel Court. To supply 1 set of tennis posts and net for MUGA. | 1 | item | 0 | 0
35 | Supply and install equipment for MUGA: 2 x (3.6m wide x 1.2m high x 1.2m deep) rear roller weighted five-a-side football goals with nets, 2 X padded netball posts - please show catalogue reference. | 1 | item | 0 | 0
36 | Supply and install roof nett for MUGA. | 682 | m² | 0 | 0
Flood Lighting
37 | Supply and installation of the LED lighting system (required layout shown in Appendix 7 plus a column for the Padel court). All trenching, connections and switchgear to be included. | 1 | item | 0 | 0
Other
38 | Supply and install 6no runs of plastic ducting with drawstrings across the courts, including padel court for future floodlight installation. | 194 | m | 0 | 0
Grand total |  |  |  |  | 0
ADDITIONAL
39 | Extra-over rate for supply and install of base stone | 1 | m3 | 0 | 0
40 | Extra-over rate for excavation and cart from site sub-soil | 1 | m3 | 0 | 0
41 | Extra over rate for 0.6m deep root barrier supply and install - please state root barrier type | 1 | m | 0 | 0
42 | Extra/over price for installing Bardon Leisuretex Multi Use as the porous macadam wearing layer | 1 | m3 | 0 | 0
43 | Extra over price to replace single fence post | 1 | no | 0 | 0
44 | Extra over cost or saving on main tender price for using on courts and mini courts area; 250mm of 28-40mm stone (not rounded) 50mm -14mm clean stone for regulating Instead on MOT Type 1X stone | 1 | item | 0 | 0
45 | Any other items not specified in this document but considered to be necessary by the contractor (please list and price) |  |  | 0 | 0
INFORMATION TO BE INCLUDED IN TENDERER'S PROPOSALS: 1) Source and trade name of colour coating and line marking paint including an independent test report confirming that the paints meets the slip resistance requirements of this specification. 2) Make of tennis net and posts 3) Confirmation that all of the Construction (Design and Management) Regulations, 2015 apply or only regulations 7 and 13 of the Construction (Design and Management) Regulations, 2015 apply
Note on C1: All quantities and measurements are estimates - tenderers should check on site during the tender period to verify the accuracy of the figures provided