## Cover
Statement of Requirement
Module 1 - Section 1
General Contract Information
RAF HENLOW SPECIFIC REQUIREMENTS
RAF WYTON SPECIFIC REQUIREMENTS
RAF NORTHOLT SPECIFIC REQUIREMENTS
RAF HALTON SPECIFIC REQUIREMENTS
RAF HIGH WYCOMBE SPECIFIC REQUIREMENTS

## Core 1.1
Module 1 - Section 1
General Core Contract Information
1.A.1 | GENERAL REQUIREMENTS
1.A.1.a | The Contractor shall provide the services necessary to support the functional operations of each Unit and its Parented units; these units consist of The station's lodger, satellite and dependent units, as detailed in the various sections of this Statement of Requirement (SoR). The Contract shall perform in accordance with the Terms and Conditions of Contract at Schedule 3 for each unit. The Authority shall provide advice and approval as and when required through the Designated Officer (DO) (or other Authority designated representative), but will neither supervise the Contractor's activities nor provide the management expertise necessary for successful accomplishment.
1.A.1.b | The contractor is to note that the use of the phrase RAF personnell within the contract and all SoR Sections is to include all military (Army, Navy and MOD) personnel within each Station.
1.A.2 | DEFINITIONS AND ABBREVIATIONS
1.A.2.a | Definitions of terms used throughout the SoR are detailed in Schedule 3, Terms and Conditions of Contract. The Abbreviations are listed within Module 1 Section 1; (Abbreviations Tab). Definitions of terms and abbreviations are detailed in the Abbreviations Tab attached to this Section.
1.A.3 | REFERENCES
1.A.3.a | References quoted within the SoR are considered to be the most significant for the purposes of each Section of the SOR and adherence to the policies and procedures contained therein is mandatory. The list is not exhaustive and does not absolve the Contractor from conforming to other relevant publications which do not appear. All MOD publications which the contractor shall abide by will be made available to him by the Authority, upon request. Work undertaken in support of the SoR shall comply with the reference documents detailed within the functional sections unless specifically approved by the Authority. The specified references shall be deemed to imply the current editions as at contract start. The reference material that impacts on the Contract will be amended from time to time by the Authority.
1.A.4 | UNIT LOCATION
1.A.4 | See specific Unit | ALL
1.A.5. | ROLE OF STATION
1.A.5.a | See specific Unit | ALL
1.A.5.b to | See specific Unit | RAF Henlow - b only | RAF Wyton b - only | RAF Northolt b - j
1.A.5.j |  | RAF High Wycombe - b - c
1.A.6 | SPECIALIST QUALIFICATIONS
1.A.6.a | The Contractor is to provide trained/qualified personnel to deliver the effective management of the contract. The Contractor is to demonstrate to the satisfaction of the Authority, that his personnel have attained a recognised standard of skill and/or knowledge that will ensure provision of a satisfactory service. The Contractor may approach the Authority to request that specialist training, available only within MOD, be provided by the Authority during contract phase-in. Any training provided by the Authority during phase-in or contract period will be on a repayment basis, except for mandatory training introduced by the Authority after Contract Award. Training provided by the Contractor should meet industry standards, where appropriate, and where a direct authorised replacement for military training exists this must be of a comparable standard. All training costs, including T&S payments, are the responsibility of the contractor. This includes any specialist training provided by the authority.
1.A.7 | WORKING HOURS
1.A.7.a | See specific Unit | ALL
1.A.7.b to | See specific Unit | RAF Northolt
1.A.7.e
1.A.8 | MANAGEMENT OF THE CONTRACT IN OPERATION
1.A.8.a | The interface between the Contractor and the Authority is detailed below. The contractor is responsible for daily interface with the Authority (via Station Contract Monitoring Team- CMT) and for monitoring the contract performance against the KPIs and PIs detailed in Module 1 Section 2 - Contract Performance. The contractor will be required to attend periodic meetings, problem solving, and for processing of minor or unforeseen tasking with reference to appropriate areas of contract terms and conditions of this process. The Authority's Commercial branch has the authority to amend the contract through the process as detailed in the Terms and Conditions.
1.A.8.b | The Authority requires assurance that where the Contractor is acting as the Authority's agent responsible for the provision of, or payment for, or authorization of payments for goods or services that due regard to financial propriety and obtaining best value for money is made. The Authority's representatives may audit the contractor's transaction records to obtain that assurance.
1.A.9 | GOVERNANCE AND ASSURANCE
1.A.9.a | This section will deal with the governance structure and assurance, CMT roles and responsibilities, reporting chain, performance reporting, KPI management. Reference Schedule 3: - Terms and Conditions for additional information.
1.A.10 | EXPECTED CHANGES DURING THE LIFE OF THE CONTRACT
1.A.10.a | Unit footprint. The footprint for the RAF units in terms of personnel, facilities and equipment will fluctuate during the Contract. The Contractor will be required to respond to any changes implemented as a result of other projects, relocation of lodger units and the draw down or increase of Sections/Units which may have an impact on the Contract.
1.A.10.b | Joint Military Air Traffic Services Contract (JMAT). JMATs is in place and is a Category A Programme likely to be a 20/25 year Partnering deal and it will essentially replace all ATC/ATM Contracts in the UK and overseas.
1.A.10.c | Unit Parenting. Parenting refers to those services within the SoR that are required to be delivered to the Parent Unit's lodger, dependent and Satellite units that it supports. List of these unit can be optained from the appropate CMT, (at RAF Henlow this is the TFM Team).
1.A.10.d | See specific Unit | RAF Wyton

## SOR contents table
SOR Modules and Sections
Module | Section | Subject | Version / AL state | Amdt date
1 | 1 | General Contract Information
| 2 | Management and Administration
| 3 | Contingency Planning
2 | 4 | Aircraft Maintenance
| 5 | Not required
| 6 | Not required
| 7 | Flying Clothing and Survival Equipment
3 | 8 | Media Services
| 9 | Engineering Support / Records
| 10 | General Engineering Services
| 11 | CIS
| 12 | MT Operations
| 13 | MT maintenance
4 | 14 | Supply
| 15 | Not required
| 16 | Admin Services
| 17 | Armoury
5 | 18 | Sport and Force development
| 19 | Training Support - (including Recuitment)
| 20 | General Duties
| 21 | Air Movements

## Abbreviations
Module 1 - Section 1
General Core Contract Information
Abbreviations
A
| AACen | Army Aviation Centre
| ABRO | Army Base Repair Organisation
| ACF | Aircraft Control Facility
| ACP | Allied Communications Publication.
| ACRHQ | Air Cadets Regional Head Quarters
| ACT | Acquisition and Commercial Team
| ACT | Air Commercial Team
| ACT | Aerodrome Control Trainer
| ADATS | Air Defence and Air Traffic Systems.
| ADC | Aerodrome Control
| ADO | Appointed Designated Officer
| ADP | Automatic Data Processing
| ADR | Articles Dangerous de Route (European agreement concerning the international carriage of dangerous goods by road)
| AEA | Aircrew Equipment Assembly
| AEROs | Aviation Engineering Routine Orders
| AESP | Army Engineering Service Publication
| AESP | Army Equipment Support Publication
| AF & BF | After Flight & Before Flight
| AFA | Army Flying Association
| AFB | Breakaway (Airfield Feeder Buffet)
| AFCO | Armed Forces Careers Office
| AFDSEC | Now TSGSESA Tri-Service Ground Support Equipment Scaling Authority
| AFFF | Aqueous Film Forming Foam
| AFI | Annual Formal Inspection
| AFSM | Area Fire Safety Manager
| AFV | Annual Formal Visit (replaces AFI)
| AIG | Address Indicator Group, a collection of SMAs to which a signal is sent, used as a short method of addressing signals rather than addressing each recipient manually.
| AinU | Articles in Use
| AJT | Advanced Jet Trainer
| ALFD | After Last Flight Daily
| ALFENS | Aircraft Low Flying Automatic Electronic Notification System
| AMIF | Aircraft Maintenance Instructional Flight
| AOC | Air Officer Commanding
| AOG | Aircraft on Ground
| AP | Air Publication
| APM | Anti Personnel Mines
| APP | Approach Control
| APR | Approach Radar Control
| AQMS | Artificer Quartermaster Sergeant (Heads up the LAD)
| ARS | Area Radar Simulator
| ARTC | Aero Radar Training Course
| ASACS | Air Surveillance And Control System
| ASE | Airfield Support Equipment
| ASMT | Airfield Support Mechanical Transport
| ASP | Aircraft Servicing Pan
| ATC | Air Training Corps
| ATC | Air Traffic Control
| ATCIC | Air Traffic Control Instructors Course
| ATCO | Air Traffic Control Officer
| ATCTS | Air Traffic Control Training Squadron
| ATF | Area Training Flight
| ATS | Air Traffic Services
| ATSA | Air Traffic Service Assistant
B
| BA | Breathing Apparatus
| BAeS | British Aerospace Systems
| BAI | Breathing Apparatus Instructor
| BB | Barrack Blocks
| BC | Basic Check (Security)
| BCU | Bird Control Unit
| BDR | Battle Damage Repair (now known as Expedient Repair)
| BF | Brought Forward
| BFG Test | British Forces Germany Test
| BoI | Board of Inquiry
| BTEC | British Technical Education Council
| BUI | Before Use Inspection
C
| C&G | City & Guilds
| CAA | Civil Aviation Authority
| CANDE | Communications and Electronics
| Capt | Captain (Army or Royal Navy if suffixed RN)
| CATCS | Central Air Traffic Control School
| CB | Commercial Branch
| CBRN | Chemical, Biological, Radiological, Nuclear
| CCF | Combined Cadet Force
| CCSO | Contract Catering Supervisory Officer.
| Cdr | Commander
| CDT | Contract Driver Training
| C-E | Communication Equipment
| CEBDR | Communications Equipment Battle Damage Repair
| CERP | Communications Emergency Recovery Plan
| CES | Complete Equipment Schedule
| CESG | Communications Electronic Security Group
| CFE | Conventional Forces in Europe (Treaty)
| CFI | Chief Flying Instructor. (Normally a Lieutenant-Colonel who commands Flying Wing. He is responsible to the Colonel Training/Commandant for all aspects of flying training).
| CFM | Contractor Furnished Material
| CFO | Chief Fire Officer
| CFS (H) | Central Flying School (Helicopters)
| Chf Tech | Chief Technician
| CHQ | College Headquarters
| CIS | Communication Information System
| CIT | Combined Incident Team
| Clk Cat | Clerk Catering.
| CMC | Chairman of the Mess Committee (Sgt’s Mess)
| CMS | Contract Monitoring System
| CMT | Contract Monitoring Team
| CO | Commanding Officer
| COB | Company Order Book
| COER | Control of Explosive Regulations
| Comdt | Commandant
| COPR | Control of Pesticides Regulations
| COSHH | Control of Substances Hazardous to Health
| CP | Colour Perception
| Cpl | Corporal
| CPM | Corrosion Preventative Maintenance
| CSBM | Confidence & Security Building Measures
| CSDE | Central Servicing Development Establishment
| CST | Combat Survival Training
| CTC | Counter Terrorist Check (Security)
| CTW | Crisis Tension & War
| CWC | Chemical Weapons Convention
D
| D SEF Pol | Directorate of Safety, Environment and Fire Policy
| DARA | Defence Aviation Repair Agency
| DATIS | Digital Automatic Terminal Information System
| DATO | Deputy Authorised Telecommunications Officer
| DATOC | Deployed Air Traffic Operators Course
| DBLB | Danger Building Log Book
| DDI | Defence Driving Instructor
| DEFCON | Defence Contract
| DEFTS | Defence Elementary Flying Training Squadron LAFT2
| DEL | Defence Estates
| DE&S | Defence Equipment and Support
| DFRMO | Defence Fire Risk Management Organisation
| DFRS | Defence Fire & Rescue Service
| DFS | Defence Fire Service
| DGITS | Director General Information Technology Systems
| DGSA | Dangerous Goods Safety Advisor
| DHE | Defence Housing Executive
| DHFS | Defence Helicopter Flying School
| DI | Daily Inspection
| DISD | Defence Information Support Directorate
| DLO | Defence Logistics Organisation
| DMR | Daily Messing Rate
| DO | Designated Officer
| DOE | Department of Environment
| DOT | Department of Transport
| DOTA | Deployed Operational Training Area
| DP | Data Pack
| DPM | Destructive Pattern Material
| DRDF | Digital Radar Direction Finder
| DRS | Direct Repair Scheme
| DSA | Driving Standards Agency
| DSF | Domestic Supply Function
| DSGT | Department of Specialist Ground Training
| DSS | Duty Senior Supervisor
| DVLA | Driver & Vehicle Licensing Agency
| DWFS | Need to Find meaning
E
| EAC | Equipment Accounting Centre
| EAS | Equipment Accounting System
| ECR | Engineering Change Request
| ECU | European Community
| EDDUS | Electronic Data Display Update System
| EEI | Electrical Engineering Instructions (now Work Request)
| EETE | Electrical Engineering Test Equipment
| EFADS | Emergency Fire Appliance Driving Skills
| EFDC | Early Failure Detection Centre
| EFP | Energy Focal Point
| EMS | Environmental Management System
| Eng | Engineering
| EOB | Engineering Order Book
| EP | Environmental Protection
| EPA | Electrostatic Discharge Protected Area
| EPNS | Electro-Plated Nickel Silver
| EPO | Environmental Protection Officer
| ER14 | Explosives Regulations 14
| ERD | Emergency Response Driving
| ESA | Explosive Storage Area
| ESG | Electronic Supply Group
| ESI | Engineering Staff Instruction
| ESR | Explosive Safety Representative
| ESSD | Electrostatic Sensitive Device
| ESTC | Explosives Storage and Transportation Committee
| ET | Electronic Tote
| EWS | Emergency Water Supply
F
| F&L | Fuels & Lubricants
| FAFA | First Aid Fire Appliances
| FCRA | Fabric Care Research Equipment
| FES | Fire Express System (Vehicle)
| FFFP | Film Forming Fluoro Protein (foam)
| FFP | Fit for Purpose Aircraft that are available (in the Forward fleet), reliable, safe (airworthy), and capable (correctly configured) of carrying out their planned mission on any given day or 24 hour period. For recording purposes this will include aircraft requiring either a limited or a full flight test.
| FFs | Fire Fighters
| FFV | Fire Fighting Vehicle
| FGRI | Fixed Ground Radion Installation
| Flt Lt | Flight Lieutenant
| FMT | Fixed Machine Tools
| FO | Flying Officer
| FOAC | Flight Operations Assistants Course
| FOB | Forward Operating Base
| FOD | Foreign Object Damage
| FOIC | Flight Operations Instructors Course
| FOTC | Flight Operations Training Course
| FORWARD | Feedback Of Repair Workshops Reliability Data
| FP | Fire Prevention
| FRADU | Fleet Requirements and Aircraft Direction Unit
| FS | Flight Sgt
| FSAST | Flight Simulation and Synthetic Trainers
| FSMP | Fire Safety Management Plan
| FSO | Fire Safety Officier
| FSO | Flight Simulator Operator
| FTS | Flying Training School
G
| GAI | General Administration Instruction
| GAPAN | Guild of Air Pilots and Navigators
| GCA | Ground Controlled Approach
| GEMS | General Engineering Management System
| GES | General Engineering Section
| GF | Green Fleet
| GFE | Government Furnished Equipment
| GFF | Government Furnished Facilities
| GFM | Government Furnished Material
| GIA | Ground Instructional Aircraft
| GIE | Ground Instructional Equipment
| Gp Capt | Group Captain
| GPC | Government Procurement Card
| GRI | Ground Radar Installation
| GRMF | Ground Radio Maintenance Flight
| GRMS | Ground Radio Maintenance Section
| GSE | Ground Support Equipment
| GSE | Ground Support Equipment
| GTA | Ground Training Aid
H
| HAF | Historic Aircraft Flight
| HCMF | Health Control and Monitoring Force
| HIOS | Hawk Integrated Operating Solution
| HQ AIR | Headquarters Air Command
| HQSTC | Headquarters Strike Command (now known as Air Command)
| HRDF | High Resolution Direction Finder
| HSC | Health and Safety Council
| HSE | Health and Safety Executive
| HSE/HSA | Health and Safety Executive/Health and Safety Advisor
| HSW | Health and Safety at Work
I
| IAC | Internal Accounting Codes
| IAW | In Accordance With
| ICP | Integrated Contingency Planning
| IPR | Intellectual Property Rights
| IPT | Integrated Project Team
| IQ | Indefinite Quantity
| ISBN | International Standard Book Number
| ISO | International Organisation for Standardization
| ISS | Integrated Service Support
| IT | Information Technology
| ITT | Invitation to Tender
J
| JACIG | Joint Arms Control Implementation Group
| JAMES | Joint Asset Management and Engineering Solutions
| JAP | Joint Air Publication
| JATCC | Joint Air Traffic Control Course
| JEFTS | Joint Elementary Flying Training School
| JHC | Joint Helicopter Command
| JRM | Junior Ranks' Mess
| JSMCR | Joint Service Munitions Control Register
| JSP | Joint Service Publication
| JSSU | Joint Service Signals Unit
K
| KS | Key Services
| KUR | Key User Requirements
L
| LA | Local Authority
| LAD | Light Aid Detachment
| LAEHO | Local Area Environmental Health Officer.
| LAFB | Local Authority Fire Brigade
| LAFRS | Local Authority Fire & Rescue Service
| LATCC | London Air Traffic Control Centre
| LEI | Local Engineering Instruction
| LFf | Leading Fire-fighter
| LGV | Larger Goods Vehicle
| LITS | Logistic Information Technology System
| LOX | Liquid Oxygen
| LPG | Liquid Propane Gas
| LPO | Local Purchase Order
| LRU | Line Replaceable Unit
| LSJ | Life Saving Jacket
| Lt Cdr | Lieutenant Commander
| LVP | Local Value purchase
| LVP | Low Value Procurement
| LWB | Long Wheel Base
| LWBLR | Long Wheel Base Landrover
M
| MAC | Multi-Activity Contract
| MACA | Military Aid to the Civil Authority
| MACC | Military Aid to the Civil Community
| MATZ | Military Air Traffic Zone
| MC | Mission Critical
| MDC | Maintenance Data Centre
| MDHU | Military District Hospital Unit
| MDP | Magnetic Detecting Plug
| MEARW | Multi Engine Aircrew Rotary Wing
| MEI | Mandatory Equipment Inspection
| MEPT IS | Multi-Engine Pilot Training Interim Solution
| MFV | Main Foam Vehicle
| MGRI | Mobile Ground Radio Installation
| MHD | Military Home Defence
| MHE | Mechanical Handling Equipment
| MHSW | Management Health and Safety at Work
| MHSWR | Management of Health & Safety at Work Regulations
| MIG | Metal Inert Gas
| MIL-EAMS | Military - Extended Aeronautical Messinging System
| MIS | Management Information System
| MJDI | Management of the Joint Deployed Inventory
| MOB | Main Operating Base
| MOD | Ministry of Defence
| MOD FS CTE | MoD Fire Service Central Training Establishment
| Mods | Modifications
| MOMIDS | Met Office Meteorological Distribution System
| MORES | Manual of Responsibilities for Engineering & Supply
| MRT | Mountain Rescue Team
| MSG | Mechanical Storage Components Group
| MSSR | Monopulse Secondary Surveillance Radar
| MT | Mechanical Transport
| MT Mgr | Mechanical Transport Manager
| MTBF | Meantime Between Failure
| MTD | Mechanical Transport Driver
| MTMS | Mechanical Transport Maintenance Section
| MTO | Mechanical Transport Officer
| MTI-S | Mechanical Transport Instructions
N
| NAO | National Audit Office
| NARO | Nuclear Accident Response Organisation
| NATO | North Atlantic Treaty Organisation
| NAVAID | Navigational Aid
| NAWDC | National Association of Waste Disposal Contractors
| NBC | Nuclear Biological & Chemical
| NDT | Non Destructive Testing
| NEBOSH | National Examination Board in Occupational Safety & Health
| NVQ | National Vocational Qualification
| NEW | North West Europe
O
| OC | Officer Commanding
| OC GD Flt | Officer Commanding General Duties Flight
| OHMS | On Her Majesties Service
| OJT | On the Job Training
| OL | Operators Licence
| OOA | Out of Area
| OOP | Out Of Phase
| OPEVAL | Operational Preparedness Evaluation
| Ops Wg | Operations Wing
P
| PA | Personal Assistant
| PAR | Precision Approach Radar
| PAT | Portable Appliance Testing
| PaX | Passenger
| PCA | Proposed Contract Amendment
| PCM | Post Crash Management
| PCV | Passenger Carrying Vehicle
| PDT | Passive Defence Team
| PES | Potential Explosion Site
| PLB | PES Log Book
| PLM | Portable Landing Marker
| PMC | President of the Mess Committee (Officer’s Mess)
| PMDNF | Protectively Marked Document Not on File
| POL | Petroleum Oil & Lubricants
| PPE | Personal Protective Equipment
| PPR | Prior Permission Request
| PQS | Pricing & Quality Services
| PRF | Pulsed Radio Frequency
| PSA | Processor System Administrator
| PSM | Precautionary System Manual
| PSP | Personal Survival Pack
| PSPS | Pesticide Safety Precaution Scheme
| PTT | Precision Termination Tools
| PWI | Preliminary Warning Instruction
Q
| QA | Quality Assurance
| QAP | Quality Assurance Plan
| QGH | Q Code for Directional Approach
| QHI | Qualified Helicopter Instructor. (A helicopter flying instructor of at least B1 category who Has qualified on the Qualified Helicopter Instructors Course at the Royal Air Force Central Flying School (Helicopters).
| QHZCLI | Hazardous Chemicals
| QMS | Quality Management System
| QP | Quality Plan
| QRF | Quick Release Fitting
| QRs | Queens Regulations
| QSAW | Qualified Small Arms Weapons
| QWES | Qualified Weapons Ejection Seat
| QWI | Qualified Weapons Instructor
R
| R&I | Resource and Initiative
| RAC | Resource Accounting Code
| RADHAZ | Radiation Hazard
| RAF | Royal Air Force
| RAFP | Royal Air Force Police
| RAFSCCS | RAF Supply Central Computer System
| RAFSITS | RAF Supply Information Technology System
| RAMC | Regional Avionics Maintenance Centre
| RDD | Required Delivery Date
| REME | Royal Mechanical & Electrical Engineers
| RHAG | Rotary Hydraulic Arrester Gear
| RI | Routing Indicator
| RIV | Rapid Intervention Vehicle
| RLG | Relief Landing Ground
| RMC | Regional Medical Centre
| RMI | Radiation Monitoring Instruments
| RN | Royal Navy
| ROM | Rough Of Magnitude
| ROP | Reverse Osmosis Pump
| ROSPA | Royal Society for the Prevention of Accidents
| RPE | Respiratory Protective Equipment
| RPT | Readiness Preparation Time
| RRH | Remote Radar Head
| RRS | Remote Radar Site
| RSA | Royal Society of Arts
| RT | Radio Transmission
| RTE | Road Transport Engineer
| RTI | Routine Technical Instruction
| RTU | Return to Unit
| RVA | Remote Viewing Aids
| RVR | Runway Visual Range
S
| S&C | Secret and confidential
| SA | Support Authority
| SAMA | Station Administrative Management Aid
| SAR | Search and Rescue
| SARF | Search and Rescue Facility
| SARTU | Search and Rescue Training Unit
| SATCO | Senior Air Traffic Control Officer
| SC | Security Clearance
| SCAS | Supply Control & Accounting Activities Section
| SCC | Supply Central Computer
| SCCS | Supply Central Computer System
| SD | Service Deviation
| SDO | Sub Designated Officer
| SE | Survival Equipment
| SEGS | Service & Equipment Guide
| SEM (1) | Service Engineered Modification
| SEM (2) | Specially Embodied Modification
| SEOR | Station Engineering Orders and Responsibilities
| SFA (1) | Senior Financial Advisor
| SFA (2) | Service Families Accommodation
| SFAS | Service Funds Accounting Section
| Sgt | Sergeant
| SHEF | Safety Health Environment & Fire
| SI | Service Instruction
| SI(T) | Special Instruction (Technical) (General term used to describe RTIs, STIs and UTIs)
| SICC | Snow & Ice Clearing Committee
| SIF | Service Institute Fund
| SKIOS | Sea King Integrated Operation Solution
| SLA | Single Living Accommodation.
| SM | Station Manager
| SMA | Signal Message Address
| SME (1) | Subject Matter Expert
| SME (2) | Small Medium Enterprises
| SMI | Surface Movement Instruction
| SMO | Station Medical Officer
| SMP | Safety Management Plan
| SOR | Statement of Requirements
| SPFS | Station Publications and Forms Store
| SPH | Special Handling Traffic
| SPS | Specialist Procurement Services
| Sqn Ldr | Squadron Leader
| SR | Sponsored Reserve
| SRA | Surveillance Radar Approach
| SRO | Station Routine Order
| SSI | Special Servicing Instruction
| SSO | Station Standing Orders/Station Security Officer
| SSPN | Section Sub Para Number
| SSSI | Site of Special Scientific Interest
| SSyO | Station Security Officer
| STANEVAL | Standards Evaluation
| STC | Special to Type Container
| STI | Special Technical Instruction
| STO | Survive To Operate
| SU | Signals Unit
| SUP | Statement of Unit Policy
| SUSAT | Sight Unit Small Arms Trilux
| SWO | Station Warrant Officer
| SyOps | Security Operating Procedure
T
| TA | Territorial Army
| TAR | Tactical Aircraft Refuellers
| TAT | Trade Ability Test
| TCCO | Tempest Configuration Control Officer
| TCCP | Tempest Configuration Control Plan
| TGDA | Training Group Defence Agency
| TME | Test & Measuring Equipment
| TMEC | Test & Measuring Equipment Centre
| TMV | Trauma Management Vehicle
| TORs | Terms of Reference
| TQA | Trade Qualification Annotation
| TRC | Terminal Refresher Course
| TRS | Terminal Radar Simulator
| TSA | Textile Serice Association
| TSDS | Training Support and Development Squadron
| TSG | Tactical Supply Group
| TSGSESA | Tri-Service GSE Scaling Authority
| TSMHS | Tri Service Materials Handling Service
| TTA | Travelling Telecommunications Advisors
| TTF | Trade Training Flight
| TTU | Treasury Typing Unit
| TTW | Transition To War
| TUPE | Transfer of Undertakings Protection of Employment
U
| U/S | Unserviceable
| UBAS | University of Birmingham Air Sqn
| UIN | Unit Identification Number
| UKMFTS | United Kingdom Military Flying Training System
| UKWF | United Kingdom White Fleet
| UNE | Unit Nominated Engineer (OC Eng Wg)
| USAFE | United States Air Force Europe
| USAS | Unit Supply Administration System
| UT | Unforeseen Tasking
| UTI | Urgent Technical Instruction
V
| VAS | Visiting Aircraft Section
| VASS | Visiting Aircraft Support Section
| VCR | Visual Control Room
| VD99 | Vienna Document 1999
| VDU | Visual Display Unit
| VGS | Voluntary Gliding School
| VIP | Very Important Person
| VISSIM | Visual Simulator
| VOR | Variation of Requirement
| VOSA | Vehicular Operator & Services Agency
W
| W&W | West & Wales
| WF | White Fleet
| Wg | Wing
| Wg Cdr | Wing Commander
| WM | Watch Manager
| WO | Warrant Officer
| WSE | Workshop Equipment
| WSE | Workshop
| WTE | Workshop Tools and Equipment
X
Y
| YUAS | Yorkshire University Air Squadron
Z

## References
Module 1 - Section 1
General Core Contract Information
References
AP REFERENCE | APPLICABILITY | TITLE
ADR |  | ADR: Accord European Relaif au Transport International des Merchandises Dangereuses par route (European agreement concerning the International Carriage of Dangerous Goods by Road)
AERO |  | Aviation Engineering Routine Orders
AESO |  | Aviation Engineering Standing Orders
Aircraft Topic 2(R)1 |  | RAF Engineering Authority General Orders And Special instructions - For All Aircraft types maintained
Aircraft Topic 5L |  | Storage Maintenance Lists - For All Aircraft types maintained
Aircraft Topic 5N |  | Preparation for Storage - For All Aircraft types maintained
Aircraft Topic 5P |  | Maintenance During Storage - For All Aircraft types maintained
Aircraft Topic 5Q |  | Recovery from Storage - For All Aircraft types maintained
AP 0601 Series | AIR PUBLICATION | Surface Finishing and Marking of Service Equipment
AP 100A-01 | AIR PUBLICATION | RAF Engineering, organisation orders and policy
AP 100B-01 | AIR PUBLICATION | RAF ENGINEERING POLICY
AP 100B-04 | AIR PUBLICATION | RAF Engineering - Service Engineering Modification Procedure
AP 100B-05 | AIR PUBLICATION | DATA Coding
AP 100B-10 | AIR PUBLICATION | RAF Engineering Substances Hazardous to Health.
AP 100C -70 & 70 | AIR PUBLICATION | Integrated Logistics Support - Acquisition Strategy
AP 100C- Series. | AIR PUBLICATION | Royal Air Force Engineering - Management Information General.
AP 100C-01 | AIR PUBLICATION | MAINT DATA SYSTEM DESCRIPTION
AP 100C-02 | AIR PUBLICATION | MANAGEMENT INFO - GENERAL
AP 100C-02 C | AIR PUBLICATION | The Maintenance DataSystem Work Recording
AP 100C-06 | AIR PUBLICATION | Royal Air Force Engineering - Management Information (General) Engineering Documentation
AP 100C-08A & B | AIR PUBLICATION | STAMA/JAMES Managers Manual
AP 100C-10 | AIR PUBLICATION | Royal Air Force Quality and Activity Assurance Manual
AP 100C-20 | AIR PUBLICATION | Preparation & Amendt of Maintenance Schedules
AP 100C-22 | AIR PUBLICATION | Procedures for Developing Preventative Maintenance
AP 100C-50 | AIR PUBLICATION | RAF Engineering Test and Measuring Equipment
AP 100C-75 | AIR PUBLICATION | Logistic Support to Operations
AP 100E- Series | AIR PUBLICATION | Maintenance, Lifting and Management of Aero Engines.
AP 100E-01A | AIR PUBLICATION | MAINTENANCE LIFING & MMT OF AERO ENGINES etc
AP 100E-01B | AIR PUBLICATION | REMOVAL OF CRITERIA FOR AERO ENGINES etc
AP 100E-02 | AIR PUBLICATION | AERO ENGINE REPORTING PROCEDURE
AP 100E-05 | AIR PUBLICATION | AERO ENGINE FUELS & LUBRICANTS
AP 100E-10 | AIR PUBLICATION | Royal Air Force Engineering - Management Information Mechanical.
AP 100G-03 | AIR PUBLICATION | RAF Engineering Site Restrictions for Ground Radio Installations
AP 100N Series | NAVY PUBLICATION | WRAM Procedures Manual
AP 100N-0101 | NAVY PUBLICATION | Manual of Naval Aircraft Documentation
AP 100V-01 | AIR PUBLICATION | Joint Service Aircraft Maintenance Agreements
AP 101A--0001 | AIR PUBLICATION | A/C Mech Locking Standards and Practices
AP 101A-0204-1 | AIR PUBLICATION | TELEFLEX CONTROLS
AP 101A-0206-1 | AIR PUBLICATION | FLEXIBLEWIRE CABLES IN AIRCRAFT CONTROL SYSTEMS
AP 101A-0300-1 | AIR PUBLICATION | AIRCRAFT RIGID PIPELINES
AP 101A-0600-6 | AIR PUBLICATION | Standard Repairs for Airframes
AP 101A-0601-1 | AIR PUBLICATION | EMPLOYMENT & REPAIR OF A/C COMPOSITE MATERIAL
AP 101A-1115-5W | AIR PUBLICATION | TRANSPORT AIRCRAFT AIRBORNE ROLE EQUIP
AP 101A-1401-1 | AIR PUBLICATION | RIVETING PROCESSES
AP 101A-1601-0 | AIR PUBLICATION | Maintenance Schedule Non Flying Display Aircraft.
AP 101A-1601-0 | AIR PUBLICATION | Non-Flying Display Aircraft NCE Schedule
AP 101B-0600/3 Series | AIR PUBLICATION | Harrier GR all marks.
AP 101B-2303/4/5 Series | AIR PUBLICATION | Jet Provost Authority General Orders and Special Instructions.
AP 101B-3103A/2 Series | AIR PUBLICATION | Jaguar GR Mk 3/3A.
AP 101B-4100-2 (R)1 | AIR PUBLICATION | Tornado GR Mk 1 General Orders
AP 101B-4401 Series | AIR PUBLICATION | Aircraft Maintenance Schedules (Hawk).
AP 101B-5600-5F | AIR PUBLICATION | ISLANDER MK1 - BAY MAINTENANCE SCHEDULE
AP 101C-0100/3 Series | AIR PUBLICATION | Wessex Mk2
AP 101C-0402/5/6 Series | AIR PUBLICATION | Sea King
AP 101C-0901/2/3 Series | AIR PUBLICATION | Gazelle
AP 104F/G-0001-5G | AIR PUBLICATION | AIRCRAFT LANDING WHEELS- NDT SCHEDULE
AP 104F-0001-5F | AIR PUBLICATION | MAIN LANDING WHEELS
AP 104H-0001-1 | AIR PUBLICATION | AIRCRAFT TYRES & TUBES - GEN & TECH
AP 106B-0002-1 | AIR PUBLICATION | SAFETY PRECAUTIONS REPAIR AIRCRAFT TANKS
AP 106D-1000-13 | AIR PUBLICATION | NON RETURN VALVES FLIGHT REFUELLING
AP 106D-4400-13 | AIR PUBLICATION | PIPE CONNECTORS - STANDARD
AP 106D-4402-13 | AIR PUBLICATION | AC FUEL SYSTEM COMPONENTS
AP 107A-0101-2 (N/A/R) 1 | AIR PUBLICATION | Aircraft Support 3 (AS3) Airborne Gaseous Components
AP 107D-0001-1 | AIR PUBLICATION | Gen Info Aircraft Oxygen Equipment Maintenance
AP 107D-0111-12 | AIR PUBLICATION | Aircraft Oxygen Cylinders and High Pressure Fittings
AP 107D-0125-12 | AIR PUBLICATION | Cylinder 3 Way Pipe Fittings
AP 107D-0126-12 | AIR PUBLICATION | Oxygen Cylinder Assy
AP 107D-0305-12 | AIR PUBLICATION | Oxygen Gauges (Mechanical) Various Aircraft
AP 107D-0400A-1 | AIR PUBLICATION | Low Pressure Oxygen Hoses
AP 107D-0400B-1 | AIR PUBLICATION | Gaseous Oxgen Bayonet Unions & Quick Release Connectors
AP 107D-0400C-12 | AIR PUBLICATION | Oxygen Unions, Connections & Couplings
AP 107D-0902 | AIR PUBLICATION | Walk Around Oxygen Set Mk8 Gen & Tech Info, Orders & Mods
AP 107E-0001-1 | AIR PUBLICATION | Fire Prevention in Aircraft
AP 107E-0425-1236 | AIR PUBLICATION | Fire Extinguisher, Kidde Graviner
AP 108T-0109-1235F | AIR PUBLICATION | Aircrew Equipment Test Set
AP 110K series | AIR PUBLICATION | SMALL ARMS AND GROUND DEFENCE WEAPONS.
AP 110K-0001-2(R)1 | AIR PUBLICATION | LIGHT WEAPONS
AP 112P-0009-1 | AIR PUBLICATION | MANUAL OF PHOTOGRAPHIC PRACTISES AND PROCEDURES.
AP 112P-0009-1 | AIR PUBLICATION | Manual of Photographic Practices and Procedures
AP 112T-01124-1 | AIR PUBLICATION | Oxygen Flow Meter, Flow & Leakage Testers
AP 112T-01135-12 | AIR PUBLICATION | Teest Stand, Demand Oxygen Regulator Type B2
AP 112T 01135-5F | AIR PUBLICATION | Teest Stand, Demand Oxygen Regulator
AP 113 Book 1 | AIR PUBLICATION | Regulations for the Supply and Maintenance of Publications and Forms.
AP 113A-0307-1 | AIR PUBLICATION | Aircraft Bonding Screening & Earth Points, Gen & Tech Info
AP 116A-0601-1 | AIR PUBLICATION | Electrostatic Discharge Sensitive Devices.
AP 116L-0637-1 | AIR PUBLICATION | Colour Monitor - Gen Inst
AP 116Z-0001-1 | AIR PUBLICATION | Anti-Corrosion Maintenance of (CE) EQUIPMENT
AP 119A-0428-1 | AIR PUBLICATION | IDENT OF THREADED FASTNERS
AP 119A-0504-1 | AIR PUBLICATION | ADHESIVE, GLAZING, SEALING COMPOUNDS FOR A/C
AP 119A-0509-1 | AIR PUBLICATION | AIRCRAFT CLEANING & RESTORATION OF PROTECTIVE FIN
AP 119A-0510-6 | AIR PUBLICATION | AIRCRAFT GLASS FIBRE REPAIRS
AP 119A-0512-1 | AIR PUBLICATION | GSE/GEN Engineering Component Cleaning Processes
AP 119A-0702-0 | AIR PUBLICATION | Painting of Ground Support Equipment
AP 119A-1201-1 | AIR PUBLICATION | Welding, Brazing and Soldering Principles and Practice
AP 119A-1501-1 | AIR PUBLICATION | Storage Equipment - Racking, Shelving, Bins & Pallets - General & Technical Information
AP 119A-20000-2 (NAR) | AIR PUBLICATION | Aircraft Intergrity Monitoring Equipment
AP 119A-20001-1 | AIR PUBLICATION | NON-DESTRUCTIVE TEST - GEN INFO
AP 119A-20001-2 | AIR PUBLICATION | NON-DESTRUCTIVE TEST
AP 119A-20006-1 | AIR PUBLICATION | RAF EARLY FAILURE DETECTION CENTRE MANUAL
AP 119A-20107-1 | AIR PUBLICATION | Video PROBE xl System
AP 119A-20615-1 | AIR PUBLICATION | EDDY CURRENT TESTER
AP 119A-20620-1 | AIR PUBLICATION | WHEELSCAN 700 MK III
AP 119A-20622-0 | AIR PUBLICATION | EDDY CURRENT TEST SET - HOCKING LOCATOR 2
AP 119F Series | AIR PUBLICATION | Oxygen Equipment Maintenance.
AP 119F-3201-13 | AIR PUBLICATION | HYDRAULIC PRESS - WHEEL BEARINGS
AP 119G-0008 –1 | AIR PUBLICATION | Welding Practices and Procedures, General and technical Information
AP 119G-0128-1 | AIR PUBLICATION | TORQUE WRENCHES, CHECKING RIGS & FIXTURES
AP 119G-0155-3C | AIR PUBLICATION | Scale of Tools and Equipment Modification Procedure
AP 119G-1403,-1– 3-5F | AIR PUBLICATION | Maintenance of Plastic Media Stripping Equipment
AP 119J-0100-1 | AIR PUBLICATION | Snow Clearance and Ice Control of Airfields
AP 119K-0001-1 | AIR PUBLICATION | Lifting equipment and accessories for Lifting Standards and Practise, General and technical Information.
AP 119L Series | AIR PUBLICATION | Gas Production, Storage and Testing Equipment
AP 119W | AIR PUBLICATION | Principles of A/C Weighing & Cof G Determination
AP 120A-0001-1 | AIR PUBLICATION | Precautions against electrical shock in maintenance areas
AP 120H-0145-12 | AIR PUBLICATION | Ground Power Unit (7KW, 28V DC)
AP 120K-0114-12 | AIR PUBLICATION | Mobile Lighting Trailer (Hylite Mk1)
AP 120M-0612-1 | AIR PUBLICATION | RAF Engineering Precision Termination Tools.
AP 1269A | AIR PUBLICATION | MEDICAL MANAGEMENT AND ADMINISTRATION
AP 1358 | AIR PUBLICATION | RAF Dress Regulations
AP 1827 Pt A- G | AIR PUBLICATION | TTW & War Scales of Mobility Field Equipment & Non-Warlike Stores (8th Edition)
AP 1892 | AIR PUBLICATION | Scales of Equipment for University Air Squadrons.
AP 1896 | AIR PUBLICATION | Scales of Equipment for ATC Squadrons.
AP 1919 | AIR PUBLICATION | Regulations for the Air Training Corps.
AP 2496E | AIR PUBLICATION | Snow Clearance Equipment for attachment to Vehicles
AP 2782E | AIR PUBLICATION | Data Book of RAF MT Vehicles (Not Radio Vehicles)
AP 3149 | AIR PUBLICATION | RAF Manual of Movements
AP 3150 | AIR PUBLICATION | RAF Mechanical Transport Instructions (RAF MTIs)
AP 3169 | AIR PUBLICATION | Scales of Equipment for Gliding Schools in the Air Training Corps
AP 3174 | AIR PUBLICATION | Scales of Equipment for Combined Cadet Force Units (RAF Sections)
AP 3205 | AIR PUBLICATION | Ground Ranges Regulations
AP 3205 | AIR PUBLICATION | RAF LAND RANGES POLICY
AP 3207 | AIR PUBLICATION | RAF Manual of Flight Safety
AP 3242 | AIR PUBLICATION | GROUND DEFENCE TRAINING FOR RAF
AP 3302 | AIR PUBLICATION | Communications Battle Damage Repair and Prevention
AP 3342 | AIR PUBLICATION | MANAGEMENT OF PHYSICAL EDUCATION IN THE RAF.
AP 3392 Vol 2 | AIR PUBLICATION | MANUAL OF PERSONNEL MANAGEMENT
AP 3392 Vol 7 | AIR PUBLICATION | REGULATIONS FOR THE RESERVE AIR FORCE.
AP 3406 | AIR PUBLICATION | UNIT SCALES OF PHOTOGRAPHIC GSE
AP 3413 | AIR PUBLICATION | RAF Electrical Engineering Test Equipment Supply Servicing Modification Repair and Calibration
AP 3415 | AIR PUBLICATION | SPORTS RECREATION IN THE RAF.
AP 3424 | AIR PUBLICATION | Catalogue of Classified Material
AP 3456 | AIR PUBLICATION | RAF MANUAL, FLYING
AP 3457 | AIR PUBLICATION | ATC Last Look Checks
AP 4545 Vol 2 | AIR PUBLICATION | General Orders and MODifications.
AP 600 | AIR PUBLICATION | RAF INFORMATION &CIS POLICY.
AP 938 | AIR PUBLICATION | Regulations for RAF Reserves (Stations Responsible for Reserve Forces Only)
AP 957 | AIR PUBLICATION | Fire Manual
AP 968 | AIR PUBLICATION | Regulations for R Aux AF & County Associations. (Stations Responsible for Reserve Forces Only)
AP(D)100E-15 | AIR PUBLICATION | MILITARY AVIATION WORKSHOP SUPPORT MANAGEMENT AND POLICY
ARMOURY | ALL UNITS | The Firearms Act
BS EN 529:2005 | ALL UNITS | Respiratory protective devices - Recommendations for selection, use, care and maintenance
CAD | ALL UNITS | Civil Aid Directive (Military Aid to the Civil Authority (MACA Plans))
CDG_CPL |  | Carriage of Dangerous Goods by Road & Rail (Classification, Packaging and Labelling) Regulations 1994, SI No 669. Known as CDG_CPL. In addition the following supplements are required:
CER |  | The Road Traffic (Carriage of Explosives) Regulations 1989, SI No 615, Known as CER
CONTINGENCY | ALL UNITS | DLO OP ORDER 1/00 - HCMF Plan.
CONTINGENCY | ALL UNITS | DLO OP ORDER 1/02 - NARO Plan.
CONTINGENCY | ALL UNITS | Joint OPLAN 1/90 – Reservist Mobilisation Training Centres.
CONTINGENCY | ALL UNITS | JDP 02 - Operations in the UK. Defence Contribution to Resilience.
CONTINGENCY | ALL UNITS | Air Command/AFSPC Arrangement.
CONTINGENCY | ALL UNITS | CLSA.
CONTINGENCY | ALL UNITS | SHEP & SD Management Plan.
CONTINGENCY | ALL UNITS | Risk Register.
CONTINGENCY | ALL UNITS | Station Standing Orders.
CONTINGENCY | ALL UNITS | CIS Recovery Plan.
CONTINGENCY | ALL UNITS | Major Incident Plan.
CONTINGENCY | ALL UNITS | Station Quality Plan.
CONTINGENCY | ALL UNITS | RAF Precautionary System Manual.
CONTINGENCY | ALL UNITS | RAF Civil Aid Directive.
CONTINGENCY | ALL UNITS | Integrated Rural Management Plan.
CONTINGENCY | ALL UNITS | Security Vigilance Area Plan – Bedfordshire
CONTINGENCY | ALL UNITS | Security Vigilance Area Plan – Cambridgeshire
CONTINGENCY | ALL UNITS | OP Blacktop
CONTINGENCY | ALL UNITS | Station Crash and Disaster Plan
CONTINGENCY | ALL UNITS | Station HAZSPILL Plan
CONTINGENCY | ALL UNITS | Station Crash & Disaster Plan.
CONTINGENCY | ALL UNITS | Station HAZSPILL Plan.
CONTINGENCY | ALL UNITS | Station Standing Orders.
CONTINGENCY | UNIT SPECIFIC | Croners (Coach and Bus Operation)
CONTINGENCY | UNIT SPECIFIC | Croners (Road Transport Operation)
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow Business Continuity Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow CBRN Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow Engagement Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow Major Incident Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow Mortuary Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow Recall Plans
CONTINGENCY | UNIT SPECIFIC | RAF Wyton & RAF Henlow SSOs - Security
CONTINGENCY | UNIT SPECIFIC | RAF Wyton Crash Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Business Continuity Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Crash and Incident Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Fuel Spill Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Hijack Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Anti-Terrorist Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Recall Plan
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Operation Banknote/NARO
CONTINGENCY | UNIT SPECIFIC | RAF Northolt Operation Blacktop
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute the Station Crash and Disaster Plan
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute the Station Emergencies plan
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute the Station MACA/MACC plan
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute the Station Fuel and Oil Spillage plan
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute Arms Control/Inspection Plans applying to RAF Halton
CONTINGENCY | UNIT SPECIFIC | RAF Halton Execute RAF Halton Security Alert Measures and TESSERAL Plans
CONTINGENCY | UNIT SPECIFIC | RAF Halton Provide support for unforeseen exercises (as per 3.A.1.b)
CONTINGENCY | UNIT SPECIFIC | Unit EOB - Eng Order book
Contract No LC4/0252 | UNIT SPECIFIC | Provision of Management Services for the RAF White Fleet Vehicles.
Convetional Forces Europe Treaty | TREATY | Unit Arms Control Plans
DAP 100A-0601-0A | DIGITIAL AIR PUBLICATION | Surface Finish of GSE
DAP 101D-4103-A1 | DIGITIAL AIR PUBLICATION | Tornado
DAP 110A-0102-1E | DIGITIAL AIR PUBLICATION | Explosives Regulations - Radio Frequency Emitter Field Strengths and Power Density Distance Graphs
DAP 110E Series | DIGITIAL AIR PUBLICATION | Pyrotechnic and Power Cartridges
DAP 110N series | DIGITIAL AIR PUBLICATION | Ejection Seat Cartridges and Associated Explosive Stores (Various)
DAP 113A-0201-1 | DIGITIAL AIR PUBLICATION | Earthing of Aircraft and Ground Support Equipment .
DAP 119A Series | DIGITIAL AIR PUBLICATION | Ground Support Equipment and General Engineering
DAP 119A-0601 Series | DIGITIAL AIR PUBLICATION | Surface Finishing and Marking of Service Equipment.
DAP 119F-0010-5F | DIGITIAL AIR PUBLICATION | Inspection, Testing and Maintenance of Electrical Equipment
DAP 119G-0919-3A | DIGITIAL AIR PUBLICATION | A/C Workshop Tool Outfits, Schedule of Spares and Containers
DAP 119J-1406-5F | DIGITIAL AIR PUBLICATION | Aircraft Arresting Barriers Types A & B Maintenance Schedules
DAP 119L Series | DIGITIAL AIR PUBLICATION | Gas (including Liquid Oxygen and Nitrogen) Production, Storage and Testing Equipment
DAP 120C-0001-1 | DIGITIAL AIR PUBLICATION | Battery Charging Room Requirements
DAP 120M-0612-1 | DIGITIAL AIR PUBLICATION | RAF Engineering - Precision Termination Tools Control Maintenance and Testing
DAP 3150 | DIGITIAL AIR PUBLICATION | Manual of Movements (including RAF Mechanical Transport instructions)
DCI GEN 145/03 |  | Digital Photography
DCI RAF 4/01 |  | Sale of Photographic Prints from Existing Ground Photographic Negatives
DEF CON 697 | DEFENCE CONDITIONS | Contractors on Deployed Operations (CONDO)
DEF STAN 00-56 | DEFENCE STANDARD | Safety Management Requirements for Defence Systems
DEF STAN 01-5 | DEFENCE STANDARD | Fuels, Lubricants & Associated Products.
DEF STAN 05-129 | DEFENCE STANDARD | Contractors on Deployed Operations (CONDO)
DEF STAN 05-130 Pt 1 | DEFENCE STANDARD | Maintenance Approved Organisation Scheme
DEF STAN 05-69 | DEFENCE STANDARD | Defence Standard -5-69
DEF STAN 1233 | DEFENCE STANDARD | General Requirements for Packaging Supplies for the Services
DEF STAN 62-6/1 | DEFENCE STANDARD | Lamps Electrical
DLF | DEFENCE LOGISTIC FRAMWORK | Replaces JSP 886 from 04 Oct 2016.
DIN2006DIN05-034 | DEFENCE INSTRUCTIONS & NOTICES | POLICY ON USE OF CHILD PHOTOGRAPHY FOR DEFENCE PUBLICITY.
DIN2014DIN05-014 | DEFENCE INSTRUCTIONS & NOTICES | ROLL OUT OF THE CRYPTOGRAPHIC OPERATIONAL DISTRIBUTION ELECTRONIC SYSTEM (CODES) Release 2B
DIN2015DIN06-013 | DEFENCE INSTRUCTIONS & NOTICES | ClLAIMS AND INSURANCE PROVISIONS FOR THE USE OF MOD VEHICLES IN THE UK AND OVERSEAS AND CONFIRMATION OF MOTOR LIABILITY COVER (formerly DIN2014DIN05-011)
DIN2016DIN04-093 | DEFENCE INSTRUCTIONS & NOTICES | Required information on Movements Documentation to Support Compliant UK Customs Declarations
DINs (Various) | DEFENCE INSTRUCTIONS & NOTICES | DEFENCE INSTRUCTIONS AND NOTICES.
DMG03 | Defence Infra | Design and Maintenance Guide 03
E&P | ALL UNITS | Control of Pollution (Special Waste Regulations) 1980.
E&P | ALL UNITS | Environmental Protection Act 1990.
EMERs-A,G,N,O,P,V,S | ARMY PUBLICATION | Army Engineering Mechanical and Electrical Regulations
ESTC's |  | Explosives Storage and Transport Committee Standards
FAP/AP101C-0901/3 Series | AIR PUBLICATION | Aircraft Maintenance Manuals - Gazelle AH Mks 1/2 and HT Mk.3
FAP/AP102C-2003 Series | AIR PUBLICATION | Astazou IIIN Aero Engine ECU Maintenance Manuals
GAI | AIR PUBLICATION | Recruiting and Enlistment
GAI 1026 |  | RAF SUPPORT TO THE AIR CADET ORGANISATION. (Replaces GAI 5037)
GAI 2001 |  | External Paint Colour, Type, Finish and Marking of RAF Aircraft (R).
GAI 3007 |  | Policy for the Allocation, Maintenance and Disposal of Aircraft Gate Guardians
GAIs (Various) |  | General and Administrative Instructions
H & S Manual | ALL UNITS | (Relevant to each RAF Unit )
HQDLO CmovO Doc |  | Surface Movement Instructions, 2nd Edition, Books 1 & 2.
HQPTC ASIs |  | Headquarters Personnel and Training Command Admin Staff Instructions.
HQPTC MPs |  | GIA Maintenance Procedures authorised for use by HQPTC GT1b.
ICAO |  | International Cargo Aircraft Organization regulations
IEMP |  | Integrated Estates Management Plan.
IMDG |  | International Maritime Dangerous Goods Code (IMDG), which are enacted by the Merchant Shipping (Dangerous Goods & Marine Pollutants) Regulations 1990, SI 2605
IMDG Code |  | Volumes I-IV
Int Jt Doc Pub 02 |  | Operations in the UK: The defence contribution to resilience.
JAP (D) 100A-01 | MILITARY AIR ENVIRONMENT | Military Aviation Engineering Policy and Regulations.
JAP (D) 100A-02 | MILITARY AIR ENVIRONMENT | Military Aviation Engineering Documentation Procedures
JAP 100A-01 | MILITARY AIR ENVIRONMENT | Military Aviation Engineering Policy, Regulations and Documentation
JAP 100C-02 | MILITARY AIR ENVIRONMENT | MAINTANCE DATA SYSTEM WORK RECORDING
JAP 100E-10 | MILITARY AIR ENVIRONMENT | MILITARY AVIATION GROUND SUPPORT EQUIPMENT MANAGEMENT & POLICY.
JAP (D) 100C-20 | MILITARY AIR ENVIRONMENT | Preparation and Amendment of Maintenance Schedule
JAP (D) 100C-22 | MILITARY AIR ENVIRONMENT | Guide to developing and sustaining preventive maintenance.
JAP100V-21 | MILITARY AIR ENVIRONMENT | Cmd ES (Aviation) - Commander ES (Aviation) UK Instructions
JAR/Mil Part 145 | MILITARY AIR ENVIRONMENT | Approved Maintenance Organisations/Maintenance Approved Organisation Scheme (MAOS)
JDP 0-01.1 | JOINT DOCTRINE PUB | UK GLOSSARY OF JOINT AND MULTINATIONAL TERMS AND DEFINITIONS (formerly JSP 110)
JDP -002 | JOINT DOCTRINE PUB | JOINT INTELLIGENCE SUPPORT TO JOINT OPERATIONS (Formerly JSP120)
JDP 02 | JOINT DOCTRINE PUB | OPERATIONS IN THE UK:THE DEFENCE CONTRIBUTION TO RESILIENCE. (formerly JSP 373)
Joint Helicopter Command | Flying Orders | Flying Orders
Joint OPLAN 1/90 |  | Reservist Mobilisation Training Centres
JSP 317 | JOINT SERVICE PUBLICATION | Joint Service Safety Regulations for the Storage and Handling of Fuels and Lubricants
JSP 319 | JOINT SERVICE PUBLICATION | Joint Service Safety Regulations for the Storage and Handling of Liquid Petroleum Gas (LPG).
JSP 357 | JOINT SERVICE PUBLICATION | Stationery, Publications, Typing, Printing, Binding and Office Machinery. Instructions and Procedures (OBSOLETE)
JSP 375 | JOINT SERVICE PUBLICATION | MOD Health & Safety Handbook
JSP 383 | JOINT SERVICE PUBLICATION | Joint Service manual of the Law of Armed Conflict
JSP 390 | JOINT SERVICE PUBLICATION | UK MoD Military Laser Safety
JSP 392 | JOINT SERVICE PUBLICATION | Radiation Safety Handbook
JSP 403 | JOINT SERVICE PUBLICATION | Handbook of Defence Land Range Safety Responsibilities, Regulations and Inspection.
JSP 418 | JOINT SERVICE PUBLICATION | MOD Sustainable Development and Environmental Manual.
JSP 440 | JOINT SERVICE PUBLICATION | DEFENCE MANUAL OF SECURITY.
JSP 462 | JOINT SERVICE PUBLICATION | FINANCIAL MANAGEMENT AND CHARGING POLICY MANUAL. (formerly JSP 414)
JSP 471 | JOINT SERVICE PUBLICATION | Defence Nuclear Accident Response (NAR), DLO Augmentation to NAR, and RAF Op Order for support to NAR
JSP 482 | JOINT SERVICE PUBLICATION | MOD EXPLOSIVE REGULATIONS.
JSP 503 | JOINT SERVICE PUBLICATION | Business Continuity Management
JSP 515 | JOINT SERVICE PUBLICATION | Hazardous Stores Information System
JSP 532 | JOINT SERVICE PUBLICATION | Reserve Forces
JSP 604 | JOINT SERVICE PUBLICATION | DEFENCE MANUAL FOR INFORMATION AND COMMUNICATION TECHNOLOGIES (ICT) (formerly JSP 600, 846)
JSP 740 | JOINT SERVICE PUBLICATION | Acceptable Use Policy
JSP 753 | JOINT SERVICE PUBLICATION | Tri-Service Regulations for the Mobilisation of Reserves
JSP 800 Series | JOINT SERVICE PUBLICATION | Defence Movements and Transportation Regulations ( formerly JSP 327)
JSP 800 Vol 4a | JOINT SERVICE PUBLICATION | DANGEROUS GOODS BY AIR
JSP 800 Vol 4b | JOINT SERVICE PUBLICATION | DANGEROUS GOODS BY ROAD RAIL AND SEA (formerly JSP 445)
JSP 800 Vol 5 | JOINT SERVICE PUBLICATION | THE MANAGEMENT AND OPERATION OF ROAD TRANSPORT IN THE MINISTRY OF DEFENCE ( formerly JSP 341, JSP 481)
JSP 800 Vol 6 | JOINT SERVICE PUBLICATION | POLICY FOR MANAGEMENT AND USE OF ISO CONTAINERS WITHIN MOD (formerly JSP 445)
JSP 815 | JOINT SERVICE PUBLICATION | Defence Environment and Safety Management
JSP 830 | JOINT SERVICE PUBLICATION | MANUAL OF SERVICE LAW
MAP-01 | MILITARY AIR ENVIRONMENT | MANUAL OF MAINTANCE AND AIRWORTHINESS PROCESSES
MAP-02 | MILITARY AIR ENVIRONMENT | MANUAL OF MAINT AND AIRWORTHINESS PROCESSES - MOD FORM 700 SERIES OF FORMS
MAS | MILITARY AIR ENVIRONMENT | MANUAL OF AIR SAFETY.
MDGA/MSA/007E |  | Aircraft Storage Tasking Statement*
MDP LPP |  | MDP Local Policing Plan.
MRP |  | MAA Regulatory Articles - 1000 to 5000 (formerly JSP 550 to 559)
OP Order 1/00 | ORDER | OP Order 1/00 - HCMF Plan
OP Order 1/02 | ORDER | OP Order 1/02 - NARO Plan
PGR |  | Road Traffic (Carriage of Dangerous Goods in Packages) Regulations 1992, SI 742, known as PGR
QR | REGULATIONS | Queen’s Regulations
QR | REGULATIONS | Queens Regulations for the Royal Air Force
RA 1430 | REGULATORY ARTICLE | MAA Regulatory Publication: Regulatory Article (RA) 1430 - Aircraft Accident and PCM.
RA 4212 | REGULATORY ARTICLE | Provides the framework of policy, rules, directives, standards, processes and the associated direction, advice and guidance,
RA 4510 | REGULATORY ARTICLE | Provides information on Ground Running of AERO Engines and Auxillary Power Units.
RAFSC/287108/CTPt & MovO |  | Surface Movement Instructions
RID |  | RID: Reglement Concerant le Transport International Ferroviaire des Merchandises Dangereuses (Regulations concerning the International Carriage of Dangerous Goods by Rail)
STC/20074/4B |  | Unit Guide to Non-Warlike Stores
STC/823/D/Reg |  | NBC Defence Directive
Topic 3C/3D |  | Scales of Equipment & Servicing Spares as applicable to the role of the station & types of machine in use.
UKCRL (Pt 1) |  | Reference sequence
UKCRL (Pt 2) |  | NIIN Sequence
USSTRATCOM |  | USSTRATCOM Combined Operations Agreement.
Manual for Air Traffic Services (MATS) P art 2
Manual of Air Safety (MAS).
Manual of Post Crash Management (MPCM).
Manual of Flying Orders for Contractors (MFOC).
Manual of Military Air Traffic Management (MMATM).
Manual of Aerodrome Design and Safeguarding (MADS).
Manual of Maintenance and Airworthiness Processes (MAP).
Manual of Maintenance and Airworthiness Processes Supplement - MOD Form 700 Series of Forms (MAP-02).
Middle Wallop Flying Order
Military Aviation Authority (MAA) Regulatory Publications (MRP).
Military Air Information Publications.
RAF Civil Aid Directory
RAF MHD Handbook
RAF Precautionary Systems manual
Defence Logistic Framework ( replaces JSP 886)
Misc - DFDG SOPs 1st Edition
Misc - Manufacturers' Servicing Handbooks.
MORES (Manual of Orders and Responsibility for Engineering and Supply)
MTIs - Mechanical Transport Instructions
Note: The JAP 100A-01 will progressively replace the AP100B-01 and some parts of the AP100C series.
Quality Manual - relevant to each RAF Unit
RAF MTI’s (RAF Mechanical Transport Instructions)
SI 2004-Number 568 - The Carriage of Dangerous Good and use of Transportable Pressure Equipment Regulations 2004
SMI’s - Supply & Movements Instructions
Flight Checking Instructions
Technical Memo N0 84311A - Guide to the Installation of Mobile Management Communications Equipment
DIGITS Catalogue of Information Technology, Office Equipment & Associated Services
International Civil Aviation Organisation, Technical Instruction for the Safe Transport of Dangerous Goods by Air
HQ RAF Logistics Command Surface Movement Instructions
The Packaging of Explosives for Carriage Regulations 1991, Statutory Instrument (SI) No 2097
Road Traffic (Training of Drivers of Vehicles Carrying Dangerous Goods) Regulations 1992, SI No 744
a. Approved Carriage List.
b. Approved Methods for the Classification and Packaging of Dangerous Goods for Carriage by Road & Rail.
Manual of Air Force Law
Schedule of Spare Parts, Scales etc as shown in the appropriate Topic relevant to the type of aircraft, engine or other machines in use.
International Civil Aviation Organisation, Technical Instruction for the Safe Transport of Dangerous Goods by Air.
DIGITS Catalogue of Information Technology, Office Equipment & Associated Services.
Explosive regulations 2014
Control of Pollution (Special Waste Regulations) 1980.
Environmental Protection Act 1990.
Firearms Act 1968 to 1992 & Firearms (Amendment) Act 1997
Manufacture and Storage of Explosives Regulations 2005 (MSER).
Existing Health & Safety Legislation and any revisions and amendments, which may come into force during the course of the contract.
BS EN 15567-2:2015 Sports and Recreational Facilities - Ropes Courses - Part 2: Operation requirements and any subsequent amendments and revisions.
Royal Life Saving Society (RLSS) Regulations on Lifeguards
Health and Safety Executive (HSE)
Institute of Sports and Recreational Management (IRSM)
Register of Exercise Professions
Military Aviation Authority (MAA) Regulatory Policy, Master Glossary and Regulatory Processes
Joint Helicopter Command (JHC) Flying Order Book
UK Military Low Flying Handbook
AAC Flying Instructors Handbook
AAC Pamphlets
JHC ESIs - Joint Helicopter Command Engineering & Supply Instructions
Aircraft Topic 5's
Air Logistics Instructions
SRATCOH - (Scheme for the Regulations for ATCOs hours)
2 GP Air Safety Management Plan and Manual
42 Engineer Regiment Standing Orders
42 Engineer Regiment Unit Equipment Care Directive

## HLW
Module 1 - Section 1
General Contract Information - RAF Henlow
1.A.4 | LOCATION OF RAF HENLOW
1.A.4.a | RAF Henlow is situated 6 miles from Hitchin and 13 miles from Bedford, Bedfordshire.
1.A.5 | ROLE OF STATION
1.A.5.a | Brief Description. The main role of the Station is to provide support and accommodation for its numerous LUs. The current main lodgers are the RAF Centre for Aviation Medicine (CAM), Joint Arms Control Implementation Group (JACIG), Defence Cultural Specialist Unit, 616 VGS, Henlow ATC Sqn, Division of the Queen's Band, DES IMOC SCIS, ADEWS, ATLAS, DHU, ISS Prog-Eng Ops, Iss, ISS SvcOps-IRO, ISS SvcOps-JCU, Service Complaints Investigation Team, Headquarter Provost Marshal (HQ PM), HQ RAF Police Standards Flight, Tactical Provost Wing (TPW), TIMS, RAFP & SY Flt, Information Systems (ISS) Engineering Operations (Eng Ops) of the AE&S Organization, Medical Centre, Herts & Beds Police. Also a number of Contractor elements, Babcock International, Elior, Carillion-Amey and Aquila.
1.A.7 | WORKING HOURS
1.A.7.a | The normal operating hours for the station are 0800-1700, Monday to Friday inclusive. Working hours for specific tasks are stipulated in the relevant sections of this document. The Authority retains the right to extend working hours as required to meet operational or contingency requirements. The contractor shall not be constrained by the Station's normal operating hours if work outside these hours is necessary to complete the task.

## WYT
Module 1 - Section 1
General Contract Information - RAF Wyton
1.A.4 | LOCATION OF RAF WYTON
1.A.4.a | RAF Wyton is located just south of the A141, between Huntingdon and Chatteris. It is located just north of St Ives. The entrance is on the B1090.
1.A.5 | ROLE OF STATION
1.A.5.a | Brief Description RAF Wyton is a Joint Forces Command (JFC) station and it's main role is as Headquarters Joint Forces Intelligence Group (JFIG). To date Wyton still has a responsibility for some buildings at Brampton including ATC and the Community Support Offices. Wyton is currently still responsible for some locations at Brampton.
1.A.5.b | Unit support/ parented units. JFIG units at RAF Wyton include: JFIG Command Group RAF Wyton HQ Defence Intelligence Fusion Centre (DIFC) HQ Defence HUMINT Organisation (HQ DHO) 42 Engineer Regiment (Geographic): comprising 13, 14 and 16 Squadrons Parented Units: Defence Infrastructure Parented Units: Organisation (DIO), Defence Intelligence Estates Rationalisation (DIER), Defence Security Assurance Services (DSAS), Wyton Area Voluntary Band (WAVB), ATC Beds & Cambs, British American Community Relations (BACR) Advisor, DE&S ISS DIS, Defence Business Services (DBS), Defence Contract Management Agency (DCMA), Dental Centre, HQ 3rd RAFLO/USAF LOs Mildenhall (Air), HQ COS Spt (Det Wyton), Marshalls of Cambridge, MDP Det (Alconbury), Nuclear Emergency Organisation (NEO), No 2 RAFP Wg-No 6 RAFP Sqn, Non UK/US Forces, Intelligence Fusion Cell, RAF Liaison Party Molesworth/Alconbury/Upwood, RAF MT Field Engineer (East), UK Forces, Intelligence Fusion Cell, USAFE - DIO Ops Accom, USVF Health & Safety Officer, Alconbury, Veterans UK (DBS), RAF Brampton.
1.A.7 | WORKING HOURS
1.A.7.a | For routine admin functions the normal operating hours are 08.00 - 17.00 Mon - Fri. Elements of JFIG within Pathfinder operate 24/7, 365 Days a Year.
1.A.10 | EXPECTED CHANGES DURING THE LIFE OF THE CONTRACT
1.A.10.d | Unit footprint. The footprint of RAF Wyton, both in terms of personnel, facilities and equipment will fluctuate during the initial years of the Contract. The Contractor will be required to respond to any changes implemented as a result of other projects, relocation of lodger units and the draw down of Sections/Units which may have an impact on the contract particularly Workshops, Supply, and MT.

## NOR
Module 1 - Section 1
General Contract Information - RAF Northolt
1.A.4 | LOCATION OF RAF NORTHOLT
1.A.4.a | RAF Northolt is situated 15 miles west of the City of London, in the Borough of Hillingdon. The Station is inside the M25 catchment area, on one of London's busiest arterial roads, the A40. The postal address of the Station is: RAF Northolt, West End Road, Ruislip, Middlesex, HA4 6NG.
1.A.5 | ROLE OF STATION
1.A.5.a | Brief Description. RAF Northolt continues to be London's military airfield and provides transiting facilities for a wide range of VVIP passengers, including the Royal Family. Other passengers include senior Government officials, senior officers of all 3 Services and many foreign civil and military dignitaries. Many of these tasks are carried out by 32 (TR) Sqn, who operate 2 x BAe 146 Series 100 CC 2 CMk2 aircraft, 2 x BAe 146 Series 200 QC CMk3. 32 (TR) Sqn also operate a single Agusta 109 Helicopter aircraft, however, with the exception of the maintenance of survival equipment and refuelling facilities this contract has no further involvement with them since they are operated and maintained under a separate contract. Northolt is also a well established centre for business aviation; handling up to a maximum of 7,000 movements per year from a wide variety of commercial aviation providers.
1.A.5.b | Organisation. RAF Northolt is under the Command of a Group Captain Station Commander, who is also the Designated Officer (DO). The Unit is organised as detailed in the Station Management Plan.
1.A.5.c | Unit Support. The Station is functionally divided into 3 areas of responsibility: Operations and the Support Wing, & 32 (The Royal) Squadron.
1.A.5.d | Operations Wing (Ops Wg). Ops Wg provides flying and full airfield support to RAF Northolt and visiting aircraft. Included within Ops Wg is the Operations Squadron (Operations Flight, Security Flight), Air Movements Squadron (Civilian Airhead Detachment, Shift and Air Cargo Sections), Airfield Support Squadron (Air Traffic Control and Fire Section), Engineering Squadron (Quality Assurance and a Contract Monitoring team), and CAMO (Continuous Airworthiness Maintenance Organisation). Operations Flight manages an average of 14,000 air movements per year (a single landing or take-off is classed as one air movement) of which a maximum of 12,000 are civil air movements
1.A.5.e | Base Support Wing (BSW). BSW comprises the following main departments: Administration Squadron, Force Protection, Finance Department, Estates Management Squadron, Force Development Squadron, C4I Squadron (Command, Control, Communication, Computers and Intelligence) and the Medical & Dental Centre.
1.A.5.f | 32 (The Royal) Squadron (32 (TR)Sqn). 32 (TR) Sqn conduct all of the flying tasks and are supported by ground crew mobilized as Sponsored Reserves (SR's) when deployed to potentially hostile environments for operational reasons.
1.A.5.g | Lodger Units. RAF Northolt is home to a variety of lodger units including - No 1 Aeronautical Information Documents Unit (AIDU), 600 (City of London) Squadron Royal Auxiliary Air Force, Air Historic Branch (AHB), British Forces Post Office (BFPO), the Naval Aeronautical Information Centre (NAIC), the Army's No 621 Explosive Ordnance Disposal (EOD) Squadron of the Royal Logistics Corps, the Service Prosecuting Authority (SPA), Queens Colour Squadron (QCS), Headquarters RAF Music Services, RAF Ceremonial and the RAF Central Band, Royal Navy Presentation Team and 655 Squadron 5 Regiment AAC (Station Flight).
1.A.5.h | Aircraft Engineering Services. This includes provision of Engineering Operations, Planning & Records and a Visiting Aircraft Support Section. Depth maintenance includes provision of aircraft depth maintenance and depth support bay maintenance.
1.A.5.I | Logistics & Support Services. This includes MT Operations, MT Maintenance, Ground Engineering Workshops, Ground Electrics, Ground Support Equipment, Ground Radio, Armoury, Air Movements, Fire Prevention & Training, General Duties, Pest Control, Defence Sales Agenct (DSA) Waste Disposal Services and Supply Services. Supply Services includes on Station office/SLA Domestic, Technical and the Fuel & Lubricants Group.
1.A.5.J | Aircraft Engineering Services. This includes Visiting Aircraft Support Section, control and calibration of PTT and TMEC equipment, Safety Equipment Bay support for BAE 146, Augusta 109 Helecopter and 655 Sqn Islander aircraft.
1.A.7 | WORKING HOURS
1.A.7.a | The normal station working hours for RAF Northolt are 0800-1700 Mon-Fri inclusive, except for authorised public holidays, but they may be extended to meet special training, operational or contingency requirements; the airfield is routinely open evenings and weekends. Working hours for specific tasks are stipulated in the relevant Sections of this document. Notwithstanding the Station’s normal working hours quoted, the Contractor will be expected to work those hours necessary to achieve the requirements of the contracted task.
1.A.7.b | Airfield Operating Hours. The normal airfield operating hours are 0800 hrs to 2000 hrs Mon -Fri, 0800 hrs to 1500 hrs Sat and bank holiday Fri, and 1200 hrs to 1900 hrs Sun and bank holiday Mon. However, visiting military aircraft may be tasked to use the airfield outside these times and appropriate support must therefore be provided.
1.A.7.c | VASS Working Hours. VASS will operate 1½ hours before the first arrival / departure and 15 minutes after the last aircraft movement. Therefore, due to the nature of the task carried out by the VASS personnel, the Contractor must provide cover 24/7
1.A.7.d | Logistics and Support Services. The Logistics and Support Services are to provide cover for all station flying and aircraft maintenance activities. Fuels and Lubricants must be made available to meet all airfield flying requirements. The Contractor is to provide an out of hours 30 minutes call out service in support of all aircraft spares at RAF Northolt including airfield lodger dependances.
1.A.7.e | Safety Equipment Bay. The Safety Equipment Bay working is to be manned at a suitable time to ensure that equipement can be issued prior to flight, and returned after flying as required by the station flying program. Cover is to be provided to support night flying and sufficient serviceable equipment to meet the following days flying program.

## HAL
Module 1 - Section 1
General Contract Information - RAF Halton
1.A.4 | LOCATION OF RAF HALTON
1.A.4.a | RAF Halton lies 1 mile from the centre of Wendover in Buckinghamshire. The postal address is: RAF Halton, Halton, Aylesbury, HP22 5PG.
1.A.5 | ROLE OF STATION
1.A.5.a | Brief Description. RAF Halton is a Station of No 22 (Training) Group, the primary role of the Station is to provide Phase 1 Basic Recruit Trg, Supply and Movements Phase 2 and 3 Trg, Phase 3 Specialist Trg delivering H&S, Environmental and Quality Management courses, Airman's' Command Sqn delivering leadership trg. RAF Halton also has a number of lodger units covering specialities from air activity to defence media operations. RAF Halton is home to approximately 2100 personnel from all three Services, foreign military, contractors and civilians. The Station comprises a grass airfield, 4 hangars, several sports fields, and a wide range of general engineering buildings, training accommodation and office accommodation. In addition, there are 1 Officers Mess, 1 Sergeants’ Mess and 2 Junior Ranks Messes, a number of barrack blocks and several Service Family Quarters sites. The B4009 Wendover to Aston Clinton road dissects the main domestic and training sites.
1.A.7 | WORKING HOURS
1.A.7.a | Normal Station working hours for RAF Halton are 0800 to 1700 Monday to Friday inclusive, except for authorised public holidays, but they may be extended to meet special training, operational or contingency requirements. Working hours for specific tasks are stipulated in the relevant sections of this document. Notwithstanding the Station’s normal working hours quoted, the Contractor will be expected to work those hours necessary to achieve the requirements of the contracted task.

## HWY
Module 1 - Section 1
General Contract Information - RAF High Wycombe
1.A.4 | LOCATION OF RAF HIGH WYCOMBE
1.A.4.a | RAF High Wycombe is located some 7 miles from Junction 4 of the M40, approximately 3 miles north of High Wycombe. The Headquarters Air Command entrance on No 1 Site is at Ordnance Survey Grid Reference SU 830987 and the RAF High Wycombe entrance on No 3 Site is at Grid Reference SU 837981. The postal address is; RAF High Wycombe, Walters Ash, High Wycombe, Bucks, HP14 4UE.
1.A.5 | ROLE OF STATION
1.A.5.a | Brief Description. RAF High Wycombe provides support to Headquarters Air Command, Headquarters 38 Group and other local Units that are either parented by or deployed from RAF High Wycombe. The Station is dispersed over 5 working sites and 5 separate SFA sites some of which are remote to RAF High Wycombe.
1.A.5.b | Organisation. RAF High Wycombe is an administrative support unit. It hosts and provides support for Headquarters Air Command, No 1, No 2, and No 22 and No 38 Groups. It acts as the liaison between the RAF and United States Visiting Forces, and HR Support for MOD Civil Service staff working on USVF Bases within the UK. The Headquarters’ of the European Air Group, Joint Ground Based Air Defence and Joint Force Air Component Commander are also supported by the unit. Mission Statement "To enable HQ Air Command and other units parented by RAF High Wycombe to meet their operational output through the provision of essential support". RAF High Wycombe is under the Command of a Group Captain Station Commander, who is also the Designated Officer (DO). | AL89
1.A.5.c | Unit Support. Support to the Unit is provided by Base Support Wing.
1.A.7 | WORKING HOURS
1.A.7.a | Site working hours are 0830 to 1700 hours Monday to Friday inclusive for the majority, except for authorised public holidays, but they may be extended to meet special training, operational or contingency requirements. There are several 24 hour watch keeping sections. Working hours for specific tasks are stipulated in the relevant Sections of this document. The Contractor will be expected to work those hours necessary to achieve the requirements of the contracted task.