**SMC 1.2.26 ASSET LIST FIRE EXTINGUISHERS**

| **Building** | **Location** | **FP** | **FE Number** | **Equipment Type** | **Comments** |
| --- | --- | --- | --- | --- | --- |
| Visitor Centre | Behind Reception |  |  | 2kg CO2 |  |
|  | Servery |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | First Floor |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
| Gate House | Vehicle Lock |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  | Gate House Office |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | First Floor |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Security Control Room |  |  | 5kg CO2  |  |
|  |  |  |  | 9 Litre Water |  |
|  | Top Floor |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
| Maintenance  | Plant Room |  |  | 5kg CO2 |  |
|  | Generator Room |  |  | 6kg Dry Powder |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Maintenance Rest Room |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Workshop |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | Maintenance Stores |  |  | 6 Litre Water |  |
|  | Locksmith Workshop |  |  | 6 Litre Foam |  |
|  | Maintenance Garage |  |  | 6 Litre Foam |  |
|  |  |  |  | 9kg Dry Powder |  |
|  | Paint Store |  |  | 9kg Dry Powder |  |
| Interventions Offices | Interventions Offices |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
| Main Stores | Outside Toilets |  |  | 6 Litre Foam |  |
|  | First Floor Offices |  |  | 6 Litre Foam |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| Kitchen | Plant Room |  |  | 6kg Dry Powder |  |
|  |  |  |  | 6 Litre Water |  |
|  | Stores Corridor |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Kitchen |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | Fire Blanket |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | 2kg CO2 |  |
|  | Office Corridor |  |  | 2kg CO2 |  |
|  |  |  |  | 2kg CO2 |  |
|  | VP Gym Entrance  |  |  | 6 Litre Water |  |
|  |  |  |  | 9 Litre Foam |  |
| Facilities Offices | Facilities Offices |  |  | Fire Blanket |  |
|  |  |  |  |  |  |
| Reception Building | Multi Faith Room |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Foam |  |
|  | VP Visits |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room |  |  | 6kg Dry Powder |  |
|  | Deployment Office Plant Room |  |  | 6 Litre Foam |  |
|  | First Floor Offices |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Old Key Lock Stairwell |  |  | 6 Litre Water |  |
|  | Stairwell First Floor |  |  | 9 Litre Water |  |
|  | O/S Tower Comms Room |  |  | 2kg CO2 |  |
|  |  |  |  | 2kg CO2 |  |
|  | Tower Comms Room |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  | Tower Control Room |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
| Ty Dysgu | Print Room |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | 1st Floor Corridor |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | 1st Floor Corridor |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6kg Dry Powder |  |
|  | O/S Library  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
| X Block | Coed Horticulture Office |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg Dry Powder |  |
|  |  |  |  | Fire Blanket |  |
|  | Coed Horticulture Mess Room |  |  | 2kg Dry Powder |  |
|  |  |  |  | Fire Blanket |  |
|  | Plant Room Central |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Plant Room X2 |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Plant Room X3 |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Ground Floor Foyer |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | X1 Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | X1 Servery |  |  | Fire Blanket |  |
|  | X2 Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | X2 Servery |  |  | Fire Blanket |  |
|  | X3 Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | X3 Servery |  |  | Fire Blanket |  |
|  | X Block 1st Floor |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | X Block 2nd Floor |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | X4 Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
| A Block | Corridor |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Foam |  |
|  | A1 Office |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | A1 Servery |  |  | Fire Blanket |  |
|  | A3 Office |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | A3 Servery |  |  | Fire Blanket |  |
|  | IMB Office |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  | A4 Office |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | A4 Servery |  |  | Fire Blanket |  |
|  | A2 Office |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Water |  |
|  | A2 Servery |  |  | Fire Blanket |  |
|  | Plant Room Stairs |  |  | 6kg Dry Powder |  |
|  | Plant Room |  |  | 6kg Dry Powder |  |
|  |  |  |  | 6kg Dry Powder |  |
|  | Plant Room Stairs |  |  | 5kg CO2 |  |
| Horticulture | Outside Shed |  |  | 9 Litre Foam |  |
|  |  |  |  | 6 Litre Water  |  |
|  | Office |  |  | 2kg CO2 |  |
| B Block | Corridor |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | B1 Office |  |  | 6 Litre Multichem |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | B1 Servery |  |  | Fire Blanket |  |
|  | B3 Office |  |  | 6 Litre Multichem |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | B3 Servery |  |  | Fire Blanket |  |
|  | OMiC Office |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | B4 Office |  |  | 6 Litre Multichem |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | B4 Servery |  |  | Fire Blanket |  |
|  | B2 Office |  |  | 6 Litre Multichem |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | B2 Servery |  |  | Fire Blanket |  |
|  | Plant Room |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
| Amenities Block | Amenities Plant Room |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Entrance  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Outside Gym |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Chaplains Office |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Multifaith Centre Chapel |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Chapel Kitchen |  |  | 2kg CO2 |  |
|  | Multi Faith Centre Fire Exit |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| First Floor | O/S Sound Room |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  | Room 16 Graphic Design |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Pottery |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Room 8 |  |  | 6 Litre Water |  |
|  | Room 15 |  |  | 6 Litre Foam |  |
|  | Corridor Outside Toilet |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Water |  |
|  | Library  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Amenities Admin |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Rear Plant Room |  |  | 5kg CO2 |  |
|  | Amenities Server Room |  |  | 5kg CO2 |  |
|  | Rear Plant Room |  |  | 5kg CO2 |  |
| T Block | Outside Lift |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | Corridor |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | T1 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Wet Chemical |  |
|  | T1 Servery  |  |  | Fire Blanket |  |
|  | T3 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | T3 Servery  |  |  | Fire Blanket |  |
|  | T4 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | T4 Servery |  |  | Fire Blanket |  |
|  | T2 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | T2 Servery |  |  | Fire Blanket |  |
|  | Health Care Office |  |  | 3 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Outside T5 and T6 |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | T6 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | T5 Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  | T5 First Floor Servery |  |  | Fire Blanket |  |
|  | T5 First Floor Office |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Wet Chemical |  |
|  | T Block Plant Room |  |  | 9kg Dry Powder |  |
|  |  |  |  | 6kg Dry Powder |  |
|  | T1 Plant Room Stairs |  |  | 9kg Dry Powder |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room Stairs |  |  | 6kg Dry Powder |  |
|  |  |  |  | 5kg CO2 |  |
|  | T3 Plant Room Stairs |  |  | 9kg Dry Powder |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room Stairs |  |  | 6kg Dry Powder |  |
|  |  |  |  | 5kg CO2 |  |
|  | T5/T6 Plant Room Stairs |  |  | 6kg Dry Powder |  |
| C Block | Portacabin |  |  | 5kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Portacabin Office |  |  | 9 Litre Water  |  |
|  |  |  |  | 5kg CO2 |  |
|  | C Block Corridor |  |  | 9 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Office Area |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | C Block Wing |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Multichem |  |
|  | C Block Servery |  |  | Fire Blanket |  |
|  | Training Room |  |  | 6 Litre Foam |  |
|  | Plant Room |  |  | 2kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room Stairs |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
| D Block | Portacabin |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | D Block Wing |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  |  |  |
|  | Servery |  |  | Fire Blanket |  |
|  | Case Workers |  |  | 3 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Corridor |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Training Kitchen |  |  | 2kg CO2 |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Office Area |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Plant Room Stairs |  |  | 6 Litre Foam |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| Learning Centre | Learning Centre |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
| E Block | Outside E1 |  |  | 2kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Inside E1 |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Phoenix Unit |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| Prisoner Services | Corridor |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  | Laundry Plant Room |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Laundry |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Head of Residence Office |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| Admissions | Corridor |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Admission Stores |  |  | 2kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  | Admission Stores Mezz |  |  | 6 Litre Water |  |
|  | Admissions Clothing Issue |  |  | 6 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Admissions Kitchen |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Safer Custody |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Training Room 1  |  |  | 9 Litre Water |  |
|  | Safer Custody Admin |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
| Prisoner Services | 1st Floor Corridor |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | 1st Floor Plant Room |  |  | 6 Litre Foam |  |
|  |  |  |  | 6kg Dry Powder |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 6kg Dry Powder |  |
| G1 | Entrance |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Training Kitchen |  |  | 6 Litre Multichem |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Classroom |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
| Industries | Workshop 5 |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 4 |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 1  |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 2 |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 3  |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 9 |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Stores Warehouse |  |  | 9 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 10 |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 8  |  |  | 6 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 7  |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Workshop 6 |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
| Industries Extension | Outside Carpenters  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Corridor |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  | Shop |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | Outside Kitchen |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Kitchen |  |  | 2kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  |  |  |  | Fire Blanket |  |
|  |  |  |  | Fire Blanket |  |
| 1st Floor Staff Kitchen | Corridor |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | Kitchen |  |  | 6 Litre Multichem |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | Corridor |  |  | 9 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
| Waste Management | Portacabin |  |  | 9 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  |  |  |
| Visits | Legal Visits |  |  | 6 Litre Foam |  |
|  |  |  |  | 5kg CO2 |  |
|  | Visiting Area |  |  | 6 Litre Foam |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  | Servery |  |  | Fire Blanket |  |
|  |  |  |  | 2kg CO2 |  |
|  | First Floor |  |  | 9 Litre Water |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 9 Litre Water |  |
|  | Outside Staff Toilet |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | First Floor Offices |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| BCS Cottage | Ground Floor |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 2kg CO2 |  |
|  | Office |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  | First Floor |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| Training Cottage | Ground Floor |  |  | 9 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
|  |  |  |  | Fire Blanket |  |
|  | 1st Floor |  |  | 6 Litre Water |  |
|  |  |  |  | 2kg CO2 |  |
| Spares | Located in Main Stores |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 9 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 6 Litre Water |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 9 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Foam |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | 6 Litre Multichem |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 5kg CO2 |  |
|  |  |  |  | 9kg Dry Powder |  |
|  |  |  |  | 9kg Dry Powder |  |
|  |  |  |  | 9kg Dry Powder |  |
|  |  |  |  | 9kg Dry Powder |  |
|  |  |  |  | 6kg Dry Powder |  |
|  |  |  |  | 6kg Dry Powder |  |
|  |  |  |  | 2kg Dry Powder |  |
|  |  |  |  | 2kg Dry Powder |  |
|  |  |  |  | 7 x Fire Blanket |  |