**Northfleet Embankment, White House Asbestos Removal - HCAP16036**

**ITT QUESTIONS AND ANSWERS LOG**

**[INSERT DATE OF PUBLICATION]**

**20 October 2015**

**Q1. Query regarding ARCA / ACAD registration.**

Our organisation is mid application to ARCA, Can you confirm if this is sufficient to consider our tender, or will we be excluded?

A. Any Supplier tendering for asbestos related works e.g. removal, encapsulation, must be licensed by the HSE, and a Full member of ARCA (Asbestos Removal Contractors Association) or ACAD (Asbestos Control & Abatement Division) and not mid registration or application. Suppliers who do not meet this criteria at Tender stage will not be able to participate.

**Q2. Query regarding Pricing Schedule.**

Items 9, 10 & 11 would be removed together as they are in the same room, could we not put one price to remove all asbestos from within this room rather than trying to split into three elements. To split the 3 individually would require 3 enclosures & 3 air tests, which wouldn’t give a true representation of costs as this would be significantly inflated as in the real world one enclosure and one air test would suffice.

A. If you are combining costs on the pricing schedule, please annotate the document to make this apparent.

e.g. Cost included within item 1