## Price Schedule
Pricing Schedule - Refurbishment Works at Even Swindon Community Centre
|  | £ |  | £
PRELIMINARIES |  |  | £
1.1 | Site Management: Allow for all necessary site management including a designated site foreman.
1.2 | Health and Safety: Provide written risk assessments before commencing any work. Allow for carrying out all the work in accordance with current health and safety regulations.
1.3 | Fencing and access: Form a secure construction site area with temporary fencing to prevent unauthorised access to the site including building, footpaths and car parking area to side of the building during the carrying out of the works. Clear away all temporary fencing on completion of the works. Allow for maintaining access to the building during the carrying out of the works.
1.4 | Signage: Allow for all site health and safety signage for both the public and the workforce to be in accordance with current health & safety regulations.
1.5 | Goods & Materials: Allow for all goods and materials to be supplied new in accordance with the contract specification and drawings or equal approved, in good condition and only brought to site as and when needed. Allow for protection and security of all goods and materials until the completion of the works.
1.6 | Workmanship: Allow for all workmanship to be in accordance with the contract specification and to approved construction industry standards and codes of practice.
1.7 | Plant, tools and equipment: Allow for all neccesary small plant, tools and equipment for the carrying out of the works including arranging for power as required. Note the community centre may be used for power provision during the carrying out of the works.
1.8 | Welfare facilities: Allow for all necessary temporary welfare facilities to be in accordance with current health and safety regulations including arranging for power, water and sanitation as required. Note the community centre may be used for welfare provision during the carrying out of the works.
1.9 | Waste and Cleaning: Allow for removing all waste from site to approved tips as the work proceeds including the use of covered skips as required. Leave the site clean and tidy on completion of the works.
1.10 | Insurances: Allow for public and employers liability insurances to the levels of imdemnity as required.
ENTRANCE AREA / FOYER / LOBBY / CORRIDOR |  |  | £
2.1 | Corridor Walls: Make good plaster walls damaged by leaking water pipes from both gents & ladies toilets.
2.2 | Floor Covering: Remove existing vinyl floor coverings and make make good sub-floor. Provide and lay latex screed ready to receive new coverings. Provide and lay new Altro Walkway 20 or similar approved vinyl safety flooring fixed with low emmision adhesive all in accordance with manufacturer's recommendations. Heat weld all joins. Allow for formimg thresholds and abutments to skirtings and for all necessary cutting and fitting around obstructions. Allow for forming access to floor ducts.
2.3 | Redecoration: Prepare and redecorate existing plaster walls and ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
OFFICE |  |  | £
3.1 | Floor Covering: Remove existing floor coverings and make make good sub-floor ready to receive new coverings. Provide and lay new carpet tile floor coverings all in accordance with manufacturer's instructions. Allow for formimg thresholds and abutments to skirtings and for all necessary cutting and fitting around obstructions.
3.2 | Redecoration: Prepare and redecorate existing plaster walls and ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
MAIN HALL |  |  | £
4.1 | Floor Covering: Inspect and repair all loose and damaged wood block sprung flooring as necessary. Ensure all wood blocks are solidly fixed and all staples, nails and the like are removed from the floor. Sand wood blocks at a 45 degree angle to the grain using a 40 grit floor sanding belt and specialist multi directional sanding equipment to level the floor and remove any deep scratches followed by a 60 grit sanding belt. Ensure all passes are perpendicular to each other. Sand and level room edges with a 40 grit sanding disk followed by a 60 grit sanding disk. Prepare and fill any gaps between wood blocks with epoxy resin and dust from 60 grit sanding process mixed into a wood paste. Allow wood filler to conpletely dry. Sand wood blocks at a 45 degree angle to the grain using a 100 grit floor sanding belt to remove all wood filler residue. Ensure final pass is perpendicular to previous pass. Sand room edges with a 100 grit sandind disk and all corners with a corner sander and triangle detail sander. Buff wood blocks with a 120 grit sanding screed disk to ensure removal of any scratches. Vacuum clean the floor followed by a slightly damp micro fibre mop to remove all dust. Apply 1coat prime coat followed by 2coats hard wearing commercial quality water based wood floor lacquer using a short pile roller. Ensure each coat is completely dry and buff wood blocks with a 150 grit sanding screed disk and vaccum clean thoroughly between each coat. Protect from foot traffic and allow the lacqer to cure for 3 days.
4.2 | Entrance Double Doors: Remove existing double action doors and frames complete and make good. Provide and fit new 30 minute fire resistant aluminium door frame to fit existing opening with appropriate intumescent/smoke seals within the frame ito comply with current fire regulations. Provide and fix new 30 minute fire resistant aluminium powder coated automatic swing action fire doors to match existing sizes with rectangular fire resistant glazed panel in each leaf together with anti-finger trap mechaism and appropriate intumescent/smoke seals to comply with current fire regulations. Provide and fit satin anodised aluminium ironmongery to both sides of each door leaf. Provide and fit 2nr door opening safety barriers with disabled opening push plate.
4.3 | Redecoration: Prepare and redecorate existing plaster low level and blockwork high level walls with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint. Allow for working above 3m height.
LIBRARY / LARGE ROOM |  |  | £
5.1 | New Library Entrance Doors: Provide and fit new 30 minute fire resistant softwood frame to fit existing opening with appropriate intumescent/smoke seals within the frame ito comply with current fire regulations. Provide and fix 2nr new 30 minute fire resistant 50mm thick solid timber core double action fire doors to match existing sizes with rectangular fire resistant glazed vision panel in each leaf together with anti-finger trap joint and appropriate intumescent/smoke seals to comply with current fire regulations. Provide and fir double action floor spring door closers as required to comply with current fire regulations. Provide and fit satin anodised aluminium 300 x 75mm push and 800 x 150mm kick plates fixed with screws to both sides of each door leaf. Prepare and decorate new fire doors and frames with 1coat primer, 1 undercoat and 2coats white gloss paint.
KITCHEN & STORE |  |  | £
6.1 | Redecoration: Prepare and redecorate existing plaster walls and ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
CONFERENCE / ACTIVITIES ROOM |  |  | £
7.1 | Floor Covering: Remove existing vinyl floor coverings and make make good sub-floor. Provide and lay latex screed ready to receive new floor coverings. Provide and lay new Altro Walkway 20 or similar approved vinyl safety flooring fixed with low emmision adhesive all in accordance with manufacturer's instructions. Heat weld all joins. Allow for formimg thresholds and abutments to skirtings and for all necessary cutting and fitting around obstructions.
7.2 | Redecoration: Prepare and redecorate existing plaster walls and Artex ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
GENTS TOILET |  |  | £
8.1 | WC Pans: Deep clean existing ceramic WC pans using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
8.2 | Urinals: Deep clean existing stainless steel urinal slabs using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
8.3 | Wash Hand Basins: Deep clean existing ceramic wash hand basins using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
8.4 | Wall Tiling: Deep clean all existing ceramic wall tiles and grouting with an approved proprietary non-abrasive hydrogen peroxide based stain remover or similar. Wash down all walls with approved disinfectant and then clean water. Wipe dry all surfaces on completion.
8.5 | Floor Tiling: Deep clean existing ceramic floor tiles and grouting with an approved proprietary non-abrasive hydrogen peroxide based stain remover or similar. Wash down floor with approved disinfectant and then clean water. Wipe dry all surfaces on completion.
8.6 | Redecoration: Prepare and redecorate existing Artex ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
LADIES TOILET |  |  | £
9.1 | WC Pans: Deep clean existing ceramic WC pans using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
9.2 | Wash Hand Basins: Deep clean existing ceramic wash hand basins using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
9.3 | Wall Tiling: Deep clean all existing ceramic wall tiles and grouting with an approved proprietary non-abrasive hydrogen peroxide based stain remover or similar. Wash down all walls with approved disinfectant and then clean water. Wipe dry all surfaces on completion.
9.4 | Floor Tiling: Deep clean existing ceramic floor tiles and grouting with an approved proprietary non-abrasive hydrogen peroxide based stain remover or similar. Wash down floor with approved disinfectant and then clean water. Wipe dry all surfaces on completion.
9.5 | Redecoration: Prepare and redecorate existing plasterboard ceilings with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
DISABLED TOILET |  |  | £
10.1 | WC Pan: Deep clean existing ceramic WC pan using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
10.2 | Wash Hand Basin: Deep clean existing ceramic wash hand basin using non abrasive approved propriatory cleaner and extra-strength disinfectant . Allow for testing appliances and reporting findings.
10.3 | Wall Tiling: Remove existing wallpaper and make good walls ready to receive new wall tiling. Provide and fix new 360 x 275mm white ceramic wall tiles fixed with approved flexible water resistant adhesive. Allow for forming corners and for all necessary cutting and fitting around obstructions. Allow for grouting joints. Clean, wash and wipe down tiled surfaces on completion.
10.4 | Floor Covering: Remove existing vinyl floor coverings and make make good sub-floor. Provide and lay latex screed ready to receive new coverings. Provide and lay new Altro Walkway 20 or similar approved vinyl safety flooring fixed with low emmision adhesive all in accordance with manufacturer's recommendations. Heat weld all joins. Allow for formimg thresholds and abutments to skirtings and for all necessary cutting and fitting around obstructions.
10.5 | Redecoration: Prepare and redecorate existing plaster ceiling with 2coats matt emulsion paint. Prepare and redecorate existing timber surfaces with 2coats white gloss paint.
ELECTRICAL INSTALLATIONS |  |  | £
11.1 | Entrance Area / Foyer / Lobby / Corridor Lighting: Existing light fittings to remain
11.2 | Office Lighting: Existing light fittings to remain
11.3 | Main Hall Lighting: Remove all existing light fittings at high level. Provide and install new 1800mm long 4000K maximum 60Watt consumption 6000 Lumens linear twin lamp non-dimmable LED batten light fittings in existing positions at high level. Allow for fixing within existing suspended ceiling system. Allow for amending terminal blocks and new wiring and cabling as required. Allow for working above 3m height.
11.4 | Library / Large Room Lighting: Existing light fittings to remain
11.5 | Klitchen & Store Lighting: Existing light fittings to remain
11.6 | Conference / Activities Room Lighting: Remove all existing light fittings. Provide and install new non-dimmable 1800mm long 4000K maximum 60 Watt consumption 6000 Lumens linear single lamp non-dimmable LED batten light fittings in existing positions. Provide and install new emergency light fitting in existing position. Allow for amending terminal blocks and new wiring and cabling as required.
11.7 | Gents Toilet Lighting: Remove all existing light fittings. Provide and install new non-dimmable LED round light fittings in existing positions. Provide and install new emergency light fitting in existing position. Allow for amending terminal blocks and new wiring and cabling as required.
11.8 | Ladies Toilet Lighting: Remove all existing light fittings. Provide and install new non-dimmable LED round light fittings in existing positions. Provide and install new emergency light fitting in existing position. Allow for amending terminal blocks and new wiring and cabling as required.
11.9 | Disabled Toilet Lighting: Remove all existing light fittings. Provide and install new non-dimmable LED round light fitting in existing positions. Provide and install new emergency light fitting in existing position. Allow for amending terminal blocks and new wiring and cabling as required.
11.10 | Electrical Specification: Carry out all electrical work in accordance with all current Electrical Regulations and Codes of Practice of The Chartered Institute of Building Services, The Institute of Electrical Engineers, British Standards including B7671 (Requirements for Electrical Installations) and any amendments and The Current IEE Wiring Regulations for Electrical Installations. Install all equipment in accordance with manufacturers recommendations.
11.11 | Testing & Commissioning: Carry out all necessary labelling and testing and certification to comply fully with NIC EIC BS7671.
11.12 | Documentation: Provide and hand to employer 2nr Hard Copies and 1nr Electronic Pdf Copy of all necessary Health and Safety (H&S) and Operation and Maintenance (O&M) Manuals together with 'As Installed' Drawings in AutoCAD 2011 format
MECHANICAL INSTALLATIONS |  |  | £
12.1 | Existing Boiler & Controls: Existing heating system is to remain. Allow for visual inspection of all boiler plant and controls with a full heating demonstration of all plant and controls. Report any findings and recommendations for bringing existing heating system up to current regulations.
12.2 | Main Hall: Allow for checking and servicing existing floor mounted fan convector heaters and high level extract and ventilation fans. Report any findings and recommendations. Allow for working above 3m height.
12.3 | Provisional Sum: Allow a £1,000 provisional sum for carrying out any recommended work to existing mechanical installations | 1000
12.4 | Gents & Ladies & Disabled Toilet Radiators: Remove existing radiators. Design and provide and install new sufficiently sized low surface temperature (LST) radiators with thermostatic radiator valves (TRV) in positions in existing positions.
12.5 | Gents & Ladies & Disabled Toilet Mechanical Extraction: Remove existing extract fans. Design and provide and install new sufficiently sized mechanical extractors in existing positions. Allow for all necessary new wiring and controls.
12.6 | Cleaning & Chlorination: Allow for cleaning and chlorination of all mechanical installations.
12.7 | Testing & Commissioning: Carry out all necessary labelling and testing and certification to comply fully with current water and gas regulations.
12.8 | Documentation: Provide and hand to employer 2nr Hard Copies and 1nr Electronic Pdf Copy of all necessary Health and Safety (H&S) and Operation and Maintenance (O&M) Manuals together with 'As Installed' Drawings in AutoCAD 2011 format
EXTERNALLY |  |  | £
13.1 | Provisional Sum: Allow a £500 provisional sum for cutting back and removing overgrown shrubs and vegetation. | 500
13.2 | Redecoration: Prepare and redecorate existing metal & timber surfaces with 2coats dark red gloss paint.
CONTINGENCIES |  |  | £ | 3000
14.1 | Provisional Sum: Allow a £3,000 provisional sum for unforeseen problems. | 3000
---------------------
TOTAL PRICE (excluding VAT) to APPENDIX A (Form of Quotation): |  | £
---------------------
Signed:
Print Name:
Date:
Position: