CLARIFICATION QUESTIONS

Q: Is there a Demolition and Refurbishment survey for the building?

A: No, Warrens do not have one for the first floor.  Any tests will need to be done by the contractor who is appointed.

Q: Are we open to ideas from contractors re: design of lighting solutions?

A: Yes we would welcome innovative ideas as part of the Tender.

Q: Where do the electrics come into the building?

A: (See picture below) – at the bottom of the stairs, adjacent to the door.

Q: What is the width of the cooker we are purchasing?

A: 900mm wide