Gas Chromatograph-Mass Spectrometer (GC-MS) Specification/Requirements

Essential:

- Twin Split-Splitless Injectors

- Autosampler with 50 place, or better, sample rack

- Temperature programmable GC oven capable of ambient to 400°C

- Electron ionisation detector source

- Detector range of 0 – 500 amu

- Total and selected ion monitoring

- Programmable flow control

- PC with instrument control and data handling software

- 1 year warranty, or better

- Installation and training

- Compatibility with existing equipment, which is a mixture of Perkin Elmer and Agilent systems. This is in order to ensure continuity with existing software, analytical methods and accreditation.

- Delivery by 29 March 2019

Desirable:

- Column switching facility