SCHEDULE  F

THE PROVISION OF EQUIPMENT IN CARE HOMES

PRINCIPALS

- The purpose of providing the equipment is to increase or maintain functional independence of end users or to allow their safe management within the care home.

- Equipment provision should be focused on client need and provided by the care home if it is the type of equipment usually required by its clients i.e. the home should be “fit for purpose”

- Care homes should not accept people whose assessed needs they are unable to meet. However, where the provision of equipment would facilitate a discharge from an acute hospital bed, the Independent Living Service will assist by loaning equipment for a  7 day period only.  This will be limited to standard stock equipment (see attached schedule for clarity)

- Where an individual has a need for equipment which is either bespoke or out of the ordinary and where the equipment could not be used for another client when the need has passed, the care home can request that ILS provides the equipment as a long term loan.

- All equipment/medical devices used to support the care of clients and patients is required to be managed and maintained as required in the guidance by the Medical Health Products Regulatory Agency (MHRA) MDA DB 9801, and its subsequent guidance.

FIT FOR PURPOSE

Many types of equipment are expected to be provided which relate to the care for which the homes are registered.

STANDARD EQUIPMENT may:

- Be used by more than one person

- Be frequently/regularly used by the end user

- Support general personal or nursing care

- Assist activities of daily living and enable independence

- Be issued without the requirement for an advanced assessment

- Be for short term or long term need

- Support a safe environment for users

NON STANDARD EQUIPMENT differs from standard equipment by being:

- Uniquely prescribed for an individual

- A specific solution to a particular incapacity, long term disability or medical/nursing problem

- Prescribed by an individual who has received enhanced training

- Needing enhanced training to operate and clinically use, or to teach others to operate it.

- Non standard equipment is divided into one of the following two categories:

- Category 1: Equipment purchased ‘off the shelf’ for an individual.Could be used without further adaptation by others but is subject to specialist assessment.

- Category 2: Bespoke equipment.  Designed or adapted or bio-engineered and manufactured for a specific individual.

When a user’s condition or situation changes.

It is against the ethos of care to move end users from their present settings if their new condition is short term.  In these cases ILS will provide equipment on short term loan (12 weeks).

Example of such changes of condition are:

- A client in a non-nursing care facility deteriorates and may not survive. (Palliative care)

- A client in a non-nursing facility may have to receive acute care with an identified rehabilitation (intermediate care) period.

- An individual needs treatment for pressure ulcers after discharge from hospital and is a new or current resident of the care home and has therefore not been in receipt of loan equipment previously

- The end user deteriorates and needs additional long term care (continuing care) and requires equipment over and above the local standard equipment provision. The equipment will be funded via the CHC route

- The end user requires standard equipment specifically perching stools and commodes  in non standard sizes or to support bariatric requirements.

N.B  The care home is expected to provide equipment in the situation where a client who is registered in a certain band in social care or health care and the banding changes permanently as the result of banding adjustment owing to further deterioration.

Equipment Loaned to a Care Home

Equipment loaned by ILS will be for the exclusive use of the person for whom it was prescribed.  If other people use the equipment and an incident occurs, ILS cannot be held liable.

ILS will give instruction to the nominated care home personnel for the non standard equipment it provides.  Thereafter it is the responsibility of the nominated care home personnel to cascade the instruction to any other people who require it.

Day-to-day operational cleaning/disinfection is the responsibility of the care home and must follow manufacturers’ instructions and local guidelines.

The care home will meet the cost of all repairs arising from negligence, damage or inappropriate use and the cost of replacement if it is lost.

All repair and maintenance of ILS provided equipment will be co-ordinated and carried out by the ILS staff or nominated other.

Care home staff will be responsible for notifying the community equipment service when the individual no longer requires a loaned item of equipment and will make arrangements for its return.

They will also be responsible for informing ILS when equipment breaks down or requires repair / service and will make it accessible when needed.

Risk Management

Care homes have responsibilities to care homes and staff and some equipment carries particular risks of which care homes need to be aware.  Equipment risks need to be managed in the context of advice from the Medical Health Products Regulatory Agency (MHRA).

- Staff must be appropriately trained in the use of the equipment as set out in the Medical Health Products Regulatory Agency (MHRA –was the MDA) MDA DB 9801 and other related documents.

- Equipment used must be safe and staff properly trained.

- Loaned equipment should be properly maintained and returned promptly.

- The provision of certain types of equipment (for lifting and handling, for example) can be important for care homes as employers in relation to their health and safety responsibilities.  ‘Employers are required to define the preventative and protective measures to be taken in respect of any identified risks’.

Collaboration between Care Homes and Independent Living Service

ILS helps care homes with:

- Advice on equipment i.e. suppliers/prices

- Staff training for non standard equipment use when supplied by ILS

- Advice on maintenance and decontamination

Care homes should assist ILS by:

- Identifying when equipment is no longer required and returning it promptly

- Informing the service promptly in the event of equipment breakdown

- Notifying changes in clients for whom equipment has been loaned.

Continuing Care

Equipment provision under the Continuing Care Regulations is made by health, following an assessment by one of their Occupational therapists i.e. not by Community Equipment Services/Social services.

PROVISION OF EQUIPMENT IN CARE HOMES

| Item of Equipment | Responsibility to Provide |  | Other Provider/Comments |
| --- | --- | --- | --- |
|  | Nursing Home | Residential Home |  |
| Prevention Therapy and Management of Pressure Stores |  |  |  |
| Mattresses Static with stretch vapour permeable cover i.e. at risk/low risk | Yes | Yes | Standard equipment |
| Foam replacement mattress | Yes | Yes | Standard equipment |
| Foam overlay e.g. modular | Yes | Yes | Standard equipment |
| Hollow core fibre overlay | Yes | Yes | Standard equipment |
| Dynamic Systems i.e. medium/high/very high risk |  |  |  |
| Large cell alternating pressure overlays e.g. Alpha Xcell | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Double layer alternating pressure mattresses replacement | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Low air loss replacement mattress | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |

| Item of Equipment | Responsibility to Provide |  | Other Provider/Comments |
| --- | --- | --- | --- |
|  | Nursing Home | Residential Home |  |
| Low air loss/total bed systems | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Cushions with stretch vapour permeable cover |  |  |  |
| Foam for at risk/low risk | Yes | Yes |  |
| Foam/gel for medium/high risk and treatment | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Foam/gel/clay for high/very high risk and treatment | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Toileting |  |  |  |
| Bed pan | Yes | Yes |  |
| Toilet frames with arms | Yes | Yes |  |
| Urinals/bottles | Yes | Yes |  |
| Specialist commodes Category 1 | Yes | Yes |  |
| Commodes – bespoke Category 2 | No | No | Independent Living Service long term loan |
| Kitchen equipment |  |  |  |
| Trolley | Yes | Yes |  |
| Perching Stool | Yes | Yes |  |
| Cutlery | Yes | Yes |  |
| Helping hand | Yes | Yes |  |
| Dressing equipment |  |  |  |
| Stocking aid | Yes | Yes |  |
| Tights aid | Yes | Yes |  |
| Long-handled shoe horn | Yes | Yes |  |
| Chair raising equipment |  |  |  |
| Chair blocks | Yes | Yes |  |
| Lanham raisers | Yes | Yes |  |
| Morris raisers | Yes | Yes |  |
| Bathing |  |  |  |
| Bath seats | Yes | Yes |  |
| Bath boards | Yes | Yes |  |
| Electric/manual bath lift | Yes | Yes |  |
| Shower Chair | Yes | Yes |  |
| Specialist shower chair e.g. tilt in space | No | No | Independent Living Service long term loan |
| Shower changing stretcher | Yes | No ILS long term loan |  |
| Patient repositioning |  |  |  |
| For lifting and manual handling under Health and Safety at Work Act E.g. hoist slings, transfer boards, glide sheets. | Yes | Yes |  |
| Stand aid | Yes | Yes |  |
| Specialist Slings | Yes | Yes |  |
| Heavy duty hoists | Yes | Yes |  |
| Beds |  |  |  |
| General beds | Yes | Yes |  |
| Hospital beds – variable height profiling | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Specialist beds e.g. for people with complex treatment and care needs | No | No | NHS responsibility to provide |
| Back rest | Yes | Yes |  |
| Rope ladder | Yes | Yes |  |
| Bed raiser | Yes | Yes |  |
| Mattress variator – single | Yes | Yes |  |
| Overbed trolley table | Yes | Yes |  |
| Lifting pole | Yes | Yes |  |
| Bed rails – divan/padded/hospital bed | Yes | Yes |  |
| Seating |  |  |  |
| Standard | Yes | Yes |  |
| Non-customised i.e single motor tilt in space riser recliner with medium pressure relief | Yes | Yes |  |
| Complex seating – e.g. customised i.e high risk pressure releif with basic postural management | Yes | No ILS loan for 12 weeks only to meet temporary change in condition or end of life care |  |
| Complex seating e.g. bespoke | No | No | Independent Living Service long term loan |
| Mobility equipment – wheelchairs |  |  |  |
| Push wheelchairs, standard transit chairs and wheelchair cushion | Yes | Yes |  |
| Other wheelchairs for individual use | No | No | Assessment and provision by NHS/Wheelchair Services |
| Mobility equipment – walking equipment |  |  |  |
| Walking stick | Yes | Yes |  |
| Fisher walking stick | Yes | Yes |  |
| Walking frames | Yes | Yes |  |
| Walking frame gutter | No | No | Independent Living Service long term loan |
| Crutches | No | No | Independent Living Service long term loan |
| Gutter crutches | No | No | Independent Living Service long term loan |
| Rollator-type walker | No | No | Independent Living Service long term loan |
| Heavy duty mobility equipment | No | No | Independent Living Service long term loan |