Scenario 1

Fully Costed Contract Bid Scenario: 25 MW Solar Power Plant under a 15-Year Power Purchase Agreement (PPA) in the UK

Overview

This contract bid scenario involves a competitive process for the design, build, and implementation of a 25 MW solar power plant in the UK under a 15-year Power Purchase Agreement (PPA). The PPA will have a minimum contracted capacity of 95%, and the Consumer Price Index (CPI) will be used to measure price inflation over the term of the agreement.

Project Description

        •       Project Name: 25 MW Solar Power Project
        •       Location: [Specify the location within the UK]
        •       Capacity: 25 MW
        •       Contract Duration: 15 years (PPA)
        •       Minimum Contracted Capacity: 95% (23.75 MW)
        •       CPI Adjustment: Annual price adjustment based on the UK CPI
        •       Bid Submission Deadline: [Specify the date]
        •       Contact Information: [Contact details for bid submission and inquiries]

Scope of Work

        1.      Design Phase:
        •       Conduct site assessment and solar resource analysis.
        •       Design the solar farm layout, including the placement of photovoltaic (PV) panels.
        •       Obtain necessary permits and approvals from relevant authorities.
        •       Develop grid connection and electrical infrastructure plans.
        2.      Build Phase:
        •       Procure and install PV panels, inverters, and associated infrastructure.
        •       Construct access roads, electrical substations, and grid connection points.
        •       Implement grid interconnection.
        •       Conduct commissioning and testing.
        3.      Implementation Phase:
        •       Operate and maintain the solar farm for a minimum contracted capacity of 95%.
        •       Ensure continuous energy generation and delivery to the grid.
        •       Provide regular maintenance and repairs.
        •       Comply with environmental and safety regulations.

Cost Breakdown

        1.      Design Phase Costs:
        •       Site Assessment and Solar Resource Analysis: £400,000
        •       Design and Engineering: £800,000
        •       Permitting and Legal Fees: £200,000
        •       Grid Connection Planning: £300,000
        •       Total Design Phase Costs: £1,700,000
        2.      Build Phase Costs:
        •       PV Panels: £500,000 per MW x 25 MW = £12,500,000
        •       Inverters and Electrical Equipment: £2,500,000
        •       Mounting Structures: £3,500,000
        •       Electrical Infrastructure (Substations, Cables, Transformers): £4,000,000
        •       Access Roads and Civil Works: £1,200,000
        •       Grid Interconnection: £1,000,000
        •       Commissioning and Testing: £500,000
        •       Total Build Phase Costs: £25,200,000
        3.      Implementation Phase Costs (15 years):
        •       Operation and Maintenance (O&M) Annual Cost: £750,000
        •       Total O&M Cost for 15 Years: £750,000 x 15 = £11,250,000
        4.      Financing Costs:
        •       Interest During Construction: £1,000,000
        •       Debt Service Costs: £1,500,000
        •       Total Financing Costs: £2,500,000
        5.      Contingency:
        •       Design and Build Contingency (10%): £2,690,000
        6.      Total Project Cost:
        •       Sum of All Costs: £1,700,000 (Design) + £25,200,000 (Build) + £11,250,000 (O&M) + £2,500,000 (Financing) + £2,690,000 (Contingency)
        •       Total Project Cost: £43,340,000

Financial Proposal

        1.      Proposed PPA Price:
        •       Base PPA Price: £ XXXXX MWh
        •       Annual Energy Production Estimate: 25 MW x 24 hours/day x 365 days/year x 0.14 (UK solar capacity factor) = 30,660 MWh/year
        •       Annual Revenue: 30,660 MWh/year x £55/MWh = £1,686,300/year
        •       15-Year Revenue (Before CPI Adjustment): £1,686,300/year x 15 years = £25,294,500
        2.      CPI Adjustment:
        •       CPI will be applied annually to adjust the PPA price to account for inflation. Assuming a 2% average annual CPI increase:
        •       Estimated Revenue with CPI Adjustment: £1,686,300 x (1 + 0.02) for each subsequent year, resulting in a 15-year cumulative revenue approximately of £28,635,000.
        3.      Return on Investment (ROI) and Payback Period:
        •       ROI and payback period are detailed in the attached financial projections.

Bid Requirements

        1.      Technical Proposal:
        •       Detailed project plan and timeline.
        •       Solar resource assessment and expected energy yield.
        •       Design specifications and technology used.
        •       Engineering, procurement, and construction (EPC) plan.
        •       Operation and maintenance (O&M) strategy.
        2.      Financial Proposal:
        •       Total project cost breakdown (design, construction, operation).
        •       Proposed PPA price per MWh with CPI adjustment.
        •       Financing plan and sources of funding.
        •       Expected return on investment (ROI) and payback period.
        3.      Experience and Qualifications:
        •       Company profile and relevant experience.
        •       Examples of similar completed projects.
        •       Resumes of key personnel.
        •       Partnerships with panel manufacturers and other subcontractors.
        4.      Compliance and Risk Management:
        •       Plan for obtaining permits and regulatory approvals.
        •       Environmental impact assessment and mitigation measures.
        •       Risk management strategy.
        •       Health and safety plan.

Evaluation Criteria

        •       Technical Feasibility: Quality and robustness of the technical proposal.
        •       Financial Viability: Cost-effectiveness and financial stability.
        •       Experience and Expertise: Proven track record in similar projects.
        •       Compliance and Risk Management: Adherence to regulations and risk mitigation.
        •       Innovative Solutions: Use of advanced technology and innovative approaches.

Submission Instructions

        •       Submit proposals electronically via [submission platform/email] by [deadline date].
        •       Include all required documents and supporting materials.
        •       Proposals must be in PDF format, clearly labeled with the bidder’s name and project title.

Contact for Questions

        •       Name: [Contact Person]
        •       Phone: [Contact Number]
        •       Email: [Contact Email]

Key Dates

        •       RFP Release Date: [Release Date]
        •       Bid Submission Deadline: [Deadline Date]
        •       Evaluation Period: [Evaluation Start Date] to [Evaluation End Date]
        •       Award Notification: [Award Notification Date]
        •       Project Start Date: [Project Start Date]

This scenario outlines a comprehensive and fully costed plan for the design, build, and implementation of a 25 MW solar power project in the UK under a 15-year PPA. The scenario includes detailed cost breakdowns, financial proposals, and other requirements necessary for potential bidders to prepare their submissions effectively.