SHE Group - Building Fire Safety ‘Sign Off’ prior to beneficial occupation – only to be signed by a site Fire Safety Advisor.

# Site................... .....                  Building......

Area .........                               Room ....

For use with new works, refurbishments, change of use of premises, revised access or egress routes, and any changes or modifications to Fire Alarm System.

| Fire Alarm Systems |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Certificate Provided Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Designed to – BS5839-1 |  |  |  |  |  |  |
| Installed to BS 5839-1 |  |  |  |  |  |  |
| Commissioned to BS 5839-1 |  |  |  |  |  |  |
| Voice Alarm to BS5839-8 |  |  |  |  |  |  |

| Witnessed Tests |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Sounder Compatibility |  |  |  |  |  |  |
| Sounder Audibility |  |  |  |  |  |  |
| Data link to Monitoring Station |  |  |  |  |  |  |
| Detector Type |  |  |  |  |  |  |
| ½ Hour Bell Test |  |  |  |  |  |  |
| Cause & Effect Scheme Verified |  |  |  |  |  |  |
| Dampers Correctly Located |  |  |  |  |  |  |
| Dampers Identified |  |  |  |  |  |  |

| Damper Operation |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Access Control Doors to Fail Safe on Fire Condition |  |  |  |  |  |  |
| Lift Registered (SHE Group) |  |  |  |  |  |  |
| Lift Operation on Fire Condition |  |  |  |  |  |  |
| Lift emergency phone operation |  |  |  |  |  |  |
| Smoke Extract System |  |  |  |  |  |  |
| Soak Test (1 Week Fault Free) |  |  |  |  |  |  |

| Devices Labelled |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Manual Call Points |  |  |  |  |  |  |
| Point Detectors |  |  |  |  |  |  |
| Other Detectors |  |  |  |  |  |  |
| Bells/Sounders |  |  |  |  |  |  |
| Remote Indicators |  |  |  |  |  |  |
| Batteries |  |  |  |  |  |  |
| I/O Units |  |  |  |  |  |  |

| Fixed Fire Suppression System |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Certificate Provided Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Type of System(s) Installed |  |  |  |  |  |  |
| Designed to Current BS ISO 14520-1 |  |  |  |  |  |  |

| Installed to current BS ISO 14520- 1 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Commissioned to current BS ISO 14520-1 |  |  |  |  |  |  |

| Witnessed Tests |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Room Integrity Tested |  |  |  |  |  |  |
| 1st Knock |  |  |  |  |  |  |
| 2nd Knock |  |  |  |  |  |  |
| Gas Type |  |  |  |  |  |  |
| System Operational |  |  |  |  |  |  |

| Fire Management |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Building Control Approval |  |  |  |  |  |  |
| Building Control Final Certificate |  |  |  |  |  |  |
| Regulation 38 of Building Regs (Fire Safety information or Fire Engineers Fire Strategy |  |  |  |  |  |  |
| Fire Strategy Plans |  |  |  |  |  |  |
| Zone Charts in Place |  |  |  |  |  |  |
| O&M Manuals |  |  |  |  |  |  |
| Cause & Effect Document |  |  |  |  |  |  |
| As Installed Drawings |  |  |  |  |  |  |
| Signage provided under contract to current BS 5499 |  |  |  |  |  |  |
| Fire Stopping through Vertical & Horizontal compartmentation |  |  |  |  |  |  |
| Means of Escape Incl. External |  |  |  |  |  |  |
| Fire Hydrants Correct plate and Painted |  |  |  |  |  |  |

| Fire Doors |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| 3rd party Certified |  |  |  |  |  |  |
| Correct Locations |  |  |  |  |  |  |
| Correct Signage |  |  |  |  |  |  |

| Fire Extinguishers |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Appropriate for the Risk |  |  |  |  |  |  |
| Appropriately Located |  |  |  |  |  |  |
| Correctly fitted to Wall/Stand Provided |  |  |  |  |  |  |
| Signage to current BS 5499 |  |  |  |  |  |  |

No

| Emergency Lighting and Escape Lighting |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Declaration of Conformity | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Designed to current BS 5266-1: |  |  |  |  |  |  |
| Installed to current BS 5266-1 |  |  |  |  |  |  |
| Completion Certificate |  |  |  |  |  |  |

| Witnessed Tests |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Ave. illuminance level (lux) |  |  |  |  |  |  |
| Design Duration |  |  |  |  |  |  |
| Full Duration Test |  |  |  |  |  |  |

| Miscellaneous Tests |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Verified Yes/No | Variations Yes/No | Not Applicable | Notes | Signed | Date |
| Disabled Refuge System Installed to current BS8300: |  |  |  |  |  |  |
| Emergency Voice Communication Tested |  |  |  |  |  |  |
| Access control on escape routes and final exit doors |  |  |  |  |  |  |
| Lightning Protection System installed to current BS EN:62305 |  |  |  |  |  |  |
| Emergency Signal from Disabled WC |  |  |  |  |  |  |

Building Fire Safety Acceptance

All the above have been verified and therefore I am satisfied that beneficial occupancy may take place.

| Name |  |
| --- | --- |
| Signed |  |
| Date |  |

Site Fire Safety Advisor

Circulation: Contractor

Contract Supervising Officer RAL Estates – copy to

SHE Group